## Summary
Type of alert | Country of origin | Risk type | Risk legal provision | Description | Risk | Compulsory measures | Voluntary measures
Serious risk | Unknown | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 62368. | Travel adaptor with USB ports. | The travel adaptor's pins are not correctly insulated and the creepage distance between the primary and accessible secondary circuits are not sufficient. Moreover, the device is not resistant to high temperatures. The user may touch the accessible live parts and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Ban on the marketing of the product and any accompanying measures Date of entry into force: 04/10/2023 | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 04/10/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the General Product Safety Directive nor with the European standard EN 23-57. | Travel adaptor with three sockets, 250V, alternating current, max: 1500W. Product sold online. | The live parts of the plugs are accessible when the plug is fully or partially connected to a socket. It is possible to insert a single pin of the plug into the adaptor. If only one of the pins is inserted into a socket, the user could touch a pin of the other plug and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 01/04/2023
Serious risk | People's Republic of China | Burns, Fire | The product does not comply with the requirements of the Low Voltage Directive. | USB-C Laptop Power Bank. Manufacturing dates: 22/01, 22/02, 22/03, 22/04, 22/05, 22/06 and 21/12 | The power bank’s internal screws can come loose, causing a short circuit, and overheating of the lithium-ion battery, posing a fire hazard. The user may suffer burns. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Recall of the product from end users Date of entry into force: 22/11/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60950-1. | Battery charger with double USB port | the creepage and clearance distances between primary and secondary circuit are inadequate, A user could touch parts of the product that are at high voltage and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 13/04/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Universal travel adaptor. Product sold online. | The live parts of the plugs are accessible when the plug is fully or partially connected to a socket. It is possible to partially insert just one pin of the plug into the adapter. If only one of the pins is inserted into a socket, the user could touch a pin of the other plug and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 01/04/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the General Product Safety Directive nor with the European standard EN 23-57. | Universal travel adaptor. Product sold online. | The live parts of the plugs are accessible when the plug is fully or partially connected to a socket and it is possible to partially insert just one pin of the plug into the adaptor. A user could touch these live parts and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 01/04/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the General Product Safety Directive. | Universal travel adaptor. Product sold online. | The live parts of the plugs are accessible when the plug is fully or partially connected to a socket. It is possible to insert a single pin of the plug into the adaptor. If only one of the pins is inserted into a socket, the user could touch a pin of the other plug and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 01/04/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Travel adaptor with two USB ports. Product sold online. | The live parts of the plugs are accessible when the plug is fully or partially connected to a socket. It is possible to insert a single pin of the plug into the adaptor. If only one of the pins is inserted into a socket, the user could touch a pin of the other plug and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 01/04/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive), nor with the Persistent Organic Pollutants (POP) Regulation. | White electric mosquito killer. Product sold online. | The plastic material of the cable has an excessive concentration of short chain chlorinated paraffins (SCCPs), bis(2-ethylhexyl) phthalate (DEHP) and dibutyl phthalate (DBP) (measured values: up to 5 %, up to 0.25 % and up to 2.2 % by weight, respectively). SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. These phthalates may harm the health of children, causing possible damage to their reproductive system. The solders in the product have an excessive concentration of lead and cadmium. (measured values: up to 62 % and 0.05 %, by weight, respectively). Lead poses a risk to the environment. Cadmium bio-accumulates and poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 15/10/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | Round LED ceiling lamp with LED module. | The creepage distance between the primary and accessible secondary circuits are not sufficient. A user could receive an electric shock from accessible live parts. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Recall of the product from end users Date of entry into force: 25/09/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the RoHS 2 Directive nor with the Persistent Organic Pollutants (POP) Regulation. | Small USB chargeable plastic speaker. The product is sold online. | LEad |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 19/09/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive, nor with the European standard EN 61558. | Led strip light with external AC/DC power supply. | The insulation of the power supply unit provided with the product is not sufficient. A user could touch parts under high voltage and receive an electric shock. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 05/12/2023
Serious risk | People's Republic of China | Burns, Electric shock | This product does not comply with the Low Voltage Directive (LVD). | Cordless vacuum cleaner. This product is sold online, in particular via Amazon (no ASIN included). | Due to a manufacturing defect, the back of the adaptor can come off which may expose live parts and could result in electric shock or burns. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 04/12/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Emergency crank radio. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 55% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 14/08/2023
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Kitchen timer with digital screen. The product is sold online. | The solders in the product have an excessive concentration of lead (measured value up to: 60.5% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 11/07/2023
Serious risk | Czechia | Burns, Electric shock, Fire | The product does not comply with the requirements of the Low Voltage Directive. | Extension cord in orange colour. | The extension cord uses a conductor with a cross-sectional area that is too small, which may cause it to overheat during use, leading to fire and burns. Moreover, if the insulation of the extension cord melts, live parts can become accessible and the user could touch them and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive). | White USB cable | The solders in the product have an excessive concentration of lead (measured value up to 47% by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 21/12/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Antenna power adapter, 230V, 50Hz DC12V 100mA. | The solders in the product have an excessive concentration of lead (measured value: more than 0.2% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Warning consumers of the risks Date of entry into force: 17/11/2023 Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 17/11/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the Low Voltage Directive nor with the European standard EN 61558 | Rechargeable LED flashlight. This product is sold online. | The insulation of the power supply unit is not sufficient and the creepage distance between the primary and accessible secondary circuits are not adequate. Consequently a user could touch live parts and may receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Recall of the product from end users Date of entry into force: 03/11/2023
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | White USB cable | The solders in the product have an excessive concentration of lead (measured value up to 38% by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 21/12/2023
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive). | White USB cable | The solders in the product have an excessive concentration of lead (measured value up to 26% by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 21/12/2023
Serious risk | The Netherlands | Chemical | The product does not comply with the REACH Regulation | Black USB Headset for PC & laptop. The product is sold online. | The plastic material (wire insulation) of the product has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP), (measured value: 0,26 % by weight). This phthalate may harm the health by possibly causing damage to the reproductive system. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 27/11/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive) | A stereo headset with a flexible microphone made out of black plastic. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 77.5% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 24/10/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | LED light made out of plastic in the shape of a cloud and a rainbow. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 8.43% by weight) Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 24/10/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Black on-ear headphones. | The solders in the product have an excessive concentration of cadmium (measured value up to 0.6 % by weight). Cadmium poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 18/12/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | White hair curler | The solders on the printed circuit board (PCB) have an excessive concentration of lead (measured value up to 33 % by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 01/12/2023
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | White charging cable with magnetic charger board. | The solders on the printed circuit board (PCB) have an excessive concentration of lead (measured value up to 0.6 % by weight). Lead poses a risk to the environment | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 01/12/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Baby alarm with camera on a bendable wire. | The solders on the printed circuit board (PCB) have an excessive concentration of lead (measured value up to 13 % by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 01/12/2023
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | White plastic alarm with magnetic sensor. | The solders on the printed circuit board have an excessive concentration of lead (measured value up to 23 % by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 01/12/2023
Serious risk | Vietnam | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Black adaptor with yellow text. | The solders in the product have an excessive concentration of lead (measured value up to 8% by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 01/12/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | White hair removal device in shape of a big soap. Comes with a charger. | The solders on the printed circuit board (PCB) have an excessive concentration of lead (measured value up to 24 % by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 01/12/2023
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Plastic humidifier, cone-head shaped, tree imitation coloured. | The solders on the printed circuit board (PCB) have an excessive concentration of lead (measured value up to 3,8 % by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 01/12/2023
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Hair clipper for animals. Gold coloured. | The solders on the printed circuit board (PCB) has excessive concentration of lead (measured value up to 42 % by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Import rejected at border Date of entry into force: 01/12/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | Lighting chain of 100 LED lamps, garland type, non-replaceable lamps. | The electrical insulation is inadequate and the clearance/creepage distances between the primary circuit and the accessible secondary circuits are not sufficient. As a result, the user can receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | Electric lighting chain, shaped as a snowflake. | The electrical insulation is inadequate. As a result, the user can receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | Lighting chain. | The electrical insulation is inadequate. As a result, the user can receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Tea light LED candle. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 25% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 26/10/2023 Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 26/10/2023
Serious risk | People's Republic of China | Chemical | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Gaming headset made out of white plastic. Product sold online in various online traders, including via Amazon. | The plastic material (wire insulation) of the product has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP), (measured value up to 1.33 % by weight). This phthalate may harm the health by possibly causing damage to the reproductive system. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 11/10/2023
Serious risk | United States | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Hair clipper kit. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 2.8% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 28/09/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive) nor with the Regulation on persistent organic pollutants (POP). | Plastic electric insect killer lamp. Product sold online. | The solders in the product have an excessive concentration of lead and cadmium (measured values: up to 67% and 0.13% by weight, respectively). Lead poses a risk to the environment. Cadmium is harmful to human health because it accumulates in the body, can damage the kidneys and bones and it may cause cancer. The plastic material of the cable has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP), dibutyl phthalate (DBP) and of short chain chlorinated paraffins (SCCPs) (measured values: up to 6.7%, 1.8% and 2.5% by weight, respectively). These phthalates may harm the health of children, possibly causing damage to the reproductive system. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 19/09/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive) nor with the POPs Regulation. | Electric shaver in the form of a lipstick. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to: 74.5 % by weight). Lead poses a risk to the environment. The plastic material of the cable has excessive concentrations of bis(2-ethylhexyl) phthalate (DEHP), dibutyl phthalate (DBP) and short chained chlorinated paraffines (SCCPs) (measured values: up to 4.5%, 1.2% and 4.9% by weight, respectively). These phthalates pose a risk to human health and the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Smart watch with GPS for children made out of pink soft plastic. Product sold online. | The solders in the product's printed circuit board (PCB) have an excessive concentration of lead (measured value up to 54.5% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 19/09/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Solar-powered outdoor LED lights made out of hard plastic. Product sold online. | The solders on the product's printed circuit board (PCB) have excessive concentrations of lead and cadmium (measured values up to 69.7% and 0.24% by weight, respectively). Lead poses a risk to the environment and cadmium bio-accumulates and poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 19/09/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Gaming headset made out of blue and black plastic. Product sold online. | The solders in the product’s printed circuit board (PCB) and microphone have an excessive concentration of lead (measured value up to 58.7% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 19/09/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive). | Black alarm in white paper cardboard. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 51.6% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 23/10/2022
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive) nor with the Persistent Organic Pollutants (POP) Regulation. | Black desktop fan. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 47% by weight). The plastic material of the cable has excessive concentrations of bis(2-ethylhexyl) phthalate (DEHP) and short chain chlorinated paraffines (SCCPs) (measured values up to: 0.36% and 2.9% by weight, respectively). Lead poses a risk to the environment. DEHP may harm the health by causing possible damage to the reproductive system. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 22/12/2022
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive). | Star-shaped LED light string with battery case. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 56.3% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 22/12/2022
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60335. | Battery charger with detachable power supply cord. | The electrical insulation and the creepage distance between the primary circuit and the accessible secondary circuits are not sufficient. A user could receive an electric shock from accessible live parts. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 16/01/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60335. | Battery charger with detachable AC mains power supply cord and accessible secondary connectors. | The electrical insulation and the creepage distance between the primary circuit and the accessible secondary circuits are not sufficient. A user could receive an electric shock from accessible live parts. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 16/01/2024
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive), nor with the Persistent Organic Pollutants (POP) Regulation. | Electric foot file. Product sold online. | The solders in the product have an excessive concentration of lead. (measured value: up to 75 % by weight). Lead poses a risk to the environment. The product also has an excessive concentration of short chain chlorinated paraffins (SCCPs) (measured value: 3 % by weight). SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | Unknown | Electric shock | This product does not comply with the requirements of the Low Voltage Directive nor with European standard EN 60598. | White LED ceiling lamp. Product sold online. | The creepage distance and clearing distance between live parts and accessible metal is insufficient. A user could receive an electric shock from accessible live parts. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Recall of the product from end users Date of entry into force: 23/01/2024
Serious risk | People's Republic of China | Electric shock, Fire | The product does not comply with the requirements of the Low Voltage Directive. | Electric beverage warming plate. The product is sold online. | Inadequate insulation of the product means that the metal components could become live. A user could touch the live parts and receive an electric shock. Poor construction of the product could result in the base of the product melting, presenting a risk of fire damage. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 05/01/2024 Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 18/12/2023
Serious risk | People's Republic of China | Burns, Fire | The product does not comply with the requirements of the General Product Safety Directive. | Black wireless karaoke microphone. Product sold online. | The USB charging wire may overheat and catch fire during use and cause burns to the user. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Recall for replacement wire or a refund Date of entry into force: 10/01/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60335. | Hair curler. | The electrical insulation is inadequate. The user may receive an electric shock. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 03/01/2024 Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 16/01/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Programmable professional flash that can be mounted on a tripod. Product sold online. | Live part of the product (the spiral of the flash tube) may be accessible. A user may touch the spiral while inserting or removing the product's lamp and receive an electric shock. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 05/12/2023 Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 05/12/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Programmable professional flash that can be mounted on a tripod. Product sold online. | Live part of the product (the spiral of the flash tube) may be accessible. A user may touch the spiral while inserting or removing the product's lamp and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Recall of the product from end users Date of entry into force: 02/01/2024
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive) nor with the Persistent Organic Pollutants (POP) Regulation. | Metallic lighter with USB. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 70.3% by weight). Lead poses a risk to the environment. The plastic material of the cable has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP), dibutyl phthalate (DBP) and short chain chlorinated paraffins (SCCPs) (measured values up to 2.6%, 3.7% and 0.82% by weight, respectively). The phthalates DEHP and DBP pose a risk to human health and the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to SCCPs through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 20/10/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | Lighting LED chain, 100 pieces, garland type. Rated voltage 250 VAC, rated frequency 60 Hz, and rated power 55 W. | The electrical insulation is inadequate. As a result, the user can receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Burns, Fire | The product does not comply with the requirements of Low Voltage Directive. | A white hairdryer. | The product is poorly constructed and overheats and melts during operation, causing burns. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 12/01/2024
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive), nor with the Persistent Organic Pollutants (POP) Regulation. | Black wireless headphones. Product sold online. | The solders in the product have excessive concentrations of lead and cadmium (measured values: up to 45 % and 0.12 % by weight, respectively). Lead poses a risk to the environment. Cadmium is harmful to human health because it accumulates in the body, can damage the kidneys and bones and it may cause cancer. The plastic materials of the product has excessive concentrations of bis(2-ethylhexyl) phthalate (DEHP) and short chain chlorinated paraffins (SCCPs) (measured values: up to 1.9 % and 5.1 % by weight, respectively). This phthalate may harm the health of children, possibly causing damage to the reproductive system. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 18/10/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive) nor with the Regulation on persistent organic pollutants (POP). | White electric air disinfector with USB cable. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 56%). The plastic material of the cable has an excessive concentration of lead, dibutyl phthalate (DBP) and of short chain chlorinated paraffins (SCCPs) (measured values: up to 0.3%, 2.6% and 5.2% by weight, respectively). Lead poses a risk to the environment. This phthalate may harm the health of children, possibly causing damage to the reproductive system. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 18/10/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive), nor with the Persistent Organic Pollutants (POP) Regulation. | Electronic calendar. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 80 % by weight). The plastic material of the cable has an excessive concentration of lead, bis(2-ethylhexyl) phthalate (DEHP) and short chain chlorinated paraffins (SCCPs) (measured values: 0.16 %, 1.5 % and 7 % by weight respectively). Lead poses a risk to the environment. DEHP poses a risk to human health and the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 18/10/2023
Serious risk | Unknown | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European Standard EN 61009. | Residual current circuit breaker with over-current protection (RCBO). | A user who touches a part of this electrical installation, equipped with a Residual Current Breaker with Over-Current, can receive an electric shock. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Recall of the product from end users Date of entry into force: 01/02/2024
Serious risk | Unknown | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European Standard EN 61009. | Residual current circuit breaker with over-current protection (RCBO). | The RCBO does not trip in case of sudden appearance of residual current. A person that touches a part of the electrical installation equipped with this RCBO can receive an electric shock. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Recall of the product from end users Date of entry into force: 01/02/2024
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Electrical crawling ghost with scary sound. | The solders in the product have an excessive concentration of lead (measured value up to 52.7% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 24/10/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Electric skeleton with moving parts and scary sound. | The solders in the product have an excessive concentration of lead (measured value up to 74.4% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 24/10/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive), nor with the Persistent Organic Pollutants (POP) Regulation. | Electric doorbell for Halloween with light and scary sound. | The solders in the product have excessive concentrations of lead and cadmium (measured values: up to 80.3% and 0.25% by weight, respectively). Lead poses a risk to the environment. Cadmium bio-accumulates and poses a risk to the environment. The plastic cable in the product has excessive concentrations of bis(2-ethylhexyl) phthalate (DEHP), dibutyl phthalate (DBP) and short chain chlorinated paraffins (SCCPs) (measured values: up to 0.4%, 1.7% and 0.5% by weight, respectively). These phthalates pose a risk to human health and the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 24/10/2023
Serious risk | Germany | Fire | The product does not comply with the requirements of the Low-Voltage Directive. | 9000-mAh lithium battery starting aid with a rapid-charge function for 12V vehicles. Product sold online, in particular via eBay with article number 256330022004. | The product may not shut down the electricity supply when in standby mode. In proximity to a lithium-ion battery there is the risk of a thermal breakdown and fire. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Recall of the product from end users Date of entry into force: 08/02/2024
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive) nor with the Persistent Organic Pollutants (POP) Regulation. | Wi-Fi repeater made of plastic, with a cable. Product sold online. | The plastic material of the cable has excessive concentrations of bis(2-ethylhexyl) phthalate (DEHP), dibutyl phthalate (DBP), lead and short chain chlorinated paraffines (SCCPs) (measured values up to: 0.92%, 1.14%, 0.17% and 2.97% by weight, respectively). Lead poses a risk to the environment. These phthalates may harm the health by causing possible damage to the reproductive system. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 12/12/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Magnifying glass with LED. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 53.9% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | Unknown | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Small black Bluetooth tracker, approximately 5 cm with a grey hole to enable putting it on a key chain. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 12.1 % by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Stop of sales Date of entry into force: 30/11/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Black car charger. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 55% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | Chile | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Blue LED light. | The solders in the product have an excessive concentration of lead (measured value up to 72.2% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 11/01/2024
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | White and blue plastic fabric shaver. The product is sold online. | The solders in the product have an excessive concentration of lead (measured value up to 72.3% by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Stop of sales Date of entry into force: 28/11/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive), nor with the Persistent Organic Pollutants (POP) Regulation. | Black plastic glasses with white USB cable. | The plastic material of the product has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP) and dibutyl phthalate (DBP) (measured values: 2.51% and 0.92% by weight, respectively). Additionally, the product has an excessive concentration of short chain chlorinated paraffins (SCCPs) (measured value: 7% by weight). SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 14/09/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive), nor with the Persistent Organic Pollutants (POP) Regulation. | Epilator. Product sold online. | The solders in the product have an excessive concentration of lead (measured value: up to 71.2 % by weight). The plastic material of the cable has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP) (measured value up to 0.58% by weight). It also has an excessive concentration of amount of short-chain chlorinated paraffins (SCCPs) (measured value up to 0.28 % by weight). Lead poses a risk to the environment. DEHP poses a risk to human health and the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Ban on the marketing of the product and any accompanying measures Date of entry into force: 28/11/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive) nor with the REACH regulation. | White electronic skin cleaner. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 61.2 % by weight). The plastic parts have an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP) (measured value up to 4.4 % by weight). Lead poses a risk to the environment. DEHP may harm the health of children, causing possible damage to their reproductive system. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | Unknown | Chemical, Environment | The product does not comply with the REACH Regulation nor with the Persistent Organic Pollutants (POP) Regulation. | White plastic electronic nose cleaner for children. | The solders in the product have excessive concentrations of bis(2-ethylhexyl) phthalate (DEHP) and short chain chlorinated paraffins (SCCP) (measured values up to 1.63% and 1.5% by weight, respectively). DEHP poses a risk to human health and the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the REACH Regulation nor with the Persistent Organic Pollutants (POP) Regulation. | Light chain, bulbs. | The plastic cable has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP) (measured value up to 12 % by weight) and short chain chlorinated paraffins (SCCPs) (measured value up to 0.2 % by weight). DEHP may harm the health of children, causing possible damage to their reproductive system. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bioaccumulate in wildlife and humans, posing a risk to human health and the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Black and silvery LED light with a bendable arm. | The solders in the product have an excessive concentration of lead (measured value up to 60.7% by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Importer Category of measure(s): Ban on the marketing of the product and any accompanying measures Date of entry into force: 17/01/2024
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Black thermometer-hygrometer. | The solders in the product have an excessive concentration of cadmium (measured value up to 0.3% by weight). Cadmium bio-accumulate and poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Earpods branded APPLE | The solders in the product have an excessive concentration of lead (measured value up to 17% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 13/12/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | Christmas outdoor and indoor garland, lamp type - LED, number of lamps 1000 pieces, garland type - non-replaceable lamps, mounting surface - flammable surface, IP protection according to IEC 60529 - IP44, garland cable Z type, conditions of use - normal conditions, rated voltage 230 VAC. | The electrical insulation is inadequate. As a result the user can receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive) nor with the Persistent Organic Pollutants (POP) Regulation. | Pink camera. The product is sold online. | The solders in the product have an excessive concentration of lead. (measured value up to 63% by weight). Lead poses a risk to the environment. The plastic material of the cable has an excessive concentration of lead, bis(2-ethylhexyl) phthalate (DEHP), dibutyl phthalate (DBP) and short chain chlorinated paraffins (SCCPs) (measured values: up to 0.22%, 2.6%, 1.1% and 5.5% by weight, respectively). DEHP and DBP poses a risk to human health and the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 14/09/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Black gaming set of headset, keyboard, mouse and mousepad | The plastic in the keyboard has an excessive concentration of polybrominated diphenyl ethers (PBDEs) (measured value up to 0.2%). PBDEs might cause neurodevelopmental behavioural defects and are very persistent and bio-accumulative, posing a risk for the environment and human health. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of Low Voltage Directive. | Black hair dryer. | The dimensions of the mains plug are too small and the fuse link is inadequate. The user could touch live parts and receive an electric shock. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown Type of economic operator taking notified measure(s): Distributor Category of measure(s): Recall of the product from end users Date of entry into force: Unknown
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Foldable kettle made of silicone, designed with a cold socket on the appliance side. Product sold online, in particular via Amazon (ASIN: B09SL4JF38). | Due to the improper design of the mains cable (no earthing connection) , as well due to the faulty wiring, the product is not properly earthed. If the basic insulation fails, the metal ring of the water heater may become live, and the user may receive an electric shock |  | Type of economic operator taking notified measure(s): Retailer Category of measure(s): Destruction of the product Date of entry into force: 23/02/2024 Type of economic operator taking notified measure(s): Retailer Category of measure(s): Recall of the product from end users Date of entry into force: 23/02/2024
Serious risk | People's Republic of China | Electric shock | This product does not comply with the requirements of the Low Voltage Directive, nor with the European standard EN 60598. | Plug-in LED night light in three colours. Product sold online, in particular via Amazon (ASIN: B09VLB17LD). | The cover can be removed easily, leaving live parts accessible. The user could consequently touch live parts and receive an electric shock. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Making the marketing of the product subject to prior conditions Date of entry into force: Unknown Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Technical measures Date of entry into force: Unknown
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Camera for cars. Product sold online. | The plastic material of the cable has an excessive concentration of dibutyl phthalate (DBP) (measured value up 1.01 % by weight). This phthalate poses a risk to human health and the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 27/11/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Wireless headphones | The solders in the product have an excessive concentration of lead (measured value up to 0.23%). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 13/12/2023 Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Warning consumers of the risks Date of entry into force: 13/12/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the standard EN 60335. | White wall charger with 4 USB A and 1 USB C ports. | The dimensions of the mains plug are substantially less than required and the insulation of the product is inadequate. The user could touch accessible live parts, which may cause an electric shock. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 27/09/2023
Serious risk | People's Republic of China | Electric shock, Fire | The product does not comply with the requirements of the Low Voltage Directive, nor with the European standard EN 62368-1. | White USB charger with three USB-A connections. Product sold online. | The pins have incorrect dimensions and the creepage distance between the primary and accessible secondary circuits are not sufficient. The user may touch the accessible live parts and receive an electric shock. Moreover, the material of the casing is flammable, which may lead to a fire. |  | Type of economic operator taking notified measure(s): Other Category of measure(s): Removal of this product listing by the online marketplace Date of entry into force: 08/02/2024 Type of economic operator taking notified measure(s): Importer Category of measure(s): Warning consumers of the risks Date of entry into force: 08/02/2024
Serious risk | People's Republic of China | Burns, Electric shock, Fire | The product does not comply with the requirements of the Low Voltage Directive nor with the standards IEC 60884-2-7 and IEC 60884-1. | Extension lead, three sockets, cable length: 1,5 m. | The live pin holes of the sockets are not equipped with shutters. Live parts may become accessible, hence a user may receive an electric shock. Moreover, the cross-sectional area of the external wire is too thin and it can overheat, leading to burns or fire. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 06/02/2024 Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Warning consumers of the risks Date of entry into force: 06/02/2024 Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Destruction of the product Date of entry into force: 06/02/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the IEC standards 60884-2-7 and 60884-1. | Extension lead with six sockets and four USB ports. | The live pin holes of the sockets are not equipped with shutters. Live parts may become accessible, and a user could touch them, leading to an electric shock. |  | Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Destruction of the product Date of entry into force: 06/02/2024 Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 06/02/2024 Type of economic operator taking notified measure(s): Manufacturer Category of measure(s): Warning consumers of the risks Date of entry into force: 06/02/2024
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS Directive) nor with the Persistent Organic Pollutants (POP) Regulation. | Plastic aroma diffuser with LED light. Product sold online. | The plastic material of the cable has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP) (measured value up to 6.72% by weight). The solders in the product have an excessive concentration of lead (measured value up to 62.9% by weight). The product has an excessive concentration of short chain chlorinated paraffins (SCCPs) (measured value up to 0.93 % by weight). DEHP poses a risk to human health and the environment. Lead poses a risk to the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 09/10/2023
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive) nor with the Persistent Organic Pollutants (POP) Regulation. | Electric muscle tens machine. Product sold online. | The plastic material of the cable has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP) (measured value up to 2.41%by weight). The solders in the product have an excessive concentration of cadmium (measured value up to 0.12% by weight). The product has an excessive concentration of short chain chlorinated paraffins (SCCPs) (measured value up to 2.56 % by weight). DEHP poses a risk to human health and the environment. Cadmium bio-accumulates and poses a risk to the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 06/10/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Battery powered breath alcohol tester. Product sold online. | The solders have an excessive concentration of lead (measured value up to 61.5% by weight). The connection to the battery has an excessive concentration of lead and cadmium (measured values up to 75.4% and 0.48% by weight, respectively). Lead poses a risk to the environment. Cadmium bio-accumulates and poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 06/10/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Plastic battery powered bicycle LED light. Product sold online. | The solders in the product have an excessive concentration of lead and cadmium (measured values up to 82.4% and 0.39% by weight, respectively). Lead poses a risk to the environment. Cadmium bio-accumulates and poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 27/12/2023
Serious risk | Poland | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the IEC standards 60884-1 and 60884-2-7. | Orange coloured extension cord 50m long with one socket. Product sold online. | The plug of a protection class-I appliance can be inserted into the socket of the extension cord, intended for appliances of protection class-II. A user who connects a class-I device to the extension cord may receive an electric shock. Further, the user could touch accessible live parts and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: 16/01/2024 Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Warning consumers of the risks Date of entry into force: 16/01/2024 Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Stop of sales Date of entry into force: 16/01/2024
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Rechargeable LED lamp made out of metal. The product is sold online. | The solders in the product have an excessive concentration of lead (measured value up to 8.3% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 20/11/2023
Serious risk | Unknown | Chemical, Environment | The product does not comply with the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive) nor with the Persistent Organic Pollutants (POP) Regulation. | Black chargeable bike light. | The solders in the product have an excessive concentration of lead (measured value up to 71.1% by weight). The black cable in the product has excessive concentrations of bis(2-ethylhexyl) phthalate (DEHP) and short chained chlorinated paraffines (SCCPs) (measured value up to 2.0% and 0.37% by weight, respectively). Lead poses a risk to the environment. DEHP poses a risk to human health and the environment. SCCPs persists in the environment are toxic and bio-accumulates, posing a risk to human health and the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 10/12/2023
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Electronic kitchen scale. The product is sold online. | The solders in the product have an excessive concentration of lead. (measured value up to 43% by weight). Lead poses a risk to the environment. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Ban on the marketing of the product and any accompanying measures Date of entry into force: 21/02/2024 | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 07/03/2024
Serious risk | People's Republic of China | Chemical, Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive) nor with the Persistent Organic Pollutants (POP) Regulation. | Rechargeable handheld vacuum cleaner. Product sold online. | The plastic material of the cable has an excessive concentration of bis(2-ethylhexyl) phthalate (DEHP) and dibutyl phthalate (DBP) (measured value: 3.7% and 1.8% by weight, respectively). The solders in the product have an excessive concentration of lead (measured value up to 69% by weight). The product has an excessive concentration of short chain chlorinated paraffins (SCCPs) (measured value up to 1.3 % by weight). These phthalates pose a risk to human health and the environment. Lead poses a risk to the environment. SCCPs persist in the environment, are toxic to aquatic organisms at low concentrations and bio-accumulate in wildlife and humans, posing a risk to human health and the environment. Prolonged exposure to them through the skin may cause cancer. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 24/01/2024 Type of economic operator taking notified measure(s): Importer Category of measure(s): Recall of the product from end users Date of entry into force: 24/01/2024
Serious risk | People's Republic of China | Environment | The product does not comply with the requirements of the Directive on the restriction of the use of certain hazardous substances in electrical and electronic equipment (RoHS 2 Directive). | Massage device. Product sold online. | The solders in the product have an excessive concentration of lead (measured value up to 53.9% by weight). Lead poses a risk to the environment. |  | Type of economic operator taking notified measure(s): Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 24/01/2024 Type of economic operator taking notified measure(s): Importer Category of measure(s): Recall of the product from end users Date of entry into force: 24/01/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | Lighting chain with 100 lamps, garland type - non-replaceable lamps, mounting surface - flammable surface, IP protection according to IEC 60529 - IP44, garland cable Z type, circumstances of use - normal conditions, nominal voltage 230 V, nominal frequency 50 Hz, nominal power 7 W. | The electrical insulation is inadequate and not sufficient. As a result, the user can receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | LED, with 100 pieces, garland type - non-replaceable lamps, mounting surface - flammable surface, IP protection according to IEC 60529 - IP44, garland cable Z type, circumstances of use - normal conditions, nominal voltage 230 V, nominal frequency 50 Hz, nominal power 6 W. | The electrical insulation is inadequate and not sufficient. As a result, the user can receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60598. | Lighting chain with 100 LED lamps, garland type - non-replaceable lamps, mounting surface - flammable surface, IP protection according to IEC 60529 - IP44, garland cable Z type, circumstances of use - normal conditions, nominal voltage 220 V, nominal frequency 50 Hz, nominal power 10 W. | The electrical insulation is inadequate and not sufficient. As a result the user can receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low voltage directive nor with the European standard EN 62368-1. | Direct plug-in AC/DC power supply with USB connector. | The insulation between the live primary parts and the accessible USB connector is not adequate. The user could touch live parts and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 07/03/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Lighting chain with 140 LED lamps, 220 V. | The dimensions of the mains plug are too small. The electrical insulation of the power supply is insufficient. The user could touch live parts and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Stop of sales Date of entry into force: 27/02/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Lighting chain with 200 LED lamps, 220V. | The dimensions of the mains plug are too small. The electrical insulation of the power supply is insufficient. The user could touch live parts and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Stop of sales Date of entry into force: 27/02/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive | Adaptor accompanied by multilingual instructions for use, Input: 100-250V AC, 2.4A, 50/60Hz, output: 19.5V DC, 4.62 | The electrical insulation is insufficient and the clearance and creepage distance between the primary circuit and the accessible secondary circuits are not sufficient. The product can overheat or the user can have access to live parts and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Ban on the marketing of the product and any accompanying measures Date of entry into force: 28/02/2024
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Lighting chain with 50 LED lamps, 220 V, 5V USB, 5m, 3W. | The dimensions of the mains plug are too small. The electrical insulation of the power supply is insufficient. The user could touch live parts and receive an electric shock. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Stop of sales Date of entry into force: 10/03/2024
Serious risk | People's Republic of China | Burns | The product does not comply with the requirements of the General Product Safety Directive nor with the European standard 62368-1. | 3-in-1 white foldable charging station, white | If a metal object is placed near the charger during use, the product can overheat which may cause it to melt or cause burns to the user. |  | Type of economic operator taking notified measure(s): Importer Category of measure(s): Stop of sales Date of entry into force: Unknown Type of economic operator taking notified measure(s): Importer Category of measure(s): Recall of the product from end users Date of entry into force: Unknown
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60335-1. | White USB charger with integrated mains plug and one USB A port. Product sold online. | The insulation of the product is inadequate. The user could receive an electric shock from accessible live parts. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Ban on the marketing of the product and any accompanying measures Date of entry into force: 06/10/2023 Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 06/10/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60335-1. | Black USB charger with integrated mains plug and 2 USB A ports. Product sold online. | The insulation of the product is inadequate. The user could receive an electric shock from accessible live parts. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 06/10/2023 Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Ban on the marketing of the product and any accompanying measures Date of entry into force: 06/10/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the European standard EN 60335-1. | White USB charger with integrated mains plug and one USB A port. Product sold online. | The insulation of the product is inadequate. The user could receive an electric shock from accessible live parts. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Recall of the product from end users Date of entry into force: 18/10/2023 Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Withdrawal of the product from the market Date of entry into force: 18/10/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive nor with the standard EN 60335-1. | White USB charger with integrated mains plug and two USB A ports. Product sold online. | The dimensions of the mains plug are substantially less than required and the insulation of the product is inadequate. The user could touch accessible live parts, which may cause an electric shock. | Type of economic operator to whom the measure(s) were ordered: Distributor Category of measure(s): Ban on the marketing of the product and any accompanying measures Date of entry into force: 28/11/2023
Serious risk | People's Republic of China | Electric shock | The product does not comply with the requirements of the Low Voltage Directive. | Soldering iron, 220 V, 100 W. | The insulation of the product is inadequate. The user could receive an electric shock from accessible live parts. | Type of economic operator to whom the measure(s) were ordered: Retailer Category of measure(s): Withdrawal of the product from the market Date of entry into force: Unknown
118