## Summary
2024 HCI Net Pricing
Please note the following quick reference information.
Standard Multipler: | 0.4
Discount schedule Expires on 01/01/25. HCi holds the right to change pricing at anytime. Any changes will be presented in writing 30 days prior to taking effect.
Free Freight Alowance
All prices are FOB Madison Heights, Michigan with full freight prepaid and allowed within the contiguous United States, on shipments $5000.00 net or more. HCi reserves the right to select the most economical routing and shall not be liable or responsible by reason of the mode or route of shipment.
Minimum Restocking Fee
A restocking fee of 25%-75% will be applied to all returns based on the condition and configuration of components.
Warranty
HCi products are backed by our 5-year warranty and performance guarantee. Please refer to the “Terms and Conditions of Sales” and the installation & operation manual for further details.
HCi appreciates your sales efforts. Please feel free to contact us if you have any questions or require any assistance.
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## PICV Kits
0.4
2024 HCI Net Pricing
PICV KITS
| 2-WAY KITS (1/2" - 2") | [10 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Kit Size | PICV Size | Min GPM | Recommended GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | 1 | 2 |  |  | or | 1 | 1 | 1 | 1 | 1 | 2
| 2YUN*-QVOO+VA7482L | 1/2" | 1/2" | 0.2 | 0.2 - 2 | 2 | 511.3097 | 204.5239 | 93.6903 | 37.4761 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | T92-AFF-1.98 | VA-7482-8002-RA | NT-AFM | TL-A |  |  |  | TY-AFF-QX | TU-AFM-VX | T92-AFF-1.98 | VA-7482-8002-RA | NT-AFM-X | TL-A
| 2YUN*-QVOO+VA7482L | 3/4" Compact | 3/4" | 0.75 | 1 - 3 | 4.4 | 575.0646 | 230.0258 | 88.0747 | 35.2299 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | T92-BFF-4.40 | VA-7482-8002-RA | NT-BFM | TL-B |  |  |  | TY1-BFF-QX | TU-BFM-VX | T92-BFF-4.40 | VA-7482-8002-RA | NT-BFM-X | TL-B
| 2YUN*-QVOO+VA7482L | 3/4" | 3/4" | 2 | 2 - 6 | 8.14 | 598.4418 | 239.3767 | 86.4061 | 34.5624 | T92/85 - Pressure Independent Control Valve | PN | TY-BFF-Q | TU-BFM-V | T92-BFF-8.14 | VA-7482-8002-RA | NT-BFM | TL-B |  |  |  | TY-BFF-QX | TU-BFM-VX | T92-BFF-8.14 | VA-7482-8002-RA | NT-BFM-X | TL-B
| 2YUN*-QVOO+VA7482L | 1" | 3/4" | 2 | 5 - 8 | 8.14 | 652.9402 | 261.1761 | 85.668 | 34.2672 | VA - Modulating Control Valve, Fail In Place | PN | TY-CFF-Q | TU-CFRM-V | T92-BFF-8.14 | VA-7482-8002-RA | NT-CFRM | TL-B |  |  |  | TY-CFF-QX | TU-CFRM-VX | T92-BFF-8.14 | VA-7482-8002-RA | NT-CFRM-X | TL-B
| 2YUN*-QVOO+VA7482L | 1" | 1" | 4 | 6 - 10 | 14.5 | 743.1578 | 297.2631 | 85.668 | 34.2672 | NT- Ball Valve, Union, PT | PN | TY-CFF-Q | TU-CFM-V | T92-CFF-14.5 | VA-7482-8002-RA | NT-CFM | TL-C |  |  |  | TY-CFF-QX | TU-CFM-VX | T92-CFF-14.5 | VA-7482-8002-RA | NT-CFM-X | TL-C
| 2YUN*-QVOO+VA7482L | 1-1/4" | 1" | 4 | 9 - 13 | 14.5 | 934.0958 | 373.6383 | 94.2953 | 37.7181 | Submittal - 92 Series | PN | TY-DFF-Q | TU-DFRM-V | T92-CFF-14.5 | VA-7482-8002-RA | NT-DFRM | TL-C |  |  |  | TY-DFF-QX | TU-DFRM-VX | T92-CFF-14.5 | VA-7482-8002-RA | NT-DFRM-X | TL-C
| 2YUN*-QVOO+VA7482L | 1-1/4" | 1-1/4" | 6 | 11 - 17 | 22.9 | 1203.3582 | 481.3433 | 94.2953 | 37.7181 | Submittal - 85 Series | PN | TY-DFF-Q | TU-DFM-V | T92-DFF-22.9 | VA-7482-8002-RA | NT-DFM | TL-D |  |  |  | TY-DFF-QX | TU-DFM-VX | T92-DFF-22.9 | VA-7482-8002-RA | NT-DFM-X | TL-D
| 2YUN*-QVOO+85VA9310L | 1-1/2" | 1-1/4" | 6.6 | 13 - 22 | 26.4 | 2024.5962 | 809.8385 | 104.3867 | 41.7547 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFRM-V | T85-DFF-26.4 | VA9310-HGA-2 | NT-EFRM | TL-D |  |  |  | TY-EFF-QX | TU-EFRM-VX | T85-DFF-26.4 | VA9310-HGA-2 | NT-EFRM-X | TL-D
| 2YUN*-QVOO+85VA9310L | 1-1/2" | 1-1/2" | 9.9 | 17 - 30 | 39.6 | 2176.3786 | 870.5514 | 104.3867 | 41.7547 |  | PN | TY-EFF-Q | TU-EFM-V | T85-EFF-39.6 | VA9310-HGA-2 | NT-EFM | TL-E |  |  |  | TY-EFF-QX | TU-EFM-VX | T85-EFF-39.6 | VA9310-HGA-2 | NT-EFM-X | TL-E
| 2YUN*-QVOO+85VA9310L | 2" | 2" | 13.2 | 20 - 40 | 52.8 | 2981.8877 | 1192.7551 | 115.6276 | 46.251 |  | PN | TY-FFF-Q | TU-FFM-V | T85-FFF-52.8 | VA9310-HGA-2 | NT-FFM | TL-F |  |  |  | TY-FFF-QX | TU-FFM-VX | T85-FFF-52.8 | VA9310-HGA-2 | NT-FFM-X | TL-F
| 2YUN*-QVOO+85VA9310L | 2" | 2" | 19.8 | 30 - 50 | 79.2 | 3117.4077 | 1246.9631 | 115.6276 | 46.251 |  | PN | TY-FFF-Q | TU-FFM-V | T85-FFF-79.2 | VA9310-HGA-2 | NT-FFM | TL-F |  |  |  | TY-FFF-QX | TU-FFM-VX | T85-FFF-79.2 | VA9310-HGA-2 | NT-FFM-X | TL-F
2 WAY KITS W/24" Long Flex Hoses (1/2" - 2")
| Kit Part Number | Kit Size | PICV Size | Min GPM | Recommended GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | or | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2
| 2YUN*-QV24L+VA7482L | 1/2" | 1/2" | 0.2 | 0.2 - 2 | 2 | 726.86 | 290.744 | 93.6903 | 37.4761 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | T92-AFF-1.98 | VA-7482-8002-RA | NT-AFM | TL-A | HC-AMM-24 | TL-A |  | TY-AFF-QX | TU-AFM-VX | T92-AFF-1.98 | VA-7482-8002-RA | NT-AFM-X | TL-A | HC-AMM-24 | TL-A
| 2YUN*-QV24L+VA7482L | 3/4" Compact | 3/4" | 0.75 | 1 - 3 | 4.4 | 873.3 | 349.32 | 88.0747 | 35.2299 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | T92-BFF-4.40 | VA-7482-8002-RA | NT-BFM | TL-B | HC-BMM-24 | TL-B |  | TY1-BFF-QX | TU-BFM-VX | T92-BFF-4.40 | VA-7482-8002-RA | NT-BFM-X | TL-B | HC-BMM-24 | TL-B
| 2YUN*-QV24L+VA7482L | 3/4" | 3/4" | 2 | 2 - 6 | 8.14 | 896.68 | 358.672 | 86.4061 | 34.5624 | T92/85 - Pressure Independent Control Valve | PN | TY-BFF-Q | TU-BFM-V | T92-BFF-8.14 | VA-7482-8002-RA | NT-BFM | TL-B | HC-BMM-24 | TL-B |  | TY-BFF-QX | TU-BFM-VX | T92-BFF-8.14 | VA-7482-8002-RA | NT-BFM-X | TL-B | HC-BMM-24 | TL-B
| 2YUN*-QV24L+VA7482L | 1" | 3/4" | 2 | 5 - 8 | 8.14 | 1023.12 | 409.248 | 85.668 | 34.2672 | VA - Modulating Control Valve, Fail In Place | PN | TY-CFF-Q | TU-CFRM-V | T92-BFF-8.14 | VA-7482-8002-RA | NT-CFRM | TL-B | HC-CMM-24 | TL-C |  | TY-CFF-QX | TU-CFRM-VX | T92-BFF-8.14 | VA-7482-8002-RA | NT-CFRM-X | TL-B | HC-CMM-24 | TL-C
| 2YUN*-QV24L+VA7482L | 1" | 1" | 4 | 6 - 10 | 14.5 | 1143.94 | 457.576 | 85.668 | 34.2672 | NT- Ball Valve, Union, PT | PN | TY-CFF-Q | TU-CFM-V | T92-CFF-14.5 | VA-7482-8002-RA | NT-CFM | TL-C | HC-CMM-24 | TL-C |  | TY-CFF-QX | TU-CFM-VX | T92-CFF-14.5 | VA-7482-8002-RA | NT-CFM-X | TL-C | HC-CMM-24 | TL-C
| 2YUN*-QV24L+VA7482L | 1-1/4" | 1" | 4 | 9 - 13 | 14.5 | 1502.77 | 601.108 | 94.2953 | 37.7181 | HC - Two 24" Long Flex Hoses | PN | TY-DFF-Q | TU-DFRM-V | T92-CFF-14.5 | VA-7482-8002-RA | NT-DFRM | TL-C | HC-DMM-24 | TL-D |  | TY-DFF-QX | TU-DFRM-VX | T92-CFF-14.5 | VA-7482-8002-RA | NT-DFRM-X | TL-C | HC-DMM-24 | TL-D
| 2YUN*-QV24L+VA7482L | 1-1/4" | 1-1/4" | 6 | 11 - 17 | 22.9 | 2025.03 | 810.012 | 94.2953 | 37.7181 | Submittal - 92 Series | PN | TY-DFF-Q | TU-DFM-V | T92-DFF-22.9 | VA-7482-8002-RA | NT-DFM | TL-D | HC-DMM-24 | TL-D |  | TY-DFF-QX | TU-DFM-VX | T92-DFF-22.9 | VA-7482-8002-RA | NT-DFM-X | TL-D | HC-DMM-24 | TL-D
| 2YUN*-QV24L+85VA9310L | 1-1/2" | 1-1/4" | 6.6 | 13 - 22 | 26.4 | 2286.87 | 914.748 | 104.3867 | 41.7547 | Submittal - 85 Series | PN | TY-EFF-Q | TU-EFRM-V | T85-DFF-26.4 | VA9310-HGA-2 | NT-EFRM | TL-D | HC-EMM-24 | TL-E |  | TY-EFF-QX | TU-EFRM-VX | T85-DFF-26.4 | VA9310-HGA-2 | NT-EFRM-X | TL-D | HC-EMM-24 | TL-E
| 2YUN*-QV24L+85VA9310L | 1-1/2" | 1-1/2" | 9.9 | 17 - 30 | 39.6 | 2665.46 | 1066.184 | 104.3867 | 41.7547 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | T85-EFF-39.6 | VA9310-HGA-2 | NT-EFM | TL-E | HC-EMM-24 | TL-E |  | TY-EFF-QX | TU-EFM-VX | T85-EFF-39.6 | VA9310-HGA-2 | NT-EFM-X | TL-E | HC-EMM-24 | TL-E
| 2YUN*-QV24L+85VA9310L | 2" | 2" | 13.2 | 20 - 40 | 52.8 | 3788.33 | 1515.332 | 115.6276 | 46.251 |  | PN | TY-FFF-Q | TU-FFM-V | T85-FFF-52.8 | VA9310-HGA-2 | NT-FFM | TL-F | HC-FMM-24 | TL-F |  | TY-FFF-QX | TU-FFM-VX | T85-FFF-52.8 | VA9310-HGA-2 | NT-FFM-X | TL-F | HC-FMM-24 | TL-F
| 2YUN*-QV24L+85VA9310L | 2" | 2" | 19.8 | 30 - 50 | 79.2 | 3923.85 | 1569.54 | 115.6276 | 46.251 |  | PN | TY-FFF-Q | TU-FFM-V | T85-FFF-79.2 | VA9310-HGA-2 | NT-FFM | TL-F | HC-FMM-24 | TL-F |  | TY-FFF-QX | TU-FFM-VX | T85-FFF-79.2 | VA9310-HGA-2 | NT-FFM-X | TL-F | HC-FMM-24 | TL-F
2-WAY KITS (2-1/2" - 6")
| Kit Part Number | Kit Size | PICV Size | Min GPM | Recommended GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1 | 1
| L2YAO-QO+VA94ML | 2-1/2" | 2-1/2" | 33 |  | 132 | 3616.9034 | 1446.7614 |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | T94FA-GFF-132 | BF-GLL
| L2YAO-QO+VA94ML | 3" | 3" | 33 | 45 - 110 | 132 | 4666.3254 | 1866.5302 |  |  | T94FA - PICV + Modulating, Fail in Place Actuator | PN | TS-HLF-Q | T94FA-HFF-132 | BF-HLL
| L2YAO-QO+VA94ML | 4" | 4" | 60.5 | 80 - 200 | 242 | 8478.7153 | 3391.4861 |  |  | BFV - Butterfly Valve | PN | TS-ILF-Q | T94FA-IFF-242 | BF-ILL
| L2YAO-QO+VA94ML | 6" | 6" | 166.5 | 180 - 450 | 666 | 10038.6132 | 4015.4453 |  |  | Submittal | PN | TS-JLF-Q | T94FA-JFF-660 | BF-JLL
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## Auto Kits
0.4
2024 HCI Net Pricing
AUTOMATIC KITS
| 2-WAY KITS (1/2" - 2") | [9 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1
| 2YUA*-QVOO | 1/2" | 0.33 | 0.33 - 3 | 5 | 271.91 | 108.764 | 102.6322 | 41.0529 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TA-AFM-L | Cartridge |  | TY-AFF-QX | TU-AFM-VX | TA-AFM-L-X | Cartridge
| 2YUA*-QVOO | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | 305.26 | 122.104 | 99.4039 | 39.7616 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TA1-BFM-L | Cartridge |  | TY1-BFF-QX | TU-BFM-VX | TA1-BFM-L-X | Cartridge
| 2YUA*-QVOO | 3/4" | 1 | 2 - 6 | 12 | 358.4504 | 143.3802 | 98.5787 | 39.4315 | AT - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TA-BFM-L | Cartridge |  | TY-BFF-QX | TU-BFM-VX | TA-BFM-L-X | Cartridge
| 2YUA*-QVOO | 1" | 1 | 5 - 10 | 12 | 391.435 | 156.574 | 98.5666 | 39.4266 | Submittal | PN | TY-CFF-Q | TU-CFM-V | TA-CFM-L | Cartridge |  | TY-CFF-QX | TU-CFM-VX | TA-CFM-L-X | Cartridge
| 2YUA*-QVOO | 1-1/4" | 9 | 9 - 15 | 26 | 702.4534 | 280.9814 | 106.7704 | 42.7082 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-DFF-Q | TU-DFM-V | TA-DFM-L | Cartridge |  | TY-DFF-QX | TU-DFM-VX | TA-DFM-L-X | Cartridge
| 2YUA*-QVOO | 1-1/2" | 9 | 13 - 22 | 26 | 757.4358 | 302.9743 | 106.7825 | 42.713 |  | PN | TY-EFF-Q | TU-EFM-V | TA-EFM-L | Cartridge |  | TY-EFF-QX | TU-EFM-VX | TA-EFM-L-X | Cartridge
| 2YUA*-QVOO | 2" | 20 | 20 - 40 | 70 | 1154.0254 | 461.6102 | 128.9013 | 51.5605 |  | PN | TY-FFF-Q | TU-FFM-V | TA-FFM-L | Cartridge |  | TY-FFF-QX | TU-FFM-VX | TA-FFM-L-X | Cartridge
3-WAY KITS (1/2" - 2")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1 | 1
| 3YUAN*-QVOO | 1/2" | 0.33 | 0.33 - 3 | 5 | 319.62 | 127.848 | 132.4466 | 52.9786 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TA-AFM-L | Cartridge | NT-AFF |  | TY-AFF-QX | TU-AFM-VX | TA-AFM-L-X | Cartridge | NT-AFF-X
| 3YUAN*-QVOO | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | 360.42 | 144.168 | 130.7066 | 52.2826 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TA1-BFM-L | Cartridge | NT-BFF |  | TY1-BFF-QX | TU-BFM-VX | TA1-BFM-L-X | Cartridge | NT-BFF-X
| 3YUAN*-QVOO | 3/4" | 1 | 2 - 6 | 12 | 413.6143 | 165.4457 | 129.8814 | 51.9526 | AT - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TA-BFM-L | Cartridge | NT-BFF |  | TY-BFF-QX | TU-BFM-VX | TA-BFM-L-X | Cartridge | NT-BFF-X
| 3YUAN*-QVOO | 1" | 1 | 5 - 10 | 12 | 479.3899 | 191.756 | 129.1312 | 51.6525 | NT - Ball Valve, Union w/ PT | PN | TY-CFF-Q | TU-CFM-V | TA-CFM-L | Cartridge | NT-CFF |  | TY-CFF-QX | TU-CFM-VX | TA-CFM-L-X | Cartridge | NT-CFF-X
| 3YUAN*-QVOO | 1-1/4" | 9 | 9 - 15 | 26 | 882.8402 | 353.1361 | 141.7999 | 56.72 | Submittal | PN | TY-DFF-Q | TU-DFM-V | TA-DFM-L | Cartridge | NT-DFF |  | TY-DFF-QX | TU-DFM-VX | TA-DFM-L-X | Cartridge | NT-DFF-X
| 3YUAN*-QVOO | 1-1/2" | 9 | 13 - 22 | 26 | 985.5208 | 394.2083 | 151.8792 | 60.7517 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | TA-EFM-L | Cartridge | NT-EFF |  | TY-EFF-QX | TU-EFM-VX | TA-EFM-L-X | Cartridge | NT-EFF-X
| 3YUAN*-QVOO | 2" | 20 | 20 - 40 | 70 | 1479.0072 | 591.6029 | 173.998 | 69.5992 |  | PN | TY-FFF-Q | TU-FFM-V | TA-FFM-L | Cartridge | NT-FFF |  | TY-FFF-QX | TU-FFM-VX | TA-FFM-L-X | Cartridge | NT-FFF-X
2-WAY KITS w/ 24" Long Flex Hoses (1/2" - 2")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | 2 | 2 | or | 1 | 1 | 1 | 1 | 2 | 2
| 2YUA*-QV24L | 1/2" | 0.33 | 0.33 - 3 | 5 | 358.63 | 143.452 | 102.6322 | 41.0529 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TA-AFM-L | Cartridge | HC-AMM-24 | TL-A |  | TY-AFF-QX | TU-AFM-VX | TA-AFM-L-X | Cartridge | HC-AMM-24 | TL-A
| 2YUA*-QV24L | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | 447.56 | 179.024 | 99.4039 | 39.7616 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TA1-BFM-L | Cartridge | HC-BMM-24 | TL-B |  | TY1-BFF-QX | TU-BFM-VX | TA1-BFM-L-X | Cartridge | HC-BMM-24 | TL-B
| 2YUA*-QV24L | 3/4" | 1 | 2 - 6 | 12 | 500.75 | 200.3 | 98.5787 | 39.4315 | AT - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TA-BFM-L | Cartridge | HC-BMM-24 | TL-B |  | TY-BFF-QX | TU-BFM-VX | TA-BFM-L-X | Cartridge | HC-BMM-24 | TL-B
| 2YUA*-QV24L | 1" | 1 | 5 - 10 | 12 | 605.7018 | 242.2807 | 98.5666 | 39.4266 | HC - Two 24" Long Flex Hoses | PN | TY-CFF-Q | TU-CFM-V | TA-CFM-L | Cartridge | HC-CMM-24 | TL-C |  | TY-CFF-QX | TU-CFM-VX | TA-CFM-L-X | Cartridge | HC-CMM-24 | TL-C
| 2YUA*-QV24L | 1-1/4" | 9 | 9 - 15 | 26 | 1035.8326 | 414.333 | 106.7704 | 42.7082 | Submittal | PN | TY-DFF-Q | TU-DFM-V | TA-DFM-L | Cartridge | HC-DMM-24 | TL-D |  | TY-DFF-QX | TU-DFM-VX | TA-DFM-L-X | Cartridge | HC-DMM-24 | TL-D
| 2YUA*-QV24L | 1-1/2" | 9 | 13 - 22 | 26 | 1253.1728 | 501.2691 | 106.7825 | 42.713 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | TA-EFM-L | Cartridge | HC-EMM-24 | TL-E |  | TY-EFF-QX | TU-EFM-VX | TA-EFM-L-X | Cartridge | HC-EMM-24 | TL-E
| 2YUA*-QV24L | 2" | 20 | 20 - 40 | 70 | 1967.1454 | 786.8582 | 128.9013 | 51.5605 |  | PN | TY-FFF-Q | TU-FFM-V | TA-FFM-L | Cartridge | HC-FMM-24 | TL-F |  | TY-FFF-QX | TU-FFM-VX | TA-FFM-L-X | Cartridge | HC-FMM-24 | TL-F
3-WAY KITS w/ 24" Long Flex Hoses (1/2" - 2")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | 1 | 2 | 2 | or | 1 | 1 | 1 | 1 | 1 | 2 | 2
| 3YUAN*-QV24L | 1/2" | 0.33 | 0.33 - 3 | 5 | 406.34 | 162.536 | 132.4466 | 52.9786 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TA-AFM-L | Cartridge | NT-AFF | HC-AMM-24 | TL-A |  | TY-AFF-QX | TU-AFM-VX | TA-AFM-L-X | Cartridge | NT-AFF-X | HC-AMM-24 | TL-A
| 3YUAN*-QV24L | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | 502.72 | 201.088 | 130.7066 | 52.2826 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TA1-BFM-L | Cartridge | NT-BFF | HC-BMM-24 | TL-B |  | TY1-BFF-QX | TU-BFM-VX | TA1-BFM-L-X | Cartridge | NT-BFF-X | HC-BMM-24 | TL-B
| 3YUAN*-QV24L | 3/4" | 1 | 2 - 6 | 12 | 555.91 | 222.364 | 129.8814 | 51.9526 | AT - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TA-BFM-L | Cartridge | NT-BFF | HC-BMM-24 | TL-B |  | TY-BFF-QX | TU-BFM-VX | TA-BFM-L-X | Cartridge | NT-BFF-X | HC-BMM-24 | TL-B
| 3YUAN*-QV24L | 1" | 1 | 5 - 10 | 12 | 693.6567 | 277.4627 | 129.1312 | 51.6525 | NT - Ball Valve, Union w/ PT | PN | TY-CFF-Q | TU-CFM-V | TA-CFM-L | Cartridge | NT-CFF | HC-CMM-24 | TL-C |  | TY-CFF-QX | TU-CFM-VX | TA-CFM-L-X | Cartridge | NT-CFF-X | HC-CMM-24 | TL-C
| 3YUAN*-QV24L | 1-1/4" | 9 | 9 - 15 | 26 | 1216.2194 | 486.4878 | 141.7999 | 56.72 | HC - Two 24" Long Flex Hoses | PN | TY-DFF-Q | TU-DFM-V | TA-DFM-L | Cartridge | NT-DFF | HC-DMM-24 | TL-D |  | TY-DFF-QX | TU-DFM-VX | TA-DFM-L-X | Cartridge | NT-DFF-X | HC-DMM-24 | TL-D
| 3YUAN*-QV24L | 1-1/2" | 9 | 13 - 22 | 26 | 1481.2578 | 592.5031 | 151.8792 | 60.7517 | Submittal | PN | TY-EFF-Q | TU-EFM-V | TA-EFM-L | Cartridge | NT-EFF | HC-EMM-24 | TL-E |  | TY-EFF-QX | TU-EFM-VX | TA-EFM-L-X | Cartridge | NT-EFF-X | HC-EMM-24 | TL-E
| 3YUAN*-QV24L | 2" | 20 | 20 - 40 | 70 | 2292.1272 | 916.8509 | 173.998 | 69.5992 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-FFF-Q | TU-FFM-V | TA-FFM-L | Cartridge | NT-FFF | HC-FMM-24 | TL-F |  | TY-FFF-QX | TU-FFM-VX | TA-FFM-L-X | Cartridge | NT-FFF-X | HC-FMM-24 | TL-F
2-WAY KITS (2-1/2" - 6")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1 | 1
| L2YAO-QO | 2-1/2" | 10 | 30 - 70 | 80 | 1897.1304 | 758.8522 |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | TA-GW-L | BF-GLL
| L2YAO-QO | 2-1/2" | 15 | 30 - 70 | 120 | 1897.1304 | 758.8522 |  |  | AT - Automatic Balancing Valve | PN | TS-GLF-Q | TA-GW-H | BF-GLL
| L2YAO-QO | 3" | 20 | 45 - 110 | 135 | 2476.903 | 990.7612 |  |  | BFV - Butterfly Valve | PN | TS-HLF-Q | TA-HW-L | BF-HLL
| L2YAO-QO | 3" | 20 | 45 - 110 | 170 | 2476.903 | 990.7612 |  |  | Submittal | PN | TS-HLF-Q | TA-HW-H | BF-HLL
| L2YAO-QO | 4" | 35 | 80 - 200 | 270 | 3510.1286 | 1404.0514 |  |  |  | PN | TS-ILF-Q | TA-IW-L | BF-ILL
| L2YAO-QO | 4" | 54 | 80 - 200 | 340 | 3510.1286 | 1404.0514 |  |  |  | PN | TS-ILF-Q | TA-IW-H | BF-ILL
| L2YAO-QO | 6" | 70 | 180 - 450 | 540 | 6810.0021 | 2724.0008 |  |  |  | PN | TS-JLF-Q | TA-JW-L | BF-JLL
| L2YAO-QO | 6" | 85 | 180 - 450 | 680 | 6810.0021 | 2724.0008 |  |  |  | PN | TS-JLF-Q | TA-JW-H | BF-JLL
3-WAY KITS (2-1/2" - 6")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1 | 2
| L3YAIO-QO | 2-1/2" | 10 | 30 - 70 | 80 | 2083.9907 | 833.5963 |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | TA-GW-L | BF-GLL
| L3YAIO-QO | 2-1/2" | 15 | 30 - 70 | 120 | 2083.9907 | 833.5963 |  |  | AT - Automatic Balancing Valve | PN | TS-GLF-Q | TA-GW-H | BF-GLL
| L3YAIO-QO | 3" | 20 | 45 - 110 | 135 | 2687.9633 | 1075.1853 |  |  | BFV - Butterfly Valve | PN | TS-HLF-Q | TA-HW-L | BF-HLL
| L3YAIO-QO | 3" | 20 | 45 - 110 | 170 | 2687.9633 | 1075.1853 |  |  | BFV - Butterfly Valve | PN | TS-HLF-Q | TA-HW-H | BF-HLL
| L3YAIO-QO | 4" | 35 | 80 - 200 | 270 | 3823.2887 | 1529.3155 |  |  | Submittal | PN | TS-ILF-Q | TA-IW-L | BF-ILL
| L3YAIO-QO | 4" | 54 | 80 - 200 | 340 | 3823.2887 | 1529.3155 |  |  |  | PN | TS-ILF-Q | TA-IW-H | BF-ILL
| L3YAIO-QO | 6" | 70 | 180 - 450 | 540 | 7326.5632 | 2930.6253 |  |  |  | PN | TS-JLF-Q | TA-JW-L | BF-JLL
| L3YAIO-QO | 6" | 85 | 180 - 450 | 680 | 7326.5632 | 2930.6253 |  |  |  | PN | TS-JLF-Q | TA-JW-H | BF-JLL
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## Manual Kits
0.4
2024 HCI Net Pricing
MANUAL KITS
| 2-WAY KITS (1/2" - 2") | [9 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | or | 1 | 1 | 1
| 2YUB*-QVOO | 1/2" | 0.1 | 0.1- 3 | 11 | 203.8971 | 81.5588 | 102.6443 | 41.0577 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TB-AFM |  | TY-AFF-QX | TU-AFM-VX | TB-AFM-X
| 2YUB*-QVOO | 3/4" Compact | 0.1 | 0.1 - 3 | 11 | 225.2415 | 90.0966 | 95.5283 | 38.2113 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TB-BFM |  | TY1-BFF-QX | TU-BFM-VX | TB-BFM-X
| 2YUB*-QVOO | 3/4" | 0.1 | 2 - 6 | 11 | 248.6187 | 99.4475 | 93.8597 | 37.5439 | TB - Manual Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TB-BFM |  | TY-BFF-QX | TU-BFM-VX | TB-BFM-X
| 2YUB*-QVOO | 1" | 2.7 | 5 - 10 | 16.4 | 307.5941 | 123.0376 | 116.4911 | 46.5964 | Submittal | PN | TY-CFF-Q | TU-CFM-V | TB-CFM |  | TY-CFF-QX | TU-CFM-VX | TB-CFM-X
| 2YUB*-QVOO | 1-1/4" | 4.7 | 9 - 15 | 31.8 | 470.1939 | 188.0776 | 103.2493 | 41.2997 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-DFF-Q | TU-DFM-V | TB-DFM |  | TY-DFF-QX | TU-DFM-VX | TB-DFM-X
| 2YUB*-QVOO | 1-1/2" | 5.7 | 13 - 22 | 38 | 566.6672 | 226.6669 | 103.2735 | 41.3094 |  | PN | TY-EFF-Q | TU-EFM-V | TB-EFM |  | TY-EFF-QX | TU-EFM-VX | TB-EFM-X
| 2YUB*-QVOO | 2" | 7.5 | 20 - 40 | 88 | 821.2875 | 328.515 | 124.5816 | 49.8326 |  | PN | TY-FFF-Q | TU-FFM-V | TB-FFM |  | TY-FFF-QX | TU-FFM-VX | TB-FFM-X
3-WAY KITS (1/2" - 2")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | HW List | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1
| 3YUBN*-QVOO | 1/2" | 0.1 | 0.1- 3 | 11 | 251.6074 | 100.643 | 132.4587 | 52.9835 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TB-AFM | NT-AFF |  | TY-AFF-QX | TU-AFM-VX | TB-AFM-X | NT-AFF-X
| 3YUBN*-QVOO | 3/4" Compact | 0.1 | 0.1 - 3 | 11 | 280.4054 | 112.1622 | 126.831 | 50.7324 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TB-BFM | NT-BFF |  | TY1-BFF-QX | TU-BFM-VX | TB-BFM-X | NT-BFF-X
| 3YUBN*-QVOO | 3/4" | 0.1 | 2 - 6 | 11 | 303.7826 | 121.513 | 125.1624 | 50.065 | TB - Manual Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TB-BFM | NT-BFF |  | TY-BFF-QX | TU-BFM-VX | TB-BFM-X | NT-BFF-X
| 3YUBN*-QVOO | 1" | 2.7 | 5 - 10 | 16.4 | 395.549 | 158.2196 | 147.0557 | 58.8223 | NT - Ball Valve, Union w/ PT | PN | TY-CFF-Q | TU-CFM-V | TB-CFM | NT-CFF |  | TY-CFF-QX | TU-CFM-VX | TB-CFM-X | NT-CFF-X
| 3YUBN*-QVOO | 1-1/4" | 4.7 | 9 - 15 | 31.8 | 650.5807 | 260.2323 | 138.2788 | 55.3115 | Submittal | PN | TY-DFF-Q | TU-DFM-V | TB-DFM | NT-DFF |  | TY-DFF-QX | TU-DFM-VX | TB-DFM-X | NT-DFF-X
| 3YUBN*-QVOO | 1-1/2" | 5.7 | 13 - 22 | 38 | 794.7522 | 317.9009 | 148.3702 | 59.3481 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | TB-EFM | NT-EFF |  | TY-EFF-QX | TU-EFM-VX | TB-EFM-X | NT-EFF-X
| 3YUBN*-QVOO | 2" | 7.5 | 20 - 40 | 88 | 1146.2693 | 458.5077 | 169.6783 | 67.8713 |  | PN | TY-FFF-Q | TU-FFM-V | TB-FFM | NT-FFF |  | TY-FFF-QX | TU-FFM-VX | TB-FFM-X | NT-FFF-X
2-WAY KITS w/ 24" Long Flex Hoses (1/2" - 2")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 2 | 2 | or | 1 | 1 | 1 | 2 | 2
| 2YUB*-QV24L | 1/2" | 0.1 | 0.1- 3 | 11 | 290.6299 | 116.252 | 102.6443 | 41.0577 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TB-AFM | HC-AMM-24 | TL-A |  | TY-AFF-QX | TU-AFM-VX | TB-AFM-X | HC-AMM-24 | TL-A
| 2YUB*-QV24L | 3/4" Compact | 0.1 | 0.1 - 3 | 11 | 367.5375 | 147.015 | 95.5283 | 38.2113 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TB-BFM | HC-BMM-24 | TL-B |  | TY1-BFF-QX | TU-BFM-VX | TB-BFM-X | HC-BMM-24 | TL-B
| 2YUB*-QV24L | 3/4" | 0.1 | 2 - 6 | 11 | 390.9147 | 156.3659 | 93.8597 | 37.5439 | TB - Manual Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TB-BFM | HC-BMM-24 | TL-B |  | TY-BFF-QX | TU-BFM-VX | TB-BFM-X | HC-BMM-24 | TL-B
| 2YUB*-QV24L | 1" | 2.7 | 5 - 10 | 16.4 | 521.8609 | 208.7444 | 116.4911 | 46.5964 | HC - Two 24" Long Flex Hoses | PN | TY-CFF-Q | TU-CFM-V | TB-CFM | HC-CMM-24 | TL-C |  | TY-CFF-QX | TU-CFM-VX | TB-CFM-X | HC-CMM-24 | TL-C
| 2YUB*-QV24L | 1-1/4" | 4.7 | 9 - 15 | 31.8 | 803.5731 | 321.4292 | 103.2493 | 41.2997 | Submittal | PN | TY-DFF-Q | TU-DFM-V | TB-DFM | HC-DMM-24 | TL-D |  | TY-DFF-QX | TU-DFM-VX | TB-DFM-X | HC-DMM-24 | TL-D
| 2YUB*-QV24L | 1-1/2" | 5.7 | 13 - 22 | 38 | 1062.4042 | 424.9617 | 103.2735 | 41.3094 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | TB-EFM | HC-EMM-24 | TL-E |  | TY-EFF-QX | TU-EFM-VX | TB-EFM-X | HC-EMM-24 | TL-E
| 2YUB*-QV24L | 2" | 7.5 | 20 - 40 | 88 | 1634.4075 | 653.763 | 124.5816 | 49.8326 |  | PN | TY-FFF-Q | TU-FFM-V | TB-FFM | HC-FMM-24 | TL-F |  | TY-FFF-QX | TU-FFM-VX | TB-FFM-X | HC-FMM-24 | TL-F
3-WAY KITS w/ 24" Long Flex Hoses (1/2" - 2")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | HW List | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | 2 | 2 | or | 1 | 1 | 1 | 1 | 2 | 2
| 3YUBN*-QV24L | 1/2" | 0.1 | 0.1- 3 | 11 | 338.3402 | 135.3361 | 132.4587 | 52.9835 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TB-AFM | NT-AFF | HC-AMM-24 | TL-A |  | TY-AFF-QX | TU-AFM-VX | TB-AFM-X | NT-AFF-X | HC-AMM-24 | TL-A
| 3YUBN*-QV24L | 3/4" Compact | 0.1 | 0.1 - 3 | 11 | 422.7014 | 169.0806 | 126.831 | 50.7324 | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TB-BFM | NT-BFF | HC-BMM-24 | TL-B |  | TY1-BFF-QX | TU-BFM-VX | TB-BFM-X | NT-BFF-X | HC-BMM-24 | TL-B
| 3YUBN*-QV24L | 3/4" | 0.1 | 2 - 6 | 11 | 446.0786 | 178.4314 | 125.1624 | 50.065 | TB - Manual Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TB-BFM | NT-BFF | HC-BMM-24 | TL-B |  | TY-BFF-QX | TU-BFM-VX | TB-BFM-X | NT-BFF-X | HC-BMM-24 | TL-B
| 3YUBN*-QV24L | 1" | 2.7 | 5 - 10 | 16.4 | 609.8158 | 243.9263 | 147.0557 | 58.8223 | NT - Ball Valve, Union w/ PT | PN | TY-CFF-Q | TU-CFM-V | TB-CFM | NT-CFF | HC-CMM-24 | TL-C |  | TY-CFF-QX | TU-CFM-VX | TB-CFM-X | NT-CFF-X | HC-CMM-24 | TL-C
| 3YUBN*-QV24L | 1-1/4" | 4.7 | 9 - 15 | 31.8 | 983.9599 | 393.584 | 138.2788 | 55.3115 | HC - Two 24" Long Flex Hoses | PN | TY-DFF-Q | TU-DFM-V | TB-DFM | NT-DFF | HC-DMM-24 | TL-D |  | TY-DFF-QX | TU-DFM-VX | TB-DFM-X | NT-DFF-X | HC-DMM-24 | TL-D
| 3YUBN*-QV24L | 1-1/2" | 5.7 | 13 - 22 | 38 | 1290.4892 | 516.1957 | 148.3702 | 59.3481 | Submittal | PN | TY-EFF-Q | TU-EFM-V | TB-EFM | NT-EFF | HC-EMM-24 | TL-E |  | TY-EFF-QX | TU-EFM-VX | TB-EFM-X | NT-EFF-X | HC-EMM-24 | TL-E
| 3YUBN*-QV24L | 2" | 7.5 | 20 - 40 | 88 | 1959.3893 | 783.7557 | 169.6783 | 67.8713 | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-FFF-Q | TU-FFM-V | TB-FFM | NT-FFF | HC-FMM-24 | TL-F |  | TY-FFF-QX | TU-FFM-VX | TB-FFM-X | NT-FFF-X | HC-FMM-24 | TL-F
2-WAY KITS (2-1/2" - 6")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1
| L2YBO-QO | 2-1/2" | 25 | 30 - 70 | 75 | 1381.721 | 552.6884 |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | TB-GLF-L
| L2YBO-QO | 2-1/2" | 60 | 30 - 70 | 175 | 1381.721 | 552.6884 |  |  | TB - Manual Balancing Valve, Butterfly Valve | PN | TS-GLF-Q | TB-GLF-H
| L2YBO-QO | 3" | 42 | 45 - 125 | 125 | 1576.817 | 630.7268 |  |  | Submittal | PN | TS-HLF-Q | TB-HLF-L
| L2YBO-QO | 3" | 110 | 45 - 125 | 330 | 1576.817 | 630.7268 |  |  |  | PN | TS-HLF-Q | TB-HLF-H
| L2YBO-QO | 4" | 125 | 125 - 250 | 400 | 2299.77 | 919.908 |  |  |  | PN | TS-ILF-Q | TB-ILF-L
| L2YBO-QO | 6" | 250 | 250 - 450 | 900 | 3832.158 | 1532.8632 |  |  |  | PN | TS-JLF-Q | TB-JLF
3-WAY KITS (2-1/2" - 6")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1 | 1
| L3YBIO-QO | 2-1/2" | 25 | 30 - 70 | 75 | 1568.5813 | 627.4325 |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | TB-GLF-L | BF-GLL
| L3YBIO-QO | 2-1/2" | 60 | 30 - 70 | 175 | 1568.5813 | 627.4325 |  |  | TB - Manual Balancing Valve, Butterfly Valve | PN | TS-GLF-Q | TB-GLF-H | BF-GLL
| L3YBIO-QO | 3" | 42 | 45 - 125 | 125 | 1787.8773 | 715.1509 |  |  | BFV - Butterfly Valve | PN | TS-HLF-Q | TB-HLF-L | BF-HLL
| L3YBIO-QO | 3" | 110 | 45 - 125 | 330 | 1787.8773 | 715.1509 |  |  | Submittal | PN | TS-HLF-Q | TB-HLF-H | BF-HLL
| L3YBIO-QO | 4" | 125 | 125 - 250 | 400 | 2612.9301 | 1045.172 |  |  |  | PN | TS-ILF-Q | TB-ILF-L | BF-ILL
| L3YBIO-QO | 6" | 250 | 250 - 450 | 900 | 4348.7191 | 1739.4876 |  |  |  | PN | TS-JLF-Q | TB-JLF | BF-JLL
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## WSHP Kits
0.4
2024 HCI Net Pricing
WSHP HOSE KITS
| 2-WAY KITS (1/2" - 2") | [7 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List | Net Price | Includes | QTY | 1 | 2 | 2 | 1 | 1
| YOAO-QO24L | 1/2" | 0.33 | 0.33 - 3 | 5 | 320.21 | 128.084 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | HC-AMM-24 | TL-A | TA-AFF-L | Cartridge
| YOAO-QO24L | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | 399.14 | 159.656 | HC - Two 24" Long Flex Hoses | PN | TY1-BFF-Q | HC-BMM-24 | TL-B | TA1-BFF-L | Cartridge
| YOAO-QO24L | 3/4" | 1 | 2 - 9 | 12 | 452.3222 | 180.9289 | AT - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | HC-BMM-24 | TL-B | TA-BFF-L | Cartridge
| YOAO-QO24L | 1" | 1 | 5 - 12 | 12 | 548.9286 | 219.5714 | Submittal | PN | TY-CFF-Q | HC-CMM-24 | TL-C | TA-CFF-L | Cartridge
| YOAO-QO24L | 1-1/4" | 9 | 9 - 18 | 26 | 957.352 | 382.9408 | Note: Flex hoses installed and pressure tested | PN | TY-DFF-Q | HC-DMM-24 | TL-D | TA-DFF-L | Cartridge
| YOAO-QO24L | 1-1/2" | 9 | 15 - 24 | 26 | 1151.315 | 460.526 |  | PN | TY-EFF-Q | HC-EMM-24 | TL-E | TA-EFF-L | Cartridge
| YOAO-QO24L | 2" | 20 | 21 - 45 | 70 | 1831.8916 | 732.7566 |  | PN | TY-FFF-Q | HC-FMM-24 | TL-F | TA-FFF-L | Cartridge
2-WAY KITS with CV (1/2" - 2")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List | Net Price | Includes | QTY | 1 | 2 | 3 | 1 | 1 | 1 | 1 | 1 | 1
| 2YOAO-QO24L+V2M4530L | 1/2" | 0.33 | 0.33 - 3 | 5 | 665.41 | 266.164 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | HC-AMM-24 | TL-A | TA-AFM-L | Cartridge | V243-12N-EB3.5 | VT060-500-NC
| 2YOAO-QO24L+V2M4530L | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | 764.34 | 305.736 | HC - Two 24" Long Flex Hoses | PN | TY1-BFF-Q | HC-BMM-24 | TL-B | TA1-BFM-L | Cartridge | V243-34N-EB4.5 | VT060-500-NC
| 2YOAO-QO24L+V2M4530L | 3/4" | 1 | 2 - 9 | 12 | 817.53 | 327.012 | AT - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | HC-BMM-24 | TL-B | TA-BFM-L | Cartridge | V243-34N-EB4.5 | VT060-500-NC
| 2YOAO-QO24L+V2M4530L | 1" | 1 | 5 - 12 | 12 | 1024.12 | 409.648 | CV - Control Valve, 24v, On/Off, Fail Closed | PN | TY-CFF-Q | HC-CMM-24 | TL-C | TA-CFM-L | Cartridge | V243-10N-EB9.0 | VT060-500-NC
| 2YOAO-QO24L+V2M4530L | 1-1/4" | 9 | 9 - 18 | 26 | 2126.575 | 850.63 | Submittal | PN | TY-DFF-Q | HC-DMM-24 | TL-D | TA-DFEM-L | Cartridge | V411(2)-16-I | ME5430 | HB-ED | TL-E
| 2YOAO-QO24L+V2M4530L | 1-1/2" | 9 | 15 - 24 | 26 | 2481.171 | 992.4684 | Note: Flex hoses and control valve installed and pressure tested | PN | TY-EFF-Q | HC-EMM-24 | TL-E | TA-EFM-L | Cartridge | V411(2)-24-I | ME5430
| 2YOAO-QO24L+V2M4530L | 2" | 20 | 21 - 45 | 70 | 3355.7414 | 1342.2966 |  | PN | TY-FFF-Q | HC-FMM-24 | TL-F | TA-FFM-L | Cartridge | V411(2)-45-H | ME5440
2-WAY KITS with PICV (1/2" - 1-1/4")
| Kit Part Number | Size | Min GPM | Recommended GPM Range | Max GPM | List | Net Price | Includes | QTY | 1 | 2 | 3 | 1 | 1 | 1 | 1 | 1
| 2YOIO-QOHL+92M4530L | 1/2" | 0.2 | 0.2 - 2 | 2 | 563.12 | 225.248 | TY - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | HC-AMM-24 | TL-A | T92-AFF-1.98 | NT-AFM | VT060-500-NC
| 2YOIO-QOHL+92M4530L | 3/4" Compact | 0.75 | 1 - 3 | 4.4 | 654.5 | 261.8 | HC - Two 24" Long Flex Hoses | PN | TY1-BFF-Q | HC-BMM-24 | TL-B | T92-BFF-4.40 | NT-BFM | VT060-500-NC
| 2YOIO-QOHL+92M4530L | 3/4" | 2 | 2 - 8 | 8.14 | 677.88 | 271.152 | T92 - Pressure Independent Control Valve | PN | TY-BFF-Q | HC-BMM-24 | TL-B | T92-BFF-8.14 | NT-BFM | VT060-500-NC
| 2YOIO-QOHL+92M4530L | 1" | 4 | 5 - 12 | 14.5 | 952.37 | 380.948 | ME - Actuator, 24v, On/Off, Fail Closed | PN | TY-CFF-Q | HC-CMM-24 | TL-C | T92-CFF-14.5 | NT-CFM | VT060-500-NC
| 2YOIO-QOHL+92M4530L | 1-1/4" | 6 | 9 - 18 | 22.9 | 1501.84 | 600.736 | Submittal | PN | TY-DFF-Q | HC-DMM-24 | TL-D | T92-DFF-22.9 | NT-DFM | VT060-500-NC
Note: Flex hoses and control valve installed and pressure tested
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## 6-Way Valves
0.4
2024 HCI Net Pricing
SIX-WAY CONTROL VALVES
FNPT Series 6-Way - 0-10V Modulating and 3-Point Floating Actuator
| Part Number | Size | GPM Range | List | Net Price
| T6-AF-1.45+T6A-P | 1/2" | 0.10-2.50 | 685.7312 | 274.2925
| T6-BF-4.62+T6A-P | 3/4" | 0.20-7.50 | 782.628 | 313.0512
Union Series 6-Way - 0-10V Modulating and 3-Point Floating Actuator
| Part Number | Size | GPM Range | List | Net Price
| T6-AU-1.45+T6A-P | 1/2" | 0.10-2.50 | 719.2724 | 287.709
| T6-AU-3.24+T6A-P | 1/2" | 0.25-5.00 | 778.9012 | 311.5605
| T6-BU-4.62+T6A-P | 3/4" | 0.20-7.50 | 861.036 | 344.4144
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## PICV Valves
0.4
2024 HCI Net Pricing
PRESSURE INDEPENDENT CONTROL VALVES
Note: Install Adder is the added cost to have HCI assemble control valves into kit
Fail in Place Actuators
92 Series PICV - 0-10V Modulating (FAIL IN PLACE)
| Part Number | Size | GPM Range | List | Net Price | Install List | Install Adder
| T92-AFF-0.66+VA-7482-8002-RA | 1/2" | 0.07-0.66 | 314.5879 | 125.8352 | 27.104 | 10.8416
| T92-AFF-1.98+VA-7482-8002-RA | 1/2" | 0.19-1.98 | 314.5879 | 125.8352 | 27.104 | 10.8416
| T92-BFF-4.40+VA-7482-8002-RA | 3/4" | 0.44-4.44 | 341.6919 | 136.6768 | 37.9456 | 15.1782
| T92-BFF-8.14+VA-7482-8002-RA | 3/4" | 0.81-8.14 | 341.6919 | 136.6768 | 37.9456 | 15.1782
| T92-CFF-14.5+VA-7482-8002-RA | 1" | 1.45-14.5 | 421.0679 | 168.4272 | 48.7872 | 19.5149
| T92-DFF-22.9+VA-7482-8002-RA | 1-1/4" | 2.29-22.9 | 674.0679 | 269.6272 | 65.0496 | 26.0198
85 Series PICV - 0-10V Modulating (FAIL IN PLACE)
| Part Number | Size | GPM Range | List | Net Price | Install List | Install Adder
| T85-DFF-26.4+VA9310-HGA-2 | 1-1/4" | 6.6-26.4 | 1395.856 | 558.3424 | 65.0496 | 26.0198
| T85-EFF-39.6+VA9310-HGA-2 | 1-1/2" | 9.9-39.6 | 1531.376 | 612.5504 | 81.312 | 32.5248
| T85-FFF-52.8+VA9310-HGA-2 | 2" | 13.2-52.8 | 2073.456 | 829.3824 | 97.5744 | 39.0298
| T85-FFF-79.2+VA9310-HGA-2 | 2" | 19.8-79.2 | 2208.976 | 883.5904 | 97.5744 | 39.0298
94FA Series PICV - 0-10V Modulating (FAIL IN PLACE)
| Part Number | Size | GPM Range | List | Net Price
| T94FA-GFF-132 | 2-1/2" | 20-132 | 2938.6181 | 1175.4472
| T94FA-HFF-132 | 3" | 20-132 | 3893.4291 | 1557.3716
| T94FA-IFF-242 | 4" | 50-242 | 7323.4282 | 2929.3713
| T94FA-JFF-660 | 6" | 100-660 | 7903.6111 | 3161.4444
Fail Safe Actuators
[9 empty] | 1-1/2" | 16 , 24 |  | 0 | 73.92 | 29.568
| 92 Series PICV - 0-10V Modulating (FAIL SAFE) | [7 empty] | 2" | 35 , 45 |  | 0 | 88.7 | 35.48
| Part Number | Size | GPM Range | List | Net Price | Install List | Install Adder
| T92-AFF-0.66+ME4*40 | 1/2" | 0.07-0.66 | 399.52 | 159.808 | 27.104 | 10.8416
| T92-AFF-1.98+ME4*40 | 1/2" | 0.19-1.98 | 399.52 | 159.808 | 27.104 | 10.8416
| T92-BFF-4.40+ME4*40 | 3/4" | 0.44-4.44 | 426.62 | 170.648 | 37.9456 | 15.1782
| T92-BFF-8.14+ME4*40 | 3/4" | 0.81-8.14 | 426.62 | 170.648 | 37.9456 | 15.1782 | 0-10V Modulating 3-WAY Valves (FAIL IN PLACE)
| T92-CFF-14.5+ME4*40 | 1" | 1.45-14.5 | 506 | 202.4 | 48.7872 | 19.5149
| T92-DFF-22.9+ME4*40 | 1 1/4" | 2.29-22.9 | 759 | 303.6 | 65.0496 | 26.0198
Note: Replace "*" with "8" for Fail Open or "9" for Fail Closed
[8 empty] | Part Number | Size | Cv Range | List | Net | Install List | Install Adder
[9 empty] | 1/2" | 0.5 - 3.5 |  | 0 | 24.64 | 9.856
85 Series PICV - 0-10V Modulating (FAIL SAFE)
| Part Number | Size | GPM Range | List | Net Price | Install List | Install Adder
| T85-DFF-26.4+VA9208-GGA-2 | 1-1/4" | 6.6-26.4 | 1490.72 | 596.288 | 65.0496 | 26.0198
| T85-EFF-39.6+VA9208-GGA-2 | 1-1/2" | 9.9-39.6 | 1626.24 | 650.496 | 81.312 | 32.5248
| T85-FFF-52.8+VA9208-GGA-2 | 2" | 13.2-52.8 | 2168.32 | 867.328 | 97.5744 | 39.0298
| T82-FFF-79.2+VA9208-GGA-2 | 2" | 19.8-79.2 | 2303.84 | 921.536 | 97.5744 | 39.0298
94FA Series PICV - 0-10V Modulating (FAIL SAFE)
| Part Number | Size | GPM Range | List | Net Price
| T94FAE-GFF-132 | 2-1/2" | 20-132 | 3059.55 | 1223.82
| T94FAE-HFF-132 | 3" | 20-132 | 3927.55 | 1571.02
| T94FAE-IFF-242 | 4" | 50-242 | 7045.73 | 2818.292
| T94FAE-JFF-660 | 6" | 100-660 | 7573.18 | 3029.272
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## Control Valves
0.4
2024 HCI Net Pricing
CONTROL VALVES
Note: Install Adder is the added cost to have HCI assemble control valves into kit
| ON/OFF 2-WAY Valves (FAIL SAFE) | [6 empty] | ON/OFF 3-WAY Valves (FAIL SAFE)
| Part Number | Size | Cv Range | List | Net Price | Install List | Install Adder | Part Number | Size | Cv Range | List | Net Price | Install List | Install Adder
| V243-12N-EP** + VT060-500-** | 1/2" | 0.5 - 3.5 | 345.2 | 138.08 | 27.104 | 10.8416 |  | 1/2" | 0.5 - 3.5 | 110.25 | 44.1 | 24.64 | 9.856
| V243-34N-EP** + VT060-500-** | 3/4" | 1.0 - 4.5 | 365.2 | 146.08 | 37.9456 | 15.1782 |  | 3/4" | 1.0 - 4.5 | 121.74 | 48.696 | 34.5 | 13.8
| V243-10N-EB** + VT060-500-NC | 1" | 6.0 - 9.0 | 475.2 | 190.08 | 48.7872 | 19.5149 |  | 1" | 6.0 - 9.0 | 184.09 | 73.636 | 44.35 | 17.74
| V411(2)-**-I + ME5430 + HB-EDx2 | 1-1/4" | 16 , 24 | 1225.774 | 490.3096 | 65.0496 | 26.0198 |  | 1-1/4" | 16 , 24 | 904.49 | 361.796 | 59.14 | 23.656
| V411(2)-**-I + ME5430 | 1-1/2" | 16 , 24 | 1079.661 | 431.8644 | 81.312 | 32.5248 |  | 1-1/2" | 16 , 24 | 796.67 | 318.668 | 73.92 | 29.568
| V411(2)-**-H + ME5440 | 2" | 35 , 45 | 1475.067 | 590.0268 | 97.5744 | 39.0298 |  | 2" | 35 , 45 | 1066.67 | 426.668 | 88.7 | 35.48
Note: Replace "**" with Cv value (ex. 40 = 4.0 Cv, 240 = 24.0 Cv)
Note: Replace "*" with "4" for Fail Open or "5" for Fail Closed
Note: Replace "**" with NC or NO for "VT060-500-**"
| 0-10V Modulating 2-WAY Valves (FAIL SAFE) | [6 empty] | 0-10V Modulating 3-WAY Valves (FAIL SAFE)
| Part Number | Size | Cv Range | List | Net Price | Install List | Install Adder | Part Number | Size | Cv Range | List | Net | Install List | Install Adder
| V243-12N-EP** + VM060-500-** | 1/2" | 0.5 - 3.5 | 354 | 141.6 | 27.104 | 10.8416 |  | 1/2" | 0.5 - 3.5 |  | 0 | 24.64 | 9.856
| V243-34N-EP** + VM060-500-** | 3/4" | 1.0 - 4.5 | 374 | 149.6 | 37.9456 | 15.1782 |  | 3/4" | 1.0 - 4.5 |  | 0 | 34.5 | 13.8
| V243-10N-EB** + VM060-500-** | 1" | 6.0 - 9.0 | 484 | 193.6 | 48.7872 | 19.5149 |  | 1" | 6.0 - 9.0 |  | 0 | 44.35 | 17.74
| V411(2)-**-I + ME5830 + HB-EDx2 | 1-1/4" | 16 , 24 | 1392.798 | 557.1192 | 65.0496 | 26.0198 |  | 1-1/4" | 16 , 24 |  | 0 | 59.14 | 23.656
| V411(2)-**-I + ME5830 | 1-1/2" | 16 , 24 | 1246.685 | 498.674 | 81.312 | 32.5248 |  | 1-1/2" | 16 , 24 |  | 0 | 73.92 | 29.568
| V411(2)-**-H + ME5840 | 2" | 35 , 45 | 1613.326 | 645.3304 | 97.5744 | 39.0298 |  | 2" | 35 , 45 |  | 0 | 88.7 | 35.48
Note: Replace "**" with Cv value (ex. 40 = 4.0 Cv, 240 = 24.0 Cv)
Note: Replace "*" with "8" for Fail Open or "9" for Fail Closed
Note: Replace "**" with NC or NO for "VM060-500-**"
| 0-10V Modulating 2-WAY Valves (FAIL IN PLACE) | [6 empty] | 0-10V Modulating 3-WAY Valves (FAIL IN PLACE)
| Part Number | Size | Cv Range | List | Net Price | Install List | Install Adder | Part Number | Size | Cv Range | List | Net | Install List | Install Adder
| V243-12N-EP** + VM000-500 | 1/2" | 0.5 - 3.5 | 235.2 | 94.08 | 27.104 | 10.8416 |  | 1/2" | 0.5 - 3.5 |  | 0 | 24.64 | 9.856
| V243-34N-EP** + VM000-500 | 3/4" | 1.0 - 4.5 | 255.2 | 102.08 | 37.9456 | 15.1782 |  | 3/4" | 1.0 - 4.5 |  | 0 | 34.5 | 13.8
| V243-10N-EB** + VM000-500 | 1" | 6.0 - 9.0 | 365.2 | 146.08 | 48.7872 | 19.5149 |  | 1" | 6.0 - 9.0 |  | 0 | 44.35 | 17.74
| V411(2)-**-I + ME5320 + HB-EDx2 | 1-1/4" | 16 , 24 | 1123.298 | 449.3192 | 65.0496 | 26.0198 |  | 1-1/4" | 16 , 24 |  | 0 | 59.14 | 23.656
| V411(2)-**-I + ME5320 | 1-1/2" | 16 , 24 | 977.185 | 390.874 | 81.312 | 32.5248 |  | 1-1/2" | 16 , 24 |  | 0 | 73.92 | 29.568
| V411(2)-**-H + ME5330 | 2" | 35 , 45 | 1059.685 | 423.874 | 97.5744 | 39.0298 |  | 2" | 35 , 45 |  | 0 | 88.7 | 35.48
Note: Replace "**" with Cv value (ex. 40 = 4.0 Cv, 240 = 24.0 Cv)
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## Fixed Flushing Bypass
0.4
2024 HCI Net Pricing
FIXED FLUSHING BYPASS VALVES
70mmBypass
| Part Number | Runnout Connection | Coil Connectoin | Recommended GPM Range | List | Net Price
| TFB-70-BFAF | 3/4" FNPT | 1/2" FNPT | 0.1 - 5 | 110.5698 | 44.2279
| TFB-70-BFAM | 3/4" FNPT | 1/2" MNPT | 0.1 - 5 | 110.5698 | 44.2279
| TFB-70-BFBM | 3/4" FNPT | 3/4" MNPT | 0.1 - 5 | 135.6894 | 54.2758
80mm Bypass
| Part Number | Runnout Connection | Coil Connectoin | Recommended GPM Range | List | Net Price
| TFB-80-BFAF | 3/4" FNPT | 1/2" FNPT | 1 - 10 | 185.2268 | 74.0907
| TFB-80-BFBF | 3/4" FNPT | 3/4" FNPT | 1 - 10 | 185.2268 | 74.0907
| TFB-80-BFAM | 3/4" FNPT | 1/2" MNPT | 1 - 10 | 185.2268 | 74.0907
| TFB-80-BFBM | 3/4" FNPT | 3/4" MNPT | 1 - 10 | 185.2268 | 74.0907
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## Flex Hoses
0.4
2024 HCI Net Pricing
Flexible Hoses
Note: Pricing below is for two Flex Hoses, One set is needed per hose kit
Note: Install Adder is the added cost to have HCi asseble flex hoses into kit
12" Long Hoses
| Part Number | Size | List | Net Price | Install List | Install Adder
| 2x HC-AM*-12 | 1/2" | 47.7224 | 19.089 | 27.104 | 10.8416
| 2x HC-BM*-12 | 3/4" | 83.49 | 33.396 | 37.9456 | 15.1782
| 2x HC-CM*-12 | 1" | 143.1188 | 57.2475 | 48.7872 | 19.5149
18" Long Hoses
| Part Number | Size | List | Net Price | Install List | Install Adder
| 2x HC-AM*-18 | 1/2" | 52.9254 | 21.1702 | 27.104 | 10.8416
| 2x HC-BM*-18 | 3/4" | 92.444 | 36.9776 | 37.9456 | 15.1782
| 2x HC-CM*-18 | 1" | 155.0494 | 62.0198 | 48.7872 | 19.5149
| 2x HC-DM*-18 | 1-1/4" | 244.4926 | 97.797 | 65.0496 | 26.0198
| 2x HC-EM*-18 | 1-1/2" | 384.6106 | 153.8442 | 81.312 | 32.5248
24" Long Hoses
| Part Number | Size | List | Net Price | Install List | Install Adder
| 2x HC-AM*-24 | 1/2" | 59.6288 | 23.8515 | 27.104 | 10.8416
| 2x HC-BM*-24 | 3/4" | 104.3504 | 41.7402 | 37.9456 | 15.1782
| 2x HC-CM*-24 | 1" | 165.4796 | 66.1918 | 48.7872 | 19.5149
| 2x HC-DM*-24 | 1-1/4" | 268.3296 | 107.3318 | 65.0496 | 26.0198
| 2x HC-EM*-24 | 1-1/2" | 414.425 | 165.77 | 81.312 | 32.5248
| 2x HC-FM*-24 | 2" | 715.5456 | 286.2182 | 97.5744 | 39.0298
36" Long Hoses
| Part Number | Size | List | Net Price | Install List | Install Adder
| 2x HC-AM*-36 | 1/2" | 72.3096 | 28.9238 | 27.104 | 10.8416
| 2x HC-BM*-36 | 3/4" | 123.7346 | 49.4938 | 37.9456 | 15.1782
| 2x HC-CM*-36 | 1" | 192.3174 | 76.927 | 48.7872 | 19.5149
| 2x HC-DM*-36 | 1-1/4" | 316.052 | 126.4208 | 65.0496 | 26.0198
| 2x HC-EM*-36 | 1-1/2" | 456.17 | 182.468 | 81.312 | 32.5248
| 2x HC-FM*-36 | 2" | 819.896 | 327.9584 | 97.5744 | 39.0298
Note: Replace "*" with M for MNPT tailpiece or C for SWT tailpiece
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## Smart Part Numbers
2024 HCI Net Pricing
Kit Smart Part Number Guide
2-Way and 3-Way kits (1/2" - 2") | Components | [6 empty] | Accessories |  |  |  |  | Sizing | [5 empty] | Spec Sheet
| 2 | Y | U | B |  | O | - | Q | V | 12 | L | - | D | F | D | C | B | O
2-way or 3-way
Supply Side Valve (TY, NT or TS) | [18 empty] | TY | NT | TS
Return Side Union (TU) | [18 empty] | TU
Return Side Balancing Valve (TB, AT, NT) | [18 empty] | TB | TA | PICV | NT
Bypass Valve* (Omit Valve, NT, TB, TU, Isolation Ball Valve) | [18 empty] | NT | TB | TU | H100
Extension (Omit or Extend) | [18 empty] | PT | HDL
Drain: O=Omit, Q=Include Drain | [18 empty] | Drain
Vent: O=Omit, V=Manual, B=Ball Valve, A=Ball valve + Automatic | [18 empty] | V | B | A
Hoses: O=Omit, 12=12" long, 18=18" Long, 24=24" long, 36=36" long | [18 empty] | Hose
Hose Labor: O=Field installed, L=Factory Installed
Runnout Size: A=1/2", B=3/4", C=1", D=1-1/4", E=1-1/2", F=2"
Runnout Connection (Copper, Female, Press)
Coil Size: A=1/2", B=3/4", C=1", D=1-1/4", E=1-1/2", F=2"
Coil Connection (Copper, Male, Female, Press)
Control Valve Size: A=1/2", B=3/4", C=1", D=1-1/4", E=1-1/2", F=2"
Control Valve Labor: O=Field installed, L=Factory Installed
*Skip if 2-way Kit
2-Way and 3-Way kits (2-1/2" - 6") | Components | [6 empty] | Accessories |  |  |  |  | Sizing | [5 empty] | Spec Sheet
| L | 3 | Y | B | I | O | - | Q |  | O |  | - | I | H
Large Size Kit
2-way or 3-way
Supply Side Valve (Y=Strainer+BFV, I=BFV) | [18 empty] | Y | I
Return Side Balancing Valve (TB, TA, I=BFV) | [18 empty] | TB | TA | I
Bypass Valve* (Omit Valve, TB, I=BFV) | [18 empty] | TB | I
Extension (Omit or Extend) | [18 empty] | PT
Drain: O=Omit, Q=Include Drain | [18 empty] | Drain
Hoses: O=Omit, H=Include
Kit Size: G=2-1/2", H=3", I=4", J=6"
Low Flow vs High Flow
*Skip if 2-way Kit
Visit us on the web: www.hcivalve.com - Proud Partners with Fratelli Pettinaroli SpA

## Package_Schedule (hidden)
Quote
|  | Quantity | GPM | Runout Size | Runout Connection | Coil Size | Coil Connection | Control Valve Size | Package Net Total
Package | 0 | 2YUN*-QV24L+VA7482L |  | 1/2"
Tags

## Water Cooled VRF Kits (hidden)
0.4
2024 HCI Net Pricing
LG WATER COOLED VRF HOSE KITS
| 2-WAY KITS (1/2" - 2") | [8 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Size | Nominal Tonnage | Min GPM | Nominal GPM Range | Max GPM | List | Net Price | Includes | QTY | 1 | 2 | 2 | 1 | 1
| SFP85(39.6)N-Q024L-EFE7EO-VA | 1-1/2" | 6 - 8 Tons | 8.1 | 20.3 -25.4 | 38.1 | N/A | #VALUE! | TS- Filter Ball Strainer, Ball Valve, Union, w/Flush Port, Blowdown and PT | PN | TY-AFF-Q | HC-AMM-24 | TL-A | TA-AFF-L | Cartridge
[9 empty] | HC - Two 24" Long Flex Hoses | PN | TY1-BFF-Q | HC-BMM-24 | TL-B | TA1-BFF-L | Cartridge
| SFP85(52.8)N-Q024L-FFF7FO-VA | 2" | 10 - 12 Tons | 12.2 | 30.4 - 35.5 | 52.8 | N/A | #VALUE! | 9042 - Two FNPT x ISO R/1R Adaptors | PN | TY-BFF-Q | HC-BMM-24 | TL-B | TA-BFF-L | Cartridge
[9 empty] | F261 - 240V Flow Switch and Assocated Piping | PN | TY-CFF-Q | HC-CMM-24 | TL-C | TA-CFF-L | Cartridge
| SFP85(79.2)N-Q024L-FFF7FO-VA | 2" | 14 - 16 Tons | 14.2 | 45.7 - 50.7 | 76.1 | N/A | #VALUE! | T85 - Pressure Independent Control Valve | PN | TY-DFF-Q | HC-DMM-24 | TL-D | TA-DFF-L | Cartridge
[9 empty] | VA - 24V Modulating Actuator, Fail Closed | PN | TY-EFF-Q | HC-EMM-24 | TL-E | TA-EFF-L | Cartridge
[9 empty] | NT - Ball Valve, Union, w/ Flush Port and PT | PN | TY-FFF-Q | HC-FMM-24 | TL-F | TA-FFF-L | Cartridge
Visit us on the web: www.hciterminator.com - Proud Partners with Fratelli Pettinaroli SpA

## Auto SS Kits (hidden)
0.4
2024 HCI Net Pricing
AUTOMATIC KITS with STAINLESS STEEL TRIM
| 2-WAY KITS (1/2" - 2") | [9 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1
| 2YUA*+QVOO-A***** | 1/2" | 0.33 | 0.33 - 3 | 5 | N/A | #VALUE! | N/A | #VALUE! | TYSS - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TA-AFM-L | Cartridge |  | TY-AFF-QX | TU-AFM-VX | TA-AFM-L-X | Cartridge
| 2Y1UA1*+QVOO-B***** | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | N/A | #VALUE! | N/A | #VALUE! | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TA1-BFM-L | Cartridge |  | TY1-BFF-QX | TU-BFM-VX | TA1-BFM-L-X | Cartridge
| 2YUA*+QVOO-B***** | 3/4" | 1 | 2 - 6 | 12 | N/A | #VALUE! | N/A | #VALUE! | TASS - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TA-BFM-L | Cartridge |  | TY-BFF-QX | TU-BFM-VX | TA-BFM-L-X | Cartridge
| 2YUA*+QVOO-C***** | 1" | 1 | 5 - 10 | 12 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-CFF-Q | TU-CFM-V | TA-CFM-L | Cartridge |  | TY-CFF-QX | TU-CFM-VX | TA-CFM-L-X | Cartridge
| 2YUA*+QVOO-D***** | 1-1/4" | 9 | 9 - 15 | 26 | N/A | #VALUE! | N/A | #VALUE! | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-DFF-Q | TU-DFM-V | TA-DFM-L | Cartridge |  | TY-DFF-QX | TU-DFM-VX | TA-DFM-L-X | Cartridge
| 2YUA*+QVOO-E***** | 1-1/2" | 9 | 13 - 22 | 26 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-EFF-Q | TU-EFM-V | TA-EFM-L | Cartridge |  | TY-EFF-QX | TU-EFM-VX | TA-EFM-L-X | Cartridge
| 2YUA*+QVOO-F***** | 2" | 20 | 20 - 40 | 70 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-FFF-Q | TU-FFM-V | TA-FFM-L | Cartridge |  | TY-FFF-QX | TU-FFM-VX | TA-FFM-L-X | Cartridge
3-WAY KITS (1/2" - 2")
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1 | 1
| 3YUAN*+QVOO-A***** | 1/2" | 0.33 | 0.33 - 3 | 5 | N/A | #VALUE! | N/A | #VALUE! | TYSS - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TA-AFM-L | Cartridge | NT-AFF |  | TY-AFF-QX | TU-AFM-VX | TA-AFM-L-X | Cartridge | NT-AFF-X
| 3Y1UA1N*+QVOO-B***** | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | N/A | #VALUE! | N/A | #VALUE! | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TA1-BFM-L | Cartridge | NT-BFF |  | TY1-BFF-QX | TU-BFM-VX | TA1-BFM-L-X | Cartridge | NT-BFF-X
| 3YUAN*+QVOO-B***** | 3/4" | 1 | 2 - 6 | 12 | N/A | #VALUE! | N/A | #VALUE! | TASS - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TA-BFM-L | Cartridge | NT-BFF |  | TY-BFF-QX | TU-BFM-VX | TA-BFM-L-X | Cartridge | NT-BFF-X
| 3YUAN*+QVOO-C***** | 1" | 1 | 5 - 10 | 12 | N/A | #VALUE! | N/A | #VALUE! | NTSS - Ball Valve, Union w/ PT | PN | TY-CFF-Q | TU-CFM-V | TA-CFM-L | Cartridge | NT-CFF |  | TY-CFF-QX | TU-CFM-VX | TA-CFM-L-X | Cartridge | NT-CFF-X
| 3YUAN*+QVOO-D***** | 1-1/4" | 9 | 9 - 15 | 26 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-DFF-Q | TU-DFM-V | TA-DFM-L | Cartridge | NT-DFF |  | TY-DFF-QX | TU-DFM-VX | TA-DFM-L-X | Cartridge | NT-DFF-X
| 3YUAN*+QVOO-E***** | 1-1/2" | 9 | 13 - 22 | 26 | N/A | #VALUE! | N/A | #VALUE! | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | TA-EFM-L | Cartridge | NT-EFF |  | TY-EFF-QX | TU-EFM-VX | TA-EFM-L-X | Cartridge | NT-EFF-X
| 3YUAN*+QVOO-F**** | 2" | 20 | 20 - 40 | 70 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-FFF-Q | TU-FFM-V | TA-FFM-L | Cartridge | NT-FFF |  | TY-FFF-QX | TU-FFM-VX | TA-FFM-L-X | Cartridge | NT-FFF-X
| 2-WAY KITS w/ 24" Long Flex Hoses (1/2" - 2") | [9 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1
| 2YUA*+QV24L-A***** | 1/2" | 0.33 | 0.33 - 3 | 5 | N/A | #VALUE! | N/A | #VALUE! | TYSS - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TA-AFM-L | Cartridge |  | TY-AFF-QX | TU-AFM-VX | TA-AFM-L-X | Cartridge
| 2Y1UA1*+QV24L-B***** | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | N/A | #VALUE! | N/A | #VALUE! | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TA1-BFM-L | Cartridge |  | TY1-BFF-QX | TU-BFM-VX | TA1-BFM-L-X | Cartridge
| 2YUA*+QV24L-B***** | 3/4" | 1 | 2 - 6 | 12 | N/A | #VALUE! | N/A | #VALUE! | TASS - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TA-BFM-L | Cartridge |  | TY-BFF-QX | TU-BFM-VX | TA-BFM-L-X | Cartridge
| 2YUA*+QV24L-C***** | 1" | 1 | 5 - 10 | 12 | N/A | #VALUE! | N/A | #VALUE! | HC - Two 24" Long Flex Hoses | PN | TY-CFF-Q | TU-CFM-V | TA-CFM-L | Cartridge |  | TY-CFF-QX | TU-CFM-VX | TA-CFM-L-X | Cartridge
| 2YUA*+QV24L-D***** | 1-1/4" | 9 | 9 - 15 | 26 | N/A | #VALUE! | N/A | #VALUE! | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-DFF-Q | TU-DFM-V | TA-DFM-L | Cartridge |  | TY-DFF-QX | TU-DFM-VX | TA-DFM-L-X | Cartridge
| 2YUA*+QV24L-E***** | 1-1/2" | 9 | 13 - 22 | 26 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-EFF-Q | TU-EFM-V | TA-EFM-L | Cartridge |  | TY-EFF-QX | TU-EFM-VX | TA-EFM-L-X | Cartridge
| 2YUA*+QV24L-F***** | 2" | 20 | 20 - 40 | 70 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-FFF-Q | TU-FFM-V | TA-FFM-L | Cartridge |  | TY-FFF-QX | TU-FFM-VX | TA-FFM-L-X | Cartridge
3-WAY KITS w/ 24" Long Flex Hoses (1/2" - 2")
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1 | 1
| 3YUAN*+QV24L-A***** | 1/2" | 0.33 | 0.33 - 3 | 5 | N/A | #VALUE! | N/A | #VALUE! | TYSS - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TA-AFM-L | Cartridge | NT-AFF |  | TY-AFF-QX | TU-AFM-VX | TA-AFM-L-X | Cartridge | NT-AFF-X
| 3Y1UA1N*+QV24L-B***** | 3/4" Compact | 0.33 | 0.33 - 3 | 5 | N/A | #VALUE! | N/A | #VALUE! | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TA1-BFM-L | Cartridge | NT-BFF |  | TY1-BFF-QX | TU-BFM-VX | TA1-BFM-L-X | Cartridge | NT-BFF-X
| 3YUAN*+QV24L-B***** | 3/4" | 1 | 2 - 6 | 12 | N/A | #VALUE! | N/A | #VALUE! | TASS - Auto Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TA-BFM-L | Cartridge | NT-BFF |  | TY-BFF-QX | TU-BFM-VX | TA-BFM-L-X | Cartridge | NT-BFF-X
| 3YUAN*+QV24L-C***** | 1" | 1 | 5 - 10 | 12 | N/A | #VALUE! | N/A | #VALUE! | NTSS - Ball Valve, Union w/ PT | PN | TY-CFF-Q | TU-CFM-V | TA-CFM-L | Cartridge | NT-CFF |  | TY-CFF-QX | TU-CFM-VX | TA-CFM-L-X | Cartridge | NT-CFF-X
| 3YUAN*+QV24L-D***** | 1-1/4" | 9 | 9 - 15 | 26 | N/A | #VALUE! | N/A | #VALUE! | HC - Two 24" Long Flex Hoses | PN | TY-DFF-Q | TU-DFM-V | TA-DFM-L | Cartridge | NT-DFF |  | TY-DFF-QX | TU-DFM-VX | TA-DFM-L-X | Cartridge | NT-DFF-X
| 3YUAN*+QV24L-E***** | 1-1/2" | 9 | 13 - 22 | 26 | N/A | #VALUE! | N/A | #VALUE! | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | TA-EFM-L | Cartridge | NT-EFF |  | TY-EFF-QX | TU-EFM-VX | TA-EFM-L-X | Cartridge | NT-EFF-X
| 3YUAN*+QV24L-F**** | 2" | 20 | 20 - 40 | 70 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-FFF-Q | TU-FFM-V | TA-FFM-L | Cartridge | NT-FFF |  | TY-FFF-QX | TU-FFM-VX | TA-FFM-L-X | Cartridge | NT-FFF-X
2-WAY KITS (2-1/2" - 6")
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1 | 1
| L2YAO-QO-GL | 2-1/2" | 10 | 30 - 70 | 80 | N/A | #VALUE! |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | TA-GW-L | BF-GLL
| L2YAO-QO-GH | 2-1/2" | 15 | 30 - 70 | 120 | N/A | #VALUE! |  |  | TA - Automatic Balancing Valve | PN | TS-GLF-Q | TA-GW-H | BF-GLL
| L2YAO-QO-HL | 3" | 20 | 45 - 110 | 135 | N/A | #VALUE! |  |  | BFV - Butterfly Valve | PN | TS-HLF-Q | TA-HW-L | BF-HLL
| L2YAO-QO-HH | 3" | 20 | 45 - 110 | 170 | N/A | #VALUE! |  |  | Submittal | PN | TS-HLF-Q | TA-HW-H | BF-HLL
| L2YAO-QO-IL | 4" | 35 | 80 - 200 | 270 | N/A | #VALUE! |  |  |  | PN | TS-ILF-Q | TA-IW-L | BF-ILL
| L2YAO-QO-IH | 4" | 54 | 80 - 200 | 340 | N/A | #VALUE! |  |  |  | PN | TS-ILF-Q | TA-IW-H | BF-ILL
| L2YAO-QO-JL | 6" | 70 | 180 - 450 | 540 | N/A | #VALUE! |  |  |  | PN | TS-JLF-Q | TA-JW-L | BF-JLL
| L2YAO-QO-JH | 6" | 85 | 180 - 450 | 680 | N/A | #VALUE! |  |  |  | PN | TS-JLF-Q | TA-JW-H | BF-JLL
3-WAY KITS (2-1/2" - 6")
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1 | 2
| L3YAIO-QO-GL | 2-1/2" | 10 | 30 - 70 | 80 | N/A | #VALUE! |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | TA-GW-L | BF-GLL
| L3YAIO-QO-GH | 2-1/2" | 15 | 30 - 70 | 120 | N/A | #VALUE! |  |  | TA - Automatic Balancing Valve | PN | TS-GLF-Q | TA-GW-H | BF-GLL
| L3YAIO-QO-HL | 3" | 20 | 45 - 110 | 135 | N/A | #VALUE! |  |  | BFV - Butterfly Valve | PN | TS-HLF-Q | TA-HW-L | BF-HLL
| L3YAIO-QO-HH | 3" | 20 | 45 - 110 | 170 | N/A | #VALUE! |  |  | BFV - Butterfly Valve | PN | TS-HLF-Q | TA-HW-H | BF-HLL
| L3YAIO-QO-IL | 4" | 35 | 80 - 200 | 270 | N/A | #VALUE! |  |  | Submittal | PN | TS-ILF-Q | TA-IW-L | BF-ILL
| L3YAIO-QO-IH | 4" | 54 | 80 - 200 | 340 | N/A | #VALUE! |  |  |  | PN | TS-ILF-Q | TA-IW-H | BF-ILL
| L3YAIO-QO-JL | 6" | 70 | 180 - 450 | 540 | N/A | #VALUE! |  |  |  |  | TS-JLF-Q | TA-JW-L | BF-JLL
| L3YAIO-QO-JH | 6" | 85 | 180 - 450 | 680 | N/A | #VALUE! |  |  |  | PN | TS-JLF-Q | TA-JW-H | BF-JLL
Visit us on the web: www.hciterminator.com - Proud Partners with Fratelli Pettinaroli SpA

## Manual SS Kits (hidden)
0.4
2024 HCI Net Pricing
MANUAL KITS with STAINLESS STEEL TRIM
| 2-WAY KITS (1/2" - 2") | [9 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | or | 1 | 1 | 1
| 2YUB*+QVOO-A***** | 1/2" | 0.1 | 0.1- 3 | 11 | N/A | #VALUE! | N/A | #VALUE! | TYSS - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TB-AFM |  | TY-AFF-QX | TU-AFM-VX | TB-AFM-X
| 2Y1UB*+QVOO-B***** | 3/4" Compact | 0.1 | 0.1 - 3 | 11 | N/A | #VALUE! | N/A | #VALUE! | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TB-BFM |  | TY1-BFF-QX | TU-BFM-VX | TB-BFM-X
| 2YUB*+QVOO-B***** | 3/4" | 0.1 | 2 - 6 | 11 | N/A | #VALUE! | N/A | #VALUE! | TBSS - Manual Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TB-BFM |  | TY-BFF-QX | TU-BFM-VX | TB-BFM-X
| 2YUB*+QVOO-C***** | 1" | 2.7 | 5 - 10 | 16.4 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-CFF-Q | TU-CFM-V | TB-CFM |  | TY-CFF-QX | TU-CFM-VX | TB-CFM-X
| 2YUB*+QVOO-D***** | 1-1/4" | 4.7 | 9 - 15 | 31.8 | N/A | #VALUE! | N/A | #VALUE! | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-DFF-Q | TU-DFM-V | TB-DFM |  | TY-DFF-QX | TU-DFM-VX | TB-DFM-X
| 2YUB*+QVOO-E***** | 1-1/2" | 5.7 | 13 - 22 | 38 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-EFF-Q | TU-EFM-V | TB-EFM |  | TY-EFF-QX | TU-EFM-VX | TB-EFM-X
| 2YUB*+QVOO-F***** | 2" | 7.5 | 20 - 40 | 88 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-FFF-Q | TU-FFM-V | TB-FFM |  | TY-FFF-QX | TU-FFM-VX | TB-FFM-X
3-WAY KITS (1/2" - 2")
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | HW List | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1
| 3YUBN*+QVOO-A***** | 1/2" | 0.1 | 0.1- 3 | 11 | N/A | #VALUE! | N/A | #VALUE! | TYSS - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TB-AFM | NT-AFF |  | TY-AFF-QX | TU-AFM-VX | TB-AFM-X | NT-AFF-X
| 3Y1UBN*+QVOO-B***** | 3/4" Compact | 0.1 | 0.1 - 3 | 11 | N/A | #VALUE! | N/A | #VALUE! | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TB-BFM | NT-BFF |  | TY1-BFF-QX | TU-BFM-VX | TB-BFM-X | NT-BFF-X
| 3YUBN*+QVOO-B***** | 3/4" | 0.1 | 2 - 6 | 11 | N/A | #VALUE! | N/A | #VALUE! | TBSS - Manual Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TB-BFM | NT-BFF |  | TY-BFF-QX | TU-BFM-VX | TB-BFM-X | NT-BFF-X
| 3YUBN*+QVOO-C***** | 1" | 2.7 | 5 - 10 | 16.4 | N/A | #VALUE! | N/A | #VALUE! | NTSS - Ball Valve, Union w/ PT | PN | TY-CFF-Q | TU-CFM-V | TB-CFM | NT-CFF |  | TY-CFF-QX | TU-CFM-VX | TB-CFM-X | NT-CFF-X
| 3YUBN*+QVOO-D***** | 1-1/4" | 4.7 | 9 - 15 | 31.8 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-DFF-Q | TU-DFM-V | TB-DFM | NT-DFF |  | TY-DFF-QX | TU-DFM-VX | TB-DFM-X | NT-DFF-X
| 3YUBN*+QVOO-E***** | 1-1/2" | 5.7 | 13 - 22 | 38 | N/A | #VALUE! | N/A | #VALUE! | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | TB-EFM | NT-EFF |  | TY-EFF-QX | TU-EFM-VX | TB-EFM-X | NT-EFF-X
| 3YUBN*+QVOO-F**** | 2" | 7.5 | 20 - 40 | 88 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-FFF-Q | TU-FFM-V | TB-FFM | NT-FFF |  | TY-FFF-QX | TU-FFM-VX | TB-FFM-X | NT-FFF-X
| 2-WAY KITS w/ 24" Long Flex Hoses (1/2" - 2") | [9 empty] | *Corporate Use Only* - Runout and Coil Connection Type will affect PNs below
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List Price | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | or | 1 | 1 | 1
| 2YUB*+QV24L-A***** | 1/2" | 0.1 | 0.1- 3 | 11 | N/A | #VALUE! | N/A | #VALUE! | TYSS - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TB-AFM |  | TY-AFF-QX | TU-AFM-VX | TB-AFM-X
| 2Y1UB*+QV24L-B***** | 3/4" Compact | 0.1 | 0.1 - 3 | 11 | N/A | #VALUE! | N/A | #VALUE! | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TB-BFM |  | TY1-BFF-QX | TU-BFM-VX | TB-BFM-X
| 2YUB*+QV24L-B***** | 3/4" | 0.1 | 2 - 6 | 11 | N/A | #VALUE! | N/A | #VALUE! | TBSS - Manual Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TB-BFM |  | TY-BFF-QX | TU-BFM-VX | TB-BFM-X
| 2YUB*+QV24L-C***** | 1" | 2.7 | 5 - 10 | 16.4 | N/A | #VALUE! | N/A | #VALUE! | HC - Two 24" Long Flex Hoses | PN | TY-CFF-Q | TU-CFM-V | TB-CFM |  | TY-CFF-QX | TU-CFM-VX | TB-CFM-X
| 2YUB*+QV24L-D***** | 1-1/4" | 4.7 | 9 - 15 | 31.8 | N/A | #VALUE! | N/A | #VALUE! | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-DFF-Q | TU-DFM-V | TB-DFM |  | TY-DFF-QX | TU-DFM-VX | TB-DFM-X
| 2YUB*+QV24L-E***** | 1-1/2" | 5.7 | 13 - 22 | 38 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-EFF-Q | TU-EFM-V | TB-EFM |  | TY-EFF-QX | TU-EFM-VX | TB-EFM-X
| 2YUB*+QV24L-F***** | 2" | 7.5 | 20 - 40 | 88 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-FFF-Q | TU-FFM-V | TB-FFM |  | TY-FFF-QX | TU-FFM-VX | TB-FFM-X
3-WAY KITS w/ 24" Long Flex Hoses (1/2" - 2")
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | HW List | Net Price | EXT List Add | EXT Adder | Includes | QTY | 1 | 1 | 1 | 1 | or | 1 | 1 | 1 | 1
| 3YUBN*+QV24L-A***** | 1/2" | 0.1 | 0.1- 3 | 11 | N/A | #VALUE! | N/A | #VALUE! | TYSS - Y-strainer, Ball Valve, Union, w/ Drain and PT | PN | TY-AFF-Q | TU-AFM-V | TB-AFM | NT-AFF |  | TY-AFF-QX | TU-AFM-VX | TB-AFM-X | NT-AFF-X
| 3Y1UBN*+QV24L-B***** | 3/4" Compact | 0.1 | 0.1 - 3 | 11 | N/A | #VALUE! | N/A | #VALUE! | TU - Union w/ PT and Manual Air Vent | PN | TY1-BFF-Q | TU-BFM-V | TB-BFM | NT-BFF |  | TY1-BFF-QX | TU-BFM-VX | TB-BFM-X | NT-BFF-X
| 3YUBN*+QV24L-B***** | 3/4" | 0.1 | 2 - 6 | 11 | N/A | #VALUE! | N/A | #VALUE! | TBSS - Manual Balance Valve, Ball Valve, Union, w/ two PTs | PN | TY-BFF-Q | TU-BFM-V | TB-BFM | NT-BFF |  | TY-BFF-QX | TU-BFM-VX | TB-BFM-X | NT-BFF-X
| 3YUBN*+QV24L-C***** | 1" | 2.7 | 5 - 10 | 16.4 | N/A | #VALUE! | N/A | #VALUE! | NTSS - Ball Valve, Union w/ PT | PN | TY-CFF-Q | TU-CFM-V | TB-CFM | NT-CFF |  | TY-CFF-QX | TU-CFM-VX | TB-CFM-X | NT-CFF-X
| 3YUBN*+QV24L-D***** | 1-1/4" | 4.7 | 9 - 15 | 31.8 | N/A | #VALUE! | N/A | #VALUE! | HC - Two 24" Long Flex Hoses | PN | TY-DFF-Q | TU-DFM-V | TB-DFM | NT-DFF |  | TY-DFF-QX | TU-DFM-VX | TB-DFM-X | NT-DFF-X
| 3YUBN*+QV24L-E***** | 1-1/2" | 5.7 | 13 - 22 | 38 | N/A | #VALUE! | N/A | #VALUE! | Note: EXT Adder extends handles and accessories for easy insulation | PN | TY-EFF-Q | TU-EFM-V | TB-EFM | NT-EFF |  | TY-EFF-QX | TU-EFM-VX | TB-EFM-X | NT-EFF-X
| 3YUBN*+QV24L-F**** | 2" | 7.5 | 20 - 40 | 88 | N/A | #VALUE! | N/A | #VALUE! |  | PN | TY-FFF-Q | TU-FFM-V | TB-FFM | NT-FFF |  | TY-FFF-QX | TU-FFM-VX | TB-FFM-X | NT-FFF-X
2-WAY KITS (2-1/2" - 6")
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1
| L2YBO-QO-GL | 2-1/2" | 25 | 30 - 70 | 75 | N/A | #VALUE! |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | TB-GLF-L
| L2YBO-QO-GH | 2-1/2" | 60 | - | 175 | N/A | #VALUE! |  |  | TB - Manual Balancing Valve, Butterfly Valve | PN | TS-GLF-Q | TB-GLF-H
| L2YBO-QO-HL | 3" | 42 | 45 - 125 | 125 | N/A | #VALUE! |  |  | Submittal | PN | TS-HLF-Q | TB-HLF-L
| L2YBO-QO-HH | 3" | 110 | - | 330 | N/A | #VALUE! |  |  |  | PN | TS-HLF-Q | TB-HLF-H
| L2YBO-QO-IL | 4" | 125 | 125 - 250 | 400 | N/A | #VALUE! |  |  |  | PN | TS-ILF-Q | TB-ILF-L
| L2YBO-QO-IH | 4" | 175 | - | 600 | N/A | #VALUE! |  |  |  | PN | TS-ILF-Q | TB-ILF-H
| L2YBO-QO-J | 6" | 250 | 250 - 450 | 900 | N/A | #VALUE! |  |  |  | PN | TS-JLF-Q | TB-JLF
3-WAY KITS (2-1/2" - 6")
| Kit Part Number | Size | Min GPM | Nominal GPM Range | Max GPM | List | Net Price |  |  | Includes | QTY | 1 | 1 | 1
| L3YBIO-QO-GL | 2-1/2" | 25 | 30 - 70 | 75 | N/A | #VALUE! |  |  | TS - Y-strainer w/ Drain, Butterfly Valve | PN | TS-GLF-Q | TB-GLF-L | BF-GLL
| L3YBIO-QO-GH | 2-1/2" | 60 | - | 175 | N/A | #VALUE! |  |  | TB - Manual Balancing Valve, Butterfly Valve | PN | TS-GLF-Q | TB-GLF-H | BF-GLL
| L3YBIO-QO-HL | 3" | 42 | 45 - 125 | 125 | N/A | #VALUE! |  |  | BFV - Butterfly Valve | PN | TS-HLF-Q | TB-HLF-L | BF-HLL
| L3YBIO-QO-HH | 3" | 110 | - | 330 | N/A | #VALUE! |  |  | Submittal | PN | TS-HLF-Q | TB-HLF-H | BF-HLL
| L3YBIO-QO-IL | 4" | 125 | 125 - 250 | 400 | N/A | #VALUE! |  |  |  | PN | TS-ILF-Q | TB-ILF-L | BF-ILL
| L3YBIO-QO-IH | 4" | 175 | - | 600 | N/A | #VALUE! |  |  |  | PN | TS-ILF-Q | TB-ILF-H | BF-ILL
| L3YBIO-QO-J | 6" | 250 | 250 - 450 | 900 | N/A | #VALUE! |  |  |  | PN | TS-JLF-Q | TB-JLF | BF-JLL
Visit us on the web: www.hciterminator.com - Proud Partners with Fratelli Pettinaroli SpA