## Sheet1
Project Number | Location Name | Lat | Long | SAMPLE | TAKEN | FLOW (gpm) | Flow ( l/day) | FIELD pH | LAB pH | Field COND. (uS/cm) | Lab COND. (uS/cm) | TEMP © | ALK. (mg/l) | ACIDITY (mg/l) | Acid Load lb/day | IRON (mg/l) | Iron Load lb/day | MANG. (mg/l) | Mn Load lb/day | ALUM. (mg/l) | Al Load lb/day | SO4 mg/l) | SO4 Load lb/day | TSS (mg/l) | TDS (mg/l) | LAB
12 | CDUT3 - small flow south of coal refuse | 40.9199 | -78.185 | 2024-05-29 | ES/DB | 18 | 98117.879 | 3.12 | 3.27 | 446 | 659 | 13.22 | <0.10 | 171.53 | 34.4384 | 1.12 | 0.22486 | 3.26 | 0.65452 | 8.77 | 1.7608 | 242.9 | 48.7675 | 7 |  | 723082
12 | CDUT3 - small flow south of coal refuse | 40.9199 | -78.185 | 2024-06-27 | GF/DR | 11 | 59960.9261 | 3.03 | 3.28 |  | 738 | 18.1 | <0.10 | 154.02 | 18.8973 | 1.73 | 0.21226 | 3.7 | 0.45397 | 10.61 | 1.3018 | 300.5 | 36.8695 | <5 | 482 | 724252
U3.2SD1 | South Discharge entering CDUT3 | 40.9185 | -78.1844 | 2024-06-27 | GF/DR | 7.5 | 40882.4496 | 2.95 | 3.2 |  | 792 | 13.6 | <0.10 | 156.21 | 13.0677 | 1.79 | 0.14974 | 3.96 | 0.33127 | 12.14 | 1.0156 | 321 | 26.8532 | <5 | 524 | 724253
U3.3 | First water in CDUT3 | 40.9163 | -78.1813 | 2024-06-27 | GF/DR | 1.5 | 8176.4899 | 4.06 | 4.28 |  | 95 | 18.8 | <0.10 | 100.69 | 1.6846 | 0.39 | 0.0065251 | 0.76 | 0.012716 | 1.28 | 0.021416 | 29.2 | 0.48854 | <5 | 56 | 724254