## Sheet1
Project Number | Location Name | Lat | Long | SAMPLE | TAKEN | FLOW (gpm) | Flow ( l/day) | FIELD pH | LAB pH | Field COND. (uS/cm) | Lab COND. (uS/cm) | TEMP © | ALK. (mg/l) | ACIDITY (mg/l) | Acid Load lb/day | IRON (mg/l) | Iron Load lb/day | MANG. (mg/l) | Mn Load lb/day | ALUM. (mg/l) | Al Load lb/day | SO4 mg/l) | SO4 Load lb/day | TSS (mg/l) | TDS (mg/l) | LAB
45 | UNT08, CCP point 34, Stream Mouth | 40.9522 | -78.1592 | 2020-07-24 | AH/ES | 0 | 0 | 2.58 | 3 | 526 | 714 | 18.4 | <0.10 | 115 | 0 | 28.71 | 0 | 5.89 | 0 | 4.24 | 0 | 205 | 0 | 34 | 317
45 | UNT08, CCP point 34, Stream Mouth | 40.9522 | -78.1592 | 2024-05-30 | JC | 102.3 | 557636.6125 | 3.14 | 3.49 | 549 | 558 | 13.2 | <0.10 | 152.63 | 174.1589 | 2.32 | 2.6472 | 5.98 | 6.8235 | 13.39 | 15.2787 | 243.9 | 278.3028 | 8 |  | 723084
UNT08-1 | UNT08, Channel Beginning | 40.9396 | -78.1454 | 2024-07-18 | CR/GF | 0 | 0
UNT08-2 | UNT08, Constructed Limestone Channel | 40.9401 | -78.1462 | 2024-07-18 | CR/GF | 0 | 0
UNT08-3 | UNT08, First Standing Water No Flow | 40.9401 | -78.1472 | 2024-07-18 | CR/GF | 0 | 0
UNT08-NC1 | UNT08, Dry Channel Entering From North | 40.9402 | -78.1473 | 2024-07-18 | CR/GF | 0 | 0
UNT08-SD1 | UNT08, Discharge From South Pond | 40.9401 | -78.1477 | 2024-07-18 | CR/GF | 6 | 32705.9597 | 2.8 | 2.96 |  | 1122 | 22.3 | <0.10 | 442.17 | 29.5917 | 19.69 | 1.3177 | 9.79 | 0.65519 | 31.05 | 2.078 | 657.3 | 43.9891 | 12 | 868 | 724960
UNT08-4 | UNT08, Upstream First Road Crossing Dry | 40.9434 | -78.151 | 2024-07-18 | CR/GF | 0 | 0
UNT08-5 | UNT08-5, Channel Dry Al Sediment 7/24 | 40.9465 | -78.1522 | 2024-07-18 | CR/GF | 0 | 0
UNT08-SedPond | UNT08, Sediment Pond, Dry 7/24 | 40.9468 | -78.1524 | 2024-07-18 | CR/GF | 0 | 0
UNT08-6 | UNT08, Culvert Road Crossing | 40.9481 | -78.1523 | 2024-07-18 | CR/GF | 5.8 | 31615.761 | 3.33 | 3.46 |  | 716 | 17.6 | <0.10 | 213.92 | 13.8392 | 3.29 | 0.21284 | 9.08 | 0.58741 | 20.95 | 1.3553 | 640.7 | 41.4489 | <5 | 520 | 724959
UNT08-ND1 | UNT08, Discharge From Stream Right | 40.9486 | -78.1522 | 2024-07-18 | CR/GF | 5 | 27254.9664 | 3.21 | 3.34 |  | 712 | 16.3 | <0.10 | 216.51 | 12.0747 | 0.94 | 0.052424 | 8.32 | 0.46401 | 13.64 | 0.7607 | 577 | 32.1792 | 8 | 478 | 724958
UNT08-SD2 | UNT08, Discharge From Stream Left 2 | 40.9491 | -78.1524 | 2024-07-18 | CR/GF | 2 | 10901.9866 | 4.05 | 3.54 |  | 1112 |  | <0.10 | 341.88 | 7.6266 | 144.48 | 3.2231 | 10.11 | 0.22553 | 0.11 | 0.0024539 | 945.6 | 21.0944 | 45 | 764 | 724956
UNT08-SD3 | UNT08, Downstream From Stream Left 3 | 40.9496 | -78.1544 | 2024-07-18 | CR/GF | 0.5 | 2725.4966 | 3.25 | 3.41 |  | 494 | 20.1 | <0.10 | 170.34 | 0.94998 | 2.66 | 0.014835 | 4.19 | 0.023368 | 7.52 | 0.041939 | 185.1 | 1.0323 | <5 | 288 | 724957