## Sheet1
ID | Station Name | Date | Flow | Lat | Long | SM Area | % Area | Field Temp | Field DO | Field Cond | Field pH | Field Turb | Lab pH | Lab Cond | Alk | Acid | Acid Load | Fe | Fe Load | Mn | Mn Load | Al | Al Load | SO4 | SO4 Load | TSS | TDS
| Beightol Run |  | CFS |  |  |  | % |  | mg/l | uS/cm | SU | NTU | SU | uS/cm | mg/l | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | mg/l
Round 3 April 2021
| BL UNT calculated (Beightol Run) | R3 | 2.9432 |  |  | 2.78 | 1.0146 |  |  | 896 | 8.64 |  |  | 911 | <20 | 43.85 | 696.2203 | 3.41 | 54.1416 | 8.12 | 128.9238 | 2.2 | 34.9301 | 382 | 6065.1347 | 5.2 | 322
| BL UNT not sampled | [15 empty] | 435.3023 |  | 35.2124 |  | 81.3889 |  | 15.9227 |  | 4197.5239
BLU01 | BLUNT01 – mouth BM UNT01 | R3 | 0.3945 | 41.0341 | -78.0402 | 0.77 | 27.6978 | 9.9 |  | 330 | 3.99 |  | 4.46 | 330 | <20 | 20.52 | 43.6698 | 0 | 0 | 3.39 | 7.2145 | 0.829 | 1.7642 | 112 | 238.3539 | 0.8 | 20
BLU02 | BLUNT02 – Black Mo UNT02 | R3 | 0.1136 | 41.0354 | -78.0169 | 0.64 | 23.0216 | 10.7 |  | 1615 | 3.12 |  | 3.52 | 1590 | <20 | 102 | 62.508 | 8.98 | 5.5032 | 21.7 | 13.2983 | 6.09 | 3.7321 | 856 | 524.5772 | 1.8 | 1080
BLU03 | BLUNT03 – Black Mo UNT03 | R3 | 1.5752 | 41.0352 | -78.0167 | 0.45 | 16.1871 | 9.5 |  | 432 | 4.92 |  | 4.79 | 434 | <20 | 18.21 | 154.7401 | 1.58 | 13.4261 | 3.18 | 27.0222 | 1.59 | 13.5111 | 130 | 1104.6797 | 1.2 | 280
Mid point not included, used to calculate mouth:
BLU04 | BLUNT – Black Mo UNT above UNT01 | R3 | 2.1166 | 41.0337 | -78.0406 | 1.97 | 70.8633 | 9.6 |  | 566 | 4.65 |  | 4.55 | 581 | <20 | 23.33 | 266.3857 | 3.41 | 38.9359 | 4.73 | 54.0079 | 1.37 | 15.6429 | 270 | 3082.9031 | 4.4 | 302
| BL UNT calculated (Beightol Run) | R3 | 2.9432 |  |  | 2.78 | 1.0146 |  |  | 896 | 8.64 |  |  | 911 | <20 | 43.85 | 696.2203 | 3.41 | 54.1416 | 8.12 | 128.9238 | 2.2 | 34.9301 | 382 | 6065.1347 | 5.2 | 322
| BL UNT not sampled | [15 empty] | 386.1648 |  | 15.2057 |  | 67.7014 |  | 17.523 |  | 2743.8777
BLU01 | BLUNT01 – mouth BM UNT01 | R3 | 0.3945 | 41.0341 | -78.0402 | 0.77 | 27.6978 | 9.9 |  | 330 | 3.99 |  | 4.46 | 330 | <20 | 20.52 | 43.6698 | 0 | 0 | 3.39 | 7.2145 | 0.829 | 1.7642 | 112 | 238.3539 | 0.8 | 20
BLU04 | BLUNT – Black Mo UNT above UNT01 | R3 | 2.1166 | 41.0337 | -78.0406 | 1.97 | 70.8633 | 9.6 |  | 566 | 4.65 |  | 4.55 | 581 | <20 | 23.33 | 266.3857 | 3.41 | 38.9359 | 4.73 | 54.0079 | 1.37 | 15.6429 | 270 | 3082.9031 | 4.4 | 302
(Midpoint BLUNT includes BLUNT02 and BLUNT03) | [16 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
BLU02 | BLUNT02 – Black Mo UNT02 | R3 | 0.1136 | 41.0354 | -78.0169 | 0.64 | 23.0216 | 10.7 |  | 1615 | 3.12 |  | 3.52 | 1590 | <20 | 102 | 62.508 | 8.98 | 5.5032 | 21.7 | 13.2983 | 6.09 | 3.7321 | 856 | 524.5772 | 1.8 | 1080
BLU03 | BLUNT03 – Black Mo UNT03 | R3 | 1.5752 | 41.0352 | -78.0167 | 0.45 | 16.1871 | 9.5 |  | 432 | 4.92 |  | 4.79 | 434 | <20 | 18.21 | 154.7401 | 1.58 | 13.4261 | 3.18 | 27.0222 | 1.59 | 13.5111 | 130 | 1104.6797 | 1.2 | 280
| BL UNT calculated (Beightol Run) | R3 | 2.9432 |  |  | 2.78 | 1.0146 |  |  | 896 | 8.64 |  |  | 911 | <20 | 43.85 | 696.2203 | 3.41 | 54.1416 | 8.12 | 128.9238 | 2.2 | 34.9301 | 382 | 6065.1347 | 5.2 | 322
BLU04 | BLUNT – Black Mo UNT above UNT01 | R3 | 2.1166 | 41.0337 | -78.0406 | 1.97 | 70.8633 | 9.6 |  | 566 | 4.65 |  | 4.55 | 581 | <20 | 23.33 | 266.3857 | 3.41 | 38.9359 | 4.73 | 54.0079 | 1.37 | 15.6429 | 270 | 3082.9031 | 4.4 | 302
| BLUNT not sampled | [15 empty] | 49.1375 |  | 20.0067 |  | 13.6875 |  | -1.6003 |  | 1453.6462
BLU02 | BLUNT02 – Black Mo UNT02 | R3 | 0.1136 | 41.0354 | -78.0169 | 0.64 | 23.0216 | 10.7 |  | 1615 | 3.12 |  | 3.52 | 1590 | <20 | 102 | 62.508 | 8.98 | 5.5032 | 21.7 | 13.2983 | 6.09 | 3.7321 | 856 | 524.5772 | 1.8 | 1080
BLU03 | BLUNT03 – Black Mo UNT03 | R3 | 1.5752 | 41.0352 | -78.0167 | 0.45 | 16.1871 | 9.5 |  | 432 | 4.92 |  | 4.79 | 434 | <20 | 18.21 | 154.7401 | 1.58 | 13.4261 | 3.18 | 27.0222 | 1.59 | 13.5111 | 130 | 1104.6797 | 1.2 | 280
Area of BL UNT
Round 3 (R3) collected 4-9-21
Moshannon Tributary Mouth
Area in Subwatershed