## Sheet1
ID | Station Name | Date | Flow | Lat | Long | Area | Area | Field Temp | Field DO | Field Cond | Field pH | Field Turb | Lab pH | Lab Cond | Alk | Acid | Acid Load | Fe | Fe Load | Mn | Mn Load | Al | Al Load | SO4 | SO4 Load | TSS | TDS
|  |  | CFS |  |  |  | % |  | mg/l | uS/cm | SU | NTU | SU | uS/cm | mg/l | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | mg/l
Round 1 July 2020
23 | Browns Run | R1 | 0.37 | 40.9694 | -78.0926 | 3.18 | 1.1606 | 17.3 | 8.1 | 606 | 4.05 |  | 4.4 | 636 | 0 | 23 | 45.9078 | 0.06 | 0.11976 | 2.92 | 5.8283 | 1.26 | 2.515 | 185 | 369.2587 | 2 | 364
Round 3 April 2021
23 | Browns Run | R3b | 1.383 | 40.9694 | -78.0926 | 3.18 | 1.1606 | 11.4 |  | 309 | 4.32 |  | 4.88 | 282 | <20 | 25.67 | 191.5161 | 0.39 | 2.9097 | 0.803 | 5.9909 | 0.472 | 3.5214 | 58.7 | 437.943 | 2.4 | 98
| Browns Run not sampled | [15 empty] | -39.6203 |  | -36.3448 |  | -8.6918 |  | -3.9837 |  | -518.8801
BR4 | BR4 - BR at I-80 | R3b | 0.7708 | 40.9616 | -78.1081 |  |  | 11.9 |  | 409 | 3.82 |  | 4.21 | 384 | <20 | 28.78 | 119.6712 | 3.95 | 16.4246 | 1.65 | 6.8609 | 1.04 | 4.3245 | 101 | 419.9721 | 2.4 | 174
BR5 | BR5 - Trib to BR | R3b | 0.0846 | 40.9611 | -78.1091 |  |  | 10.3 |  | 42.3 | 6.15 |  | 6.44 | 31.7 | <20 | 10.79 | 4.9244 | <0.20 | 0 | 0.0317 | 0.014467 | 0.104 | 0.047464 | 9.1 | 4.1531 | <1.6 | <20.0
BR3 | BR3 - Viaduct Road | R3b | 0.2116 | 40.9622 | -78.1112 |  |  | 12.7 |  | 994 | 3.28 |  | 3.83 | 939 | <20 | 77.3 | 88.2374 | 20 | 22.8298 | 4.94 | 5.639 | 2.35 | 2.6825 | 323 | 368.702 | 3.6 | 500
BR2.5 | BR2.5 - Pale Moon Dr | R3b | 0.0579 | 40.9709 | -78.1215 |  |  | 10.8 |  | 401 | 6.72 |  | 7.3 | 369 | <20 | 14.88 | 4.6477 | <0.20 | 0 | <0.02 | 0 | <0.10 | 0 | 93.8 | 29.2981 | <1.6 | 236
BR2 | BR2 - Knox Run Road | R3b | 0.2094 | 40.9835 | -78.1291 |  |  | 13.6 |  | 363 | 6.05 |  | 6.65 | 332 | <20 | 12.25 | 13.8379 | <0.20 | 0 | 1.91 | 2.1576 | 0.399 | 0.45072 | 115 | 129.9068 | 3.6 | 248
BR1 | BR1 – Headwaters | R3b | 0.0367 | 40.9947 | -78.1304 |  |  | 10.2 |  | 119.4 | 6.43 |  | 7.22 | 99.8 | <20 | -0.92 | -0.18214 | <0.20 | 0 | 0.0543 | 0.01075 | <20 | 0 | 24.2 | 4.7911 | <1.6 | <20
23 | Browns Run | R3b | 1.383 | 40.9694 | -78.0926 | 3.18 | 1.1606 | 11.4 |  | 309 | 4.32 |  | 4.88 | 282 | <20 | 25.67 | 191.5161 | 0.39 | 2.9097 | 0.803 | 5.9909 | 0.472 | 3.5214 | 58.7 | 437.943 | 2.4 | 98
Future analysis:
| BR3.5 - bet BR3 and BR5 | [5 empty] | 0 | [9 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
Round 1 (R1) collected 7-24-20
Round 2 (R3b) collected 4-7-21