## Raw Quality and Loading
ID | Station Name | Date | Flow | Lat | Long | Area | Area | Field Temp | Field DO | Field Cond | Field pH | Field Turb | Lab pH | Lab Cond | Alk | Acid | Acid Load | Fe | Fe Load | Mn | Mn Load | Al | Al Load | SO4 | SO4 LoadSO4 LoadSO4 LoadSO4 LoadSO4 Load | TSS | TDS
Round 1 July 2020 |  |  | CFS |  |  | Mi2 | % | Co | mg/l | uS/cm | SU | NTU | SU | uS/cm | mg/l | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | mg/l
1 | Moshannon Creek Mouth | R1 | 92.061 | 41.0723 | -78.0972 | 274 |  | 27.9 | 6.36 | 718 | 3.92 |  | 4.1 | 708 | 0 | 29 | 14402.2718 | 0.35 | 173.8205 | 2.4 | 1191.9121 | 1.66 | 824.4059 | 313 | 155445.2091 | 2 | 458
| Watershed Area 2 to 1 Not Sampled |  |  |  |  | 3.23 | 1.18 | [9 empty] | 1406 |  | 0 |  | 199 |  | 137 |  | 27743
8 | Unnamed Trib | R1 | 0.002 | 41.0592 | -78.0915 | 0.42 | 0.15328 | 18.8 | 6.61 | 171.7 | 5.53 |  | 6 | 248 | 2 | 11 | 0.11868 | 0.3 | 0.0032367 | 0.04 | 0.00043157 | 0.1 | 0.0010789 | 103 | 1.1113 | 9 | 147
9 | Unnamed Trib | R1 | 0.114 | 41.0605 | -78.0759 | 0.98 | 0.35766 | 17.3 | 8 | 32.2 | 5.05 |  | 6 | 43 | 2 | 10 | 6.1498 | 0.16 | 0.098397 | 0.03 | 0.018449 | 0.05 | 0.030749 | 10 | 6.1498 | 2 | 24
10 | Ames Run | R1 | 0.002 | 41.0574 | -78.0743 | 1.02 | 0.37226 | 17.6 | 7.3 | 165.8 | 4.19 |  | 4.5 | 194 | 0 | 19 | 0.20499 | 0.05 | 0.00053946 | 0.64 | 0.0069051 | 0.89 | 0.0096023 | 75 | 0.80919 | 3 | 114
11 | Unnamed Trib | R1 | 0.036 | 41.0493 | -78.0708 | 0.28 | 0.10219 | 19.4 | 8.2 | 234.8 | 5.03 |  | 5.8 | 229 | 2 | 20 | 3.8841 | 4.42 | 0.85838 | 1.48 | 0.28742 | 0.05 | 0.0097102 | 97 | 18.8379 | 3 | 147
12 | Sevenmile Run | R1 | 0.723 | 41.0521 | -78.059 | 4.37 | 1.5949 | 17.3 | 7.7 | 748 | 3.36 |  | 3.5 | 896 | 0 | 49 | 191.1136 | 2.05 | 7.9956 | 7.45 | 29.0571 | 1.63 | 6.3575 | 398 | 1552.3108 | 3 | 586
13 | Black Moshannon Creek | R1 | 15.268 | 41.0362 | -78.0566 | 55.7 | 20.3285 | 21.1 |  | 205.1 | 6.38 | 0.56 | 6 | 227 | 3 | 13 | 1070.737 | 1.51 | 124.3702 | 1.18 | 97.19 | 0.33 | 27.1802 | 78 | 6424.4221 | 7 | 128
2 | MC Upstream Black | R1 | 65.858 | 41.0367 | -78.0584 | 208 |  | 23.3 | 8.25 | 737 | 3.74 | 0.02 | 4 | 778 | 0 | 33 | 11724.1075 | 0.51 | 181.1908 | 2.44 | 866.8734 | 1.84 | 653.7078 | 355 | 126122.9751 | 2 | 518
| Watershed Area 3 to 2 Not Sampled |  |  |  |  | 4.47 | 1.63 | [9 empty] | 0 |  | 0 |  | 27 |  | 0 |  | 0
14 | Crawford Run | R1 | 0.2 | 41.0305 | -78.0816 | 1.67 | 0.60949 | 19 |  | 158.4 | 6 | 0 | 6.1 | 182 | 3 | 13 | 14.0259 | 0.05 | 0.053946 | 0.02 | 0.021578 | 0.05 | 0.053946 | 48 | 51.7879 | 3 | 94
15 | Weber Run | R1 | 0.25 | 41.0292 | -78.0804 | 0.66 | 0.24088 | 19.6 |  | 1078 | 3.02 | 0 | 3.3 | 1100 | 0 | 82 | 110.5888 | 1.08 | 1.4565 | 12.03 | 16.2242 | 4.1 | 5.5294 | 509 | 686.4598 | 4 | 777
16 | Unnamed Trib | R1 | 0.15 | 41.0217 | -78.0761 | 0.48 | 0.17518 | 18.3 | 9.07 | 621 | 3.13 | 0 | 3.4 | 682 | 0 | 60 | 48.5512 | 0.68 | 0.55025 | 3.45 | 2.7917 | 3.99 | 3.2287 | 274 | 221.7171 | 2 | 407
17 | Unnamed Trib | R1 | 0 | 41.0148 | -78.0705 | 0.24 | 0.087591
18 | Unnamed Trib | R1 | 0.02 | 41.0102 | -78.0568 | 0.29 | 0.10584 | 18.4 |  | 903 | 2.97 | 0 | 3.2 | 953 | 0 | 74 | 7.984 | 4.94 | 0.53298 | 7.34 | 0.79192 | 2 | 0.21578 | 364 | 39.2725 | 2 | 539
19 | Unnamed Trib | R1 | 0.2 | 41.0031 | -78.0579 | 0.94 | 0.34307 | 19 | 8.19 | 281 | 3.64 | 0 | 3.9 | 314 | 0 | 33 | 35.6042 | 0.23 | 0.24815 | 2.43 | 2.6218 | 2.46 | 2.6541 | 112 | 120.8385 | 6 | 174
20 | Unnamed Trib | R1 | 0.25 | 40.9942 | -78.0638 | 1 | 0.36496 | 17.6 | 8.84 | 204.5 | 3.72 | 0 | 4 | 227 | 0 | 24 | 32.3675 | 0.12 | 0.16184 | 1.35 | 1.8207 | 1.21 | 1.6319 | 76 | 102.4969 | 2 | 134
21 | Moravian Run | R1 | 1.031 | 40.9943 | -78.0795 | 3.25 | 1.1861 | 18.8 |  | 670 | 3.25 |  | 3.4 | 725 | 0 | 59 | 328.1467 | 2.49 | 13.8489 | 3.88 | 21.5798 | 3.36 | 18.6877 | 285 | 1585.1152 | 2 | 438
3 | MC Upstream of Peale Rd Tributary | R1 | 65.65 | 40.9932 | -78.0809 | 195 |  | 23.3 |  | 744 | 3.7 | 0 | 4 | 781 | 0 | 34 | 12041.2331 | 0.74 | 262.0739 | 2.24 | 793.3048 | 1.87 | 662.2678 | 364 | 128912.0248 | 2 | 531
| Watershed Area 4 to 3 Not Sampled |  |  |  |  | 7.21 | 2.63 | [9 empty] | 0 |  | 0 |  | 0 |  | 0 |  | 0
22 | Grassflat Run | R1 | 1.008 | 40.9805 | -78.0912 | 2.12 | 0.77372 | 17.9 | 8.88 | 945 | 2.87 | 0 | 3.1 | 1020 | 0 | 103 | 560.0865 | 11.55 | 62.8058 | 3.52 | 19.1408 | 5.03 | 27.3518 | 390 | 2120.7157 | 2 | 602
23 | Browns Run | R1 | 0.37 | 40.9694 | -78.0926 | 3.18 | 1.1606 | 17.3 | 8.1 | 606 | 4.05 |  | 4.4 | 636 | 0 | 23 | 45.9078 | 0.06 | 0.11976 | 2.92 | 5.8283 | 1.26 | 2.515 | 185 | 369.2587 | 2 | 364
24 | Laurel Run | R1 | 0.223 | 40.9696 | -78.0844 | 1.73 | 0.63139 | 19.3 | 8.51 |  | 7.36 | 0.4 | 6.5 | 319 | 14 | 1 | 1.203 | 0.05 | 0.06015 | 0.02 | 0.02406 | 0.05 | 0.06015 | 30 | 36.0897 | 2 | 164
25 | Potter Run | R1 | 0.178 | 40.9566 | -78.0776 | 0.87 | 0.31752 | 16.36 | 9.2 |  | 4.3 | 0.4 | 5.5 | 33 | 2 | 11 | 10.5626 | 0.05 | 0.048012 | 0.03 | 0.028807 | 0.09 | 0.086421 | 8 | 7.6819 | 2 | 22
26 | Dry Hollow | R1 | 0 | 40.9548 | -78.0814 | 0.51 | 0.18613
27 | Tark Hill Run | R1 | 0.123 | 40.9503 | -78.0967 | 1.4 | 0.51095 | 16.1 | 9.24 |  | 5.15 | 0.7 | 5.9 | 30 | 2 | 8 | 5.3083 | 0.05 | 0.033177 | 0.02 | 0.013271 | 0.05 | 0.033177 | 7 | 4.6447 | 2 | 24
28 | Saw Dust Hollow | R1 | 0.045 | 40.9499 | -78.1073 | 0.89 | 0.32482 | 17.2 | 8.9 |  | 5.74 | 0.92 | 5.7 | 37 | 2 | 11 | 2.6703 | 0.05 | 0.012138 | 0.02 | 0.0048551 | 0.05 | 0.012138 | 7 | 1.6993 | 2 | 26
29 | Panther Hollow | R1 | 0 | 40.9421 | -78.118 | 0.35 | 0.12774
30 | Sixmile Run | R1 | 6.675 | 40.9423 | -78.1242 | 17.5 | 6.3869 | 18.9 | 8.86 |  | 6.49 | 1.87 | 6.5 | 63 | 13 | 2 | 72.0176 | 0.11 | 3.961 | 0.02 | 0.72018 | 0.05 | 1.8004 | 6 | 216.0528 | 3 | 34
31 | Black Bear Run | R1 | 2.754 | 40.9446 | -78.1359 | 8.74 | 3.1898 | 18.4 | 8.83 | 51.1 | 6.39 | 0.6 | 6.3 | 55 | 6 | 5 | 74.2833 | 0.07 | 1.04 | 0.02 | 0.29713 | 0.05 | 0.74283 | 6 | 89.14 | 3 | 37
32 | Sulphur Run | R1 | 7.601 | 40.9606 | -78.1425 | 3.46 | 1.2628 | 12.3 | 10.47 | 1313 | 3.01 |  | 3.2 | 1310 | 0 | 148 | 6068.6175 | 11.37 | 466.2174 | 2.3 | 94.3096 | 12.19 | 499.8409 | 582 | 23864.4282 | 7 | 915
33 | Munson Run | R1 | 2.36 | 40.9548 | -78.1705 | 3.04 | 1.1095 | 16.6 | 7.83 | 934 | 3.06 |  | 3.2 | 1000 | 0 | 107 | 1362.2383 | 16.8 | 213.8841 | 2.48 | 31.5734 | 8.15 | 103.7593 | 377 | 4799.6622 | 14 | 616
4 | MC Upstream Munson Unnamed Trib | R1 | 69.96 | 40.955 | -78.1694 | 144 |  | 21.9 | 7.27 | 835 | 4.01 |  | 4.6 | 842 | 0 | 22 | 8302.8998 | 1.46 | 551.0106 | 2.7 | 1018.9922 | 0.49 | 184.9282 | 397 | 149829.6012 | 4 | 610
| Watershed Area 5 to 4 Not Sampled |  |  |  |  | 5.47 | 2 | [9 empty] | 2883.471 |  | 0 |  | 0 |  | 0 |  | 6289.4498
34 | Unnamed Trib | R1 | 0 | 40.9517 | -78.1587 | 0.48 | 0.17518 | 18.4 | 2.58 | 526 | 2.58 |  | 3 | 714 | 0 | 115 | 0 | 28.71 | 0 | 5.89 | 0 | 4.24 | 0 | 205 | 0 | 34 | 317
35 | Unnamed Trib | R1 | 0.345 | 40.9364 | -78.1729 | 0.84 | 0.30657 | 18.6 | 6.67 | 1500 | 2.92 | 9.4 | 3 | 1530 | 0 | 130 | 241.9467 | 19.41 | 36.1245 | 4.02 | 7.4817 | 0.5 | 0.93056 | 649 | 1207.8725 | 5 | 913
36 | Barlow Hollow | R1 | 0.013 | 40.9313 | -78.168 | 0.85 | 0.31022 | 14.5 |  | 733 | 3.52 |  | 3.4 | 702 | 0 | 109 | 7.6441 | 2.02 | 0.14166 | 5.05 | 0.35415 | 12.64 | 0.88644 | 290 | 20.3376 | 25 | 489
37 | Wolf Run | R1 | 0.155 | 40.9235 | -78.1783 | 1.09 | 0.39781 | 20.3 |  | 2400 | 2.8 |  | 2.8 | 2360 | 0 | 477 | 398.848 | 48.55 | 40.5955 | 15.55 | 13.0023 | 45.62 | 38.1456 | 1283 | 1072.7924 | 4 | 2048
38 | Unnamed Trib | R1 | 0.073 | 40.92 | -78.1848 | 0.34 | 0.12409 | 20.8 |  | 2340 | 2.76 |  | 2.8 | 2260 | 0 | 363 | 142.9509 | 11.74 | 4.6233 | 11.08 | 4.3633 | 37.58 | 14.7992 | 1064 | 419.0075 | 2 | 1736
39 | Hawk Run Discharge | R1 | 3.75 | 40.9222 | -78.192 | NA | NA | 10.4 | 1.37 | 1094 | 5.83 | 0.9 | 5.9 | 1100 | 27 | 51 | 1031.7127 | 29.76 | 602.0347 | 3.31 | 66.9602 | 1.63 | 32.9743 | 552 | 11166.7723 | 6 | 861
40 | Hawk Run above Hawk Run Discharge | R1 | 0.756 | 40.9222 | -78.1929 | 2.66 | 0.9708 | 22.3 | 8.13 | 992 | 7.5 | 7 | 7.4 | 1000 | 114 | -92 | -375.2035 | 0.86 | 3.5073 | 2.25 | 9.1762 | 0.08 | 0.32626 | 390 | 1590.5368 | 6 | 715
41 | Unnamed Trib | R1 | 0.014 | 40.9161 | -78.1965 | 1.34 | 0.48905 | 21.4 |  | 1172 | 3.19 |  | 3.2 | 1090 | 0 | 126 | 9.516 | 2.22 | 0.16766 | 5.53 | 0.41765 | 11.89 | 0.89798 | 473 | 35.7229 | 8 | 799
42 | Onemile Run | R1 | 0.207 | 40.9137 | -78.2006 | 1.87 | 0.68248 | 17.1 |  | 879 | 2.85 | 0.1 | 3.1 | 991 | 0 | 133 | 148.5181 | 11.53 | 12.8753 | 5.2 | 5.8067 | 10.3 | 11.5018 | 356 | 397.5371 | 7 | 622
43 | Emigh Run | R1 | 2.239 | 40.9212 | -78.2101 | 4.16 | 1.5182 | 23.1 |  | 971 | 5.89 |  | 6.2 | 915 | 9 | 19 | 229.4907 | 0.61 | 7.3679 | 11.81 | 142.6466 | 0.15 | 1.8118 | 434 | 5242.0498 | 5 | 674
44 | Cold Stream | R1 | 6.26 | 40.9013 | -78.2104 | 22 | 8.0292 | 26.1 |  | 73.3 | 6.39 | 0.72 | 6.4 | 106 | 6 | 8 | 270.1604 | 1.83 | 61.7992 | 0.38 | 12.8326 | 0.23 | 7.7671 | 23 | 776.7111 | 10 | 52
45 | Laurel Run | R1 | 9.492 | 40.9069 | -78.2269 | 22 | 8.0292 | 22.083 | 7.99 | 983 | 6.45 | 1.42 | 6.6 | 984 | 27 | -9 | -460.8478 | 0.49 | 25.0906 | 6.6 | 337.9551 | 0.23 | 11.7772 | 467 | 23912.8823 | 5 | 732
5 | MC Downstream Shimmel Run | R1 | 41.16 | 40.8945 | -78.224 | 80.9 |  | 22.33 | 8.39 | 882 | 4.83 | 1.11 | 5.2 | 888 | 2 | 17 | 3774.6927 | 0.13 | 28.8653 | 2.69 | 597.2896 | 0.49 | 108.8 | 440 | 97697.9292 | 2 | 644
| Watershed Area 6 to 5 Not Sampled |  |  |  |  | 7.7 | 2.8102 | [9 empty] | 587.0108 |  | 0 |  | 0 |  | 0 |  | 16273.0892
46 | Unnamed Trib | R1 | 0.35 | 40.8867 | -78.2207 | 0.26 | 0.094891 | 17.9 | 8.89 | 169.2 | 8.04 | 8.6 | 6.9 | 190 | 26 | -13 | -24.5453 | 0.33 | 0.62307 | 0.03 | 0.056643 | 0.15 | 0.28322 | 20 | 37.762 | 18 | 84
48 | Unnamed Trib | R1 | 0.63 | 40.8776 | -78.2502 | 1.7 | 0.62044 | 21.79 | 7.9 | 1313 | 7.35 | 8 | 7 | 1280 | 43 | -25 | -84.9646 | 0.79 | 2.6849 | 0.49 | 1.6653 | 0.13 | 0.44182 | 678 | 2304.2392 | 7 | 1047
49 | Shimmel Run | R1 | 0.035 | 40.8719 | -78.2501 | 1.87 | 0.68248 | 20.19 | 7.91 | 413 | 7.13 | 17.3 | 7 | 447 | 38 | -23 | -4.3426 | 0.57 | 0.10762 | 0.06 | 0.011329 | 0.26 | 0.049091 | 154 | 29.0768 | 8 | 276
50 | Unnamed Trib | R1 | 0.1 | 40.8593 | -78.2439 | 1.52 | 0.55474 | 19.36 | 8.4 | 431 | 3.11 | 1.3 | 3.6 | 432 | 0 | 46 | 24.815 | 1.53 | 0.82537 | 1.54 | 0.83076 | 2.77 | 1.4943 | 132 | 71.2084 | 2 | 200
51 | Unnamed Trib | R1 | 0.134 | 40.8508 | -78.2621 | 1.25 | 0.4562 | 19.65 | 8.42 | 981 | 6.55 | 0 | 6.4 | 1010 | 12 | 5 | 3.6144 | 0.16 | 0.11566 | 0.72 | 0.52047 | 0.05 | 0.036144 | 535 | 386.7372 | 2 | 810
52 | Trout Run | R1 | 4.12 | 40.8462 | -78.2657 | 8 | 2.9197 | 18.15 | 8.84 | 407 | 3.53 | 0.3 | 3.8 | 448 | 0 | 41 | 911.2518 | 2.77 | 61.5651 | 1.52 | 33.783 | 3.25 | 72.2334 | 180 | 4000.6176 | 6 | 283
6 | MC Osceola Upstream Fr Trout Run | R1 | 36.485 | 40.8472 | -78.2715 | 58.6 |  | 21.1 | 7.7 | 787 | 5.76 | 17.5 | 6.1 | 786 | 8 | 12 | 2361.8533 | 3.98 | 783.348 | 3.6 | 708.556 | 1.75 | 344.4369 | 379 | 74595.1989 | 18 | 557
| Watershed Area 7 to 6 Not Sampled |  |  |  |  | 7.3 | 2.6642 | [9 empty] | 4542.9559 |  | 562.111 |  | 516.0975 |  | 291.8701 |  | 57860.9545
53 | Big Run | R1 | 0.9 | 40.8527 | -78.2838 | 2.22 | 0.81022 | 20.72 | 7.82 | 1184 | 3.39 | 1.7 | 3.5 | 1250 | 0 | 61 | 296.1622 | 2.67 | 12.9632 | 8.5 | 41.2685 | 3.35 | 16.2646 | 622 | 3019.8836 | 2 | 925
54 | Beaver Run | R1 | 6.16 | 40.8472 | -78.2927 | 18.9 | 6.8978 | 20.3 | 7.33 | 785 | 7.05 | 8 | 7 | 833 | 68 | -50 | -1661.5294 | 1.35 | 44.8613 | 2.08 | 69.1196 | 0.39 | 12.9599 | 321 | 10667.0188 | 10 | 582
55 | Bear Run | R1 | 0.459 | 40.8134 | -78.3035 | 3 | 1.0949 | 21.2 | 8.28 | 427.3 | 3.14 | 0 | 3.4 | 466 | 0 | 74 | 183.2322 | 4.21 | 10.4244 | 2.75 | 6.8093 | 6.4 | 15.8471 | 156 | 386.2732 | 4 | 270
56 | Unnamed Trib | R1 | 0.013 | 40.8159 | -78.3092 | 0.63 | 0.22993 | 25.4 | 6.49 | 145.9 | 6.49 | 7.32 | 6.6 | 164 | 23 | -7 | -0.49091 | 0.87 | 0.061013 | 0.46 | 0.03226 | 0.08 | 0.0056104 | 47 | 3.2961 | 9 | 98
57 | Unnamed Trib | R1 | 0.004 | 40.8087 | -78.3205 | 0.24 | 0.087591 | 22.1 |  | 114.9 | 6.63 | 143 | 6.7 | 126 | 37 | -22 | -0.47472 | 1.87 | 0.040351 | 0.98 | 0.021147 | 0.38 | 0.0081998 | 17 | 0.36683 | 21 | 60
58 | Mountain Branch | R1 | 2.435 | 40.8051 | -78.3193 | 10.9 | 3.9781 | 21.9 |  | 74.9 | 5.46 | 0.87 | 5.8 | 84 | 2 | 12 | 157.6295 | 1.11 | 14.5807 | 0.46 | 6.0425 | 0.17 | 2.2331 | 28 | 367.8022 | 4 | 49
59 | Whiteside Run near Mouth | R1 | 3.461 | 40.808 | -78.3294 | 5.05 | 1.8431 | 26.5 |  | 334.2 | 7.19 | 10.14 | 7.3 | 346 | 97 | -81 | -1512.3208 | 4.17 | 77.8565 | 1.05 | 19.6042 | 0.08 | 1.4937 | 7 | 130.6944 | 8 | 194
60 | UNT 60 | R1 | 0 | 40.7909 | -78.3441 | 1.22 | 0.44526
7 | MC Hale | R1 | 3.48 | 40.7881 | -78.3426 | 9.14 |  | 22.4 |  | 261.5 | 4.63 | 0.03 | 4.5 | 278 | 0 | 19 | 356.6894 | 3.22 | 60.4495 | 2.64 | 49.561 | 0.2 | 3.7546 | 115 | 2158.9093 | 6 | 166
| Watershed Area 65 to 7 Not Sampled |  |  |  |  | 3.09 | 1.1277 | [9 empty] | 326.6901 |  | 56.8437 |  | 46.9431 |  | 3.546 |  | 2090.9431
61 | Roup Run | R1 | 0.017 | 40.7812 | -78.3437 | 1.31 | 0.4781 | 19.53 |  | 40 | 7.63 |  | 6.6 | 45 | 9 | 4 | 0.36683 | 0.36 | 0.033015 | 0.1 | 0.0091708 | 0.08 | 0.0073366 | 7 | 0.64195 | 6 | 24
62 | Unnamed Trib | R1 | 0.017 | 40.7752 | -78.3522 | 0.23 | 0.083942 | 19.3 |  | 87 | 5.24 |  | 5.4 | 78 | 2 | 14 | 1.2839 | 1.98 | 0.18158 | 0.94 | 0.086205 | 0.18 | 0.016507 | 25 | 2.2927 | 2 | 63
63 | Wilson Run | R1 | 0.416 | 40.7656 | -78.3601 | 1.46 | 0.53285 | 21.814 |  | 17 | 6.55 |  | 6.2 | 24 | 3 | 10 | 22.4414 | 0.08 | 0.17953 | 0.02 | 0.044883 | 0.06 | 0.13465 | 5 | 11.2207 | 10 | 18
64 | MC FORE complex trib | R1 | 0.045 | 40.7555 | -78.3761 | 0.71 | 0.25912 | 26.6 | 7.81 | 51.8 | 7.29 |  | 6.2 | 505 | 17 | 15 | 3.6413 | 13.09 | 3.1777 | 10.16 | 2.4664 | 0.09 | 0.021848 | 210 | 50.9787 | 25 | 365
65 | MC Headwaters | R1 | 0.105 | 40.746 | -78.3718 | 2.34 | 0.85401 | 24.58 |  | 95 | 6.38 |  | 6.4 | 92 | 10 | 4 | 2.2657 | 0.06 | 0.033986 | 0.02 | 0.011329 | 0.05 | 0.028322 | 5 | 2.8322 | 4 | 60
[17 empty] | 19761.2714 |  | 2541.9578 |  | 1896.7723 |  | 1379.5854 |  | 219893.3034
Round 1 (R1) collected 7-24-20
Moshannon Main Stem Point
Moshannon Tributary Mouth
Mine Discharge Point