## Sheet1
ID | Station Name | Date | Flow | Lat | Long | SM Area | % Area | Field Temp | Field DO | Field Cond | Field pH | Field Turb | Lab pH | Lab Cond | Alk | Acid | Acid Load | Fe | Fe Load | Mn | Mn Load | Al | Al Load | SO4 | SO4 Load | TSS | TDS
|  |  | CFS |  |  |  | % |  | mg/l | uS/cm | SU | NTU | SU | uS/cm | mg/l | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | lbs/day | mg/l | mg/l
Round 1 July 2020
52 | Trout Run | R1 | 4.12 | 40.8462 | -78.2657 | 8 | 2.9197 | 18.15 | 8.84 | 407 | 3.53 | 0.3 | 3.8 | 448 | 0 | 41 | 911.2518 | 2.77 | 61.5651 | 1.52 | 33.783 | 3.25 | 72.2334 | 180 | 4000.6176 | 6 | 283
Round 3 April 2021
52 | TR104 – Trout Run | R3d | 31.64 | 40.8452 | 78.2665 | 8 | 2.9197 | 8.78 |  | 257 | 3.79 |  | 4.41 | 223 | 0 | 25.99 | 4436.0872 | 1.12 | 191.1665 | 0.696 | 118.7963 | 2.18 | 372.092 | 87.4 | 14917.8152 | 4.4 | 64
| Trout Run Watershed Not Sampled | [15 empty] | 332.2406 |  | 109.2597 |  | 75.8546 |  | 233.9868 |  | 10196.0721
TR48 | TR48 - Impaired TR trib | R3d | 2.961 | 40.832 | -78.2624 |  |  | 9.17 |  | 519 | 3.45 |  | 3.62 | 455 | 0 | 62.6 | 999.9311 | 2.25 | 35.94 | 1.39 | 22.2029 | 4.85 | 77.4707 | 149 | 2380.0276 | <1.6 | 166
TR1 | TR1 - Vicinity combined discharges | R3d | 0.33085 | 40.827 | -78.2691 |  |  | 11.5 |  | 995 | 3.13 |  | 3.4 | 877 | 0 | 114.7 | 204.716 | 2.53 | 4.5155 | 5.71 | 10.1912 | 11.7 | 20.8821 | 394 | 703.2094 | 4.4 | 362
TR66 | TR66 - Impaired trib | R3d | 0.8132 | 40.816 | -78.2661 |  |  | 12.05 |  | 602 | 3.28 |  | 3.28 | 542 | 0 | 106.3 | 466.3242 | 6.75 | 29.6114 | 2.09 | 9.1686 | 7.65 | 33.5595 | 168 | 736.994 | <1.6 | 206
TR102 | TR102 - Trout Run Good Water | R3d | 21.442 | 40.8167 | -78.265 |  |  | 11 |  | 54.8 | 7.3 |  | 6.82 | 67.3 | 0 | 20.8 | 2405.9464 | 0.1 | 11.567 | 0.01 | 1.1567 | 0.05 | 5.7835 | 7.59 | 877.9391 | 67.6 | <20
TR29 | TR29 - Low pH Upper Trib | R3d | 0.50576 | 40.8245 | -78.2467 |  |  | 10.05 |  | 268 | 4.99 |  | 5.24 | 33.6 | 0 | 9.87 | 26.9289 | 0.1 | 0.27284 | 0.0815 | 0.22236 | 0.15 | 0.40925 | 8.64 | 23.573 | <1.6 | <20
Intermediate Sample Point Round 3:
TR48A | TR48A | R3d | 27.78 | 40.8315 | -78.2625 |  |  | 9.55 |  | 94.8 | 5.9 |  | 5.44 | 90.7 | 0 | 14.26 | 2137.0224 | 0.425 | 63.6911 | 0.396 | 59.3451 | 0.867 | 129.9298 | 23.7 | 3551.7133 | 5.6 | 76
Not Subtracted in Calcs Above
Round 1 (R1) collected 7-24-20
Round 3d (R3d) collected 4-14-21
Moshannon Tributary Mouth