Fire safety risk assessment form

| Risk Area Upstairs |  | Carried out by Kerry Manning |  | Date 1st September 2023 |
| --- | --- | --- | --- | --- |
| Fire Hazards: Examples: Ignition; fuel; oxygen | Who is at risk People on premises and those most vulnerable | Level of risk of fire occurring and the risk to people | Control measure Remove and reduce hazards that may cause fire; Remove and reduce risks to people | Review Record, plan, inform, instruct, train and review |
| Extension leads under office desk | All people present (APP) | Low | Ensure the leads are not over loaded. Ensure leads are not covered by inflammable materials. Any concerns to report to James Pickett (Caretaker) | Record any reports and actions. Instruct and remind staff of who to inform if any concerns. Review area when being used. |

Before completing this form please refer to the five steps in procedure Fire safety