To be completed when MAD of 10 feet is not practical to complete the work

Date:_______________ Crew__________________ Foreman_________________________________________________

Location: ____________________________________________________________________________________________

Qualified Incidental Line Clearance Arborist on Site _____________________________________________________

Secondary Qualified Person if Applicable________________________________________________________________

Designated Spotter___________________________________________________________________________________

Does it make sense to call the power company  to ground the hazard?______________________________________

(You can find which power company by looking at the pole or finding the nearest meter on a building.)

County Gas & Electric (521) 989-6247 or (800) 873-3374      California Power (800) 888-2726 or (800) 245-2345

City Utilities (215) 999-2000    Good Enough Power (310) 555-1234   Government Power & Light (306) 947-1111

Type of Electrical Hazard (Communication, Service Drop, Primary Wire, etc.) ____________________________ _

Voltage of Line(s)_____________________________________________________________________________________

Minimum Approach Distance According to Table Below__________________________________________________

Remember, if you are working within 10 feet of an electrical hazard you must use CLEAN, UNDAMAGED, DRY, NON-CONDUCTIVE tools. Which non-conductive tools will be used to perform work?

- Dielectric Polesaw

- Fiberglass Pruning Pole

Potential Hazards to discuss			Remember to never turn your back to an electrical hazard if

- Backfeed	                                           you are within 10 feet. Take your time and be extra cautious!

- Bad Weather				If climbing, be sure that your climbing line will pull you

- Step-potential				away during a swing.

Other Crew Members Present:

____________________________________________		________________________________________

____________________________________________		________________________________________

____________________________________________		________________________________________