Homeowner:

Address:

Contact Information:

Date Summitted to Committee:

Description of work to be done:

- Materials to be submitted for site approval:

(Include 2 full sets of working plans)

- Details of Grading work to be Performed on the Lot

■	Building Specifications and Site Plans, including buildings, septic, wells, piers, paving with material and locations of all improvements

NOTES:   septic pending county approval and location

■	The Materials types used, and color scheme samples—same as existing approved home material and color

- Setback Distances

- Location of Improvements on adjoining lots

- Landscaping details for lot and exterior lighting—not included

| Building Restriction | Plans Comply? (Yes, No, Pending, or Not Applicable) |
| --- | --- |
| Maximum Height/Size (Article X, Section 1) |  |
| Maximum Height 2 ½ stories above ground |  |
| Maximum Height detached garages and outbuildings may not exceed 14’ |  |
| Total Square footage of detached garaged and outbuildings less than 2000 square feet |  |
| Private garage may not exceed three (3) car capacity; or two garages each of two(2) car capacity. |  |
| Recreational Structures less than 1000 square feet |  |
| Minimum Size (Article X Section 2) |  |
| Waterfront 1 story: >2200 1 story > 2000 - waterfront: >2400 1.5 > 2200 2 story waterfront>2600 with >1600 on ground level 2 story >2400 with >1400 on ground level |  |
| Building Setbacks and Location (Article X, Section 5) |  |
| Typical side yard 15 feet |  |
| Front yard facing street 35 feet |  |
| Rear of lot 35 feet |  |
| Lake Norman 50 ft |  |
| Exterior Materials, Colors, and Finishes (Article X, Section 3) |  |
| Exterior materials are brick, stone, hard stucco, wood, engineered cement. |  |
| Doors, Windows, and Shutters |  |
| Natural color aluminum or metal finishes not allowed |  |
| Window and doorframes may have anodized aluminum, vinyl, or painted or stained wood finishes |  |
| Colors/stains must be submitted and approved |  |
| Roofs |  |
| Minimum roof slope of six in twelve with not less than 12” overhang |  |
| No flat roofs, A-frame roofs, dome roofs, or shed roofs composed of only one plane as an overall roof shape for the majority of the building |  |
| Permitted roof materials are slate, wood or architectural metal shakes, terra cotta tile, copper sheathing, or architectural fiberglass shingles (Article X, Section 3) |  |
| Covered porches and other structures on the Lot (e.g. detached garages, pool houses or other accessory structures permitted by The Committee) should have the same roofing material and color as the main Home. |  |
| Chimneys |  |
| Full foundation based and made of brick, stone, hard-coat stucco or other approved by committee |  |
| Exposed metal flues are not permitted |  |
| All chimney caps should be finished in a finish blending with colors of the home |  |
| Mailboxes |  |
| No masonry mailboxes or other improvement may be constructed or placed within any private road easement. |  |
| All mailboxes and newspaper boxes (including supporting posts) shall be of standard color, size, and design |  |
| Greenhouses |  |
| The use of manufactured greenhouse rooms or units as an integral element in the overall design of the Home shall be permitted with the approval of The Committee. |  |
| Decks and Porches |  |
| Decks and porches should be designed with substantial, well-proportioned railings, flooring, and support posts meeting building code requirements. The space below decks should be screened with lattice, shrubbery or other means appropriate to the design of the Home. |  |
| Parking and Driveways (Article X, Section 16 & 32) |  |
| Driveways shall be constructed of concrete, asphalt, brick or other hard finished surface, or Exposed aggregate concrete |  |
| Service Areas |  |
| All service areas containing heating or air conditioning apparatus, propane tanks, garbage containers, or other equipment stored outside the Home may not be located within any front yard or side yard facing a street and must be appropriately screened by landscaping or approved fencing. All such service areas shall be shown on the plans submitted to The Committee. |  |
| Grading and Erosion and Sedimentation Control |  |
| Plans for any grading, excavation, or filling of Lots must be approved in writing by The Committee before any site work can begin. |  |
| Final grading should produce gently rounded contours rather than sharp changes in slope and should allow for transition at the head and toe of slopes. |  |
| Landscaping |  |
| All landscaping plans including (without limitation) all structures, driveways, mailboxes, service yards, terraces, patios, walks, paths, outdoor lighting fixtures, walls, fences, pools, piers, docks, decks, gazebo and screens are to be shown on the plan submitted to The Committee and are subject to approval by The Committee. |  |
| Exterior Lighting |  |
| Exterior lighting is subject to approval by The Committee. In general, such lighting must not result in excessive glare and must not interfere with the privacy of nearby Homes. |  |
| Non-directional lights should have enclosures that conceal the shape of the lamp (light bulb) and prevent the view of the lamp from above. Ideally, positioning of exterior light fixtures to conceal the source of light is preferable. |  |
| Fences and Walls (Article X, Section 12) |  |
| Perimeter fencing shall not have more than fifty (50) percent of any of its surface closed as viewed from a point on a line of sight perpendicular to the line of the fence. A wall constructed of brick or stone and used in lieu of a fence is exempt from the openness test. |  |
| The location, materials, size and design of all fences and walls must be approved in advance in writing by The Committee prior to installation |  |
| Chain link fences are specifically prohibited within the community except that decorative wrought iron or high quality aluminum or vinyl-clad fencing made with the appearance of wrought iron is permitted. |  |
| Split rail wooden fencing is expressly permitted. |  |
| No fence or wall shall be erected, placed or maintained on any Lot nearer to any street fronting such Lot than the front face of dwelling located on such Lot. |  |
| Fences and walls shall generally not exceed five (5) feet in height. |  |
| The use of retaining walls on Lots will generally be permitted where such omission would result in excessive slopes, erosion, excessive maintenance or excessive clearing. Retaining walls visible from streets, from Lake Norman, or from adjoining Lots must be constructed of or faced with material of a type approved by The Committee. |  |

Manager Notes Summary:

Architectural committee may request additional form home owner.

- Filing Fee:

- Filing fee of $300.00 (non-refundable)

Date Received:

- Certification of Approval:

- Approved: Date__________

- Rejected: Date___________

Date sent to Homeowner: _________________

- Construction Deposit:

- Construction Deposit of $500.00

Date Received: __________________

- Commencement of Construction:

- Construction work to begin within 180 days of approval:  Date work began_______________

Date Extended for an additional 180 days_____________

- Completion of Work:

- Construction and Landscaping shall be completed within 12 months

Date of Completion of work: _______________

- Refund of Construction Deposit:

- Property site clear and clean of construction materials

- Site inspection completed

- Repairs Needed: _____________________________________

- Bids for repairs (If needed)

- Approval from Committee to return funds

Date of Deposit returned: ____________ Amount of Deposit Returned: ______________