| CONTAMINATION INSTRUMENT DAILY TEST SHEET |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PART 1: INITIAL REFERENCE RESPONSE TEST PAGE: |  |  |  |  |  |  |  |  |  |  |  |  |
| DATE: |  |  | LOCATION: |  |  | BY: |  |  |  | Geometry: |  |  |
| SER#/ID: |  |  | MDL: |  |  | CAL. DUE: |  |  |  |  |  |  |
| PROBE SER#/ID: |  |  | PROBE MDL: |  |  | CAL DUE: |  |  |  |  |  |  |
| HIGH VOLTAGE: THRESHOLD or I.S.: |  |  |  |  | SOURCE TYPE: I D#:: |  |  |  |  |  |  |  |
| 5 SOURCE COUNTS (CPM): 1. 2. 3. 4. 5. _____________________ |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  | BACKGROUND RANGE: |  |  |  |  |  | UNITS: |  |  |  |
| SOURCE AVERAGE: |  |  | SOURCE RESPONSE RANGE (±20% AVE) : |  |  |  |  |  | UNITS: |  |  |  |
| PART 2: RESPONSE TEST |  |  |  |  |  |  |  |  |  |  |  |  |
| DATE | TIME | CAL. DUE (Enter Date) | BATT. S/U | H.V. ± 10V | THRESHLD ± 2% (Or N/A) | BACKGROUND | RESPONSE (Gross) | ## S/U |  |  | ## SIGNATURE |  |