**DUAL INSTRUMENT DAILY TEST SHEET**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PART 1: | | | SETUP DATA | | | | |  | |
| SET UP DATE: | | LOCATION: | | | | HIGH VOLTAGE: / VERNIER | | | |
| MDL: | | | SER #: | | | CAL. DUE: | |  | |
| PROBE MDL: | | PROBE SER#: | | | | | | | |
| α SOURCE I.D.: | | | | | β SOURCE I.D.: | | | | |
| 5 CNTS: α: 1. 2. 3. 4. 5. | | | | | | | | | |
| β: 1. 2. 3. 4. 5. | | | | | | | | | |
| α AVERAGE: | | | α RESPONSE RANGE (± 10% AVE.) : UNITS: | | | | | | |
| β AVERAGE: | | | β RESPONSE RANGE (± 10% AVE.) : UNITS: | | | | | | |
| BACKGROUND RANGE: α: CPM β: CPM | | | | | | | | | |
| PART 2: | DAILY TEST | | | | | | |  | |
| DATE | TIME | HV / VERN | BKG  α β | | α SOURCE RESPONSE | β SOURCE RESPONSE | S/U | SIGNATURE |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |