Ambulance AUDIT Inspection Checklist

| A- Ventilation and Airway Equipment” 1- Suction Apparatus and accessories: a- Portable Suction b- Installed suction c- Wide bore tubing e- Rigid Pharyngeal curved suction tip f- Tonsilar suction tips/ catheters 5F-14F g- Flexible suction catheters 5F -14F | Min Qty 1 1 2 2 4 2 each | Yes □ □ □ □ □ □ | No □ □ □ □ □ □ |
| --- | --- | --- | --- |
| 2- Portable oxygen equipment a- Portable Min300L capacity/D tank b- Constant flow regulator with adjustable flow rate (2-15 lpm) | 2 2 | □ □ □ | □ □ □ |
| 3- Installed fixed oxygen equipment (Min 2 patients) a- Fixed Min 3L capacity/ M tank b- Remaining tank- pressure gauge c- Liter flow meter with adjustable flow rate and quick disconnect e- Wall mounted standard oxygen port with quick disconnect | 2 1 2 2 | □ □ □ □ □ | □ □ □ □ □ |
| 4- Oxygen administration equipment a- Nasal cannula i- adult ii- Pediatric iii- Infant b- Transparent non-breathing and valve-less mask i- adult ii- Pediatric iii- Infant c- Oxygen tubing (adequate length) e- Pocket mask with one way valve i- adult ii- Pediatric | 4 3 2 4 3 2 6 1 1 | □ □ □ □ □ □ □ □ □ □ □ □ | □ □ □ □ □ □ □ □ □ □ □ □ |
| 5- Bag valve mask resuscitators a- hand operated b- self re-expanding bag with O2 reservoir/ accumulator i- adult Min 800ml tidal volume ii- Infant Max 400ml tidal volume c- clear mask i- adult ii- Pediatric iii- Infant e- Clear disposable valves | 2 2 2 2 2 4 | □ □ □ □ □ □ □ □ □ | □ □ □ □ □ □ □ □ □ |
| 6- Airways a- Nasopharyngeal sizes 20F- 34F b- Oropharyngeal sizes 55mm- 115mm | 1 2 | □ □ | □ □ |
| B- Monitoring and Defibrillation (licensed trained team) 1- Automatic external defibrillator 2- Defibrillator pads | 1 2 sets | □ □ | □ □ |
| C- Immobilization Devices 1-Rigid cervical collars a- adult b- Pediatric c- Infant 2- Firm padding or commercial head immobilization device (not sandbags) . a- adult b- Pediatric c- Infant 3- Lower extremity traction devices a- supporting slings/ padding / traction strap 4- Upper and lower extremity immobilization devices a- joint above and joint below fracture b- rigid support appropriate material (cardboard, metal, pneumatic, vacuum, wood or plastic) c- resistant straps or cravats 5- Radiolucent backboards (long, short) and extraction device used for head immobilization ,spine immobilization ,head to feet immobilization,…. | 2 2 1 2 2 1 2 packs 2 sets 2 sets 2 packs 2 | □ □ □ □ □ □ □ □ □ □ □ □ □ | □ □ □ □ □ □ □ □ □ □ □ □ □ |
| D- Dressings and Bandages 1- Sterile burn sheets 2- Triangular bandages 3- Sterile Dressings a- 10x30” or larger b- ABDs, 10x12” or larger c- 4x4” gauze sponges 4- Sterile gauze rolls (various sizes) 5- Non sterile Elastic bandages (various sizes) 6- Sterile occlusive dressing 3x8” or larger 7- Adhesive tape a- Various sizes of 2” or 3” hypo-allergic b- Various sizes of 2” or 3” adhesive | 2 2 20 20 50 10 each 10 each 10 each 20 each 20 each | □ □ □ □ □ □ □ □ □ □ | □ □ □ □ □ □ □ □ □ □ |
| E- Communication 1- Installed two-way radio communication 2- Cellular phone | 1 1 | □ □ | □ □ |
| F- Obstetrical 1- Individual sterile kit containing at least : a bulb suction syringe, towels, blanket, surgical gloves, sterile disposable scalpel, cord clamps, and plastic bag for placenta disposal. 2- Heat reflective or insulating blanket for new born. | 2 kits 2 | □ □ | □ □ |
| G- Compartment 1- Clean 2- A/C and humidity control 3- Electric (internal/ external) supply bulbs 4- Spacious 5- Secure 6- Fridge or ice container for refrigerated medications 7- Fire extinguisher (rating 2A10BC) 8- Flash lights with extra batters and bulbs. 9- Triage tags 10- Stair chair or equivalent seated transport device. 11- Ambulance wheeled cot with mounted cot fastening system 12- Folding stretcher | 1 1 2 Each 1 1 1 | □ □ □ □ □ □ □ □ □ □ □ □ | □ □ □ □ □ □ □ □ □ □ □ □ |
| H- Miscellaneous 1- Sphygmomanometer (infant, pediatric, adult) 2- Stethoscope (pediatric/adult) 3- Length/weight based chart for pediatric equipment sizing 4- Thermometer 5- Heavy bandage or paramedic scissors for cutting clothing, belts and boots. 6- Cold packs 7- I.V administration set. 8- Blankets, sheets, linen, or paper, pillows pillowcase, and towels 9- Disposable standard sharps containers 10- Disposable emesis bags or basins 11- Disposable bedpan 12- Disposable urinal 13- Patient care charts/ forms 14- Syringes (50ml x1, 30ml x1 ,10ml x5, 3ml x5,1ml x5) 15- Nebulizer 16- Gauge needles (various sizes). | 2 2 1 2 2 2 5 2 pack/ each 1 5 1/each 5 1/each 1 10 each | □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ | □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ |
| I- Infection Control (all equipments should be latex-free) 1- Eye protection (full peripheral glasses or goggles, or face Shield 2- Masks and or HEPA masks 3- Gloves non sterile/ sterile, Jumpsuits or gowns , Shoe Covers. 4- Disinfectant hand wash 5- Disinfectant solution for cleaning equipments 6- Disposable trash bags and biohazard bags | 2 3 2 2 5 | □ □ □ □ □ □ □ | □ □ □ □ □ □ □ |
| J- Medication 1- Activated charcoal 2- oral / IV glucose 3- Burn cream 4- I.V fluids (various dissolution, sizes and concentrations) 5- Antibacterial lubricating jelly 6- Aromatic Ammonia box 7- Alcohol swabs x 20 8- Blank labels x 20 9- Ventolin Neb 10- Sealed Code Box opened under a physician supervision regularly checked for expired items by a pharmacist arranged inside as per attached chart mainly including the following : 10.1- Atropine Sulfate 1mg/ml 10.2- Isoproterenol 1mg/5ml 10.3- Epinephrine 1mg/10ml tubexes (Intracardial & I.V) 10.4- Normal saline Inj 10.5- Sterile water for Inj 10ml 10.6- Phynetoin Amp/ vial (50mg/ml) 10.7- Adenosine 6mg/2ml 10.8- Methyl prednisolone 500mg 10.9- Dobutamine 250mg 10.10- Norepinephrine 1mg/ml 10.11- Epinephrine 1mg/ml 30ml vial 10.12- hydrocortisone 250mg/2ml 10.13- Bretylium 500mg/10ml 10.14- Procainamide 1000mg/10ml 10.15- Dopamine 400mg/5ml 10.16- Lidocaine 1gm/25ml 10.17- Lidocaine 5ml 10.18- human Regular Insulin 100mg/ml 10.19- Aminophylline 500mg/20mg 10.20- calcium gluconate 10% 1mg/10ml 10.21- Potassium chloride 20mg/10ml 10.22- furosemide 100mg/10ml x2 amp / 20mg/2ml 10.23- Diazoxide 300mg/20ml 10.24- Labetalol 100mg/20ml 10.25- Magnesium SO4 50% 1gm/2ml 10.26- Phentolamine 10mg/vial 10.27- Digoxin 0.1mg/ml x2 amp 0.5mg/2ml 10.28- Verapamil 5mg/2ml 10.29- Naloxone 0.4mg/ml x2amp 10.30- Propranolol 1mg/ml x3amp 10.31- Diphenhydramine 50mg/ml x2vial 10.32- Vercuronium 10mg x 2vial 10.33- Epinephrine 1mg/ml x4amp 10.34- Sodium bicarbonate 10ml Ped syringe 10.35- Dextrose 50ml syringe 10.36- calcium chloride 10% 10.37- sodium bicarbonate 50ml syringe 10.38- Nitroglycerin Spray/ Sublingual | 2 bottles 50ml 2 2 each 2 1 box 20 20 1 vial 3 vials 2 amp 2 each 2 2 3 vials 3 vials 2 vials 2 vials 2 amp 2 vials 2 vials 2 vials 1 vial 2 vials 1 vial 4 syr 1 vial 2 vial 2 amp 1 vial 2 amp/ 1 amp 1 vial 1 vial 2 amp 2 amp 4 amp 2 amp 3 amp 2 vials 2 vials 4 amp 1 1 2 4 1 | □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ | □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ |
| K- Operating personnel (Rescuer, E.R physician, and Driver) a- Certified b- Well trained (BLS,…) | 3 | □ □ □ | □ □ □ |

L- Facility Name:                                                        Ambulance Tag #:

M- Comments:……………………………………………………………………………... ………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

N- AUDITOR Name/ Signature:

1- Name:                                        Signature:                                  Date:

2- Name:                                        Signature:       	                        Date:

O- AUDIT Team leader Comments/Conclusion:……………………………………………………………………..

………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………………

Name:                                            Sig:                                   Date: