**Tank Gauge**

**This tank gauge measures liquid level in cm.**

0.0 represents empty

18.7 represents ¼ full

37.5 represents ½ full

56.2 represents ¾ full

75.0 represents full = 75cm deep in tank +/- 1cm

1cm = 10mm

**Do not allow tank to become over full!**

