SECTION 32 18 13

SYNTHETIC TURF SURFACING

PART 1 – GENERAL

1.1 RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

Section Includes:

Gambel Turf Systems, including landscape, decorative, golf/putting, commercial, pet, and activity synthetic turf systems.

1.3 SUBMITTALS

Product Data, SDS (if applicable), Warranty, Installation Instructions.

Samples for Initial Selection.

Samples for Verification: Turf samples as required by Architect.

1.4 QUALITY ASSURANCE

Installers shall be experienced in synthetic turf installations and trained or approved by Catalina Products International (CPI).

1.5 DELIVERY, STORAGE, AND HANDLING

Deliver materials in manufacturer’s original packaging.

Store materials in dry, protected areas away from direct sunlight.

1.6 PROJECT CONDITIONS

Install turf only when substrate and weather conditions are suitable per manufacturer recommendations.

PART 2 – PRODUCTS

2.1 MANUFACTURER

Catalina Products International

1215 N. Redgum Street

Anaheim, CA 92806

www.catalinaproducts.international

2.2 GAMBEL TURF SYSTEMS

A. Product Description:

Gambel Turf Systems are synthetic turf products designed for landscape, decorative, putting green, commercial, residential, pet, and activity applications.

No substitutions.

B. Turf Categories:

Landscape and Decorative Turf

Putting and Golf Turf

Commercial and Rooftop Turf

Residential Turf

Pet and Activity Turf

C. Materials:

Face Yarn: Polyethylene and/or polypropylene as applicable per product.

Backing: Manufacturer’s standard primary and secondary backing systems.

D. Installation Method:

Mixed installation methods including fully adhered, perimeter-secured, and infill-supported systems, as recommended by manufacturer.

E. Infill:

Infill materials, if required, shall be as recommended by manufacturer for each product and application.

F. Performance:

UV stabilized for outdoor exposure.

Designed for drainage and dimensional stability per product design.

G. Warranty:

Warranty terms vary by product and application.

Refer to manufacturer’s published warranty documentation.

2.3 ACCESSORIES

Seaming materials, adhesives, infill, and accessories as recommended by manufacturer.

PART 3 – EXECUTION

3.1 EXAMINATION

Verify substrates and base materials are properly prepared, compacted, and suitable for turf installation.

3.2 PREPARATION

Prepare subgrade and base materials in accordance with manufacturer installation guidelines.

Ensure proper drainage and slope prior to installation.

3.3 INSTALLATION

Install Gambel Turf Systems in strict accordance with manufacturer’s written instructions.

Apply infill, if required, uniformly and brush fibers upright.

Secure seams, edges, and perimeters as required for application.

3.4 CLEANING AND PROTECTION

Remove debris and excess materials after installation.

Protect turf from construction traffic and damage.