SECTION 09 68 00

CARPETING

PART 1 – GENERAL

1.1 RELATED DOCUMENTS

Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 01 Specification Sections, apply to this Section.

1.2 SUMMARY

Section Includes:

Descanso Carpet, including carpet tile and broadloom carpet.

1.3 SUBMITTALS

Product Data, SDS, Warranty, and Installation Instructions.

Samples for Initial Selection.

Samples for Verification: Carpet Tile – three full-size tiles; Broadloom – 12" x 12" samples.

1.4 QUALITY ASSURANCE

Installers shall be experienced in commercial carpet installations and trained or approved by Catalina Products International (CPI).

1.5 DELIVERY, STORAGE, AND HANDLING

Store materials indoors in dry, enclosed spaces at 65°F–85°F for 48 hours before, during, and after installation.

1.6 PROJECT CONDITIONS

Maintain ambient temperature 65°F–85°F.

Relative humidity 35%–60%.

Subfloor must be clean, dry, smooth, and flat.

PART 2 – PRODUCTS

2.1 MANUFACTURER

Catalina Products International

1215 N. Redgum Street

Anaheim, CA 92806

www.catalinaproducts.international

2.2 DESCANSO CARPET

Tufted loop-pile carpet available in carpet tile and broadloom formats.

Fiber Type: Solution-Dyed Nylon and Nylon 6,6

Backing System: Manufacturer’s standard backing options.

Applications: Commercial, Corporate, Education, Multi-Family, Residential.

Not intended for heavy commercial environments.

Warranty: 10-Year Limited.

2.3 INSTALLATION MATERIALS

Manufacturer-approved carpet adhesives.

Approved patching and leveling compounds.

PART 3 – EXECUTION

3.1 INSTALLATION

Install carpet in accordance with manufacturer instructions and CRI standards.

3.2 CLEANING AND PROTECTION

Vacuum after installation.

Protect carpet from traffic until adhesive cures.