8.5 Fire safety and emergency evacuation

Policy statement

We ensure the highest possible standard of fire precautions are in place. The person in charge and all staff are familiar with the current legal requirements. Where necessary we seek the advice of a competent person, such as a Fire Officer or Fire Safety Consultant. A Fire Safety form is used to record the findings of risk assessment, any actions taken or incidents that have occurred and our fire drills. We ensure our policy is in line with the procedures specific to our building, making reasonable adjustments as required.

Procedures

Fire safety risk assessment

- The basis of fire safety is risk assessment, carried out by a ‘competent person’.

- [The manager has/I have] received training in fire safety sufficient to be competent to carry out the risk assessment; this will [be written where there are more than five staff and will] follow the Government guidance Fire Safety Risk Assessment - Educational Premises (HMG 2006).

- Our fire safety risk assessment focuses on the following for each area of the setting:

- Electrical plugs, wires and sockets.

- Electrical items.

- Gas boilers.

- Cookers.

- Matches.

- Flammable materials – including furniture, furnishings, paper etc.

- Flammable chemicals.

- Means of escape.

- Anything else identified.

- Where we rent premises, we will ensure that we have a copy of the fire safety risk assessment that applies to the building and that we contribute to regular reviews.

Fire safety precautions taken

- We ensure that fire doors are clearly marked, never obstructed and easily opened from the inside.

- We ensure that smoke detectors/alarms and fire fighting appliances conform to BS EN standards, are fitted in appropriate high risk areas of the building and are checked as specified by the manufacturer.

- We have all electrical equipment checked annually by a qualified electrician. Any faulty electrical equipment is taken out of use and either repaired or replaced.

- Our emergency evacuation procedures are approved by the Fire Safety Officer and are:

- clearly displayed in the premises;

- explained to new [members of staff,] volunteers and parents; and

- practised regularly, at least once every term.

- Records are kept of fire drills and of the servicing of fire safety equipment.

Emergency evacuation procedure

- We blow a whistle as are fire alarm noise

children, staff and parents know where the fire exits are as they are signed posted and we show them regularly. We change the place of the fire each pratie so children , staff and parents know the different exits

- The leader grabs the emergency contact list, mobile phone and register. The leader instructs all children and staff to leave everything where it is and make their way to the exit.  The deputy / third in charge led from the building to the assembly point. The leadr is the last person to leave checking all areas of the building are free.

- The leader then alls the register to ensure all children are accounted for

- We time each evacuation to see how long it takes and then make necessary changes

- The deputy/third in charge calls the emergency services in the event of a real fire.

- Parents are contacted by telephone

Fire drills

We hold fire drills termly and record the following information about each fire drill on the Fire Safety Log Form:

- The date and time of the drill.

- Number of adults and children involved.

- How long it took to evacuate.

- Where the fire was – what exit used

- Whether there were any problems that delayed evacuation.

- Any further action taken to improve the drill procedure.

Legal framework

- Regulatory Reform (Fire Safety) Order 2005

| This policy was adopted by | BAYFORD PRE-SCHOOL |  |
| --- | --- | --- |
| On | October 2018 |  |
| Date to be reviewed | October 2019 |  |
| Signed on behalf of the provider |  |
| Name of signatory |  |
| Role of signatory (e.g. chair, director or owner) |  |