## Summary Water Yr Tests
Summary VBRA Baker Lake Water Annual Test Results
Monitoring bacteria levels for Total Coliform, Fecal Coliform, especially E. Coli
**NOTE - E. Coli results above 200 MPN/100mL require lake closure
Periodic testing for nitrates and phosphorus/phosphates per presence of algae
Year 2024 |  | Type of Test |  | Year 2025 |  | Type of Test |  | Year 2026 |  | Type of Test
Water Sample Areas: | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) | Water Sample Areas: | Sample Date | Fecal Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) | Water Sample Areas: | Sample Date | Nitrates (mg/L) | Ortho (PO4) Phosphate (mg/L)
Baker Lake Park Dock | 2024-07-21 | 1732 | 137 | Baker Lake Park Dock | 2025-05-21 | 0 | 0 | Baker Lake Park South Dock | 2026-05-18 | 1.77 | < 0.05
Cove | 2024-07-21 | 1299 | 36.4 | NE Dock near Trails | 2025-05-21 | 0 | 0 | North Dock - Mid Lake | 2026-05-18 | 2.1 | < 0.05
Feeder fish buoy | 2024-07-21 | 517 | 37.3
West side docks #1 | 2024-07-21 | 152 | 14.8 | Canal | 2025-05-28 | 90 | 70 | eAnalytics Lab - Loveland Crossroads Blvd
West side docks #2 | 2024-07-21 | 272 | 11 | CSU Environmental Health Quality Lab |  |  |  | Note - this lab does not test for Fecal Coliform, only Total Coliform
eAnalytics Lab - Loveland Crossroads Blvd |  |  |  | Dr. Doug Rice - Lab Manager |  |  |  | Dr. Doug Rice - Lab Manager
Note - this lab does not test for Fecal Coliform, only Total Coliform
|  |  |  | After River Share delivery on May 28th until Jun 25th, 2025) |  |  |  | After River Share small delivery in May until Jun 8th, 2026)
| Sample Date | Fecal Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) |  | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) | Water Sample Areas: | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL)
Baker Lake Park | 2024-08-25 | 25 | 25 | Baker Lake Park Dock | 2025-06-19 | 141 | 32.7 | Baker Lake Park South Dock | 2026-05-18 | 50 | 50
Cove | 2024-08-25 | 62 | 55 | Cove | 2025-06-19 | 131 | 18.3 | North Dock - Mid Lake | 2026-05-18 | 40 | 39.7
Middle of lake | 2024-08-25 | 68 | 60 | Middle Lake-Feeder Buoy | 2025-06-19 | 114 | 13.4
CSU Environmental Health Quality Lab |  |  |  | Swim Beach | 2025-06-19 | 658 | 39.7 | CSU Environmental Health Quality Lab
Dr. Doug Rice - Lab Manager |  |  |  | eAnalytics Lab - Loveland Crossroads Blvd |  |  |  | Chris Dieken - Lab Manager
Note - this lab does not test for Fecal Coliform, only Total Coliform
(CSU closed for four days and could not do testing on day of sampling)
[5 empty] | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) | Water Sample Areas: | Sample Date | Nitrates (mg/L) | Ortho (PO4) Phosphate (mg/L)
|  |  |  | LWIC 2nd Run of Season | 2025-07-15 | 44 | 25 | Baker Lake Park South Dock | 2026-06-04 | 1.84
|  |  |  | Baker Lake Park Dock | 2025-07-20 | 80 | 80 | North Dock - Mid Lake | 2026-06-04 | 2.14
|  |  |  | Cove | 2025-07-20 | 30 | 30 | LWIC Ditch/Canal | 2026-06-04 | 2.33 | < 0.05
|  |  |  | Middle Lake-Feeder Buoy | 2025-07-20 | 30 | 30
|  |  |  | Swim Beach | 2025-07-20 | 10 | 10 | eAnalytics Lab - Loveland Crossroads Blvd
|  |  |  | CSU Environmental Health Quality Lab |  |  |  | Note - this lab does not test for Fecal Coliform, only Total Coliform
Chris Dieken - Lab Manager
Dr. Doug Rice - Lab Manager
[5 empty] | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL)
|  |  |  | Baker Lake Park Dock | 2025-09-08 | 40 | 28
|  |  |  | Middle Lake-Feeder Buoy | 2025-09-08 | 15 | 20
|  |  |  | Swim Beach | 2025-09-08 | 10 | 7
CSU Environmental Health Quality Lab
Dr. Doug Rice - Lab Manager
[5 empty] | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL)
|  |  |  | Baker Lake Park Dock | 2025-10-31 | 35 | 4.1
|  |  |  | Middle Lake Dock | 2025-10-31 | 15.6 | 3.1
eAnalytics Lab - Loveland Crossroads Blvd
Note - this lab does not test for Fecal Coliform, only Total Coliform

## 2024
VBRA Baker Lake Water Sample Test Results 2024
Year 2024 |  | Type of Test |  | No need to test for these again unless significant change in water color
Water Sample Areas: | Sample Date | E. Coli (MPN/100 mL) | Total Coliform (MPN 100 mL) | Nitrates (mg/L) | Nitrites (mg/L) | Total Phosphate (mg/L)
Baker Lake Park | 2024-07-21 | 137 | 1732 | < 1.0 | < 1.0 | 0.062
Cove | 2024-07-21 | 36.4 | 1299 | < 1.0 | < 1.0 | 0.055
Feeder fish buoy | 2024-07-21 | 37.3 | 517
West side docks #1 | 2024-07-21 | 14.8 | 152
West side docks #2 | 2024-07-21 | 11 | 272
| Sample Date | E. Coli (MPN/100 mL) | Fecal Coliform Only (MPN 100 mL)
Baker Lake Park | 2024-08-25 | 25 | 25
Cove | 2024-08-25 | 55 | 62
Middle of lake | 2024-08-25 | 60 | 68

## 2025
VBRA Baker Lake Water Sample Test Results 2025
Year 2025 |  | Type of Test
Water Sample Areas: | Sample Date | Fecal Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) | Costs |  | 715 | Total Costs
Baker Lake Park Dock | 2025-05-21 | 0 | 0
NE Dock near Trails | 2025-05-21 | 0 | 0 | 70
Canal | 2025-05-28 | 90 | 70 | 35
CSU Environmental Health Quality Lab |  |  | Lab cost/sample $35
Dr. Doug Rice - Lab Manager |  |  |  | 105 | total
After River Share delivery on May 28th until Jun 25th, 2025)
| Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL)
Baker Lake Park Dock | 2025-06-19 | 141 | 32.7
Cove | 2025-06-19 | 131 | 18.3
Mid Lake-Feeder Buoy | 2025-06-19 | 114 | 13.4
Swim Beach | 2025-06-19 | 658 | 39.7 | 220 | total
eAnalytics Lab - Loveland Crossroads Blvd |  |  | Lab cost/sample $70
Note - this lab does not test for Fecal Coliform, only Total Coliform
(CSU closed for four days and could not do testing on day of sampling)
| Sample Date | Fecal Coliform (MPN 100 mL) | E. Coli (MPN/100 mL)
LWIC 2nd Run of Season | 2025-07-15 | 44 | 25 | 35
Baker Lake Park Dock | 2025-07-20 | 80 | 80
Cove | 2025-07-20 | 30 | 30
Middle Lake-Feeder Buoy | 2025-07-20 | 30 | 30
Swim Beach | 2025-07-20 | 10 | 10 | 140
CSU Environmental Health Quality Lab |  |  | Lab cost/sample $35
Dr. Doug Rice - Lab Manager |  |  |  | 175 | total
| Sample Date | Fecal Coliform (MPN 100 mL) | E. Coli (MPN/100 mL)
Baker Lake Park Dock | 2025-09-08 | 40 | 28
Middle Lake-Feeder Buoy | 2025-09-08 | 15 | 20
Swim Beach | 2025-09-08 | 10 | 7 | 105 | total
CSU Environmental Health Quality Lab |  |  | Lab cost/sample $35
Dr. Doug Rice - Lab Manager
| Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL)
Baker Lake Park Dock | 2025-10-31 | 35 | 4.1
Middle Lake Dock | 2025-10-31 | 15.6 | 3.1 | 110 | total
eAnalytics Lab - Loveland Crossroads Blvd |  |  | Lab cost/sample $55
Note - this lab does not test for Fecal Coliform, only Total Coliform

## 2026
Year 2026 |  | Type of Test |  |  | Note: Only need to run nitrates/phosphates if lake conditions present concerns or significant change in water color
Water Sample Areas: | Sample Date | Nitrates (mg/L) | Ortho (PO4) Phosphate (mg/L) | Costs |  | 440 | Total Costs
Baker Lake Park South Dock | 2026-05-18 | 1.77 | < 0.05 | 50
North Dock - Mid Lake | 2026-05-18 | 2.1 | < 0.05 | 50
eAnalytics Lab - Loveland Crossroads Blvd |  | Lab cost/sample $25 |  | 100 | total
Note - this lab does not test for Fecal Coliform, only Total Coliform
Chris Dieken - Lab Manager
After River Share small delivery in May until Jun 8th, 2026)
Water Sample Areas: | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) | Costs
Baker Lake Park South Dock | 2026-05-18 | 50 | 50 | 35
North Dock - Mid Lake | 2026-05-18 | 40 | 39.7 | 35
CSU Environmental Health Quality Lab |  | Lab cost/sample $35 |  | 70 | total
Dr. Doug Rice - Lab Manager
Water Sample Areas: | Sample Date | Nitrates (mg/L) | Ortho (PO4) Phosphate (mg/L) | Costs
Baker Lake Park South Dock | 2026-06-04 | 1.84 | NA | 25 | Did not test for phosphate this time
North Dock - Mid Lake | 2026-06-04 | 2.14 | NA | 25
LWIC Ditch/Canal | 2026-06-04 | 2.33 | < 0.05 | 50
eAnalytics Lab - Loveland Crossroads Blvd |  | Lab cost/sample $25 |  | 100 | total
Note - this lab does not test for Fecal Coliform, only Total Coliform
Chris Dieken - Lab Manager
Water Sample Areas: | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) | Costs
Baker Lake Park South Dock | 2026-06-24 | 110 | 90 | 35 | Notable increase (~2x) from May
North Dock - Mid Lake | 2026-06-24 | 70 | 60 | 35
CSU Environmental Health Quality Lab |  | Lab cost/sample $35 |  | 70 | total
Dr. Doug Rice - Lab Manager
Water Sample Areas: | Sample Date | Nitrates (mg/L) | Ortho (PO4) Phosphate (mg/L) | Costs
Baker Lake Park South Dock | 2026-07-14 | 1.81 | < 0.05 | 50
North Dock - Mid Lake | 2026-07-14 | 1.72 | < 0.05 | 50
eAnalytics Lab - Loveland Crossroads Blvd |  | Lab cost/sample $25 |  | 100 | total
Note - this lab does not test for Fecal Coliform, only Total Coliform
Chris Dieken - Lab Manager
Water Sample Areas: | Sample Date | Total Coliform (MPN 100 mL) | E. Coli (MPN/100 mL) | Costs
Baker Lake Park South Dock | 2026-07-28 | 290 | 190 | 35 | Notable increase (~2x) from May
North Dock - Mid Lake | 2026-07-28 | 180 | 110 | 35
CSU Environmental Health Quality Lab |  | Lab cost/sample $35 |  | 70 | total
Dr. Doug Rice - Lab Manager