| Department of Technical Education |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIPLOMA IN CIVIL ENGINEERING/ CIVIL D’SHIP |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Fourth Semester |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subject: Environmental Engineering - II |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Hrs/Week: 4 Hrs. |  |  |  |  |  |  | Contact Hrs/Sem:64 Hrs. |  |  |  |  |  |  |
|  |  | TOPIC ANALYSIS |  |  |  |  |  |  |  |  |  |  |  |
|  | Chapter No: | Contents |  |  |  |  |  |  |  |  | No. of Hours |  | Weightage of marks |
|  |  | PART - A |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | Introduction to Sanitary Engineering |  |  |  |  |  |  |  |  | 02 |  | 05 |
|  | 2 | Quantity of Sewage |  |  |  |  |  |  |  |  | 03 |  | 08 |
|  | 3 | Characteristics and Analysis of sewage |  |  |  |  |  |  |  |  | 05 |  | 12 |
|  | 4 | Sewerage Systems |  |  |  |  |  |  |  |  | 03 |  | 08 |
|  | 5 | Surface and Storm Water Drainage |  |  |  |  |  |  |  |  | 04 |  | 12 |
|  |  | PART - B |  |  |  |  |  |  |  |  |  |  |  |
|  | 6 | Sewerage Appurtenances |  |  |  |  |  |  |  |  | 05 |  | 15 |
|  | 7 | Sewerage Treatment and Disposal |  |  |  |  |  |  |  |  | 13 |  | 30 |
|  | 8 | Solid Waste Disposal |  |  |  |  |  |  |  |  | 04 |  | 10 |
|  |  | PART - C |  |  |  |  |  |  |  |  |  |  |  |
|  | 9 | Sanitation In Buildings and Sanitary Fittings |  |  |  |  |  |  |  |  | 04 |  | 10 |
|  | 10 | Rural Water Supply and Sanitation |  |  |  |  |  |  |  |  | 05 |  | 15 |
|  | 11 | Air and Noise Pollution |  |  |  |  |  |  |  |  | 08 |  | 20 |
|  | 12 | Tests |  |  |  |  |  |  |  |  | 03 |  | -- |
|  | 13 | Creativity and Innovation |  |  |  |  |  |  |  |  | 05 |  | -- |
|  | Total |  |  |  |  |  |  |  |  |  | 64 |  | 145 |
| DETAILS OF CONTENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | PART - A |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Introduction to Sanitary Engineering |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1.1 | Definition of sullage, sewage, sewerage, sewer, refuge, garbage. |  |  |  |  |  |  |  |  |  |  |  |
|  | 1.2 | Aims and objectives of sewerage work, systems of refuge disposal and water carriage systems. |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Quantity of Sewage |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.1 | Domestic and industrial sewage, volume of domestic sewage, variability of flow, limiting velocities of sewer. |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.2 | Simple problems on design of sewers. |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Characteristics and Analysis of Sewage |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3.1 | Strength of Sewage, Sampling of Sewage to analyse for Physical, Chemical and Biological Parameters. |  |  |  |  |  |  |  |  |  |  |  |
|  | 3.2 | Analysis of Sewage - Significance of the following Tests for i) Solids ii) Dissolved Oxygen iii) B.O.D iv) C.O.D v) pH value vi) Chlorides and vii) Residual chlorine. |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Sewerage Systems |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.1 | Types of Sewerage System and their Suitability - Separate, Combined and Partially Separate Systems. |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.2 | Brief Description and Suitability of the following Types of Sewers - Stoneware, Cast Iron, Cement Concrete, AC Pipes, Pre-Cast Sewers and laying of sewers. |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Surface and Storm Water Drainage |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5.1 | Determination of Storm Water Flow, Run-Off, Co-Efficient, Time of Concentration, Empirical Formulae for Run-Off. |  |  |  |  |  |  |  |  |  |  |  |
|  | 5.2 | Simple Problems on Design of Storm Water Sewers. |  |  |  |  |  |  |  |  |  |  |  |
|  | 5.3 | Surface Drains - Requirements, Shapes, Laying and Construction. (No Design) |  |  |  |  |  |  |  |  |  |  |  |
|  |  | PART - B |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Sewerage Appurtenances |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6.1 | Brief description, Location, Function and Construction of i) Manholes ii) Drop Manholes iii) Inlets iv) Catch Basins, v) Traps vi) Flushing Tanks vii) Regulators. |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Sewerage Treatment and Disposal |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.1 | Preliminary Treatment - Brief Description and Functions of - i) Screens ii) Skimming Tanks iii) Grit Chambers. |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.2 | Brief Description and Function of the Sedimentation and Septic Tanks. |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.3 | Secondary Treatment - Brief Description of |  |  |  |  |  |  |  |  |  |  |  |
|  |  | i) Trickling Filters ii) Activated Sludge Process iii) Sludge Digestion iv) Sludge Drying v) Sludge Disposal. |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.4 | Sewage Disposal- Dilution, Disposal on Lands, Oxidation Ponds, Oxidation Ditches, Aerobic Lagoons, Anaerobic Lagoons, Biological Disc. |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.5 | Recycle of wastewater. |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Solid Waste Disposal |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8.1 | Segregation, Collection, Methods of Disposal - Uncontrolled Dumping, Sanitary Land Fill, Incineration, Composting-Vermiculture. |  |  |  |  |  |  |  |  |  |  |  |
|  | 8.2 | Reuse of Solid Waste. |  |  |  |  |  |  |  |  |  |  |  |
|  | PART - C |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Sanitation in Buildings and Sanitary Fittings |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9.1 | Importance and Requirement of Building Drainage, General Lay-out of Sanitary Fittings and House Drainage Arrangements, for Single and Multi-Storied Buildings as Per B.I.S Code of Practice. |  |  |  |  |  |  |  |  |  |  |  |
|  | 9.2 | Sanitary Fittings: Water Closets, Flushing Cisterns, Urinals, Inspection Chambers, Traps, Anti-syphonage. Inspection, Testing and Maintenance of sanitary fittings. |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Rural Water Supply and Sanitation |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10.1 | Disinfection of Well Water. |  |  |  |  |  |  |  |  |  |  |  |
|  | 10.2 | Rural Sanitation and Sanitary Latrines, Brief Description of Operational Details of Bio-Gas Plants Using Cow Dung, Night Soil and Agricultural Waste. |  |  |  |  |  |  |  |  |  |  |  |
| 11 | Air and Noise Pollution |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.1 | Air Pollution -Definition, Causes and Classification of Air Pollutants, Effects of Pollution on Human Beings, Animals and Plants. |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.2 | Effects of Air Pollution – Acid rain, Global warming, Ozone depletion, Green house effect, Corrosion of Metals, Tarnishing of Paints. |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.3 | Prevention and control of Air Pollution - List of Air Pollution Control Equipments and legislation. |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.4 | Noise- Definition, Effects on Human Life And Control. |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.5 | Legislations with respect to Air and Noise pollution |  |  |  |  |  |  |  |  |  |  |  |

| Department of Technical Education |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIPLOMA IN CIVIL ENGINEERING |  |  |  |  |  |  |  |  |  |  |  |
| Fourth Semester |  |  |  |  |  |  |  |  |  |  |  |
| Subject: Environmental Engineering - II |  |  |  |  |  |  |  |  |  |  |  |
| Contact Hrs/Week: 4 Hrs. |  |  |  |  |  |  | Contact Hrs/Sem:64 Hrs. |  |  |  |  |
| GENERAL EDUCATIONAL OBJECTIVES: |  |  |  |  |  |  |  |  |  |  |  |
| Up on the completion of the study of the subject, the student should be able to : |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Know the importance of sanitation, various terms and systems of refuge and refuge disposal. |  |  |  |  |  |  |  |  |  |  |
| 2 | Compute the volume of sewage from different sources and understand the principles |  |  |  |  |  |  |  |  |  |  |
|  | of designing a sewage. |  |  |  |  |  |  |  |  |  |  |
| 3 | Analyse the sewage for physical, chemical and biological characteristics and different |  |  |  |  |  |  |  |  |  |  |
|  | tests conducted for analysis. |  |  |  |  |  |  |  |  |  |  |
| 4 | Know the types of sewerage systems and their suitability, types of sewers and stages involved |  |  |  |  |  |  |  |  |  |  |
|  | in laying of sewers. |  |  |  |  |  |  |  |  |  |  |
| 5 | Estimate the quantity of surface and storm water. |  |  |  |  |  |  |  |  |  |  |
| 6 | Understand location and function of various types of sewer appurtenances with brief |  |  |  |  |  |  |  |  |  |  |
|  | Constructional details. |  |  |  |  |  |  |  |  |  |  |
| 7 | Know the methods of primary, secondary and chemical treatments of sewage and its disposal. |  |  |  |  |  |  |  |  |  |  |
| 8 | Familiarise with the methods of solid waste disposal. |  |  |  |  |  |  |  |  |  |  |
| 9 | Know the sanitation single and multi-storied buildings including various sanitary |  |  |  |  |  |  |  |  |  |  |
|  | Fittings and their maintenance. |  |  |  |  |  |  |  |  |  |  |
| 10 | To be familiar with Rural water supply and sanitation. |  |  |  |  |  |  |  |  |  |  |
| 11 | Know the causes, types, effects and control of Air and Noise pollution. |  |  |  |  |  |  |  |  |  |  |
| SPECIFIC INSTRUCTIONAL OBJECTIVES: |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Know the importance of sanitation , various terms and systems of refuge and |  |  |  |  |  |  |  |  |  |  |
|  | refuge disposal. |  |  |  |  |  |  |  |  |  |  |
|  | 1.1 | To know the various terms used in sanitation |  |  |  |  |  |  |  |  |  |
|  | 1.2 | Know the aims and objectives of sewerage work, system of |  |  |  |  |  |  |  |  |  |
|  |  | refuge disposal – water carriage system |  |  |  |  |  |  |  |  |  |
| 2 | Compute the volume of sewage from different sources and understand the |  |  |  |  |  |  |  |  |  |  |
|  | principles of designing a sewage. |  |  |  |  |  |  |  |  |  |  |
|  | 2.1 | Know the variability of flow under different conditions and limiting velocity of sewer. |  |  |  |  |  |  |  |  |  |
|  | 2.2 | Explain the principles of designs of sewers with simple problems |  |  |  |  |  |  |  |  |  |
| 3 | Analyse the sewage for physical, chemical and biological characteristics and |  |  |  |  |  |  |  |  |  |  |
|  | different tests conducted for analysis. |  |  |  |  |  |  |  |  |  |  |
|  | 3.1 | Define strength of sewage, methods of sampling of sewage. |  |  |  |  |  |  |  |  |  |
|  | 3.2 | State the significance of the following terms in sewage analysis and its limits. |  |  |  |  |  |  |  |  |  |
|  |  | (i) Solids (ii) Dissolved oxygen (iii) B.O.D. (iv) C.O.D. (v) pH value |  |  |  |  |  |  |  |  |  |
|  |  | (vi) Chlorides (vii) Residual chlorine |  |  |  |  |  |  |  |  |  |
| 4 | Know the types of sewage systems , the choice of sewage and various stages |  |  |  |  |  |  |  |  |  |  |
|  | involved in laying of sewers. |  |  |  |  |  |  |  |  |  |  |
|  | 4.1 | Know the different types of sewerage systems and state the suitability of each |  |  |  |  |  |  |  |  |  |
|  |  | type of sewerage system for the given condition. |  |  |  |  |  |  |  |  |  |
|  | 4.2 | Explain the various types of sewers, stone ware, cast - iron, cement concrete |  |  |  |  |  |  |  |  |  |
|  |  | AC pipes, pre-cast sewers and cast in situ sewers and laying. |  |  |  |  |  |  |  |  |  |
| 5 | Estimate the Quantity of surface and storm water drainage. |  |  |  |  |  |  |  |  |  |  |
|  | 5.1 | Calculate the storm water flow using empirical formula for run- off. |  |  |  |  |  |  |  |  |  |
|  | 5.2 | Design the storm water sewers. |  |  |  |  |  |  |  |  |  |
|  | 5.3 | Explain different shapes of surface drains and their functions. |  |  |  |  |  |  |  |  |  |
| 6 | Understand location and function of various types of sewer appurtenances with |  |  |  |  |  |  |  |  |  |  |
|  | brief constructional details |  |  |  |  |  |  |  |  |  |  |
|  | 6.1 | Know the description, location function and construction of various types of sewer appurtenances |  |  |  |  |  |  |  |  |  |
|  |  | (i) Manholes (ii) Drop manholes (iii) Inlets (iv) Catch basins |  |  |  |  |  |  |  |  |  |
|  |  | (v) Traps (vi) Flushing tanks (vii) Regulators. |  |  |  |  |  |  |  |  |  |
| 7 | Know the methods of primary and secondary treatments of sewage and its disposal. |  |  |  |  |  |  |  |  |  |  |
|  | 7.1 | State the functions of (i) Screens (ii) Skimming tanks (iii) Grit chamber |  |  |  |  |  |  |  |  |  |
|  | 7.2 | Briefly describe the functions of sedimentation tanks and septic tank. |  |  |  |  |  |  |  |  |  |
|  | 7.3 | Describe the process of secondary treatment of sewerage |  |  |  |  |  |  |  |  |  |
|  |  | (i) Tricking fitters (ii) Activated Sludge process (iii) Sludge digestion |  |  |  |  |  |  |  |  |  |
|  |  | (iv) Sludge drying (vi) Sludge disposal. |  |  |  |  |  |  |  |  |  |
|  | 7.4 | Explain the sewage disposal by dilution, disposal on lands , oxidation ponds, |  |  |  |  |  |  |  |  |  |
|  |  | Oxidation ditches, aerobic lagoons, anaerobic lagoons, biological disc. |  |  |  |  |  |  |  |  |  |
|  | 7.5 | Recycle of Wastewater. |  |  |  |  |  |  |  |  |  |
| 8 | Familiarise with the methods of solid waste disposal. |  |  |  |  |  |  |  |  |  |  |
|  | 8.1 | Know the segregation, Collection of solid waste. |  |  |  |  |  |  |  |  |  |
|  | 8.2 | Know the methods of solid waste disposal - uncontrolled dumping , |  |  |  |  |  |  |  |  |  |
|  |  | sanitary land fill, incineration, composting-vermiculture |  |  |  |  |  |  |  |  |  |
| 9 | Know the sanitation single and multi-storied buildings including various |  |  |  |  |  |  |  |  |  |  |
|  | sanitary fittings and their maintenance. |  |  |  |  |  |  |  |  |  |  |
|  | 9.1 | State the importance and requirements of building drainage. |  |  |  |  |  |  |  |  |  |
|  |  | Describe the layout of sanitary fittings and house drainage arrangements for |  |  |  |  |  |  |  |  |  |
|  |  | building (Plan and section for Single and multi-storied) |  |  |  |  |  |  |  |  |  |
|  | 9.2 | Inspection, testing and maintenance of different sanitary fittings - water closets , flushing cisterns, urinals, inspection chambers, traps, anti-syphonage |  |  |  |  |  |  |  |  |  |
| 10 | Be familiar with Rural water supply and sanitation. |  |  |  |  |  |  |  |  |  |  |
|  | 10.1 | Know the disinfection of well water |  |  |  |  |  |  |  |  |  |
|  | 10.2 | Familiar with rural sanitation and sanitary latrines. |  |  |  |  |  |  |  |  |  |
|  |  | Describe briefly the operational details of bio- gas plants using cow- dung, |  |  |  |  |  |  |  |  |  |
|  |  | night soil and agricultural wastes |  |  |  |  |  |  |  |  |  |
| 11 | Know the causes , types and effects of Air and Noise pollution. |  |  |  |  |  |  |  |  |  |  |
|  | 11.1 | Define Air Pollution and classification of air pollutants. |  |  |  |  |  |  |  |  |  |
|  | 11.2 | Describe the causes and effects of air pollution- Acid rain, Global warming, Ozone depletion, Green house effect, corrosion of metals , tarnishing of paints. |  |  |  |  |  |  |  |  |  |
|  | 11.3 | Know the prevention and control of air pollution-control equipment, settling chambers, |  |  |  |  |  |  |  |  |  |
|  |  | cyclone fitters, scrubbers, electrostatic precipitators. Legislation. |  |  |  |  |  |  |  |  |  |
|  | 11.4 | Know the noise pollution and effects on human life and control. |  |  |  |  |  |  |  |  |  |
|  | 11.5 | Know the legislation with respect to Air and Noise pollution |  |  |  |  |  |  |  |  |  |

Text Books: Reference Books:

1) Water Supply & Sanitary Engineering- by Rangwala

2) Sewerage and Sewage Treatment Vol-II - by S.K.Garg.

3) Water Supply & Sanitary Engineering- by Birde

4) Environmental Engineering –2  By H S Vishwanath, Sapna

Publications.

5) Environmental Science and Engg.- Vol-I – by Aloka Debi.

(Universities Press)

6) Sanitary Engineering   Vol-II - by Gurucharan Singh

7) Sewerage and Sewage Treatment Vol-II.– by Fair & Geir

8) Text Book of Environmental studies – Erach Bharucha

(Universities Press)

9)Water Supply,Waste Disposal and Environmental Pollution

Engineering-(khanna publication)a.k.chatterjee

| Department of Technical Education |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIPLOMA IN CIVIL ENGINEERING |  |  |  |  |  |  |  |  |  |  |  |  |
| Fourth Semester |  |  |  |  |  |  |  |  |  |  |  |  |
| Subject: CE402 Environmental Engineering - II |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Duration : 3 hours |  |  |  |  |  | Max. Marks: 100 |  |
| Model Question Paper |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Note: 1. Question No 1 is compulsory. 2. Answer any two full questions from each of the sections. |  |  |  |  |  |  |  |  |  |  |  |
| Q.1. | a) |  |  | Fill in the blanks with appropriate word/s |  |  |  |  |  |  |  | 1x5 = 05 |
|  | i |  |  | The permissible value of domestic waste water BOD is _________ |  |  |  |  |  |  |  |  |
|  | ii |  |  | The Waste from bath room and kitchen is termed as ____________ |  |  |  |  |  |  |  |  |
|  | iii |  |  | __________are used to remove the Oil and Grease from waste water |  |  |  |  |  |  |  |  |
|  | iv |  |  | __________ are used at places where there is maximum change in gradient |  |  |  |  |  |  |  |  |
|  | v |  |  | __________ is used to burn the solid waste in a closed chamber |  |  |  |  |  |  |  |  |
|  | b) |  |  | Draw a neat sketch of Manhole and label the various parts |  |  |  |  |  |  |  | 5 |
|  |  |  |  | Section - I |  |  |  |  |  |  |  |  |
| Q.2 | a) |  |  | Define the following terms |  |  |  |  |  |  |  |  |
|  |  |  |  | 1. Sewer, 2.Invert, 3.Refuse 4.Garbage 5.Sewerage System. |  |  |  |  |  |  |  | 5 |
|  | b) |  |  | What are the factors that affect the rate of flow of sewage ? |  |  |  |  |  |  |  | 3 |
|  | c) |  |  | Determine the diameter of a circular sewer to carry sewage of 100 litres/sec when it flows half full with a slope of 1in 350 using manning's formula |  |  |  |  |  |  |  | 7 |
| Q.3 | a) |  |  | Name the three sewerage system used to convey the sewage. |  |  |  |  |  |  |  | 3 |
|  | b) |  |  | Explain various types of waste water sampling methods |  |  |  |  |  |  |  | 5 |
|  | c) |  |  | List the various test to be conducted for sewage and their significance |  |  |  |  |  |  |  | 7 |
| Q.4 | a) |  |  | What are the requirements of an ideal surface drain ? |  |  |  |  |  |  |  | 3 |
|  | b) |  |  | List the advantages and disadvantages of CI sewers. |  |  |  |  |  |  |  | 5 |
|  | c) |  |  | Calculate the quantity of storm water in catchment area of a city |  |  |  |  |  |  |  |  |
|  |  |  |  | with following data Area = 30,000 hectares |  |  |  |  |  |  |  |  |
|  |  |  |  | Intensity of rain fall 15mm/hour |  |  |  |  |  |  |  |  |
|  |  |  |  | Average permeability 0.5 factor |  |  |  |  |  |  |  | 7 |
|  |  |  |  | Section - II |  |  |  |  |  |  |  |  |
| Q.5 | a) |  |  | Explain with neat sketch catch basins |  |  |  |  |  |  |  | 5 |
|  | b) |  |  | What are Traps? Explain it functions |  |  |  |  |  |  |  | 5 |
|  | c) |  |  | Explain the construction of Drop manhole |  |  |  |  |  |  |  | 5 |
| Q.6 | a) |  |  | Explain with sketch trickling filter. |  |  |  |  |  |  |  | 7 |
|  | b) |  |  | Mention the advantages of activated sludge process. |  |  |  |  |  |  |  | 5 |
|  | c) |  |  | List the methods of sludge disposal. |  |  |  |  |  |  |  | 3 |
| Q7 | a) |  |  | Write a note on recycle of waste water. |  |  |  |  |  |  |  | 5 |
|  | b) |  |  | What are the principles and requirement of house drainage? |  |  |  |  |  |  |  | 5 |
|  | c) |  |  | List the methods of solid disposal. |  |  |  |  |  |  |  | 5 |
|  |  |  |  | SECTION III |  |  |  |  |  |  |  |  |
| Q.8 | a) |  |  | Write a note on disinfection of well water. |  |  |  |  |  | 5 |  |  |
|  | b) |  |  | With neat sketch explain working of bio-gas plant. |  |  |  |  |  |  |  | 7 |
|  | c) |  |  | List the various sanitary fittings adopted for the house drainage. |  |  |  |  |  |  |  | 3 |
| Q.9 | a) |  |  | List the methods of sludge disposal. |  |  |  |  |  |  |  | 5 |
|  | b) |  |  | Explain the method of incineration process. |  |  |  |  |  | 5 |  |  |
|  | c) |  |  | Name the equipments used for controlling the air pollution. |  |  |  |  |  |  |  | 5 |
| Q.10 | a) |  |  | What are the effects of air pollution on human beings? |  |  |  |  |  | 5 |  |  |
|  | b) |  |  | Write a note on acid rain. |  |  |  |  |  |  |  | 5 |
|  | c) |  |  | Discuss the effects of noise pollution on human being. |  |  |  |  |  | 5 |  |  |