Department of Technical Education, Karnataka

DIPLOMA IN CIVIL ENGINEERING

FIFTH SEMESTER

Subject:: ESTIMATING & COSTING - I

Contact Hrs/Week:4 Hrs.					Contact Hrs/Sem:64 Hrs.

MAJOR TOPICS

Chapter No:		Contents			No. of Hours	Weightage of marks

PART - A

1	Introduction to Estimation			3	      15

2	Specifications					7	      15

3	Analysis of rates				15	      30

PART - B

4	Detailed and abstract estimate		32	      85

5	Seminar &   Innovative Practice		04

Tests						3

Total=	64	     145

DETAILS OF CONTENTS

PART - A

1	Introduction to Estimation

1.1	Introduction to estimating: Different items of works and types of estimates

1.2	Units of measurements and units of payment of different items of work.

1.3	Different methods of taking out quantities - centre line method and long				short wall method.

2	Specifications

2.1	Detailed specifications for

i) Earthwork in foundation

ii) Cement concrete (CC1:3:6) in foundation

iii) Brick masonry

iv) Course rubble stone masonry

v) R.C.C Work

vi)  Plastering in Cement mortar

vii) Pointing with cement mortar

viii) Cement concrete flooring

ix) Granite / Vitrified / Marble flooring

x) Distempering

xi) Exterior painting (Cement)

xii) Woodwork for windows and doors

xiii) Painting woodwork and steel

3	Analysis of Rates

3.1	Analysis of rates for the following items of work							i) Earthwork excavation and filling

ii) Cement concrete (CC 1:3:6) bed in foundation

iii) Brick masonry in C.M for superstructure

iv) Hollow concrete / solid concrete blocks masonry in C.M						v) Coursed rubble stone masonry in C.M

vi) Plastering with cement mortar

vii) Pointing with cement mortar

viii) Painting the old and new wood work

ix) Painting the old and new steel work

x) Cement concrete flooring

xi) Granite / Vitrified // Marble flooring

xii) Paneled and glazed doors and windows

xiii) R.C.C roofing slab

xiv) Distempering

xv) Corrugated galvanized iron sheet roofing

PART - B

4	Detailed and abstract estimate

4.1	Prepare the detailed estimate and abstract estimated cost of						i) 2BHK Residential building - Ground floor with flat RCC roof					ii) An elementary school/Primary health centre building Ground floor with flat

RCC roof.

iii) A canteen building with Ground floor with flat/pitched RCC roof.			iv) A small workshop building with RCC columns and footing with			     steel truss with suitable roof material.

5	Seminar &   Innovative Practice

Detailed and abstract estimate of Rain water harvesting

Prepare the detailed estimate of rain water harvesting for one block of your

Institution. ( or estimating any other site oriented civil engineering work)

( Assignment is given and evaluate along with test)

General educational objectives

At the end of the course of study, the student should able to:

1	Understand different types of approximate method of estimate  of buildings

2	Understand specifications for the various items of works in building

3	Analyse rates for different items in Civil Engineering works

4	Estimate the costs of construction for building.

Specific instructional objectives

1.1	Understand different types of approximate estimates of building				1.2	Preliminary or approximate estimate, plinth area estimate, cubical content				estimate, approximate quantity method estimate, item rate estimate, revised			estimate, annual repair or maintenance estimate.						2	Understanding the specifications for various items of work in building

2.1	Write the specifications for earthwork in foundation

2.2	Write the specifications for cement concrete for different proportion

in foundation

2.3	Write the specifications for brick work.

2.4	Write the specifications for Ashlar masonry

2.5	Write the specifications for Course rubble stone masonry					2.6	Write the specifications for RCC roof slab.

2.7	Write the specifications for plastering with cement mortar.

2.8	Write the specifications for pointing with cement mortar.

2.9	Write the specifications for  i) Cement concrete ii) vitrified flooring

iii) marble flooring.

2.10	Write specification for Distempering.

2.11	Write specification for exterior cement based painting.					2.12	Write specification for wood work for windows and doors.					3	Analyse rates for different items in Civil Engineering works.				3.1	Prepare data sheet for  i) Earth work excavation ii) Earth work filling.

3.2	Prepare data sheet for cement concrete bed in foundation.					3.3	Prepare data sheet for brick masonry in cement mortar for super structure.

3.4	Prepare data sheet for i)Hallow block masonry  ii) Solid block masonry in cement mortar for super structure.

3.5	Prepare data sheet for coursed rubble masonry in CM 1:6					3.6	Prepare data sheet for 12mm thick plastering with CM 1:6

3.7	Prepare data sheet for pointing with cement mortar 1:2

3.8	Prepare data sheet for painting i) old wood work ii) New wood work

3.9	Prepare data sheet for painting i) old steel work and ii) New steel work.

3.10	Prepare data sheet for 75mm thick C.C flooring.						3.11	Prepare data sheet for i) Granite flooring, ii)Ceramic flooring iii)Marble flooring 		3.12	Prepare data sheet for i) 40mm thick paneled door of teak wood,					ii) 40mm glazed window of teakwood.

3.13	Prepare data sheet for RCC roofing slab 1:2:4						3.14	Prepare data sheet for distempering two coats.

3.15	Prepare data sheet for galvanized corrugated iron sheet roofing.

4	Estimate the costs of construction of buildings.

4.1	Compute the quantities of various items of buildings given the detailed

drawings and specifications.

4.2	Express the quantities of various items of buildings given the detailed

drawings and specifications.

4.3	Workout the cost for each items of works in a building with reference				to quantity and schedule of rates.

4.4	workout the cost for each items of work for calculated quantity and

schedule of rates.

4.5	Prepare the detailed estimate and abstract estimated cost for building				showing detailed specifications for each item of work						  i) Residential building, single storied with flat RCC roof.

ii) An elementary school building single storied with flat RCC roof.

iii) A Primary health centre single storied with RCC roof.

iv) A canteen building with single storied RCC roof

v) A small work shop building with RCC columns and AC sheet roofing with steel truss.

REFERENCE BOOKS

- Estimating and costing By B. N. Dutta.

- Estimating and costing-I - By H.S.Vishwanath. Sapna Publications.

3	Estimating and costing   -By M. Chakraborti.						 4	Estimating and costing  -By S. C. Rangwala.

5	Estimating and costing  -By G. S. Birdie.

6	Estimating and costing  -By V. N. Vazirani and S.P.Chandola.

MODEL QUESTION PAPER

ESTIMATING AND COSTING-I

Time:3hours									Max.marks:100

Instruction: Answer all the question

- Answer any two of the following

a) What is necessity of preparation of estimate ?                                                  5

b) Explain the method of taking out the quantities by long wall & shortwall method

and centre line method.                                                                                     5

c) Write the units of measurements of the following items:                                  5

i) Brick masonry

ii) RCC roof

iii) Outside plastering

iv) Painting to doors & windows

v) Weather proof course.

- Write specifications for the any two following items of work:                            5 x 2=10

- Bed concrete in C.C 1:3:6 for foundation.

- Plastering in C.M1:6 for internal walls.

- Granite flooring over 2.5cm thick C.C. 1:2:4  bed.

- Workout the rate analysis for any two items:                                                      10x2=20

.        a)  Work out the cost for construction of column size 300x400mm, length 3.2m in

R.C.C 1:1 ½:3.

b) 12mm thick plastering in C.M 1:6.

c)Fully paneled teak wood door of size 1.0m x 2.1m.

- Estimate the cost for residential building shown in fig.1 by using local prevailing rates for any two items of the work:                                                                                             30

a).Earthwork excavation in foundation.

b) Size stone masonry in C.M 1:6 for foundation.

c) I class Burnt brick masonry in C.M 1:5 for superstructure.

- Estimate the cost for residential building shown in fig.1 by using local prevailing rates for any three items of the work: 					                                      30

- Interior plastering in C.M 1:6.

- Enamel painting to doors and windows.

- Flooring

i) Marble flooring, except bath room and WC..

ii) Ceramic flooring for bath room and WC.

d)  Snowcem for external walls

( Note: Drawing enclosed along with question paper should properly be dimensioned and clearly visible. Preferably it should be redrawn & No photo copy is allowed from text books)