|  |  | Department of Technical Education |  |  |
| --- | --- | --- | --- | --- |
|  |  | DIPLOMA COURSE IN CIVIL ENGINEERING/ CIVIL D’SHIP |  |  |
|  |  | Third Semester |  |  |
|  |  | Subject: Building Planning & Drawing |  |  |
| Chapter No. | Contents |  | No. of Hours |  |
| 1 | Introduction |  | 3 |  |
| 2 | Site plan |  | 6 |  |
| 3 | Building Drawings |  | 45 |  |
| 4 | Building Service Drawings. |  | 18 |  |
| 5 | Planning of Residential Building |  | 18 |  |
| 6 | Seminars/Visits |  | 6 |  |
|  | Total |  | 96 |  |

| 1 | Introduction |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1.1 |  | Drawing standards and practices as per IS 962-1989. |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1.2 |  | IS 962-1989 code of practice for architectures and building drawings. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Site plans |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.1 |  | Introduction to Local authority Building Bye-Laws |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.2 |  | Preparation of site plan as per given setbacks / FAR |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Building drawings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Draw the Plan, Elevation and Sectional views of the following from Given Line diagram: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.1 | Single Room Building |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.2 | Residential Building |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.3 | Residential Building with Pitched roof |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.4 | Residential Building with stairs |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.5 | Residential Building with stair case |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.6 | School Building |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.7 | Hostel building |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.8 | Health / Dispensary building |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.9 | Small workshop building |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.10 | Restaurant / Canteen building |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 3.11 | Single Storey Residential building |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 45 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 |  | Building Basic Services |  |  |  |  |  |  |  |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 4.1 | Preparation of Drawings for Septic tank & Soak pit . |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 4.2 | Preparation of water supply Layout for residential building. |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 4.3 | Preparation of Sanitary Layout for residential building. |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 4.4 | Preparation of Electrical Layout for residential building. |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 4.5 | Preparation of Shallow Well Rain Water Harvesting Method for Building |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 4.6 | Preparation of Percolation Pit(Recharge) Rain Water Harvesting Methods |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 |  | Planning of Residential Building |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 5.1 | Preparation of Line diagram for residential Building from the given areas |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 5.2 | Preparation of Plan for a residential Building from the given carpet areas |  | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 5.3 | Positioning & Scheduling of Openings (door, windows & Ventilators) |  | 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | 15 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 |  | Seminars / Visits |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 6.1 | Innovative Ideas regarding Building Planning Criteria |  | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 6.2 | Seminars on Need based Planning from Professionals |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | 6.2 | Visit to Innovative Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

|  | Books of Reference: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Building drawing -Shah, Kale and Patki |  |  |  |  |  |
| 2 | Civil Engineering Drawing & home planning-B. P. Verma |  |  |  |  |  |
| 3 | Civil Engineering Drawing -Gurucharan Singh |  |  |  |  |  |
| 4 | A Text book of Draughtsman Civil (Theory and Practical) R. S. Malik and G. S. Meo |  |  |  |  |  |
| 5 | Civil Engineering Drawing and Design - D. N. Ghose (CBS Publishers |  |  |  |  |  |

| GENERAL EDUCATIONAL OBJECTIVES: |  |
| --- | --- |
|  | Upon the completion of the study of the subject, the student should be able to |
| 1 | Know the drawing standards and practices as per IS-962-1989 and code of practice |
|  | for architectures and building drawing. |
| 2 | Given the line diagram and detailed specifications, know how to draw the plan |
|  | elevation and sectional view of buildings. |
| 3 | Understand the drawings pertaining to Electrical, Water supply, Sanitary and Rain water harvesting. |
| 4 | Understand drawings of various types of roofs |
| 5 | Understand the planning and drawing of different types of buildings. |
| 6 | Know the methods of preparing working drawing for staircases and Single Storeyed |
|  | buildings. |
| 7 | Understand different types of Openings - Doors, Windows & Ventilators |
| 8 | Conceptualization of Advanced Building Structures |
| 9 | Understand the innovative ideas of Advanced Building Planning |

| SPECIFIC INSTRUCTIONAL OBJECTIVES: |  |  |
| --- | --- | --- |
|  | Upon completion of the course, the student should be able to: |  |
|  | 1.0 | Know the drawing standards and practices as per IS 962-1989 and code of |
|  |  | practice for architectural and building drawings. |
|  | 1.1 | Mention the drawing standards as per IS.IS 962-1989 |
|  | 2.0 | Given the line diagram and detailed specifications, knows how to draw the |
|  |  | plan, elevation and sectional views of buildings. |
|  | 2.1 | Know the local authority Rules, Regulations and Bye Laws of Buildings |
|  | 2.2 | Given the size of site, draw the site plan as per local authority Bye Laws |
|  | 2.3 | Know the FAR from the Site Plan |
|  | 3.0 | Given the line diagram of the plan, draw the detailed plan for residential |
|  |  | building, school, hostel, dispensary, workshop and restaurant. |
|  | 3.1 | Draw the Plan & front elevation for the above buildings. |
|  | 3.2 | Draw the sectional views along shown section line of the above building. |
|  | 3.3 | Draw the sectional views along shown section line of the pitched roof building. |
|  | 4.0 | Understand Building services drawings. |
|  | 4.1 | Draw the water supply layout plan indicating necessary fixtures, given the |
|  |  | site plan and plan of the building. |
|  | 4.2 | Draw the sanitary layout plan indicating the sanitary fixtures, given the |
|  |  | necessary details. |
|  | 4.3 | Draw the plan and sectional elevation of a septic tank given the details. |
|  | 4.4 | Draw the layout plan of water connection works like underground sump and |
|  |  | overhead tank and water supply system given details. |
|  | 4.6 | Incorporate the Electrical Layout diagram in plan of Building. |
|  | 4.3 | Draw the plan and sectional elevation of a Shallow well / Percolation pit of Rain water harvesting. |
|  | 5.0 | Planning of Residential Building |
|  | 5.1 | Understand the components arrangement of Residential Building |
|  | 5.2 | Understand the Opening requirements, Positioning and scheduling |
|  | 5.3 | Draw the single line diagram of residential Building from the given room sizes |
|  | 5.4 | Draw the Plan of residential Building from the given carpet area |
|  | 6.0 | Seminars / Visits |
|  | 6.1 | Arrange Seminars on Innovative Ideas regarding Building Planning Criteria |
|  | 6.2 | Collection of information from Internet regarding Innovative Ideas |
|  | 6.3 | Seminars on Need based Planning from Professionals |
|  | 6.4 | Field Visit to Innovative Buildings |

| Third Semester |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Subject: Building Planning & Drawing |  |  |  |  |  |  |  |  |  |  |  |  |
| Model Question Paper |  |  |  |  |  |  |  |  |  |  |  |  |
| Duration : |  |  | 4 Hours |  |  |  |  |  |  | Max. Marks | 100 |  |
|  | Note: Answer all full questions. |  |  |  |  |  |  |  |  |  |  |  |
| Part - A |  |  |  |  |  |  |  |  |  |  |  |  |
| Q.1 | Draw the site plan to a scale of 1:200. Apply local building Bye-laws |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Site No. |  |  | 100 |  |  |  |  |  |  |  |
|  |  | Site Dimension |  |  | 9 x 12 m |  |  |  |  |  |  |  |
|  |  | Orientation |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | East | 30 m Road |  |  |  |  |  |  |  |
|  |  |  |  | West | Site No 205 |  |  |  |  |  |  |  |
|  |  |  |  | North | Site No 101 |  |  |  |  |  |  |  |
|  |  |  |  | South | Site No 99 |  |  |  |  |  |  | 10 |
|  |  | Building Coverage |  |  | 75% |  |  |  |  |  |  |  |

2. The line diagram shown in the figure for a proposed Residential Building with clear dimensions. Draw to a scale of 1:50 the following views

a) Plan 									20

b) Section on AA								20

c) Front Elevation								10

Construction details & Specifications are as follows

Foundation  :   900mm wide & 1000mm deep with Concrete bed 1:4:8 200mm thick and Two courses of size stone masonry in CM 1:8, 400mm depth of each course

Basement :   Dressed size stone masonry in CM 1:6, 450mm wide 600mm depth includes 150mm PCC 1:3:6

Super structure :

- BBM in CM 1:6 of 230mm thick for all walls

- Sill  100mm thick of PCC 1:3:6

- RCC Lintel 200mm thick of CC 1:2:4

- RCC Chejja 600mm wide, 150mm thick at support and 50mm thick at end

- RCC roof slab 150mm thick of CC 1:2:4 at 3000mm ceiling height

- WPC 100mm thick average

- Granite flooring 20mm thick over a CC 1:4:8 bed of 100mm thick

- BBM in CM 1:6 Parapet wall of 150mm thick, 600mm height

Steps : Provide Suitable rise & tread

Schedule of Openings for Doors, Windows and Ventilators

| Opening | Size |
| --- | --- |
| D | 1100 x 2100 mm |
| D1 | 1000 x 2100 mm |
| D2 | 900 x 2100mm |
| W | 1800 x 1200 mm |
| W1 | 1500 x 1200 mm |
| W2 | 1200 x 750 mm |
| V | 900 x 600 mm |

3. Draw the water supply & sanitary layout to the above building Plan

OR

Draw the Plan & Sectional view of a shallow well of Rain water Harvesting

20

4. Prepare & Draw line diagram to a scale of 1:100 for a residential building, from the given requirements. Provide suitable size & Positions of Openings

Verandah 	2.7 x 3.0 m

Hall		7.0 x 4.0 m

Room		4.0 x 3.0 m

Bath room	2.0 x 2.5 m

WC		1.4 x 1.2 m

20