| Department of Technical Education |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIPLOMA COURSE IN CIVIL ENGINEERING/ CIVIL D’SHIP |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Third Semester |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Subject: Environmental Engineering - I |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contact Hrs/Week:4 Hrs. |  |  |  | Contact Hrs/Sem:64 Hrs. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | TOPIC ANALYSIS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Chapter No. | Contents |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | No. of Hrs | Weightage of Marks |  |
|  |  | PART - A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1 | Environment and Ecology |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 02 | 05 |  |
|  | 2 | Water Requirement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 05 | 12 |  |
|  | 3 | Sources of Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 03 | 07 |  |
|  | 4 | Intake Works and Conveyance of Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 07 | 15 |  |
|  | 5 | Quality of Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 05 | 11 |  |
|  |  | PART - B |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6 | Purification of Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 12 | 30 |  |
|  | 7 | Distribution Systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 06 | 20 |  |
|  |  | PART - C |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8 | Appurtenances In Distribution System |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 | 10 |  |
|  | 9 | Water Supply Arrangement in Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 05 | 15 |  |
|  | 10 | Water Conservation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 | 10 |  |
|  | 11 | Water Pollution and Control |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 | 10 |  |
|  | 12 | Tests |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 03 | -- |  |
|  | 13 | Creativity and Innovation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 04 | -- |  |
|  | Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 64 | 145 |  |
| DETAILS OF CONTENTS |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | PART - A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Environment and Ecology |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1.1 | Atmosphere, Lithosphere, Hydrosphere, Biosphere. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 1.2 | Relation Between Plant, Animals And Environment. Eco System, |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Man And Ecology. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Water Requirement |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.1 | Necessity of water supply. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.2 | Methods of population forecasting |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.3 | Water Requirements For a) Domestic Purpose b) Industrial Use c) Fire Fighting d) Public Purpose e) Losses |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 2.4 | Per Capita Demand and Factors Affecting it. Total Quantity of Water Required for a Town |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3 | Sources of Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3.1 | Surface Sources - Lakes, Streams, Rivers Impounded Reservoirs. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3.2 | Underground Sources - Infiltration Galleries, Infiltration Wells, Springs. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 3.3 | Quality of Underground Water. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4 | Intake Works and Conveyance of Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.1 | Types of intakes - i) Reservoir intake ii) River intake iii) Canal intake |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.2 | Conveyance of Water - Open Channels and Pipes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.3 | Pipe Materials - Cast Iron Pipes, Steel Pipes, Concrete |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Pipes, Pre-Stressed Concrete Pipes, G.I Pipes, Plastic |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Pipes, High Density Polythene Pipes, Merits And Demerits of Each Type and Situation in Which they are Used. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.4 | Pipe Joints - Spigot and Socket Joint, Flange Joint, Universal Pipe Joint, Expansion Joint, Flexible Joint, Joint for Concrete pipes. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.5 | Various stages of pipe laying and its testing. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 4.6 | Pipe corrosion and remedial measures. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5 | Quality of water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5.1 | Impurities of water - organic and inorganic - classification and examination |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | of water. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5.2 | Physical - temperature, colour, turbidity, taste and odour |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5.3 | Chemical - pH Value, Total Solids, Hardness, Chlorides, Iron and Manganese, Fluoride, Dissolved Oxygen. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 5.4 | Bacteriological - B-coli, Most Probable Number, Quality Standards for Domestic and Industrial Purpose as per BIS and CPHEEO Std. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 6 | Purification of Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6.1 | Flow diagram of different units of purification, brief description of constructional details, working and operation of the |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | following units - plain sedimentation, sedimentation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | with coagulation and filtration ( no design) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6.2 | Disinfection of Water |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6.3 | Chemicals required for water treatment, their uses and feeding devices. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 6.4 | Dosage of alum, bleaching powder and chlorine gas. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7 | Distribution systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.1 | General Requirements, Systems of Distribution - Gravity System, Combined System, Direct Pumping. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.2 | Methods of Supply - Intermittent and Continuous. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.3 | Maintenance of Required Pressure in Distribution Systems. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.4 | Storage - Underground, Ground Level And Overhead Service Reservoirs – Sketch, Necessity and Accessories. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 7.5 | Types of lay-out : dead end, grid iron, radial and ring systems, their merits and demerits and their suitability. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 8 | Appurtenances in distribution system |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 8.1 | Use of Sluice Valves, Check Valves, Air Valves, Scour Valves, Zero Velocity Valves, Fire Hydrants, Water Meter. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 9 | Water Supply arrangement in buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9.1 | General lay-out of water supply arrangement for single and multi-storied buildings as per I.S code of practice. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9.2 | Connections from water main to buildings. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9.3 | Water supply fittings - their description and uses, water main, service pipes, supply pipe, distribution pipe, domestic storage tank, stop cock, air gap ferrule goose neck, water tap. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 9.4 | Hot water supply - electric water heaters and solar water heaters. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 | Water Conservation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 10.1 | Conservation of rain water, roof water harvesting, recharging of ground water aquifers |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 11 | Water pollution and Control |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.1 | Sources of water pollution, types and its effects,. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.2 | Prevention and control measures of water pollution. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | 11.3 | Legislation with regards to water pollution control |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Department of Technical Education |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DIPLOMA COURSE IN CIVIL ENGINEERING |  |  |  |  |  |  |  |  |  |
| Third Semester |  |  |  |  |  |  |  |  |  |
| Subject: EC302 Environment Engineering - I |  |  |  |  |  |  |  |  |  |
| Contact Hrs/Week:4 Hrs. |  |  |  |  |  | Contact Hrs/Sem:64 Hrs. |  |  |  |
| GENERAL EDUCATIONAL OBJECTIVES: |  |  |  |  |  |  |  |  |  |
|  | Upon the completion of the study of the subject the student should be able to |  |  |  |  |  |  |  |  |
| 1 | Know the importance of Environment and Ecology, Relation between plant, animals |  |  |  |  |  |  |  |  |
|  | and Environment in Eco system. |  |  |  |  |  |  |  |  |
| 2 | Know the importance of water supply and its requirements |  |  |  |  |  |  |  |  |
|  | Methods of population forecasting and per capita demand |  |  |  |  |  |  |  |  |
| 3 | Select suitable source of water for a water supply scheme. |  |  |  |  |  |  |  |  |
| 4 | Understand the works involved in the conveyance of water. |  |  |  |  |  |  |  |  |
| 5 | Analyse the quality of water for different purposes. |  |  |  |  |  |  |  |  |
| 6 | Familiarize with the various stages of treatment for purification of water. |  |  |  |  |  |  |  |  |
| 7 | Know the methods of supply of water, storage and types of distribution lay-out. |  |  |  |  |  |  |  |  |
| 8 | Know the functions of various appurtenances in a distribution system. |  |  |  |  |  |  |  |  |
| 9 | Know the water supply arrangement in a single and multi-storied buildings. |  |  |  |  |  |  |  |  |
| 10 | Know the conservation of rain water and Recharging of ground water sources. |  |  |  |  |  |  |  |  |
| 11 | Know the effect of water pollution, its control methods and legislation |  |  |  |  |  |  |  |  |
| SPECIFIC INSTRUCTIONAL OBJECTIVES: |  |  |  |  |  |  |  |  |  |
| 1 | Know the importance of Atmosphere, Bio sphere or an depletion, Deforestation, |  |  |  |  |  |  |  |  |
|  | Green house. |  |  |  |  |  |  |  |  |
|  | 1.1 | Relation between plant, animals and Environment. |  |  |  |  |  |  |  |
|  | 1.2 | Explain briefly the importance of Ecosystem and ecology. |  |  |  |  |  |  |  |
| 2 | Know the necessity of water supply and description of water requirement. |  |  |  |  |  |  |  |  |
|  | 2.1 | Necessity and requirement of water |  |  |  |  |  |  |  |
|  | 2.2 | Describe the method of forecasting population. |  |  |  |  |  |  |  |
|  | 2.3 | Estimate the requirement of water for various purposes in particular |  |  |  |  |  |  |  |
|  |  | i) Domestic ii) Industrial purposes iii) Fire fighting iv) Public purpose v) losses |  |  |  |  |  |  |  |
|  | 2.4 | Describe the method of determining the total quality of water required for a town. |  |  |  |  |  |  |  |
|  |  | List the factors affecting per capita demand |  |  |  |  |  |  |  |
| 3 | Select suitable source of water for a water supply scheme. |  |  |  |  |  |  |  |  |
|  | 3.1 | State the salient features of various sources of water i) lakes; ii) rivers; |  |  |  |  |  |  |  |
|  |  | iii) streams; iv) impounded reservoirs. |  |  |  |  |  |  |  |
|  | 3.2 | Explain with sketches: i) infiltration galleries; ii) shallow and deep wells; spring wells. |  |  |  |  |  |  |  |
|  | 3.3 | Explain the quality of under ground water. |  |  |  |  |  |  |  |
| 4 | Understand the works involved in the conveyance of water. |  |  |  |  |  |  |  |  |
|  | 4.1 | What is an intake. Explain with sketches, reservoir intake, river intake and canal intake. |  |  |  |  |  |  |  |
|  | 4.2 | List the different methods of conveyance of water. |  |  |  |  |  |  |  |
|  | 4.3 | Explain different types of pipes used for conveyance of water. Mention their |  |  |  |  |  |  |  |
|  |  | advantages and disadvantages. |  |  |  |  |  |  |  |
|  | 4.4 | Explain with neat sketches, different types of pipe joints. |  |  |  |  |  |  |  |
|  | 4.5 | Describe various stages of pipe laying and its testing. |  |  |  |  |  |  |  |
|  | 4.6 | State the causes of pipe corrosion and remedial measures. |  |  |  |  |  |  |  |
| 5 | Analyse the quality of water for different purposes |  |  |  |  |  |  |  |  |
|  | 5.1 | List the Type ,causes and effects of impurities present in water. |  |  |  |  |  |  |  |
|  | 5.2 | Explain the tests and significance of test of Physical parameters of water |  |  |  |  |  |  |  |
|  | 5.3 | Explain the tests and significance of test of Chemical parameters of water |  |  |  |  |  |  |  |
|  | 5.4 | Explain the tests and significance of test of biological parameters of water |  |  |  |  |  |  |  |
| 6 | Familiarise with the various stages of treatment for purification of water. |  |  |  |  |  |  |  |  |
|  | 6.1 | Sketch the overall lay-out of water treatment plant indicating different stages. |  |  |  |  |  |  |  |
|  | 6.2 | Explain with sketches the function, constructional details, working and |  |  |  |  |  |  |  |
|  |  | operations of i) aeration fountain; ii) Flash Mixer; iii) Flocculator; iv) Clarifier; |  |  |  |  |  |  |  |
|  |  | v) Slow sand filter; vi) Rapid sand filter, vii) Pressure filters viii) chlorinating chamber. |  |  |  |  |  |  |  |
|  | 6.3 | List the different chemicals used in the treatment of water. |  |  |  |  |  |  |  |
|  | 6.4 | Explain with sketch the chemical feeding devices. |  |  |  |  |  |  |  |
|  | 6.5 | Explain the method of determining the dosage of chemicals i) Alum- Jar Test |  |  |  |  |  |  |  |
|  |  | ii) Bleaching powder iii) Chlorine. |  |  |  |  |  |  |  |
| 7 | Know the methods of supply of water, storage and types of distribution system. |  |  |  |  |  |  |  |  |
|  | 7.1 | Explain with sketches the different systems of distribution i) Gravity |  |  |  |  |  |  |  |
|  |  | distribution; ii) Combined gravity and pumping system; iii) pumping system. |  |  |  |  |  |  |  |
|  | 7.2 | Compare intermittent system with continuous system of water supply. |  |  |  |  |  |  |  |
|  | 7.3 | Explain the methods of maintaining pressure in water distribution system. |  |  |  |  |  |  |  |
|  | 7.4 | Explain the necessity of service reservoirs. |  |  |  |  |  |  |  |
|  | 7.5 | Compare underground service reservoirs with overhead service reservoirs. |  |  |  |  |  |  |  |
|  | 7.6 | Draw the sketches of i) Rectangular overhead service reservoir; |  |  |  |  |  |  |  |
|  |  | ii) Intz tank showing all the accessories. |  |  |  |  |  |  |  |
|  | 7.7 | Explain with sketches the following systems of lay-outs in distribution |  |  |  |  |  |  |  |
|  |  | system i) Dead end; ii) Grid iron; iii) Radial; iv) Ring. |  |  |  |  |  |  |  |
|  | 7.8 | List the merits and demerits of different systems of lay-out in a distribution system |  |  |  |  |  |  |  |
|  | 7.9 | Suggest the suitability of the system of lay-out for a given locality. |  |  |  |  |  |  |  |
| 8 | Know the functions of various appurtenances in a distribution system. |  |  |  |  |  |  |  |  |
|  | 8.1 | Explain the functions of the following appurtenances with sketches |  |  |  |  |  |  |  |
|  |  | i) Sluice Valves ii) Check valves or reflex valves; iii) Air valves iv) Drain valves |  |  |  |  |  |  |  |
|  |  | or blow-offs; v) Fire hydrants; vi) water meters; vii) zero velocity value. |  |  |  |  |  |  |  |
| 9 | Know the water supply arrangement in a single and multi-storied buildings. |  |  |  |  |  |  |  |  |
|  | 9.1 | Sketch a general lay-out to show suitable water supply buildings with mains. |  |  |  |  |  |  |  |
|  | 9.2 | Suggest interior water supply arrangements for a single and multi-storied |  |  |  |  |  |  |  |
|  |  | building as per I. S. code. |  |  |  |  |  |  |  |
|  | 9.3 | Describe the constructional details and uses of following water supply |  |  |  |  |  |  |  |
|  |  | fittings: i) Water main; ii) Service pipe; iii) supply pipe; iv) distribution pipe; |  |  |  |  |  |  |  |
|  |  | v) domestic storage tank; vi) stop cock; vii) Air gap; viii) ferrule; ix) Goose neck; x) Water tap |  |  |  |  |  |  |  |
|  | 9.4 | Sketch the general lay-out for hot water supply for a domestic building using |  |  |  |  |  |  |  |
|  |  | both electric water heaters and solar water heaters. |  |  |  |  |  |  |  |
| 10 | Know the importance of conservation of Rain water. |  |  |  |  |  |  |  |  |
|  | 10.1 | Explain the methods of harvesting of Rain water. |  |  |  |  |  |  |  |
|  | 10.2 | Explain the methods of Recharging ground aquifer. |  |  |  |  |  |  |  |
| 11 | Know the effects of water pollution, its prevention, control and legislations |  |  |  |  |  |  |  |  |
|  | 11.1 | State the causes of water pollution. Sources - Point and Non-point sources, effects on plants and animals |  |  |  |  |  |  |  |
|  | 11.2 | Discuss the prevention and control of water pollution. |  |  |  |  |  |  |  |
|  | 11.3 | Water pollution control acts |  |  |  |  |  |  |  |

Referance Books:

1) Water Supply & Sanitary Engineering- by Rangwala

2) Water Supply Engineering Vol-I - by S.K.Garg.

3) Water Supply & Sanitary Engineering- by Birde

4) Environmental Engineering-I By H S Vishwanath. Sapna Publications.

5) Environmental Science and Engg.- Vol-I – by Aloka Debi.

(Universities Press)

6) Water Supply Engineering  Vol-I - by Gurucharan Singh

7) Environmental Engg.-Vol-I –by P.N. Modi.

8) Water Supply Engg.-Vol-I – by Fair & Geir

9) Text Book of Environmental studies – Erach Bharucha

(Universities Press)

10)Water Supply,Waste Disposal and Environmental Pollution

Engineering-(khanna publication)a.k.chatterjee

| Department of Technical Education |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| DIPLOMA COURSE IN CIVIL ENGINEERING |  |  |  |  |  |  |
| Third Semester |  |  |  |  |  |  |
| Subject: EC302 Environmental Engineering - I |  |  |  |  |  |  |
| Duration :3 Hours |  |  |  | Max. Marks: 100 |  |  |
| Model Question Paper |  |  |  |  |  |  |
|  | 1) Question No 1 is compulsory |  |  |  |  |  |
|  | 2) Answer any two full questions from each section |  |  |  |  |  |
| Q No 1. | A) | Fill in the blanks with appropriate word/s |  |  | 1x5 =5 |  |
|  | i) | The Per capita domestic water supply in India is ________lpcd |  |  |  |  |
|  | ii) | The permissible value of Turbidity for drinking water supply is ___________ |  |  |  |  |
|  | iii) | _________ is used for extinguishing the fire |  |  |  |  |
|  | iv) | _________ impurities are removed from filtration |  |  |  |  |
|  | v) | The process of killing the pathogenic bacteria is know as _________ |  |  |  |  |
|  | B) | Write a note on dosage of coagulant by Jar test apparatus |  |  |  | 5 |
| Section - I |  |  |  |  |  |  |
| Q No 2 | a) | Explain the relation between plant ,animals and Environment |  |  |  | 5 |
|  | b) | Discuss the necessity of water supply |  |  |  | 5 |
|  | c) | State any five standards for drinking water. |  |  |  | 5 |
| Q No 3 | a) | List the sources of water. |  |  |  | 3 |
|  | b) | The following data have been noted from the census department |  |  |  | 7 |
|  |  | Sl No. Year Population |  |  |  |  |
|  |  | 01 1961 22,500 |  |  |  |  |
|  |  | 02 1971 9,000 |  |  |  |  |
|  |  | 03 1981 37,500 |  |  |  |  |
|  |  | 04 1991 47,000 |  |  |  |  |
|  |  | 05 2001 57,500 |  |  |  |  |
|  |  | 06 2011 70,100 |  |  |  |  |
|  |  | Estimate the population for the year 2021 & 2031 by Arithmetical increase method. |  |  |  |  |
|  | c) | Explain with a neat sketch the "Infiltration Gallery". |  |  |  | 5 |
| Q No 3 | a) | List the types of intake works |  |  |  | 3 |
|  | b) | Explain River Intake with a neat sketch. |  |  |  | 7 |
|  | c) | Mention the advantages and disadvantages of PVC Pipes |  |  |  | 5 |
|  |  | Section - II |  |  |  |  |
| Q No 4 | a) | Draw the flow diagram for the water treatment works. |  |  |  | 5 |
|  | b) | With neat sketch explain the flash mixer used in the coagulation process |  |  |  | 5 |
|  | c) | Differentiate between plain sedimentation and sedimentation with coagulation |  |  |  | 5 |
| Q No 5 | a) | Explain the process of back washing of rapid sand filter. |  |  |  | 5 |
|  | b) | List the various chemicals used in the process of purification of water. |  |  |  | 5 |
|  | c) | Differentiate between the intermittent and continuous system of water supply. |  |  |  | 5 |
| QNo.6 | a) | How to maintain the required pressure in the water distribution system |  |  |  | 3 |
|  | b) | List the various types of storage reservoirs in the water distribution system. Draw any one type and name the accessories. |  |  |  | 5 |
|  | c) | List the various types of layout used in the distribution system and explain any one. |  |  |  | 7 |
|  |  | Section - III |  |  |  |  |
| QNo.7 | a) | Explain the fire hydrant with a neat sketch. |  |  |  | 5 |
|  | b) | Write a note on location and functions of sluice valve. |  |  |  | 5 |
|  | c) | With neat sketch explain the service connection from main pipe. |  |  |  | 5 |
| QNo.8 | a) | Draw the cross section of two pipe multi-storied building |  |  |  | 5 |
|  | b) | Draw a layout diagram of solar water heater for a residential building. |  |  |  | 5 |
|  | c) | What is mean by Rainwater harvesting? Explain briefly. |  |  |  | 5 |
| QNo.9 | a) | List the various methods of recharging Ground water aquifers. Explain any one. |  |  |  | 5 |
|  | b) | Write a note on prevention and control of water pollution. |  |  |  | 5 |
|  | c) | Discus the legislations with respect to water pollution control. |  |  |  | 5 |