DEPARTMENT OF TECHNICAL EDUCATION

DIPLOMA IN CIVIL ENGINEERING/ CIVIL D’SHIP

FOURTH SEMESTER CIVIL ENGG

SUBJECT: HYDRAULICS , ENVIRONMENTAL AND PLUMBING LAB

CONTACT HRS/WEEK:6 HRS. 			CONTACT HRS/SEM: 96 HRS.

| GRADED EXERCISES | CONTENTS | NO OF HOURS |
| --- | --- | --- |
| 1 | Tests on Water, Sewage and Industrial Waste water | 36 |
| 2 | Experiments on Notches, Orifices | 24 |
| 3 | Pumps. | 06 |
| 4 | Plumbing | 12 |
| 5 | Industrial Visits | 12 |
| 6 | Tests and revision | 6 |
|  | TOTAL | 96 |

ENVIRONMENTAL ENGINEERING LAB

- Collection of Water Samples

- Collection of Industrial Samples.

- Determination of Turbidity of Water

- Determination of Colour of Water

- Determination of Suspended Solids

- Determination of Total Solids

- Determination of Dissolved Solids

- Determination of hardness- total hardness

  - Ca & Mg hardness

  - Permanent hardness

- Determination of pH Value (pH meter method & pH paper)

- Determination of Alkalinity & acidity

- Determination of Chlorides

- Determination of Nitrates

HYDRAULICS LAB

- Use of Piezometer, U - Tube

- Use of Manometer and Pressure Gauge

- Determination of Coefficient of discharge for Rectangular Notch

- Determination of Coefficient of discharge for Triangular Notch

- Determination of Coefficient of discharge for Venturimeter

- Determination of Coefficient of discharge, Coefficient of contraction, and Coefficient of velocity for Circular Orifice

- Determination of Loss of Head due to Friction in Pipe line

- Determination of Efficiency of Centrifugal Pump

PLUMBING LAB

- Identifying Pipe fittings used in water supply and Sanitary Wares.

- (with actual models displayed on board- Examination Viva voce only)

- Cutting, Threading and Joining of G.I. pipes/ Cutting and Pasting of PVC pipes using Solvents.

- Making a Bathroom connection from an existing Water supply Main (making Indents, drawing a neat sketch of the connection with details).

- Making Suction and Delivery pipe connections to a centrifugal pump (making Indents, drawing a neat sketch of the connection with details).

| INDUSTRIAL VISITS WITH FEEDBACK |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | 1 Visit to Water Treatment Plant |  |  |  |  |  |  |
|  | 2 Visit to Sewerage Treatment Plant |  |  |  |  |  |  |
|  | 3 Visit to Industrial Waste Treatment Plant |  |  |  |  |  |  |
|  | 4 Visit to a HOUSING Colony and Study of Water Supply and Sewerage System |  |  |  |  |  |  |

Revision & Test                        6 hours

Reference Books :

1. Hydraulic Lab Manual Compiled - T.T.T.I. - Chennai – 113.

2. Ghosh and Talapohia - Experimental Hydraulic - Khanna Publishers - New Delhi

3. Central Public Health Engg Organisation(CPHEO) water supply Manual

4. National environmental engineering Institute (NEERI) water supply manual

5. Water supply engineering by-Birdie

6. Water supply and sewage disposal by – S.K.Garg

SCHEME OF EVALUATION FOR EXAMINATION

| 1 | One experiment/ exercise from Hydraulics lab( Procedure-10, Conduction-15, Calculation-10) | 35 |
| --- | --- | --- |
| 2 | One experiment/ exercise from Environment lab( Procedure-10, Conduction-15, Calculation-10) | 35 |
| 3 | Identifying Pipe fittings used in water supply and Sanitary Wares. (with actual models displayed on board) | 10 |
| 4 | Viva –voce on all of the above | 15 |
| 5 | Record | 05 |
|  | Total | 100 |

LIST OF EQUIPMENTS REQUIRED  HYDRAULICS LAB

1.  Apparatus for determining co-efficient of discharge Venturimeter - 1 set

2. Apparatus for determining hydraulic coefficients of Orifice - 1set

3.Apparatus for determining the Pipe Friction - 1 set

4. Apparatus for determining co-efficient of discharge of Rectangular- 1 set

5.Apparatus for determining co-efficient of discharge of V Notch-1set

6. Centrifugal Pump Test Rig - 1 set

LIST OF EQUIPMENTS REQUIRED FOR PLUMBING LAB

1. Pipe fitting Display board (GI/PVC) – Consisting of all Fittings, Pipes, Specials & Valves of different sizes in sufficient quantity. - 1 No.

2. Sanitary fitting display board - Consisting of Bath tubs, Flushing cisterns, Sinks,

Drinking fountain, Wash basin, Urinals and Water closets of different sizes in sufficient

quantity. - 1 No.

3. Tools required for Cutting, Threading and Making Bath room connection & Suction and Delivery Pipe Connections -

- Pipe Vice : Size 50 mm

- Chain Pipe Vice

- Bench Vice : Size 100 mm / 150mm

- Pipe Die sets of sizes ½” to 2”

- Adjustable Hacksaw frame with Blades 10” or 12”

- Three wheel pipe cutter 2”

- Pipe wrench 12”, 14”, 18” & 24”

- GI pipes with Specials of different sizes in sufficient quantity

- PVC pipes with Specials of different sizes in sufficient quantity