| Diploma Civil Engineering |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VI Semester |  |  |  |  |  |  |  |  |  |  |
| Subject : |  | Repairs and maintenance of civil work |  |  |  |  |  |  |  |  |
| Code: |  |  |  |  |  |  |  |  |  |  |
| Contact Hrs/Per week: 4 Hrs |  |  |  |  |  | Total Contact Hrs : 64 Hrs |  |  |  |  |
| SI.No | Topics |  |  |  |  |  |  | Hrs. Allocated |  |  |
|  |  |  | Part A |  |  |  |  |  |  |  |
| 1 | Introduction and principle of Maintenance |  |  |  |  |  |  | 10 |  |  |
| 2 | Maintenance and Rehabilitation of building |  |  |  |  |  |  | 8 |  |  |
|  |  |  | Part B |  |  |  |  |  |  |  |
| 3 | Defects & Rectification |  |  |  |  |  |  | 12 |  |  |
| 4 | Maintenance and Organization |  |  |  |  |  |  | 12 |  |  |
|  |  |  | Part C |  |  |  |  |  |  |  |
| 5 | Maintenance problems and their solutions |  |  |  |  |  |  | 14 |  |  |
|  | New Inventions/Seminars/Visits |  |  |  |  |  |  | 5 |  |  |
|  | Tests |  |  |  |  |  |  | 3 |  |  |
|  |  |  |  |  | Total |  |  | 64 |  |  |
|  | Course Contents |  |  |  |  |  |  |  |  |  |
| 1.0 | Introduction and principles of Maintenance |  |  |  |  |  |  |  |  |  |
| 1.1 | Principles and objects of Maintenance of old and new buildings |  |  |  |  |  |  |  |  |  |
| 1.2 | Terms used in Maintenance and repairs |  |  |  |  |  |  |  |  |  |
| 1.3 | Causes of deterioration and decay of civil works |  |  |  |  |  |  |  |  |  |
| 1.4 | Maintenance of Mechanical works and Electrical conditioning - wiring - fitting and fixtures. Drainage system and water supply system inside the premises. |  |  |  |  |  |  |  |  |  |
| 1.5 | Maintenance of steel and wooden structures and elements |  |  |  |  |  |  |  |  |  |
| 1.6 | Maintenance of floors and R.C.C. Structure, bricks, tiles, bituminous materials |  |  |  |  |  |  |  |  |  |
| 1.7 | Maintenance of underground sump and over head tanks and terrace gardens |  |  |  |  |  |  |  |  |  |
| 2.0 | Maintenance and Rehabilitation |  |  |  |  |  |  |  |  |  |
| 2.1 | Rehabilitation of buildings (example) |  |  |  |  |  |  |  |  |  |
| 2.2 | Demolition of buildings - safety aspects - precautions |  |  |  |  |  |  |  |  |  |
| 2.3 | Precautions and safety measures to be taken before commencing demolition |  |  |  |  |  |  |  |  |  |
| 2.4 | Demolition process of trusses girders and beams, walls, flooring |  |  |  |  |  |  |  |  |  |
| 2.5 | Under pinning - Definition - methods of under pinning |  |  |  |  |  |  |  |  |  |
| 3.0 | Defects |  |  |  |  |  |  |  |  |  |
| 3.1 | Broad list of common defects |  |  |  |  |  |  |  |  |  |
| 3.2 | Methods of investigation, list of basic equipments for investigating defects, maintaining of building and site records |  |  |  |  |  |  |  |  |  |
| 3.3 | Diagnosis of defect, prescribing remedies, executing remedial prescription. |  |  |  |  |  |  |  |  |  |
| 4.0 | Maintenance organization |  |  |  |  |  |  |  |  |  |
| 4.1 | Inventory of building and other civil works required to be maintained |  |  |  |  |  |  |  |  |  |
| 4.2 | Inspection - annual, periodical - emergency inspection Proforma, Proforma for classification of maintenance operations |  |  |  |  |  |  |  |  |  |
| 4.3 | Estimates for maintenance works - and list of special materials and equipments need for special repairs and maintenance |  |  |  |  |  |  |  |  |  |
| 4.4 | Tendering and award of work |  |  |  |  |  |  |  |  |  |
| 4.5 | Maintaining departmental labour teams for petty repairs. |  |  |  |  |  |  |  |  |  |
| 4.6 | Maintaining records - Measurement book, check measurement book and standard |  |  |  |  |  |  |  |  |  |
|  | measurement book precautionary note on specific maintenance. |  |  |  |  |  |  |  |  |  |
| 5.1 | Maintenance problems and their solutions. Adequate funds - minimum tools and |  |  |  |  |  |  |  |  |  |
|  | maintenance staff |  |  |  |  |  |  |  |  |  |
| 5.2 | Foundation problems - water proofing, leaking basement - draining of pavement water, |  |  |  |  |  |  |  |  |  |
|  | treating dampness in foundation, walls - omission of D.P.C. and by passing of D.P.C., |  |  |  |  |  |  |  |  |  |
|  | window sill, down take pipes, and leakages in roof, leakages through the junctions of |  |  |  |  |  |  |  |  |  |
|  | masonry and concrete. Use of integral liquid water proofing compounds and sealants. |  |  |  |  |  |  |  |  |  |
|  | Cracks in walls - Horizontal - Vertical - diagonal - structural non-structural cracks of floors |  |  |  |  |  |  |  |  |  |
|  | - removing of stains from floors - ink, rust, wood coloring - oil - paint and varnish - |  |  |  |  |  |  |  |  |  |
|  | asphalt and vitamin, blood - urine, coffee, tea. |  |  |  |  |  |  |  |  |  |
| 5.3 | Timber defects - Termites, Scrapping doors ,Plaster works ,door jamb repairs, internal |  |  |  |  |  |  |  |  |  |
|  | finishes, glazing, rendering & external finishing |  |  |  |  |  |  |  |  |  |
| 5.4 | Maintenance problem of plumbing, heating, hot water supply, clogged drains, sewers, |  |  |  |  |  |  |  |  |  |
|  | leakage pipe joints, electrical installations, A.C pipes, PVC pipes, steel pipes and GI pipes. |  |  |  |  |  |  |  |  |  |
| 5.5 | Strengthening of canal embankments, silt clearance, weed removal, repairs to canal lining, |  |  |  |  |  |  |  |  |  |
|  | repairs of outlets, plugging of breaches in canals |  |  |  |  |  |  |  |  |  |
| Note | I) The efforts should be made to find damaged & defective work spot and student should |  |  |  |  |  |  |  |  |  |
|  | be directed to inspect and think about rectifying and finding solution to the problem. |  |  |  |  |  |  |  |  |  |
|  | ii) Visit to work site where repairs and maintenance activities are in progress. |  |  |  |  |  |  |  |  |  |
| Reference |  |  |  |  |  |  |  |  |  |  |
|  | I) Maintenance Engineering for Civil Engineers - By Nayak.B.S |  |  |  |  |  |  |  |  |  |
|  | Khanna publishers Delhi. |  |  |  |  |  |  |  |  |  |
|  | ii) Buildings failures - Diagnosis and Avoidance |  |  |  |  |  |  |  |  |  |
|  | by - Ransom W.H. Publishers and F.N. Spon |  |  |  |  |  |  |  |  |  |
|  | iii) Maintenance and repair of buildings |  |  |  |  |  |  |  |  |  |
|  | by - Hutchinson B.D. publisher by Newnes - Butterworth |  |  |  |  |  |  |  |  |  |

| General Educational Objectives |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Upon completion of the study of the subject, the student should be able to |  |  |  |  |  |  |  |  |
| 1 | Know the principles, and objects of maintenance of old & new buildings |  |  |  |  |  |  |  |
| 2 | Understand the various repair works such as mechanical, electrical, water |  |  |  |  |  |  |  |
|  | supply, and other civil engineering works |  |  |  |  |  |  |  |
| 3 | Know about the rehabilitation of deteriorated buildings |  |  |  |  |  |  |  |
| 4 | Know the safety aspects and precautions |  |  |  |  |  |  |  |
| 5 | Know about underpinning and its methods |  |  |  |  |  |  |  |
| 6 | Understand the common defects and structural, non structural, |  |  |  |  |  |  |  |
|  | constructional cracks and remedial measures |  |  |  |  |  |  |  |
| 7 | Understand the maintenance organization - inventory - inspection - estimates |  |  |  |  |  |  |  |
|  | tendering of maintenance work |  |  |  |  |  |  |  |
| 8 | Know the maintenance problems and their solutions pertaining to civil |  |  |  |  |  |  |  |
|  | engineering section |  |  |  |  |  |  |  |
| Specific Objectives |  |  |  |  |  |  |  |  |
| 1 | Introduction and principles of maintenance (old & new buildings) |  |  |  |  |  |  |  |
| 1.1 | Know the terms used in maintenance |  |  |  |  |  |  |  |
| 1.2 | Mention Causes of deterioration and decay of civil engineering works |  |  |  |  |  |  |  |
| 1.3 | Understand about I) Mechanical works, |  |  |  |  |  |  |  |
|  | ii) Electrical wiring, fitting & fixtures |  |  |  |  |  |  |  |
|  | III) drainage system & water supply work |  |  |  |  |  |  |  |
|  | iv) Steel and wood structures used in buildings |  |  |  |  |  |  |  |
| 1.4 | Study the maintenance of R.C.C. Structures, brick tiles and bitumen materials |  |  |  |  |  |  |  |
| 1.5 | Know the study of underground sump, overhead tanks and terrace gardens |  |  |  |  |  |  |  |
| 2 | Explain about rehabilitation |  |  |  |  |  |  |  |
| 2.1 | State the safety aspects during demolition of buildings |  |  |  |  |  |  |  |
| 2.2 | State process of demolition of trusses, girders, beams walls flooring |  |  |  |  |  |  |  |
| 2.4 | Appreciate the precautions and safety measures to be taken before commencing |  |  |  |  |  |  |  |
|  | demolition |  |  |  |  |  |  |  |
| 2.5 | Define under pinning and explain its methods |  |  |  |  |  |  |  |
| 3 | Enumerate common defects in buildings & their investigations |  |  |  |  |  |  |  |
| 3.1 | To know structural, non structural & constructional cracks |  |  |  |  |  |  |  |
| 3.2 | Diagnose the defects and prescribe the remedies |  |  |  |  |  |  |  |
| 4 | Know about maintenance organizations |  |  |  |  |  |  |  |
| 4.1 | Maintenance of inventory of civil engineering structures |  |  |  |  |  |  |  |
| 4.2 | Inspections and types of inspections |  |  |  |  |  |  |  |
| 4.3 | Performa for inspection and maintenance operation |  |  |  |  |  |  |  |
| 4.4 | Estimates for maintenance work |  |  |  |  |  |  |  |
| 4.5 | Describe tendering and departmental repairs |  |  |  |  |  |  |  |
| 4.6 | Explain the types of measurement books and its maintenance |  |  |  |  |  |  |  |
| 5 | State the maintenance problems and their solutions such as inadequate funds minimum |  |  |  |  |  |  |  |
|  | tools and maintenance staff |  |  |  |  |  |  |  |
| 5.1 | Know the foundations problems - water proofing and integral water |  |  |  |  |  |  |  |
|  | proofing compound & Sealants used |  |  |  |  |  |  |  |
| 5.2 | Understand how to treating the dampness in foundation, walls |  |  |  |  |  |  |  |
| 5.3 | Explain about the omission of DPC & bypassing of D.P.C., window sill, down take |  |  |  |  |  |  |  |
|  | pipes & leakage joints |  |  |  |  |  |  |  |
| 5.4 | Identify the cracks in walls & types |  |  |  |  |  |  |  |
| 5.5 | State the various stains from floors such as ink, rust, wood coloring oil paint varnish |  |  |  |  |  |  |  |
|  | asphalt, bitumen, blood, urine, coffee & tea |  |  |  |  |  |  |  |
| 5.6 | Explain about maintenance of timber defects such as termites |  |  |  |  |  |  |  |
| 5.7 | State scraping doors and its maintenance |  |  |  |  |  |  |  |
| 5.8 | Explain the maintenance of plaster works in internal & external finishing |  |  |  |  |  |  |  |
| 5.9 | Describe the maintenance of plumbing in hot water supply |  |  |  |  |  |  |  |
| 5.11 | State clogged drains leaking pipe lines, electrical installations |  |  |  |  |  |  |  |
| 5.12 | Explain strengthening of canal embankment |  |  |  |  |  |  |  |
| 5.13 | State silt clearance weed removal |  |  |  |  |  |  |  |
| 5.14 | Explain repairs canal lining, outlet & plugging of breaches, in canal |  |  |  |  |  |  |  |

|  |  |  | MODEL QUESTION PAPER |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| VI Semester |  |  |  |  |  |  |  |  |  |  |
|  |  | Subject | Repairs and Maintenance of Civil Work |  |  |  |  |  |  |  |
| Time 3 hrs. |  |  |  |  |  |  |  |  | Max marks 100. |  |
| Instruction: |  |  |  |  |  |  |  |  |  |  |
|  | Answer any Two full questions in each page |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | PART A |  |  |  |  |  |
| 1a) | What are the main objects of maintenance in old buildings? |  |  |  |  |  |  |  |  | 5 |
| b) | Define rehabilitation of deteriorated building and state steps to be |  |  |  |  |  |  |  |  | 8 |
|  | taken to important |  |  |  |  |  |  |  |  |  |
| c) | Define underpinning and explain any one method of unpinning in foundation |  |  |  |  |  |  |  |  | 7 |
| 2 a) | What are the main causes of deterioration of the roof of the buildings |  |  |  |  |  |  |  |  | 5 |
| b) | Explain the methods of repairs I) Electric wiring ii) Drainage |  |  |  |  |  |  |  |  |  |
|  | system in a building |  |  |  |  |  |  |  |  | 8 |
| c) | Enumerate safety aspects taken during the demolition of building |  |  |  |  |  |  |  |  | 5 |
| 3 a) | State the process to be undergone during the demolition |  |  |  |  |  |  |  |  |  |
|  | of beams, in a buildings |  |  |  |  |  |  |  |  | 5 |
| b) | State the principles of a maintenance of new buildings |  |  |  |  |  |  |  |  | 7 |
| c) | What are the factors to be that control the R.C.C. structure |  |  |  |  |  |  |  |  | 8 |
| 4 a) | Define tender and what are salient features in tender form |  |  |  |  |  |  |  |  | 8 |
| b) | What are the precaution to be taken in recording measurement book? |  |  |  |  |  |  |  |  | 7 |
|  |  |  |  |  | PART B |  |  |  |  |  |
| 5a) | Enumerate the common defects in building and state in brief the method their |  |  |  |  |  |  |  |  |  |
|  | rectifications |  |  |  |  |  |  |  |  | 8 |
| b) | What are the types of inspections to be conducted during |  |  |  |  |  |  |  |  |  |
|  | the maintenance operation & explain briefly any one of them |  |  |  |  |  |  |  |  | 7 |
| 6 a) | What do you meant by term inventory in building and state its significance |  |  |  |  |  |  |  |  | 7 |
| b) | What are the types of the cracks and explain any one methods to |  |  |  |  |  |  |  |  |  |
|  | protect the building from construction cracks |  |  |  |  |  |  |  |  | 8 |
|  |  |  |  |  | PART C |  |  |  |  |  |
| 7 a) | Enumerate foundation problem and explain water proofing problem |  |  |  |  |  |  |  |  |  |
|  | in foundation |  |  |  |  |  |  |  |  | 8 |
| b) | State the various forms stains on the floor and explain the remedy to remove any |  |  |  |  |  |  |  |  |  |
|  | one of the stain |  |  |  |  |  |  |  |  | 7 |
| 8 a) | Distinguish between silt clearance and weed removal |  |  |  |  |  |  |  |  | 5 |
| b) | What are the maintenance problem in plumbing of hot water supply |  |  |  |  |  |  |  |  | 5 |
| c) | What is scraping of doors & how it is prevented |  |  |  |  |  |  |  |  | 5 |
| 9 a) | Describe the methods of strengthening the canal? |  |  |  |  |  |  |  |  | 7 |
| b) | What do you mean by breach of canal and how can it be overcome |  |  |  |  |  |  |  |  | 8 |