GOVERNMENT OF KARNATAKA

DEPARTMENT OF TECHNICAL EDUCATION

DIPLOMA IN CIVIL ENGINEERING

Fifth Semester

Subject: Advanced Construction  Technology

Sub. Code:

Contact Hrs/Week:4 Hrs.  Contact Hrs/Sem:64 Hrs.

TOPIC ANALYSIS

| Sl No | Contents | Hours Aloted | Weightage Of Marks |
| --- | --- | --- | --- |
| SECTION-I |  |  |  |
| 1 | Concrete mix Design | 07 | 22 |
| 2 | Special Concrete | 03 | 10 |
| 3 | Concreting under special conditions | 03 | 10 |
| 4 | Handling and Transporting of Concrete | 04 | 12 |
| SECTION-II |  |  |  |
| 5 | Building Services | 18 | 42 |
| SECTION-III |  |  |  |
| 6 | Construction and earth moving equipments | 17 | 37 |
| 7 | Prefabricated structures | 04 | 12 |
| 8 | Seminar/Visit Related To Subject | 04 | - |
| 9 | Tests & Revision | 04 | - |
|  | TOTAL | 64 | 145 |

COURSE CONTENTS

SECTION-I

1. Concrete mix Design

a) Introduction b) Properties of Concrete c) Data or input required for mix design.

d) Nominal mix concrete e) Methods of proportioning concrete mix –

B.S. method, BIS method and ACI method. Problems on above methods

Minimum cement content for various grades of concrete.

2.Special Concrete

a) Ferro Cement Concrete

b) Fiber reinforced concrete and its types

c) Light Weight concrete

d) Polymer Concrete and its types

e) Foam concrete

f) High strength concrete

3.Concreting under special conditions

a) Introduction

b) Cold weather concreting

c) Hot weather concreting

d) Under water concreting

e) Concreting in Alkali Soils

4. Handling and Transporting of concrete

a) Methods of handling and transporting concreting

i) Hand buggies

ii) Power driven buggies

iii) Belt conveyers

iv) Concrete pumps

SECTION-II

5. Building Services

(a)	Acoustics of buildings

(b)	Sound insulation of buildings

(c)	Ventilation of buildings

(d)	Air-conditioning of buildings

(e)	Mechanical services – Lifts, Elevators, Escalators

SECTION-III

6.Construction and earth moving equipments;

a) Planning and selection of construction equipments

b) Study on earth moving equipments like drag line, tractor, bulldozer, Power showel

c) Study and uses of compacting equipments like tamping rollers,

Smooth wheel rollers, Pneumatic tired rollers and vibrating compactors

d) Owning and operating cost – problems

SECTION-IV

7. Pre-Fabrication

a)      Introduction to pre-fabrication

b)      Types of prefabrication

c)      Comparison of prefabrication and monolithic construction methods

d)      Advantages and disadvantages of  pre-fabrication

e)      Merits of partial fabrication in Indian conditions

Reference Books

a) Building Technology by –TTTI Chennai-113

b) A Text book of R.C.C by – A.K. Jain  Chand & Bro publishers

c) Construction equipments by –Singh

d) Building  Environment  - By D.Ajitha Simha

e) Building Technology – N BN Sreenivasulu

f) Building Construction-S.P. Arora and S.P. Bindra

g) Construction planning & equipment – Peurify

h) Construction equipments& its management-By S.C.Sharma-Khanna Publishers

i) Special structural concretes by Dr.Rafat Siddique-Galgotia Publications.

j) Services in building complex & high rise buildings – V.K.Jain

General Educational Objectives

Upon completion of the study of the subject the student

should be able to

1.0	Understand about concrete mix design - its methods and problems on mix design

2.0	Know about the various special concretes

3.0	Understand the methods of concreting under special conditions

4.0	Know about use of different transporting for concreting

5.0   	Understand about Acoustics, sound insulation, air-conditioning,

ventilation and mechanical services like lifts, elevators, escalators.

6.0	Understand the use of construction and earth moving equipments

6.1	Know about owning and operating cost and problems on owning and operating cost

7.0	Know about pre-fabrication, types advantages and dis-advantages.

Specific Instructional Objectives :-

1.0	Explain various properties of concrete

1.1	Mention data required for mix design

1.2	Explain nominal mix concrete

1.3	Enumerate various methods of proportioning concrete mix

1.4	Explain BS method, B.I.S. method and A.C.I. Method

1.5	Typical problems on above methods

2.0	Define special concrete

2.1	Ingredients and preparation of special concrete like ferro cement,  fibre  reinforced concrete

and its types. Light weight concrete and its types. Foam concrete,  High strength                  concrete and fly ash concrete

3.0	Understand about concreting under special condition

3.1	Concreting during cold weather

3.2	Concreting during Hot weather

3.4	Concreting in alkali soils

4.0	Know about handling and transporting of concrete

4.1	Mention different methods of handling and transporting concrete

4.2	Briefly explain equipments used for transporting concrete like hand buggies,

power buggies, belt conveyers and concrete pumps

5.0	Understand about Acoustics, sound insulation, air-conditioning, ventilation and mechanical services like lifts, elevators, escalators.

5.1	Definition and need of Acoustics in buildings

5.2	List and explain the Acoustical defects.

5.3	Requirements and conditions of good acoustics.

5.4	List the factors which play important role in creating good acoustical conditions.

5.5	Practical cases of acoustical buildings like open air theatres, cinema theatres, public lecture hall, and class lecture room etc.

5.6	Definition of noise and its types.

5.7	Maximum acceptable noise levels

5.8	Means of noise control and sound insulation for

i)	Walls and partitions

ii)	Floors and ceilings

iii)	Doors and windows

5.9	Understand principles of providing ventilation

5.10	Explain methods and systems of ventilation

5.11	Purposes and classification of air-conditioning

5.12	Explain the systems and essentials of air-conditioning

5.13	Explain Lifts, elevators, Escalators – their types and uses.

6.0	Knowing about planning and selection of construction equipments

6.1	Understand study of earth moving equipments like drag line, tractor, Bull dozer

6.2	Understand the study and uses of compaction equipments like damper roller,   smooth wheeled rollers and pneumatic tyred rollers	and vibrating compactor

6.3	Mention owning and operating cost, simple problems on owning and operating cost

7.0	Introduction to pre-fabrication

7.1	Mention and explain different types of pre-fabrication

7.2	Give comparison of pre-fabrication and monolithic construction

7.3	List the advantages of pre-fabrication structure

V SEM  DIPLOMA IN CIVIL ENGINEERING

MODEL QUESTION PAPER

SUB: Advanced Construction  Technology

SUB.CODE:                                                                           TIME :3 Hrs

Max. Marks:100

Instructions: 1. Section I is compulsory

2. Answer any 3 full questions from each section II,III,IV.

SECTION-I

1. a) Fill in the blanks                                                                                                 05

i)  A  moving stair is called  as----------

ii)  ----- are used to moderate the properties of concrete.

iii) Noise level is measured in --------

iv) The proportion of M20 grade concrete is ------

v) The process of consolidation of concrete mix after placing it in position is  termed as ----------

b)  Write a note on foam concrete                                                                             05

SECTION-II

2 . List the properties of concrete                                                                             10

3. Explain ACI method of proportioning of concrete                                               10

4. What is meant by Fibre  Reinforced concrete?. What are its types?

Explain any two.                                                                                                   10

5. Explain the procedure for under water concreting.                                              10

SECTION-III

6.  List and explain the Acoustical defects.			          		         10

7. What are the general principles followed in the lnoise control of buildings       10

8.  Explain the systems and essentials of air-conditioning                                      10

9. Define Ventilation. Explain the two methods of ventilation.                              10

SECTION-IV

10.  Explain with a neat sketch  Earth moving equipment- Drag Line.                  10

11. Explain with a neat sketch pneumatic tyred rollers .                                         10

12. What are the Advantages and disadvantages of  pre-fabrication ?                    10

13.  Compare   prefabrication with monolithic construction methods                     10