## Monthly
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2401764001 | EW2401764002 | EW2401764003 | EW2402970001 | EW2402970002 | EW2402970003 | EW2402970004 | EW2402970005 | EW2402970006 | EW2402970007 | EW2402970008 | EW2402970009 | EW2403413001 | EW2403413002 | EW2403413003 | EW2403413004 | EW2403413005 | EW2403413006 | EW2403413007 | EW2403413008 | EW2403413009 | EW2405286001 | EW2405286002 | EW2405286003 | EW2405286004 | EW2405286005 | EW2405286006 | EW2405286007 | EW2405286008 | EW2405286009 | EW2500695001 | EW2500695002 | EW2500695003 | EW2500695004 | EW2500695005 | EW2500695006 | EW2500695007 | EW2500695008 | EW2500695009 | EW2500695010 | EW2500695011 | EW2500695012 | EW2501121001 | EW2501121002 | EW2501121003 | EW2501121004 | EW2501121005 | EW2501121006 | EW2501121007 | EW2501121008 | EW2501121009 | EW2501121010 | EW2501121011 | EW2501121012 | EW2501705001 | EW2501705002 | EW2501705003 | EW2501705004 | EW2501705005 | EW2501705006 | EW2501705007 | EW2501705008 | EW2501705009 | EW2501705010 | EW2501705011 | EW2501705012 | EW2501705013
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 29/05/2024 | 29/05/2024 | 29/05/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 26/02/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 27/03/2025 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05 | 2025-06-05
|  |  | Client sample ID (1st): | EAST | DREDGE | WEST | SW301 | SW302 | SW303 | SW304 | SW305 | SW306 | SW307 | SW308 | SW309 | SW301 | SW302 | SW303 | SW304 | SW305 | SW306 | SW307 | SW308 | SW309 | SW301 | SW302 | SW303 | SW304 | SW305 | SW306 | SW307 | SW308 | SW309 | SW301 | SW302 | SW303 | SW304 | SW305 | SW306 | SW307 | SW308 | SW309 | DP01 | DP02 | DP03 | SW301 | SW302 | SW303 | SW304 | SW305 | SW306 | SW307 | SW308 | SW309 | DP01 | DP02 | DP03 | SW301 | SW302 | SW303 | SW304 | SW305 | SW306 | SW307 | SW308 | SW309 | DP01 | DP02 | DP03
|  |  | Client sample ID (2nd): | [30 empty] | DP01: Pond Discharge (yard); DP02: Trench to Trench; DP03: Pond Discharge (Island) | [9 empty] | Pond Discharge (yard) | Trench to Trench | Pond Discharge (Island) | [9 empty] | Pond Discharge (yard) | Trench to Trench | Pond Discharge (Island) | Trench to final Pond
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 7.3 | 7.4 | 7.3 | 6.5 | 6.6 | 6 | 6.6 | 6.6 | 6.6 | 6.6 | 6.6 | 6.7 | 7.4 | 7.5 | 7.5 | 7.4 | 7.5 | 7.5 | 7.6 | 7.6 | 7.5 | 7.4 | 7.4 | 7.5 | 7.2 | 7.4 | 7.6 | 7.5 | 7.5 | ---- | 7.5 | 7.6 | 7.5 | 7.6 | 7.6 | 7.5 | 7.6 | 7.5 | 7.4 | ---- | 7.4 | 7.5 | 7.4 | 7.4 | 7.5 | 7.6 | 7.6 | 7.4 | 7.5 | 7.6 | 7.5 | ---- | 7.2 | ---- | 6.9 | 7 | 6.9 | 7 | 6.8 | 6.9 | 6.9 | 6.8 | 6.9 | ---- | 6.7 | ---- | 6.6
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 2650 | 2840 | 2240 | 1790 | 1090 | 1290 | 551 | 1310 | 2540 | 2730 | 5250 | 1680 | 11400 | 12400 | 12800 | 10200 | 10400 | 14800 | 17300 | 18100 | 12600 | 34200 | 35300 | 36000 | 32100 | 32600 | 40200 | 38900 | 39000 | ---- | 22200 | 18100 | 16700 | 17000 | 17200 | 21700 | 23400 | 24900 | 19500 | ---- | 25500 | 226 | 29700 | 32300 | 34300 | 29200 | 30900 | 35800 | 34200 | 38000 | 34400 | ---- | 34200 | ---- | 4400 | 2480 | 3420 | 1750 | 4530 | 4050 | 4860 | 5610 | 4090 | ---- | 12300 | ---- | 13200
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | <5 | 6 | 5 | 6 | 12 | 8 | 9 | 8 | <5 | <5 | 6 | 7 | 8 | <5 | <5 | <5 | <5 | 9 | 7 | <5 | 8 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | ---- | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | ---- | 56 | 52 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | ---- | 6 | ---- | 18 | <5 | 8 | <5 | 6 | 6 | 6 | 6 | 6 | ---- | 14 | ---- | 33
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 10.6 | 11.4 | 11.7 | 16.8 | 16.6 | 15.9 | 17.2 | 16.2 | 15.3 | 15.6 | 14.2 | 16 | 2.8 | 3.2 | 2.5 | 2.7 | 2.6 | 2.4 | 2 | 2.1 | 2.8 | 2.6 | 2.3 | 2.6 | 1 | 1.2 | 1.6 | 1.2 | 1.7 | ---- | 1.8 | 1.4 | 1.3 | 1.7 | 2 | 1.5 | 1.6 | 1.7 | 1.7 | ---- | 98.1 | 18.2 | 1 | 1.7 | 3 | 1.2 | 1.2 | 1.2 | 1.4 | 1.4 | 2.1 | ---- | 11.1 | ---- | 21.6 | 9.4 | 14 | 15.7 | 14.3 | 13.7 | 13.9 | 12.2 | 14 | ---- | 35.5 | ---- | 45.4
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.03 | 0.04 | 0.03 | 0.24 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.02 | 0.01 | 0.1 | 0.04 | 0.01 | <0.01 | <0.01 | 0.07 | 0.11 | 0.08 | 0.04 | 0.04 | 0.03 | 0.05 | 0.09 | 0.1 | ---- | 0.15 | 0.06 | 0.06 | 0.04 | 0.04 | 0.1 | 0.06 | 0.05 | 0.07 | ---- | 0.16 | 0.12 | 0.04 | 0.3 | 0.04 | 0.03 | 0.05 | 0.04 | 0.03 | 0.04 | 0.03 | ---- | 0.02 | ---- | 1.22 | 0.19 | 0.07 | 0.06 | 0.08 | 0.1 | 0.12 | 0.11 | 0.06 | ---- | 0.14 | ---- | 0.12
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | ---- | 0.01 | 0.01 | <0.01 | 0.01 | <0.01 | 0.01 | <0.01 | 0.01 | 0.01 | ---- | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | ---- | <0.01 | ---- | 0.05 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | ---- | <0.01 | ---- | <0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.19 | 0.2 | 0.19 | 0.77 | 0.22 | 0.21 | 0.23 | 0.22 | 0.22 | 0.22 | 0.23 | 0.22 | 0.13 | 0.11 | 0.11 | 0.12 | 0.12 | 0.13 | 0.12 | 0.09 | 0.11 | 0.05 | 0.04 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.04 | ---- | 0.08 | 0.06 | 0.07 | 0.06 | 0.07 | 0.05 | 0.05 | 0.03 | 0.05 | ---- | 0.02 | <0.01 | 0.04 | 0.05 | 0.03 | 0.04 | 0.04 | 0.02 | 0.03 | 0.02 | 0.03 | ---- | 0.02 | ---- | 6.1 | 0.19 | 0.19 | 0.2 | 0.2 | 0.18 | 0.19 | 0.19 | 0.19 | ---- | 0.09 | ---- | 0.07
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.19 | 0.2 | 0.19 | 0.78 | 0.22 | 0.21 | 0.23 | 0.22 | 0.22 | 0.22 | 0.23 | 0.22 | 0.13 | 0.12 | 0.11 | 0.12 | 0.12 | 0.13 | 0.12 | 0.1 | 0.12 | 0.05 | 0.04 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.04 | ---- | 0.09 | 0.07 | 0.07 | 0.07 | 0.07 | 0.06 | 0.05 | 0.04 | 0.06 | ---- | 0.03 | <0.01 | 0.04 | 0.05 | 0.03 | 0.04 | 0.04 | 0.02 | 0.03 | 0.02 | 0.03 | ---- | 0.02 | ---- | 6.15 | 0.19 | 0.19 | 0.2 | 0.2 | 0.18 | 0.19 | 0.19 | 0.19 | ---- | 0.09 | ---- | 0.07
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.5 | 0.5 | 0.5 | 0.9 | 0.5 | 0.4 | 0.4 | 0.4 | 0.5 | 0.4 | 0.4 | 0.4 | 0.3 | 0.2 | 0.3 | 0.3 | 0.2 | 0.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.4 | 0.2 | 0.3 | 0.2 | 0.2 | 0.3 | 0.2 | ---- | 0.6 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | ---- | 0.3 | 0.4 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | ---- | 0.2 | ---- | 2 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.5 | 0.4 | 0.4 | ---- | 0.5 | ---- | 0.5
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.7 | 0.7 | 0.7 | 1.7 | 0.7 | 0.6 | 0.6 | 0.6 | 0.7 | 0.6 | 0.6 | 0.6 | 0.4 | 0.3 | 0.4 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.2 | 0.3 | 0.2 | 0.2 | 0.3 | 0.2 | ---- | 0.7 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.4 | ---- | 0.3 | 0.4 | 0.2 | 0.4 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | ---- | 0.2 | ---- | 8.2 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.7 | 0.6 | 0.6 | ---- | 0.6 | ---- | 0.6
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.04 | 0.14 | 0.05 | 0.06 | 0.04 | 0.04 | 0.04 | 0.03 | 0.05 | 0.03 | 0.04 | 0.05 | 0.04 | 0.08 | 0.03 | 0.02 | 0.01 | 0.02 | 0.03 | 0.04 | 0.02 | 0.03 | 0.05 | 0.02 | <0.01 | 0.01 | 0.02 | 0.06 | 0.04 | ---- | 0.15 | 0.07 | 0.11 | 0.08 | 0.03 | 0.09 | 0.11 | 0.46 | 0.14 | ---- | 0.12 | 0.2 | 0.05 | 0.07 | 0.05 | 0.04 | 0.02 | 0.04 | 0.05 | 0.03 | 0.04 | ---- | 0.05 | ---- | 0.14 | 0.05 | 0.03 | 0.04 | 0.03 | 0.03 | 0.03 | 0.03 | 0.02 | ---- | 0.04 | ---- | 0.06
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | 0.02 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | 0.01 | 0.01 | 0.01 | ---- | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | ---- | <0.01 | <0.01 | 0.01 | <0.01 | 0.02 | 0.01 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | ---- | <0.01 | ---- | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | ---- | <0.01 | ---- | <0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [54 empty] | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | ---- | Not Sampled - DRY | ---- | Not Sampled - DRY | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 10.1 | 10.3 | 10.1 | 7.81 | 9.33 | 9.33 | 9.45 | 9.09 | 8.93 | 9.07 | 8.67 | 9.07 | 9.03 | 8.78 | 8.07 | 8.95 | 9.18 | 8.76 | 8.45 | 8.32 | 8.96 | 5.95 | 5.75 | 5.89 | 6.05 | 6.2 | 6.45 | 6.24 | 6.47 | ---- | 5.05 | 5.16 | 5.24 | 5.12 | 5.92 | 5.35 | 5.35 | 5.37 | 5.47 | ---- | 6.91 | 7.09 | 5.34 | 5.42 | 5.53 | 5.59 | 5.75 | 5.64 | 5.57 | 5.68 | 5.53 | ---- | 6.91 | ---- | 7.73 | 8.53 | 8.1 | 8.24 | 7.95 | 7.99 | 7.97 | 7.84 | 8.04 | ---- | 8.76 | ---- | 9.57
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | <2 | <2 | 2 | 2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | 3 | 2 | 4 | 2 | 2 | <2 | 2 | 3 | ---- | 6 | <2 | 4 | <2 | 4 | <2 | 4 | <2 | 4 | ---- | <2 | 6 | <2 | 6 | <2 | 2 | <2 | 2 | <2 | <2 | 2 | ---- | 3 | ---- | 5 | 4 | 3 | 3 | 4 | 3 | 4 | 3 | 3 | ---- | 4 | ---- | 5

## Validation
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG
Workgroup: | EW2402971 |  | ALS Sample Number: | EW2402971001 | EW2402971002 | EW2402971003 | EW2402971004 | EW2402971005 | EW2402971006 | EW2402971007 | EW2402971008 | EW2402971009 | EW2402971010 | EW2403205001 | EW2403205002 | EW2403205003 | EW2403205004 | EW2403205005 | EW2403205006 | EW2403205007 | EW2403205008 | EW2403205009 | EW2403205010 | EW2403412001 | EW2403412002 | EW2403412003 | EW2403412004 | EW2403412005 | EW2403412006 | EW2403412007 | EW2403412008 | EW2403412009 | EW2403412010 | EW2403649001 | EW2403649002 | EW2403649003 | EW2403649004 | EW2403649005 | EW2403649006 | EW2403649007 | EW2403649008 | EW2403649009 | EW2403649010 | EW2405284001 | EW2405284002 | EW2405284003 | EW2405284004 | EW2405284005 | EW2405284006 | EW2405284007 | EW2405284008 | EW2405284009 | EW2405284010 | EW2405285001 | EW2405285002 | EW2405285003 | EW2405285004 | EW2405285005 | EW2405285006 | EW2405285007 | EW2405285008 | EW2405285009 | EW2405285010 | EW2405467001 | EW2405467002 | EW2405467003 | EW2405467004 | EW2405467005 | EW2405467006 | EW2405467007 | EW2405467008 | EW2405467009 | EW2405467010 | EW2405470001 | EW2405470002 | EW2405470003 | EW2405470004 | EW2405470005 | EW2405470006 | EW2405470007 | EW2405470008 | EW2405470009 | EW2405470010 | EW2405471001 | EW2405471002 | EW2405471003 | EW2405471004 | EW2405471005 | EW2405471006 | EW2405471007 | EW2405471008 | EW2405471009 | EW2405471010
Project name/number: | Validation Sampling |  | Sample Date: | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 27/06/2024 | 10/07/2024 | 10/07/2024 | 10/07/2024 | 10/07/2024 | 10/07/2024 | 10/07/2024 | 10/07/2024 | 10/07/2024 | 10/07/2024 | 10/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 24/07/2024 | 08/08/2024 | 08/08/2024 | 08/08/2024 | 08/08/2024 | 08/08/2024 | 08/08/2024 | 08/08/2024 | 08/08/2024 | 08/08/2024 | 08/08/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024
|  |  | Client sample ID (1st): | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308 | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308 | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308 | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308 | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308 | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308 | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308 | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308 | 20m Upstream - HIGH | 20m Upstream - LOW | 20m Downstream - HIGH | 20m Downstream - LOW | 2m Upstream - HIGH | 2m Upstream - LOW | 2m Downstream - HIGH | 2m Downstream - LOW | SW304 | SW308
|  |  | Client sample ID (2nd): | [40 empty] | AM Flood Sample | AM Flood Sample | AM Flood Sample | AM Flood Sample | AM Flood Sample | AM Flood Sample | AM Flood Sample | AM Flood Sample | AM Flood Sample | AM Flood Sample | PM ebb sample | PM ebb sample | PM ebb sample | PM ebb sample | PM ebb sample | PM ebb sample | PM ebb sample | PM ebb sample | PM ebb sample | PM ebb sample | Early AM Sample | Early AM Sample | Early AM Sample | Early AM Sample | Early AM Sample | Early AM Sample | Early AM Sample | Early AM Sample | Early AM Sample | Early AM Sample | late AM sample | late AM sample | late AM sample | late AM sample | late AM sample | late AM sample | late AM sample | late AM sample | late AM sample | late AM sample | PM sample | PM sample | PM sample | PM sample | PM sample | PM sample | PM sample | PM sample | PM sample | PM sample
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.4 | 6.8 | 6.6 | 6.8 | 6.6 | 6.6 | 6.6 | 6.6 | 6.6 | 6.6 | 7 | 6.9 | 7 | 6.9 | 6.9 | 6.8 | 6.8 | 6.6 | 6.7 | 7 | 7.4 | 7.4 | 7.5 | 7.4 | 7.5 | 7.5 | 7.4 | 7.5 | 7.4 | 7.6 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.4 | 7.3 | 7.6 | 7.3 | 7.2 | 7.3 | 7.2 | 7.3 | 7.2 | 7.3 | 7.2 | 7.2 | 7.5 | 7.8 | 7.5 | 7.5 | 7.4 | 7.6 | 7.2 | 7.6 | 7.7 | 7.5 | 7.7 | 6.9 | 7 | 7.2 | 7.3 | 6.8 | 7.1 | 7.3 | 7.2 | 6.8 | 7.5 | 7.4 | 7.1 | 7.3 | 7.4 | 7.3 | 7.4 | 7.3 | 7.3 | 6.4 | 6.8 | 7.4 | 7.4 | 7.2 | 7.4 | 7.3 | 7.4 | 7.3 | 7.4 | 7.4 | 7.6
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 1480 | 7650 | 1970 | 5910 | 1660 | 1630 | 1630 | 1860 | 551 | 5230 | 559 | 1420 | 324 | 945 | 204 | 616 | 190 | 514 | 215 | 2210 | 13000 | 15100 | 11100 | 14000 | 12400 | 15200 | 10600 | 14700 | 10200 | 18100 | 15400 | 17300 | 11900 | 16800 | 12600 | 16800 | 15000 | 17400 | 12700 | 24500 | 31400 | 32200 | 31500 | 33800 | 32700 | 33700 | 31400 | 33600 | 32100 | 39000 | 37000 | 36900 | 36600 | 36700 | 35600 | 40400 | 37100 | 38700 | 34500 | 40800 | 36000 | 37100 | 35600 | 38100 | 35900 | 35600 | 35000 | 37900 | 32300 | 40500 | 32500 | 38900 | 32800 | 38200 | 32000 | 38700 | 32200 | 38700 | 30700 | 37100 | 28500 | 31600 | 29200 | 39200 | 28900 | 39000 | 28800 | 39100 | 26900 | 33100
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 7 | 11 | 18 | 22 | 16 | 11 | 18 | 20 | 12 | 7 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | 6 | <5 | <5 | 5 | <5 | <5 | <5 | <5 | <5 | 14 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | 22 | 6 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 15.7 | 16.3 | 15.9 | 16.5 | 16.8 | 16.2 | 15.6 | 16.3 | 16.5 | 16.6 | 10.7 | 10.9 | 11.2 | 10.9 | 11.4 | 11.2 | 11.2 | 11.4 | 10.9 | 10.9 | 2.5 | 2.3 | 2.8 | 2.7 | 2.7 | 4.3 | 2.8 | 3.4 | 2.8 | 1.8 | 1.6 | 1.7 | 1.8 | 1.6 | 1.6 | 1.5 | 2.2 | 1.6 | 1.6 | 1.2 | 1 | 1.2 | 1.4 | 1.9 | 1.1 | 1.4 | 1.4 | 1.3 | 1.6 | 2.2 | 1.2 | 2.1 | 1.6 | 1.3 | 1.5 | 1 | 1.4 | 2.3 | 1.4 | 1.2 | 0.8 | 1.1 | 0.7 | 1.1 | 0.7 | 1.4 | 1.3 | 1.3 | 0.7 | 1 | 0.6 | 1 | 1 | 1 | 0.6 | 1.5 | 0.7 | 1.1 | 0.6 | 0.8 | 0.7 | 1.3 | 0.8 | 0.9 | 0.7 | 0.6 | 0.6 | 0.9 | 0.6 | 0.5
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.02 | 0.06 | 0.02 | 0.05 | 0.08 | 0.02 | 0.02 | 0.03 | 0.03 | 0.05 | 0.06 | 0.05 | 0.51 | 0.04 | 0.04 | 0.04 | 0.03 | 0.03 | 0.02 | 0.05 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.04 | 0.04 | 0.04 | 0.01 | 0.09 | 0.03 | 0.01 | 0.02 | 0.01 | 0.01 | 0.01 | 0.03 | 0.02 | <0.01 | 0.03 | 0.03 | 0.02 | 0.03 | 0.03 | 0.04 | 0.03 | 0.06 | 0.04 | 0.06 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03 | 0.02 | 0.02 | 0.03 | 0.02 | 0.05 | 0.04 | 0.04 | 0.03 | 0.03 | 0.02 | 0.03 | 0.03 | 0.02 | 0.03 | 0.03 | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.04 | 0.02 | 0.02 | 0.02 | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.02 | 0.04 | 0.02 | 0.02 | 0.03 | 0.05
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | 0.02 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.21 | 0.21 | 0.22 | 0.22 | 0.24 | 0.22 | 0.22 | 0.21 | 0.22 | 0.22 | 0.19 | 0.19 | 0.2 | 0.21 | 0.2 | 0.2 | 0.19 | 0.19 | 0.19 | 0.19 | 0.18 | 0.11 | 0.13 | 0.11 | 0.16 | 0.1 | 0.11 | 0.12 | 0.12 | 0.1 | 0.1 | 0.09 | 0.1 | 0.09 | 0.08 | 0.09 | 0.11 | 0.09 | 0.1 | 0.08 | 0.07 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.01 | <0.01 | 0.02 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | 0.02 | <0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.21 | 0.21 | 0.22 | 0.22 | 0.24 | 0.22 | 0.22 | 0.21 | 0.22 | 0.22 | 0.19 | 0.19 | 0.2 | 0.21 | 0.2 | 0.2 | 0.19 | 0.19 | 0.19 | 0.19 | 0.18 | 0.12 | 0.13 | 0.11 | 0.18 | 0.11 | 0.11 | 0.12 | 0.12 | 0.1 | 0.1 | 0.09 | 0.1 | 0.09 | 0.08 | 0.09 | 0.11 | 0.09 | 0.1 | 0.08 | 0.07 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.04 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.03 | 0.01 | <0.01 | 0.02 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | 0.02 | <0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02 | 0.02
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.3 | 0.5 | 0.4 | 0.4 | 0.4 | 0.3 | 0.3 | 0.3 | 0.4 | 0.4 | 0.4 | 0.5 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.3 | 0.4 | 0.2 | 0.3 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.1 | 0.3
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.6 | 0.6 | 0.6 | 0.5 | 0.5 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.5 | 0.4 | 0.4 | 0.3 | 0.4 | 0.3 | 0.4 | 0.3 | 0.4 | 0.6 | 0.5 | 0.5 | 0.5 | 0.4 | 0.4 | 0.4 | 0.5 | 0.5 | 0.5 | 0.6 | 0.3 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.3 | 0.4 | 0.2 | 0.3 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.2 | 0.1 | 0.1 | 0.2 | 0.2 | 0.2 | 0.2 | 0.3 | 0.2 | 0.2 | 0.2 | 0.1 | 0.3
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.05 | 0.04 | 0.05 | 0.03 | 0.03 | 0.02 | 0.02 | 0.05 | 0.03 | 0.05 | 0.04 | 0.04 | 0.02 | 0.04 | 0.03 | 0.03 | 0.03 | 0.04 | 0.03 | 0.04 | 0.02 | 0.04 | 0.02 | 0.02 | 0.02 | 0.02 | 0.03 | 0.02 | 0.02 | 0.05 | <0.01 | <0.01 | <0.01 | <0.01 | 0.02 | <0.01 | 0.01 | <0.01 | 0.01 | 0.02 | 0.03 | 0.02 | 0.04 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03 | 0.02 | 0.03 | 0.04 | 0.03 | 0.05 | 0.03 | 0.04 | 0.03 | 0.02 | 0.03 | 0.03 | 0.04 | 0.02 | 0.04 | 0.03 | 0.02 | 0.02 | 0.04 | 0.03 | 0.02 | 0.02 | 0.02 | 0.03 | 0.02 | 0.03 | 0.02 | 0.03 | 0.03 | 0.02 | 0.03 | 0.04 | 0.04 | 0.03 | 0.05 | 0.04 | 0.04 | 0.04 | 0.05 | 0.04 | 0.08 | 0.03 | 0.05
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | 0.03 | <0.01 | 0.02 | <0.01 | <0.01 | <0.01 | 0.02 | 0.01 | 0.02 | 0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | 0.01 | <0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | 0.01 | 0.01 | 0.01 | <0.01 | 0.01 | <0.01 | 0.01 | 0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 9.11 | 7.5 | 9.09 | 8.29 | 9.28 | 9.13 | 9.14 | 9.03 | 9.45 | 8.67 | 10.8 | 10.5 | 11 | 10.5 | 10.4 | 9.73 | 11 | 10.7 | 11.1 | 10.3 | 8.74 | 8.38 | 9.14 | 8.51 | 8.62 | 8.34 | 8.96 | 8.42 | 8.95 | 8.31 | 8.14 | 7.76 | 8.47 | 7.79 | 8.62 | 7.75 | 8.13 | 7.75 | 8.3 | 7.6 | 6.26 | 5.77 | 6.33 | 5.53 | 5.85 | 5.46 | 6.29 | 5.5 | 6.05 | 6.47 | 6.61 | 6.58 | 6.49 | 6.51 | 6.45 | 6.66 | 6.44 | 6.63 | 6.39 | 7.23 | 5.25 | 5.13 | 5.32 | 5.06 | 5.27 | 4.96 | 5.34 | 4.95 | 5.21 | 5.39 | 5.68 | 5.1 | 5.45 | 5.21 | 5.51 | 5.13 | 5.44 | 5.18 | 5.84 | 5.88 | 6.41 | 5.95 | 6.19 | 5.54 | 6.23 | 5.42 | 6.2 | 5.45 | 6.6 | 6.07
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | <2 | 8 | 6 | 6 | 6 | 6 | 6 | 7 | 6 | 3 | 3 | 2 | 2 | <2 | <2 | <2 | <2 | 2 | <2 | <2 | <2 | 2 | 2 | 2 | 2 | <2 | <2 | <2 | 2 | <2 | <2 | 4 | <2 | 3 | <2 | 3 | <2 | 3 | 2 | 3 | <2 | 3 | 2 | 5 | <2 | 4 | <2 | 3 | <2 | 4 | <2 | <2 | 2 | <2 | 2 | <2 | <2 | <2 | 2 | <2 | 3 | <2 | 2 | <2 | 2 | <2 | 2 | <2 | 2 | <2 | <2 | 2 | <2 | 2 | <2 | 2 | <2 | 2 | <2 | <2 | 2

## SW301
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402970001 | EW2403413001 | EW2405286001 | EW2500695001 | EW2501121001 | EW2501705001
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 24/07/2024 | 18/11/2024 | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | SW301 | SW301 | SW301 | SW301 | SW301 | SW301
Client sample ID (2nd):
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.5 | 7.4 | 7.4 | 7.5 | 7.4 | 6.9 | 7.4
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 1790 | 11400 | 34200 | 22200 | 29700 | 4400 | 16800
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 6 | 8 | <5 | <5 | <5 | 18 | 8
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 16.8 | 2.8 | 2.6 | 1.8 | 1 | 21.6 | 2.7
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.24 | 0.02 | 0.11 | 0.15 | 0.04 | 1.22 | 0.13
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | 0.01 | <0.01 | <0.01 | 0.01 | <0.01 | 0.05 | 0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.77 | 0.13 | 0.05 | 0.08 | 0.04 | 6.1 | 0.105
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.78 | 0.13 | 0.05 | 0.09 | 0.04 | 6.15 | 0.11
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.9 | 0.3 | 0.3 | 0.6 | 0.2 | 2 | 0.45
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 1.7 | 0.4 | 0.4 | 0.7 | 0.2 | 8.2 | 0.55
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.06 | 0.04 | 0.03 | 0.15 | 0.05 | 0.14 | 0.055
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | 0.01 | 0.01 | <0.01 | 0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [5 empty] | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 7.81 | 9.03 | 5.95 | 5.05 | 5.34 | 7.73 | 6.84
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | 2 | <2 | 3 | 6 | <2 | 5 | 4

## SW302
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402970002 | EW2403413002 | EW2405286002 | EW2500695002 | EW2501121002 | EW2501705002
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 24/07/2024 | 18/11/2024 | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | SW302 | SW302 | SW302 | SW302 | SW302 | SW302
Client sample ID (2nd):
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.6 | 7.5 | 7.4 | 7.6 | 7.4 | 7 | 7.4
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 1090 | 12400 | 35300 | 18100 | 32300 | 2480 | 15250
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 12 | <5 | <5 | <5 | <5 | <5 | 12
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 16.6 | 3.2 | 2.3 | 1.4 | 1.7 | 9.4 | 2.75
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.03 | 0.02 | 0.08 | 0.06 | 0.3 | 0.19 | 0.07
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | 0.01 | <0.01 | 0.01 | <0.01 | <0.01 | 0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.22 | 0.11 | 0.04 | 0.06 | 0.05 | 0.19 | 0.085
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.22 | 0.12 | 0.04 | 0.07 | 0.05 | 0.19 | 0.095
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.5 | 0.2 | 0.4 | 0.3 | 0.3 | 0.4 | 0.35
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.7 | 0.3 | 0.4 | 0.4 | 0.4 | 0.6 | 0.4
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.04 | 0.08 | 0.05 | 0.07 | 0.07 | 0.05 | 0.06
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [5 empty] | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 9.33 | 8.78 | 5.75 | 5.16 | 5.42 | 8.53 | 7.14
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | 2 | 2 | 2 | <2 | 6 | 4 | 2

## SW303
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402970003 | EW2403413003 | EW2405286003 | EW2500695003 | EW2501121003 | EW2501705003
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 24/07/2024 | 18/11/2024 | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | SW303 | SW303 | SW303 | SW303 | SW303 | SW303
Client sample ID (2nd):
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6 | 7.5 | 7.5 | 7.5 | 7.5 | 6.9 | 7.5
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 1290 | 12800 | 36000 | 16700 | 34300 | 3420 | 14750
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 8 | <5 | <5 | <5 | <5 | 8 | 8
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 15.9 | 2.5 | 2.6 | 1.3 | 3 | 14 | 2.8
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.02 | 0.01 | 0.04 | 0.06 | 0.04 | 0.07 | 0.04
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.21 | 0.11 | 0.03 | 0.07 | 0.03 | 0.19 | 0.09
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.21 | 0.11 | 0.03 | 0.07 | 0.03 | 0.19 | 0.09
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.4 | 0.3 | 0.2 | 0.3 | 0.2 | 0.4 | 0.3
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.6 | 0.4 | 0.2 | 0.4 | 0.2 | 0.6 | 0.4
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.04 | 0.03 | 0.02 | 0.11 | 0.05 | 0.03 | 0.035
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | 0.01 | <0.01 | 0.02 | <0.01 | 0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [5 empty] | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 9.33 | 8.07 | 5.89 | 5.24 | 5.53 | 8.1 | 6.98
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | <2 | 4 | 4 | <2 | 3 | 4

## SW304
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402971009 | EW2402970004 | EW2403205009 | EW2403412009 | EW2403413004 | EW2403649009 | EW2405284009 | EW2405285009 | EW2405286004 | EW2405467009 | EW2405470009 | EW2405471009 | EW2500695004 | EW2501121004 | EW2501705004
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 27/06/2024 | 10/07/2024 | 24/07/2024 | 24/07/2024 | 08/08/2024 | 18/11/2024 | 18/11/2024 | 18/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304 | SW304
|  |  | Client sample ID (2nd): | [6 empty] | AM Flood Sample | PM ebb sample |  | Early AM Sample | late AM sample | PM sample
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.6 | 6.6 | 6.7 | 7.4 | 7.4 | 7.3 | 7.2 | 7.5 | 7.2 | 6.8 | 6.4 | 7.4 | 7.6 | 7.6 | 7 | 7.2
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 551 | 551 | 215 | 10200 | 10200 | 12700 | 32100 | 34500 | 32100 | 32300 | 30700 | 26900 | 17000 | 29200 | 1750 | 17000
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 12 | 9 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | 10.5
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 16.5 | 17.2 | 10.9 | 2.8 | 2.7 | 1.6 | 1.6 | 1.4 | 1 | 0.7 | 0.6 | 0.6 | 1.7 | 1.2 | 15.7 | 1.6
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.03 | 0.02 | 0.02 | 0.04 | 0.1 | 0.02 | 0.04 | 0.02 | 0.04 | 0.03 | 0.02 | 0.03 | 0.04 | 0.03 | 0.06 | 0.03
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | 0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.22 | 0.23 | 0.19 | 0.12 | 0.12 | 0.1 | 0.03 | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.06 | 0.04 | 0.2 | 0.06
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.22 | 0.23 | 0.19 | 0.12 | 0.12 | 0.1 | 0.03 | 0.03 | 0.03 | 0.02 | 0.02 | 0.02 | 0.07 | 0.04 | 0.2 | 0.07
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.5 | 0.4 | 0.4 | 0.3 | 0.3 | 0.4 | 0.4 | 0.2 | 0.3 | 0.2 | 0.1 | 0.1 | 0.3 | 0.2 | 0.4 | 0.3
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.7 | 0.6 | 0.6 | 0.4 | 0.4 | 0.5 | 0.4 | 0.2 | 0.3 | 0.2 | 0.1 | 0.1 | 0.4 | 0.2 | 0.6 | 0.4
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.03 | 0.04 | 0.03 | 0.02 | 0.02 | 0.01 | 0.02 | 0.03 | <0.01 | 0.02 | 0.04 | 0.03 | 0.08 | 0.04 | 0.04 | 0.03
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | 0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [14 empty] | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 9.45 | 9.45 | 11.1 | 8.95 | 8.95 | 8.3 | 6.05 | 6.39 | 6.05 | 5.21 | 5.84 | 6.6 | 5.12 | 5.59 | 8.24 | 6.6
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | <2 | 3 | <2 | <2 | <2 | 3 | 4 | 2 | <2 | <2 | <2 | <2 | 2 | 3 | 3

## SW305
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402970005 | EW2403413005 | EW2405286005 | EW2500695005 | EW2501121005 | EW2501705005
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 24/07/2024 | 18/11/2024 | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | SW305 | SW305 | SW305 | SW305 | SW305 | SW305
Client sample ID (2nd):
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.6 | 7.5 | 7.4 | 7.6 | 7.6 | 6.8 | 7.45
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 1310 | 10400 | 32600 | 17200 | 30900 | 4530 | 13800
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 8 | <5 | <5 | <5 | <5 | 6 | 7
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 16.2 | 2.6 | 1.2 | 2 | 1.2 | 14.3 | 2.3
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.02 | 0.04 | 0.03 | 0.04 | 0.05 | 0.08 | 0.04
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.22 | 0.12 | 0.03 | 0.07 | 0.04 | 0.2 | 0.095
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.22 | 0.12 | 0.03 | 0.07 | 0.04 | 0.2 | 0.095
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.4 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.25
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.6 | 0.3 | 0.2 | 0.4 | 0.2 | 0.6 | 0.35
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.03 | 0.01 | 0.01 | 0.03 | 0.02 | 0.03 | 0.025
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | 0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [5 empty] | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 9.09 | 9.18 | 6.2 | 5.92 | 5.75 | 7.95 | 7.075
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | <2 | 2 | 4 | <2 | 4 | 4

## SW306
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402970006 | EW2403413006 | EW2405286006 | EW2500695006 | EW2501121006 | EW2501705006
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 24/07/2024 | 18/11/2024 | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | SW306 | SW306 | SW306 | SW306 | SW306 | SW306
Client sample ID (2nd):
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.6 | 7.5 | 7.6 | 7.5 | 7.4 | 6.9 | 6.9
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 2540 | 14800 | 40200 | 21700 | 35800 | 4050 | 4050
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | <5 | 9 | <5 | <5 | <5 | 6 | 6
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 15.3 | 2.4 | 1.6 | 1.5 | 1.2 | 13.7 | 13.7
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.03 | 0.01 | 0.05 | 0.10 | 0.04 | 0.1 | 0.1
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.22 | 0.13 | 0.03 | 0.05 | 0.02 | 0.18 | 0.18
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.22 | 0.13 | 0.03 | 0.06 | 0.02 | 0.18 | 0.18
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.5 | 0.2 | 0.2 | 0.3 | 0.2 | 0.4 | 0.4
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.7 | 0.3 | 0.2 | 0.4 | 0.2 | 0.6 | 0.6
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.05 | 0.02 | 0.02 | 0.09 | 0.04 | 0.03 | 0.03
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | 0.01 | <0.01 | 0.02 | <0.01 | 0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [5 empty] | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 8.93 | 8.76 | 6.45 | 5.35 | 5.64 | 7.99 | 7.99
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | 2 | <2 | <2 | 2 | 3 | 3

## SW307
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402970007 | EW2403413007 | EW2405286007 | EW2500695007 | EW2501121007 | EW2501705007
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 24/07/2024 | 18/11/2024 | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | SW307 | SW307 | SW307 | SW307 | SW307 | SW307
Client sample ID (2nd):
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.6 | 7.6 | 7.5 | 7.6 | 7.5 | 6.9 | 7.5
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 2730 | 17300 | 38900 | 23400 | 34200 | 4860 | 20350
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | <5 | 7 | <5 | <5 | <5 | 6 | 6.5
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 15.6 | 2 | 1.2 | 1.6 | 1.4 | 13.9 | 1.8
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.03 | <0.01 | 0.09 | 0.06 | 0.03 | 0.12 | 0.06
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.22 | 0.12 | 0.03 | 0.05 | 0.03 | 0.19 | 0.085
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.22 | 0.12 | 0.03 | 0.05 | 0.03 | 0.19 | 0.085
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.4 | 0.3 | 0.3 | 0.3 | 0.2 | 0.5 | 0.3
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.6 | 0.4 | 0.3 | 0.4 | 0.2 | 0.7 | 0.4
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.03 | 0.03 | 0.06 | 0.11 | 0.05 | 0.03 | 0.04
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | 0.01 | 0.01 | <0.01 | 0.02 | <0.01 | 0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [5 empty] | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 9.07 | 8.45 | 6.24 | 5.35 | 5.57 | 7.97 | 7.105
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | <2 | 2 | 4 | <2 | 4 | 4

## SW308
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402970008 | EW2403413008 | EW2405286008 | EW2500695008 | EW2501121008 | EW2402971010 | EW2403205010 | EW2403412010 | EW2403649010 | EW2405284010 | EW2405285010 | EW2405467010 | EW2405470010 | EW2405471010 | EW2501705008
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 24/07/2024 | 18/11/2024 | 26/02/2025 | 27/03/2025 | 27/06/2024 | 10/07/2024 | 24/07/2024 | 08/08/2024 | 18/11/2024 | 18/11/2024 | 26/11/2024 | 26/11/2024 | 26/11/2024 | 2025-06-05
|  |  | Client sample ID (1st): | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308 | SW308
|  |  | Client sample ID (2nd): | [9 empty] | AM Flood Sample | PM ebb sample | Early AM Sample | late AM sample | PM sample
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.6 | 7.6 | 7.5 | 7.5 | 7.6 | 6.6 | 7 | 7.6 | 7.6 | 7.5 | 7.7 | 7.5 | 6.8 | 7.6 | 6.8 | 7.5
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 5250 | 18100 | 39000 | 24900 | 38000 | 5230 | 2210 | 18100 | 24500 | 39000 | 40800 | 40500 | 37100 | 33100 | 5610 | 38050
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 6 | <5 | <5 | <5 | <5 | 7 | <5 | 14 | <5 | <5 | <5 | <5 | <5 | <5 | 6 | 6
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 14.2 | 2.1 | 1.7 | 1.7 | 1.4 | 16.6 | 10.9 | 1.8 | 1.2 | 2.2 | 1.2 | 1 | 0.8 | 0.5 | 12.2 | 1.1
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.02 | <0.01 | 0.1 | 0.05 | 0.04 | 0.05 | 0.05 | 0.01 | <0.01 | 0.06 | 0.05 | 0.03 | 0.03 | 0.05 | 0.11 | 0.05
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | 0.01 | <0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.23 | 0.09 | 0.04 | 0.03 | 0.02 | 0.22 | 0.19 | 0.1 | 0.08 | 0.03 | 0.03 | <0.01 | 0.01 | 0.02 | 0.19 | 0.03
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.23 | 0.1 | 0.04 | 0.04 | 0.02 | 0.22 | 0.19 | 0.1 | 0.08 | 0.03 | 0.03 | <0.01 | 0.01 | 0.02 | 0.19 | 0.03
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.4 | 0.3 | 0.2 | 0.3 | 0.2 | 0.5 | 0.4 | 0.5 | 0.5 | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.4 | 0.2
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.6 | 0.4 | 0.2 | 0.3 | 0.2 | 0.7 | 0.6 | 0.6 | 0.6 | 0.2 | 0.2 | 0.2 | 0.1 | 0.3 | 0.6 | 0.2
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.04 | 0.04 | 0.04 | 0.46 | 0.03 | 0.05 | 0.04 | 0.05 | 0.02 | 0.03 | 0.04 | 0.02 | 0.04 | 0.05 | 0.03 | 0.035
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | 0.02 | 0.01 | <0.01 | 0.02 | <0.01 | 0.02 | 0.01 | <0.01 | 0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | 0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | [14 empty] | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 8.67 | 8.32 | 6.47 | 5.37 | 5.68 | 8.67 | 10.3 | 8.31 | 7.6 | 6.47 | 7.23 | 5.39 | 5.88 | 6.07 | 7.84 | 6.27
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | <2 | 3 | <2 | <2 | <2 | 3 | <2 | <2 | <2 | <2 | 3 | <2 | 2 | 3 | 3

## SW309
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2402970009 | EW2403413009 | EW2405286009 | EW2500695009 | EW2501121009 | EW2501705009
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 27/06/2024 | 24/07/2024 | 18/11/2024 | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | SW309 | SW309 | SW309 | SW309 | SW309 | SW309
|  |  | Client sample ID (2nd): |  |  | Channel Closed
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 6.7 | 7.5 | ---- | 7.4 | 7.5 | 6.9 | 7.4
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 1680 | 12600 | ---- | 19500 | 34400 | 4090 | 12600
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 7 | 8 | ---- | <5 | <5 | 6 | 7
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 16 | 2.8 | ---- | 1.7 | 2.1 | 14 | 2.8
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.02 | 0.07 | ---- | 0.07 | 0.03 | 0.06 | 0.06
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | 0.01 | ---- | 0.01 | <0.01 | <0.01 | 0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.22 | 0.11 | ---- | 0.05 | 0.03 | 0.19 | 0.11
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.22 | 0.12 | ---- | 0.06 | 0.03 | 0.19 | 0.12
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.4 | 0.3 | ---- | 0.3 | 0.2 | 0.4 | 0.3
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.6 | 0.4 | ---- | 0.4 | 0.2 | 0.6 | 0.4
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.05 | 0.02 | ---- | 0.14 | 0.04 | 0.02 | 0.04
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | ---- | <0.01 | 0.02 | <0.01 | 0.02
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 |  |  | River Channel Closed |  |  | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 9.07 | 8.96 | ---- | 5.47 | 5.53 | 8.04 | 8.04
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | <2 | ---- | 4 | 2 | 3 | 3

## DP01
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2500695010 | EW2501121010 | EW2501705010
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | DP01 | DP01 | DP01
|  |  | Client sample ID (2nd): | Pond Discharge (yard) | Pond Discharge (yard) | Pond Discharge (yard)
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | ---- | ---- | ---- | -
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | ---- | ---- | ---- | -
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | ---- | ---- | ---- | -
EA045: Turbidity
Turbidity |  | NTU | 0.1 | ---- | ---- | ---- | -
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | ---- | ---- | ---- | -
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | ---- | ---- | ---- | -
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | ---- | ---- | ---- | -
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | ---- | ---- | ---- | -
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | ---- | ---- | ---- | -
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | ---- | ---- | ---- | -
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | ---- | ---- | ---- | -
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | ---- | ---- | ---- | -
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | DRY SITE | DRY SITE | Not Sampled - DRY
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | ---- | ---- | ---- | -
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | ---- | ---- | ---- | -

## DP02
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2500695011 | EW2501121011 | EW2501705011
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | DP02 | DP02 | DP02
|  |  | Client sample ID (2nd): | Trench toTrench | Trench to Trench | Trench to Trench
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 7.4 | 7.2 | 6.7 | 6.95
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 25500 | 34200 | 12300 | 18900
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 56 | 6 | 14 | 10
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 98.1 | 11.1 | 35.5 | 23.3
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.16 | 0.02 | 0.14 | 0.08
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | 0.01 | <0.01 | <0.01 | 0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | 0.02 | 0.02 | 0.09 | 0.02
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | 0.03 | 0.02 | 0.09 | 0.025
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.3 | 0.2 | 0.5 | 0.25
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.3 | 0.2 | 0.6 | 0.25
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.12 | 0.05 | 0.04 | 0.045
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 |  |  | ----
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 6.91 | 6.91 | 8.76 | 6.91
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | <2 | 3 | 4 | 3

## DP03
Matrix: | RIVER WATER |  | Sample Type: | REG | REG | REG | Median
Workgroup: | EW2402970 |  | ALS Sample Number: | EW2500695012 | EW2501121012 | EW2501705012
Project name/number: | Monthly Ambient Water Quality |  | Sample Date: | 26/02/2025 | 27/03/2025 | 2025-06-05
|  |  | Client sample ID (1st): | DP03 | DP03 | DP03
|  |  | Client sample ID (2nd): | Pond Discharge (Island) | Pond Discharge (Island) | Pond Discharge (Island)
Depth Type:
Depth (m):
Site:
Purchase Order:
Analyte grouping/Analyte | CAS Number | Unit | Limit of reporting
EA005FD: Field pH
pH |  | pH Unit | 0.1 | 7.5 | ---- | ---- | 7.5
EA010FD: Field Conductivity
Conductivity @ 25oC |  | µS/cm | 1 | 226 | ---- | ---- | 226
EA025: Total Suspended Solids dried at 104 ± 2°C
Suspended Solids (SS) |  | mg/L | 5 | 52 | ---- | ---- | 52
EA045: Turbidity
Turbidity |  | NTU | 0.1 | 18.2 | ---- | ---- | 18.2
EK055G: Ammonia as N by Discrete Analyser
Ammonia as N | 7664-41-7 | mg/L | 0.01 | 0.12 | ---- | ---- | 0.12
EK057G: Nitrite as N by Discrete Analyser
Nitrite as N | 14797-65-0 | mg/L | 0.01 | <0.01 | ---- | ---- | <0.01
EK058G: Nitrate as N by Discrete Analyser
Nitrate as N | 14797-55-8 | mg/L | 0.01 | <0.01 | ---- | ---- | <0.01
EK059G: Nitrite plus Nitrate as N (NOx) by Discrete Analyser
Nitrite + Nitrate as N |  | mg/L | 0.01 | <0.01 | ---- | ---- | <0.01
EK061G: Total Kjeldahl Nitrogen By Discrete Analyser
Total Kjeldahl Nitrogen as N |  | mg/L | 0.1 | 0.4 | ---- | ---- | 0.4
EK062G: Total Nitrogen as N (TKN + NOx) by Discrete Analyser
Total Nitrogen as N |  | mg/L | 0.1 | 0.4 | ---- | ---- | 0.4
EK067G: Total Phosphorus as P by Discrete Analyser
Total Phosphorus as P |  | mg/L | 0.01 | 0.2 | ---- | ---- | 0.2
EK071G: Reactive Phosphorus as P by discrete analyser
Reactive Phosphorus as P | 14265-44-2 | mg/L | 0.01 | <0.01 | ---- | ---- | <0.01
EN67 PK: Field Tests
Field Observations |  | -- | 0.01 | - | Dry Site | Not Sampled - DRY
EP025FD: Field Dissolved Oxygen
Dissolved Oxygen |  | mg/L | 0.01 | 7.09 | ---- | ---- | 7.09
EP030: Biochemical Oxygen Demand (BOD)
Biochemical Oxygen Demand |  | mg/L | 2 | 6 | ---- | ---- | 6