Coomassie Staining Protocol

- Wash gel for 5 min with clean H2O (preferably HPLC grade or at least Milli-Q), repeat 2 more times

- Fix the gel with 40% methanol, 10% acetic acid, and 50% H2O for 1 hour

- Rinse the gel for 5 min with H2O, repeat 2 more times

- Cover the gel with just enough coomassie blue solution for staining

- Gently shake for 45 minutes

- Rinse the gel for 5 min with H2O, repeat 2 more times

- Destain overnight with 40% methanol, 10% acetic acid, and 50% H2O

- Rinse the gel for 5 min with H2O, repeat 2 more times

- Wrap the gel with clean Sara wrap. Acquiring gel image can be done with a scanner. Do Not touch the gel without gloves

- Store the gel in 1% acetic acid