## Read Me
Appendix E. State Transmission Siting Requirements Authors: Vanessa Hamilton, Rebecca O'Neil, PNNL This Excel workbook is a downloadable, in-progress data resource containing requirements for siting electric transmission in each state. The data includes whether the state requires a Certificate of Public Convenience and Necessity (CPCN) and the associated project voltage thresholds. Please review the following notes when using this file: Disclaimer • The information in the table is provided for informational purposes only and is not guaranteed to be accurate, complete, current, or error-free. • The contents are subject to change as additional projects are added and status of projects is updated. • Ongoing research and data cleaning may also lead to updates. Data Filtering •The workbook includes filters to facilitate easy data exploration. This research is a part of the Electric Transmission in Transportation Rights-of-Way Gaps Analysis written by the U.S. Department of Transportation’s Volpe Center and the Pacific Northwest National Laboratory (PNNL) for the Joint Office of Energy and Transportation. The full report will be published late summer 2025. Questions or Feedback? PNNL Point of Contact: Rebecca O'Neil Email: rebecca.oneil@pnnl.gov | What was updated? | Date
| Initial version | 2025-06-15
O'Neil R.S., M. Baum, J. Yoshimura, G. Filosa, M.A. Cruz, V.A. Hamilton, and J.B. Kincaid. 2025. “Electric Transmission in Transportation Rights-of-Way: Gaps Analysis - Data Appendices.” PNNL-SA- 213383. Richland, WA: Pacific Northwest National Laboratory; Cambridge, MA: John A. Volpe National Transportation Systems Center.

## State Requirements
Note: This table provides a comparative summary of transmission siting regulation across U.S. states. The intent is to show the variability in siting regulations and agencies between states. As an example, a Certificate of Public Convenience and Necessity (CPCN) is a common requirement for developers to obtain in many states, while other states may not require it at all. Even if states do require a CPCN, the specific criteria that triggers this requirement, such as voltage level, can differ significantly in between states.
Note: This is the minimum voltage referenced for a CPCN and the voltage triggers may change due to factors such as line length.
State | Is a CPCN required and is there a min. voltage requirement? | What is the minimum voltage required? | Does the state have a unique committee or board for transmission siting? | Specific Transmission Siting Entity | Link to Specific Transmission Siting Entity | What agency has authority? | Link to Agency | Excerpt from Regulation
Alabama | Required With Min Voltage Threshold | 35 | N |  |  | Alabama Public Service Commission | https://psc.alabama.gov/ | AL Code § 11-50A-25 (2023) The public service commission shall prescribe minimum standards regarding the placement and construction of transmission lines, substations and related facilities used in the transmission of electricity that are owned and operated by the authority. No plant, property or facility for the production, transmission, delivery or furnishing of electricity shall be constructed by the authority if such facility is to be owned exclusively by the authority until the issuance by the public service commission of a certificate of convenience and necessity pursuant to Section 37-4-28. AL Code § 37-4-150 (2023) (2) ELECTRIC TRANSMISSION FACILITY. Any transmission line, substation, equipment, or other facility at a design voltage greater than 35,000 volts.
Alaska | Required Without Min Voltage Threshold |  | N |  |  | Regulatory Commission of Alaska | https://rca.alaska.gov/RCAWeb/home.aspx | Alaska Stat. § 42.05.990. (4) "public utility" or "utility" includes every corporation whether public, cooperative, or otherwise, company, individual, or association of individuals, their lessees, trustees, or receivers appointed by a court, that owns, operates, manages, or controls any plant, pipeline, or system for (A) furnishing, by generation, transmission, or distribution, electrical service to the public for compensation; [...] Alaska – Stat. Ann. §§ 42.05.221 et seq. (a) A public utility may not operate and receive compensation for providing a commodity or service without first having obtained from the commission under this chapter a certificate declaring that public convenience and necessity require or will require the service. Where a public utility provides more than one type of utility service, a separate certificate of convenience and necessity is required for each type. A certificate must describe the nature and extent of the authority granted in it, including, as appropriate for the services involved, a description of the authorized area and scope of operations of the public utility.
Arizona | Not Required |  | Y | Arizona Power Plant and Transmission Line Siting Committee | https://www.azcc.gov/arizona-power-plant | Arizona Corporation Commission | https://www.azcc.gov/ | ARS 40-360(10) 10. "Transmission line" means five or more new structures that span more than one mile in length as measured from the first structure outside of the substation, switchyard or generating site to which the line connects to the fifth structure and that are erected above ground and support one or more conductors designed for the transmission of electric energy at nominal voltages of one hundred fifteen thousand volts or more... 40-360.03. A. Except as provided in subsection B of this section, every utility that plans to construct a plant or transmission line, or both, in this state shall first file with the commission an application for a certificate of environmental compatibility. 40-281. Certificate required before construction by public service corporation; exceptions; complaint by corporation injuriously affected by construction hearing; exclusive franchise or monopoly A. A public service corporation, other than a railroad, shall not begin construction of a street railroad, a line, plant, service or system, or any extension thereof, without first having obtained from the commission a certificate of public convenience and necessity.
Arkansas | Required With Min Voltage Threshold | 100 | N |  |  | Arkansas Public Service Commission | https://apsc.arkansas.gov/ | AR Code § 23-18-503 (2023) (6) "Major utility facility" means: [...] (B) For the sole purpose of requiring an environmental impact statement under this subchapter, an electric transmission line and associated facilities including substations of: (i) A design voltage of one hundred kilovolts (100 kV) or more and extending a distance of more than ten (10) miles; or (ii) A design voltage of one hundred seventy kilovolts (170 kV) or more and extending a distance of more than one (1) mile; or AR Code § 23-3-201 (2023) (a) New construction or operation of equipment or facilities for supplying a public service or the extension of a public service shall not be undertaken without first obtaining from the Arkansas Public Service Commission a certificate that public convenience and necessity require or will require the construction or operation.
California | Required With Min Voltage Threshold | 200 | N |  |  | California Public Utilities Commission | https://www.cpuc.ca.gov/ | Cal. Pub. Util. Code § 1091. 1091. In addition to the requirements of Article 1 (commencing with Section 1001) and any other provision of law, every electrical and every gas corporation proposing to construct or modify any electric or gas plant within the state, or line, or extension, which will in the case of an electrical plant, line, or extension add generating capacity in excess of 50 megawatts, or in the case of a gas plant, line, or extension cost in excess of fifty million dollars ($50,000,000), or proposing to construct any electric or gas plant out-of-state of which at least twenty-five percent (25%) of the costs will be borne by the corporation, shall comply with this article. From the website: Projects between 50 kV and 200kV require a Permit to Construct from the CPUC, which consists primarily of an environmental review pursuant to CEQA. The Commission process generally does not analyze the need for or economics of these projects. Projects over 200kV require a Certificate of Public Convenience and Necessity (CPCN) from the Commission. The Commission’s CPCN process analyzes the need for the project and the economics of the project as well as the environmental impacts of the project.
Colorado | Required With Min Voltage Threshold | 115 | Y | Colorado Electric Transmission Authority | https://www.cotransmissionauthority.com/ | Colorado Public Utilities Commission | https://puc.colorado.gov/ | 4 CCR 723-3 3001. Definitions. [...] (ll) “Transmission facilities” are those lines and related substations designed and operating at voltage levels above the utility's voltages for distribution facilities , including but not limited to related substation facilities such as transformers, capacitor banks, or breakers that are integral to the circuitry of the utility’s transmission system. 3206. Construction or Extension of Transmission Facilities. (a) No utility and no cooperative electric association which has voted to exempt itself pursuant to §40-9.5-103, C.R.S., may commence new construction, or extension of transmission facilities or projects until either the Commission notifies the utility that such facilities or projects do not require a certificate of public convenience and necessity or the Commission issues a certificate of public convenience and necessity. Rural electric cooperatives which have elected to exempt themselves from the Public Utilities Law pursuant to §40-9.5-103, C.R.S., do not need a certificate of public convenience and necessity for new construction or extension of transmission facilities or projects when such construction or expansion is contained entirely within the cooperative’s certificated area. (b) CPCN requirements for new transmission facilities. New transmission facilities that require a CPCN pursuant to this paragraph are not in the ordinary course of business. However, any utility may request a CPCN for any new transmission facility that does not require a CPCN under this paragraph. All utilities and electric cooperative associations subject to paragraph (a) of this rule shall be required to file a CPCN application for all new transmission facilities that meet one of the following criteria: (I) Transmission facilities designed at 230 kV or above, even if initially operated at a lower voltage. However, a radial transmission line designed at 230 kV or above that serves a single retail customer and terminates at that customer’s premises will not require a CPCN application. (II) Transmission facilities designed at 115 kV or 138 kV, if: (A) The facilities do not meet the noise and magnetic field thresholds in paragraphs (e) and (f) of this rule; or (B) The Commission determines that the facilities are not in the ordinary course of business.
Connecticut | Not Required |  | N |  |  | Connecticut Department of Energy and Environmental Protection - Connecticut Siting Council | https://portal.ct.gov/csc | C.G.S. §16-50i(a). Sec. 16-50i. Definitions. As used in this chapter: (a) “Facility” means: (1) An electric transmission line of a design capacity of sixty-nine kilovolts or more, including associated equipment but not including a transmission line tap, as defined in subsection (e) of this section; C.G.S. §16-50k. Sec. 16-50k. Certificate of environmental compatibility and public need. Transfer. Amendment. Excepted matters. Waiver. (a) Except as provided in subsection (b) of section 16-50z, no person shall exercise any right of eminent domain in contemplation of, commence the preparation of the site for, commence the construction or supplying of a facility, or commence any modification of a facility, that may, as determined by the council, have a substantial adverse environmental effect in the state without having first obtained a certificate of environmental compatibility and public need, hereinafter referred to as a “certificate”, issued with respect to such facility or modification by the council.
Delaware | Required With Min Voltage Threshold | 34.5 | N |  |  | Delaware Public Service Commission | https://depsc.delaware.gov/ | § 203E. Certificate of public convenience and necessity for new electric transmission utilities. (a) Except as provided in § 203A(a)(3) of this title, no person or entity shall begin the business of an electric transmission utility providing transmission facilities, as defined in § 1001(26) of this title, without having first obtained from the Commission a certificate that the present or future public convenience and necessity requires, or will be served by, the operation of such business. (b) A person or entity seeking to begin the business of an electric transmission utility in this State shall first make application to the Commission for a certificate of public convenience and necessity approving the person or entity as an electric transmission utility authorized to provide transmission facilities. § 1001. Definitions. As used in this chapter, unless the context otherwise requires: [...] (9) “Distribution facilities” means electric facilities located in Delaware that are owned by a public utility that operate at voltages of 34,500 volts or below and that are used to deliver electricity to customers, up through and including the point of physical connection with electric facilities owned by the customer.
Florida | Not Required |  | Y | Siting board is composed of the Governor and Cabinet |  | Florida Department of Environmental Protection | https://floridadep.gov/ | The Transmission Line Siting Act (TLSA), Sections 403.52-.5365, Florida Statutes (F.S.), is the state's centralized process for licensing electrical transmission lines that: Are 230 kilovolts (kV) or larger; Cross a county line; and, Are 15 miles or longer. An applicant can request to use the act for a line less than 15 miles long or if within one county. If a line is to be constructed entirely within certain rights-of-way, the TLSA may not apply; however, this does not relieve the utility from the obligation to obtain the necessary individual permits and approvals. This exemption is date-dependent if it is for a transmission line as defined in the TLSA. See Section 403.524(2)(c), F.S.
Georgia | Not Required |  | N |  |  | No consolidated authority |  | O.C.G.A. 22-3 grants the right of eminent domain and condemnation for siting of transmission lines to electric utilities in Georgia GA Code § 22-3-161 (2023) (a) On and after July 1, 2004, before exercising the right of eminent domain for purposes of constructing or expanding an electric transmission line described in subsection (a) of Code Section 22-3-160.1, the utility shall select a practical and feasible route for the location of the electric transmission line. In selecting the route for the location of the electric transmission line, the utility shall consider existing land uses in the geographic area where the line is to be located, existing corridors, existing environmental conditions in the area, engineering practices related to the construction and operation of the line, and costs related to the construction, operation, and maintenance of the line. (b) After the utility has selected the preferred route for the location of an electric transmission line, the utility shall attempt in good faith to negotiate a settlement with each property owner from whom the utility needs to acquire property rights for the line. In connection with the negotiations, the utility shall provide the property owner with a written offer to purchase the property rights, a document that describes the property rights, and a drawing that shows the location of the line on the owner's property. GA Code § 46-3-3 (2024) (4) "Line" means any conductor for the distribution or transmission of electricity other than a conductor operating at a potential of 120,000 volts or more. However, a conductor that initially constitutes a line shall not cease being a line if, after March 29, 1973, it is operating at a potential in excess of 120,000 volts.
Hawaii | Required With Min Voltage Threshold | 46 | N |  |  | Hawaii Public Utilities Commission |  | HI Rev Stat § 269-1 (2023) "Public utility": (1) Includes every person who may own, control, operate, or manage [...] any plant or equipment, or any part thereof [...] for the production, conveyance, transmission, delivery, or furnishing of light, power, heat, cold, water, gas, or oil [...]. §269-7.5 Certificates of public convenience and necessity. (a) No public utility, as defined in section 269-1, shall commence its business without first having obtained from the commission a certificate of public convenience and necessity. §269-27.5 Construction of high-voltage electric transmission lines; hearing. Whenever a public utility plans to place, construct, erect, or otherwise build a new 46 kilovolt or greater high-voltage electric transmission system above the surface of the ground through any residential area, the public utilities commission shall conduct a public hearing prior to its issuance of approval thereof. Notice of the hearing shall be given in the manner provided in section 269-16 for notice of public hearings.
Idaho | Required With Min Voltage Threshold | 230 | N |  |  | Idaho Public Utilities Commission | https://puc.idaho.gov/ | ID Code § 61-118 (2023) ELECTRIC PLANT. The term "electric plant" when used in this act includes all real estate, fixtures and personal property owned, controlled, operated or managed in connection with or to facilitate the production, generation, transmission, delivery or furnishing of electricity for light, heat or power, and all conduits, ducts or other devices, materials, apparatus or property for containing, holding or carrying conductors used or to be used for the transmission of electricity for light, heat or power. ID Code § 61-516 (2023) (a) "Electric transmission facilities" means the construction of high voltage transmission lines with an operating level capacity of two hundred thirty thousand (230,000) volts or more and associated substations and switchyards. ID Code § 61-526 (2023) 61-526. CERTIFICATE OF CONVENIENCE AND NECESSITY. No street railroad corporation, gas corporation, electrical corporation, telephone corporation or water corporation, shall henceforth begin the construction of a street railroad, or of a line, plant, or system or of any extension of such street railroad, or line, plant, or system, without having first obtained from the commission a certificate that the present or future public convenience and necessity require or will require such construction
Illinois | Required With Min Voltage Threshold | 100 | N |  |  | Illinois Commerce Commission | https://www.icc.illinois.gov/ | (220 ILCS 5/3-105) (from Ch. 111 2/3, par. 3-105) Sec. 3-105. Public utility. (a) "Public utility" means and includes, [...] (1) the production, storage, transmission, sale, delivery or furnishing of heat, cold, power, electricity, water, or light, except when used solely for communications purposes; (220 ILCS 5/8-406) (from Ch. 111 2/3, par. 8-406) Sec. 8-406. Certificate of public convenience and necessity. (a) No public utility not owning any city or village franchise nor engaged in performing any public service or in furnishing any product or commodity within this State as of July 1, 1921 and not possessing a certificate of public convenience and necessity from the Illinois Commerce Commission, the State Public Utilities Commission, or the Public Utilities Commission, at the time Public Act 84-617 goes into effect (January 1, 1986), shall transact any business in this State until it shall have obtained a certificate from the Commission that public convenience and necessity require the transaction of such business. A certificate of public convenience and necessity requiring the transaction of public utility business in any area of this State shall include authorization to the public utility receiving the certificate of public convenience and necessity to construct such plant, equipment, property, or facility as is provided for under the terms and conditions of its tariff and as is necessary to provide utility service and carry out the transaction of public utility business by the public utility in the designated area. [...] For purposes of this Section and Section 8-406.1 of this Act, "high voltage electric service line" means an electric line having a design voltage of 100,000 or more.
Indiana | Not Required |  | N |  |  | No consolidated authority |  | IC 8-1-38-1 "Electric transmission facility" Sec. 1. (a) As used in this chapter, "electric transmission facility" means a high voltage transmission line with a rating of at least one hundred (100) kilovolts and related transmission facilities and controls. IC 8-1-38-9 Construction, ownership, operation, maintenance, and upgrade of electric transmission facilities; right of first refusal Sec. 9. (a) An incumbent electric transmission owner has the right to construct, own, operate, and maintain the following: (1) An electric transmission facility that has been approved for construction through a regional transmission organization planning process and that connects to an electric transmission facility owned by the incumbent electric transmission owner. (2) Upgrades to an existing electric transmission facility owned by the incumbent electric transmission owner if the upgrades have been approved for construction through a regional transmission organization planning process.
Iowa | Not Required |  | N |  |  | Iowa Utilities Commission (formerly the Iowa Utilities Board) | https://iuc.iowa.gov/ | Iowa – Iowa Code §§ 478 et seq., Electric Transmission Lines. 478.1 Franchise. 1. A person shall not construct, erect, maintain, or operate a transmission line, wire, or cable that is capable of operating at an electric voltage of sixty-nine kilovolts or more along, over, or across any public highway or grounds outside of cities for the transmission, distribution, or sale of electric current without first procuring from the utilities board a franchise granting authority as provided in this chapter 478.16 Electric transmission lines — federally registered planning authority transmission plans. 1. As used in this section, unless the context otherwise requires: a. “Electric transmission line” means a high-voltage electric transmission line with a capacity of one hundred kilovolts or more and any associated electric transmission facility, including any substation or other equipment. 478.18 Supervision of construction — location. 1. The utilities board shall have power of supervision over the construction of a transmission line and over its future operation and maintenance.
Kansas | Not Required |  | N |  |  | Kansas Corporation Commission | https://www.kcc.ks.gov/ | 66-1,177. Electric transmission lines; definitions. As used in this act, the following terms shall have the meanings ascribed to them herein: (a) "Electric utility" means every public utility, as defined by K.S.A. 66-104, which owns, controls, operates or manages any equipment, plant or generating machinery for the production, transmission, delivery or furnishing, of electricity or electric power; (b) "Electric transmission lines" means any line or extension of a line which is at least five (5) miles in length and which is used for the bulk transfer of two hundred thirty (230) kilovolts or more of electricity 66-1,178. Same; siting of electric transmission lines; permit required; application, contents; hearings. (a) No electric utility may begin site preparation for or construction of an electric transmission line, or exercise the right of eminent domain to acquire any interest in land in connection with the site preparation for a construction of any such line without first acquiring a siting permit from the commission.
Kentucky | Required With Min Voltage Threshold | 138 | Y | The Kentucky State Board on Electric Generation and Transmission Siting | https://psc.ky.gov/Home/EGTSB | Public Service Commission of Kentucky | https://psc.ky.gov/ | KY. Rev. Stat. Ann. §§ 278 278.020 (1) (a) No person, partnership, public or private corporation, or combination thereof shall commence providing utility service to or for the public or begin the construction of any plant, equipment, property, or facility for furnishing to the public any of the services enumerated in KRS 278.010 [...] until that person has obtained from the Public Service Commission a certificate that public convenience and necessity require the service or construction. (2) For the purposes of this section, construction of any electric transmission line of one hundred thirty-eight (138) kilovolts or more and of more than five thousand two hundred eighty (5,280) feet in length shall not be considered an ordinary extension of an existing system in the usual course of business and shall require a certificate of public convenience and necessity. However, ordinary extensions of existing systems in the usual course of business not requiring such a certificate shall include: (a) The replacement or upgrading of any existing electric transmission line; or (b) The relocation of any existing electric transmission line to accommodate construction or expansion of a roadway or other transportation infrastructure; or (c) An electric transmission line that is constructed solely to serve a single customer and that will pass over no property other than that owned by the customer to be served. 278.700 Definitions for KRS 278.700 to 278.716. As used in KRS 278.700 to 278.716, unless the context requires otherwise: [...] (5) "Nonregulated electric transmission line" means an electric transmission line and related appurtenances for which no certificate of public convenience and necessity is required; which is not operated as an activity regulated by the Public Service Commission; and which is capable of operating at or above sixty-nine thousand (69,000) volts; 278.714 Application for certificate to construct nonregulated electric transmission line or carbon dioxide transmission pipeline -- Granting or denial -- Public hearing -- Local public information meeting -- Fee. (1) No person shall commence to construct a nonregulated electric transmission line or a carbon dioxide transmission pipeline without a construction certificate issued by the board.
Louisiana | Required With Min Voltage Threshold | 100 | N |  |  | Louisiana Public Service Commission | https://www.lpsc.louisiana.gov/ | I. APPLICABILITY: [...] site selection, right-of-way acquisition activities, expropriation proceedings or vegetation clearing, [...] may be performed prior to submitting an Application or receiving certification. II. DEFINITIONS: a. Transmission Facility: For the purposes of this General Order only, the term "Transmission Facility" shall be defined to include a system of structures, wires, insulators and associated hardware, but not including switching or substations, that carry electric energy over distances and that are located in whole or in part within the State of Louisiana, regardless of whether the line provides electric service to customers within the state, and that would be constructed and operated at or above a nominal 100 kV, exceeds one mile in length, and the estimated cost to construct exceeds $20 million. [...] b. Transco: An Independent Transmission Company or other entity that owns or controls Transmission Facilities (or that proposes to construct or own new Transmission Facilities) that currently may not be a public utility subject to the Commission's jurisdiction but which has planned, proposed, or seeks to construct a Transmission Facility and demonstrates in its Application to the Commission, in addition to the other requirements of this General Order, that it can construct and thereafter own and operate the proposed Transmission Facility. A Transco, in addition to complying with other requirements of this rule, must consent to the jurisdiction of the Commission in order to file an Application for and obtain a Certificate of Public Convenience and Necessity ("Certificate").
Maine | Required With Min Voltage Threshold | 100 | N |  |  | Maine Public Utilities Commission | https://www.maine.gov/mpuc/ | §3131. Definitions As used in this subchapter, unless the context indicates otherwise, the following terms have the following meanings. [...] 5. Transmission capacity. "Transmission capacity" means an entitlement to transmission services over a transmission line with a capacity greater than 100 kilovolts for periods greater than 3 years. §3132. Construction of transmission lines prohibited without prior order of the commission Except as provided in subsection 1‑B, a person may not construct any transmission line covered by subsection 2 or rebuild or relocate any transmission line as investigated by the commission under subsection 3 unless the commission has issued a certificate of public convenience and necessity approving construction. §3132-A. Construction of transmission or subtransmission projects prohibited without approval of the commission A person may not construct any transmission project or subtransmission project without approval from the commission. For the purposes of this section, "transmission project" means any proposed new or upgraded transmission substation infrastructure that is capable of operating at 69 kilovolts or more. "Subtransmission project" means any proposed new or upgraded transmission line, substation component or associated infrastructure that is capable of operating at less than 69 kilovolts and projected to cost in excess of $5,000,000.
Maryland | Required With Min Voltage Threshold | 69 | N |  |  | Maryland Public Service Commission | https://www.psc.state.md.us/ | (3) (i) Except as provided in paragraph (4) of this subsection, unless a certificate of public convenience and necessity for the construction is first obtained from the Commission, a person may not begin construction of an overhead transmission line that is designed to carry a voltage in excess of 69,000 volts or exercise a right of condemnation with the construction. [...] 2. On issuance of a certificate of public convenience and necessity for the construction of an overhead transmission line, a person may acquire by condemnation, in accordance with Title 12 of the Real Property Article, any property or right necessary for the construction or maintenance of the transmission line.
Massachusetts | Not Required |  | Y | Energy Facilities Siting Board | https://www.mass.gov/orgs/energy-facilities-siting-board#:~:text=The%20Energy%20Facilities%20Siting%20Board,and%20natural%20gas%20storage%20tanks. | Massachusetts Department of Telecommunications and Energy - Energy Facilities Siting Board | https://www.mass.gov/orgs/energy-facilities-siting-board#:~:text=The%20Energy%20Facilities%20Siting%20Board,and%20natural%20gas%20storage%20tanks. | Section 69G. As used in section sixty-nine H to sixty-nine R, inclusive, the following words and terms shall have the following meanings:— [...] ''Facility'', (1) a generating facility; (2) a new electric transmission line having a design rating of 69 kilovolts or more and which is one mile or more in length on a new transmission corridor; (3) a new electric transmission line having a design rating of 115 kilovolts or more which is 10 miles or more in length on an existing transmission corridor except reconductoring or rebuilding of transmission lines at the same voltage; (4) an ancillary structure which is an integral part of the operation of any transmission line which is a facility; Section 69J. No applicant shall commence construction of a facility at a site unless a petition for approval of construction of that facility has been approved by the board and, in the case of an electric or gas company which is required to file a long-range forecast pursuant to section sixty-nine I, that facility is consistent with the most recently approved long-range forecast for that company. In addition, no state agency shall issue a construction permit for any such facility unless the petition to construct such facility has been approved by the board and the facility conforms with any such long-range forecast. Section 69K. Any electric, gas or oil company which proposes to construct or operate facilities in the commonwealth may petition the board for a certificate of environmental impact and public interest with respect to such facility.
Michigan | Required With Min Voltage Threshold | 345 | N |  |  | Michigan Public Service Commission | https://www.michigan.gov/mpsc | 460.562 Definitions. Sec. 2. (g) "Major transmission line" means a transmission line of 5 miles or more in length wholly or partially owned by an electric utility, affiliated transmission company, or independent transmission company through which electricity is transferred at system bulk supply voltage of 345 kilovolts or more. (k) "Transmission line" means all structures, equipment, and real property necessary to transfer electricity at system bulk supply voltage of 100 kilovolts or more. 460.565 Transmission line; certificate required. Sec. 5. An electric utility, affiliated transmission company, or independent transmission company shall not begin construction of a major transmission line for which a plan has been submitted under section 4 until the commission issues a certificate for that transmission line. Except as otherwise provided in section 9, a certificate of public convenience and necessity under this act is not required for constructing a new transmission line other than a major transmission line or for reconstructing, repairing, replacing, or improving an existing transmission line, including the addition of circuits to an existing transmission line.
Minnesota | Not Required |  | N |  |  | Minnesota Public Utilities Commission | https://mn.gov/puc/ | 216B.02 DEFINITIONS. §Subdivision 1.Scope. For the purposes of this chapter, the terms defined in this section have the meanings given them. [...] Subd. 4.Public utility. "Public utility" means persons, corporations, or other legal entities, their lessees, trustees, and receivers, now or hereafter operating, maintaining, or controlling in this state equipment or facilities for furnishing at retail natural, manufactured, or mixed gas or electric service to or for the public or engaged in the production and retail sale thereof... 216B.24 CONSTRUCTION OF MAJOR FACILITY; FILING PLANS. Subdivision 1.Major utility facility defined. The words "major utility facility" means: [...] (2) an electric transmission line and associated facilities of a design capacity of 125 kilovolts or more; [...] ; provided, however, that the words "major utility facility" shall not include electric or gas distribution lines and gas gathering lines and associated facilities as defined by the commission. Subd. 2.Construction plan filed; rules. Under rules as the commission may prescribe, every public utility shall file with the commission, within the time and in the form as the commission may designate, plans showing any contemplated construction of major utility facilities. Subd. 3.Applicability to municipalities. The provisions of this section shall apply to the construction of major utility facilities by a municipally owned gas or electric utility 216B.243 CERTIFICATE OF NEED FOR LARGE ENERGY FACILITY. Subd. 2.Certificate required. No large energy facility shall be sited or constructed in Minnesota without the issuance of a certificate of need by the commission pursuant to sections 216C.05 to 216C.30 and this section and consistent with the criteria for assessment of need. 216B.2421 DEFINITION OF LARGE ENERGY FACILITY. Subd. 2.Large energy facility. "Large energy facility" means: (1) any electric power generating plant or combination of plants at a single site with a combined capacity of 50,000 kilowatts or more and transmission lines directly associated with the plant that are necessary to interconnect the plant to the transmission system; (2) any high-voltage transmission line with a capacity of 300 kilovolts or more and greater than one mile in length in Minnesota; (3) any high-voltage transmission line with a capacity of 100 kilovolts or more with more than ten miles of its length in Minnesota;
Mississippi | Required Without Min Voltage Threshold |  | N |  |  | Mississippi Public Service Commission | https://www.psc.ms.gov/ | § 77-3-3. Definitions. [...] (d) The term “public utility” includes persons and corporations, or their lessees, trustees and receivers now or hereafter owning or operating in this state equipment or facilities for: (i) The generation, manufacture, transmission, distribution, provision, or furnishing of electricity to or for the public, whether an individual person or an entity or a collection of persons or entities, for compensation;... § 77-3-14. Certificate of public convenience and necessity required for construction of electrical generating and transmitting facilities; commission to maintain analysis of electricity needs in state. (1) Notwithstanding the provisions of Section 77-3-11, Mississippi Code of 1972, and Section 77-3-13, Mississippi Code of 1972, no public utility or other person shall begin the construction of any facility for the generation and transmission of electricity to be directly or indirectly used for the furnishing of public utility service in this state, even though the facility be for furnishing the service already being rendered, without first obtaining from the commission a certificate that the public convenience and necessity requires, or will require, such construction.
Missouri | Not Required |  | N |  |  | Missouri Public Service Commission | https://psc.mo.gov/ | 386.020. Definitions. — As used in this chapter, the following words and phrases mean: [...] (14) "Electric plant" includes all real estate, fixtures and personal property operated, controlled, owned, used or to be used for or in connection with or to facilitate the generation, transmission, distribution, sale or furnishing of electricity for light, heat or power; and any conduits, ducts or other devices, materials, apparatus or property for containing, holding or carrying conductors used or to be used for the transmission of electricity for light, heat or power; 393.170. Approval of incorporation and franchises — certificate. — 1. No gas corporation, electrical corporation, water corporation or sewer corporation shall begin construction of a gas plant, electric plant, water system or sewer system, other than an energy generation unit that has a capacity of one megawatt or less, without first having obtained the permission and approval of the commission.
Montana | Not Required |  | N |  |  | Montana Department of Environmental Quality | https://deq.mt.gov/ | 75-20-104. Definitions. In this chapter, unless the context requires otherwise, the following definitions apply: [...] (10) "Facility" means: (a) each electric transmission line and associated facilities of a design capacity of more than 69 kilovolts [...] 75-20-201. Certificate required -- operation in conformance -- certificate for nuclear facility -- applicability to federal facilities. (1) Except for a facility under diligent onsite physical construction or in operation on January 1, 1973, a person may not commence to construct a facility in the state without first applying for and obtaining a certificate of compliance issued with respect to the facility by the department. (1) Within 30 days after issuance of the report pursuant to 75-20-216 for facilities defined in 75-20-104(10)(a) and (10)(b), the department shall approve a facility as proposed or as modified or an alternative to a proposed facility if the department finds and determines: (a) the basis of the need for the facility; (b) the nature of the probable environmental impact; (c) that the facility minimizes adverse environmental impact, considering the state of available technology and the nature and economics of the various alternatives; (d) in the case of an electric, gas, or liquid transmission line or aqueduct: (i) what part, if any, of the line or aqueduct will be located underground; (ii) that the facility is consistent with regional plans for expansion of the appropriate grid of the utility systems serving the state and interconnected utility systems; and (iii) that the facility will serve the interests of utility system economy and reliability; (e) that the location of the facility as proposed conforms to applicable state and local laws and regulations, except that the department may refuse to apply any local law or regulation if it finds that, as applied to the proposed facility, the law or regulation is unreasonably restrictive in view of the existing technology, of factors of cost or economics, or of the needs of consumers, whether located inside or outside the directly affected government subdivisions; (f) that the facility will serve the public interest; (g) that the applicant will obtain any necessary air or water quality decision, opinion, order, certification, or permit as required by 75-20-216(3) prior to construction; and (h) that the use of public lands or federally designated energy corridors for location of a facility defined in 75-20-104(10)(a) or (10)(b) was evaluated and public lands or federally designated energy corridors for that facility were selected whenever determined practicable by both the applicant and the department.
Nebraska | Not Required |  | Y | Nebraska Power Review Board | https://powerreview.nebraska.gov/ | Nebraska Public Service Commission | https://psc.nebraska.gov/ | N.R.S. 75-710. Electric line; construction or voltage increase; application required, when. If the voltage of any electric line described in section 75-709 will exceed fifteen thousand volts and such line will be within one-quarter mile of any existing electrical or communication line of any other person or signal line of any railroad or if the voltage of such electric line will exceed seven hundred volts and such line will be within five hundred feet of the electrical or communication line of any other person or signal line of any railroad, application to construct the line shall be made to the commission, except that no application shall be required for any line which will not exceed fifteen thousand volts, which will not exceed six hundred sixty feet in length, and which will be more than seventy-five feet from any existing electrical or communication line of any other person or signal line of any railroad. 70-1012. Electric generation facilities and transmission lines; construction or acquisition; application; approval; when not required. (1) Before any electric generation facilities or any transmission lines or related facilities carrying more than seven hundred volts are constructed or acquired by any supplier, an application, filed with the board and containing such information as the board shall prescribe, shall be approved by the [Nebraska Power Review Board] N.A.C. TITLE 291 - NEBRASKA PUBLIC SERVICE COMMISSION - CHAPTER 7 - TRANSMISSION LINES RULES AND REGULATIONS 002 TRANSMISSION LINES CARRYING A VOLTAGE IN EXCESS OF 700 VOLTS. 002.01 AUTHORITY TO CONSTRUCT. No person or company shall construct, or cause to be constructed, any line for the transmission of electric current in excess of fifteen thousand (15,000) volts, if the proposed line is within one quarter (.25) mile of any existing electrical or communication line of any person or corporation, or signal line of any railroad, without filing an application with the Commission and having same granted, unless allowed under Section 002.06C of this chapter
Nevada | Required With Min Voltage Threshold | 200 | N |  |  | Public Utilities Commission of Nevada | https://puc.nv.gov/ | NRS 704.187 Use of deferred accounting by certain electric utilities; procedure; limitations. [...] (c) “Electric utility” means any public utility or successor in interest that: (1) Is in the business of providing electric service to customers; NRS 704.79875 “High-voltage transmission infrastructure” defined. “High-voltage transmission infrastructure” means bulk transmission lines capable of transmitting electricity at a voltage of 345 kilovolts or more, and associated electrical substations and substation expansions to accommodate the transmission lines. NRS 704.330 Public utility to obtain certificate of public convenience and necessity; exceptions; terms and conditions; orders to cease and desist; duplication of service; boundaries of certain service areas. 1. Except as otherwise provided in this section, any person owning, controlling, operating or maintaining or having any contemplation of owning, controlling or operating any public utility shall, before beginning such operation or continuing operations or construction of any line, plant or system or any extension of a line, plant or system within this State, obtain from the Commission a certificate that the present or future public convenience or necessity requires or will require such continued operation or commencement of operations or construction. NRS 704.860 “Utility facility” defined. “Utility facility” means: [...] 2. Electric transmission lines and transmission substations that: (a) Are designed to operate at 200 kilovolts or more; (b) Are not required by local ordinance to be placed underground; and (c) Are constructed outside any incorporated city. NRS 704.865 Permit required to construct utility facility; transfer of permit; exemptions; waiver of exemption. 1. A person, other than a local government, shall not commence to construct a utility facility in the State without first having obtained a permit therefor from the Commission. The replacement of an existing facility with a like facility, as determined by the Commission, does not constitute construction of a utility facility. NRS 704.873 Commission has exclusive jurisdiction to determine need for utility facilities of certain public utilities; other permitting entities precluded from considering need. If a public utility that is subject to the provisions of NRS 704.736 to 704.754, inclusive, applies to the Commission for a permit for the construction of a utility facility: 1. The Commission has exclusive jurisdiction with regard to the determination of whether a need exists for the utility facility; and 2. No other permitting entity may consider, in its review of any application for a permit, license or other approval for the construction of the utility facility, whether a need exists for the utility facility.
New Hampshire | Not Required |  | Y | New Hampshire Site Evaluation Committee | https://www.nhsec.nh.gov/ | New Hampshire Site Evaluation Committee | https://www.nhsec.nh.gov/ | 162-H:2 Definitions. – [...] II. "Certificate" or "certificate of site and facility" means the document issued by the committee, containing such terms and conditions as the committee deems appropriate, that authorizes the applicant to proceed with the proposed site and facility. [...] VII. "Energy facility" means: [...] (c) An electric transmission line of design rating of 100 kilovolts or more, associated with a generating facility under subparagraph (b), over a route not already occupied by a transmission line or lines. (d) An electric transmission line of a design rating in excess of 100 kilovolts that is in excess of 10 miles in length, over a route not already occupied by a transmission line. (e) A new electric transmission line of design rating in excess of 200 kilovolts. 162-H:5 Prohibitions and Restrictions. – I. No person shall commence to construct any energy facility within the state unless it has obtained a certificate pursuant to this chapter. Such facilities shall be constructed, operated and maintained in accordance with the terms of the certificate. Such certificates are required for sizeable changes or additions to existing facilities. Such a certificate shall not be transferred or assigned without approval of the committee.
New Jersey | Not Required |  | N |  |  | New Jersey Board of Public Utilities | https://www.nj.gov/bpu/ | N.J. Admin. Code § 14:5-1.2 "Distribution line" means a primary electric voltage line, wire, or cable operating at greater than 600 volts, including supporting structures and appurtenant facilities that would not be considered a transmission line. "Transmission line" means an electrical line, wire, or cable, (including the supporting structures) and appurtenant facilities that transmits electricity from a generating plant to electric substations or switching stations. An electric transmission line usually has a rating exceeding 69 kilovolts.
New Mexico | Required With Min Voltage Threshold | 230 | N |  |  | New Mexico Public Regulation Commission | https://www.prc.nm.gov/ | 62-3-3. Definitions. [...] G. "public utility" or "utility" means every person not engaged solely in interstate business and, except as stated in Sections 62-3-4 and 62-3-4.1 NMSA 1978, that may own, operate, lease or control: (1) any plant, property or facility for the generation, transmission or distribution, sale or furnishing to or for the public of electricity for light, heat or power or other uses; 62-9-1. New construction; ratemaking principles. A. No public utility shall begin the construction or operation of any public utility plant or system or of any extension of any plant or system without first obtaining from the commission a certificate that public convenience and necessity require or will require such construction or operation. 62-9-3. Location control; limitations. B. A person, including any municipality, shall not begin the construction of any plant designed for or capable of operation at a capacity of three hundred thousand kilowatts or more for the generation of electricity for sale to the public within or without this state, whether or not owned or operated by a person that is a public utility subject to regulation by the commission, or of transmission lines in connection with such a plant, on a location within this state unless the location has been approved by the commission. For the purposes of this section, "transmission line" means any electric transmission line and associated facilities designed for or capable of operations at a nominal voltage of two hundred thirty kilovolts or more, to be constructed in connection with and to transmit electricity from a new plant for which approval is required.
New York | Not Required |  | Y | Board of Electric Generation Siting and the Environment | https://dps.ny.gov/siting-board | New York State Public Service Commission | https://dps.ny.gov/ | Public Service Law Section 120 - Definitions [...] 2.“Major utility transmission facility” means: (a)an electric transmission line of a design capacity of one hundred twenty-five kilovolts or more extending a distance of one mile or more, or of one hundred kilovolts or more and less than one hundred twenty-five kilovolts, extending a distance of ten miles or more, including associated equipment, but shall not include any such transmission line located wholly underground in a city with a population in excess of one hundred twenty-five thousand or a primary transmission line approved by the federal energy regulatory commission in connection with a hydro-electric facility; and [...] Public Service Law Section 121 Certificate of environmental compatibility and public need 1.No person shall [...] commence the preparation of the site for the construction of a major utility transmission facility in the state without having first obtained a certificate of environmental compatibility and public need (hereafter in this article called a “certificate”) issued with respect to such facility by the commission. Public Service Law Section 121 - Certificate of environmental compatibility and public need 1.No person shall [...] commence the preparation of the site for the construction of a major utility transmission facility in the state without having first obtained a certificate of environmental compatibility and public need (hereafter in this article called a “certificate”) issued with respect to such facility by the commission.
North Carolina | Required With Min Voltage Threshold | 161 | N |  |  | North Carolina Utilities Commission | https://www.ncuc.gov/ | NC Gen Stat § 62-3 (2023) [...]23) a. "Public utility" means a person, whether organized under the laws of this State or under the laws of any other state or country, now or hereafter owning or operating in this State equipment or facilities for: 1. Producing, generating, transmitting, delivering or furnishing electricity, piped gas, steam or any other like agency for the production of light, heat or power to or for the public for compensation; § 62-100 [...] (7) The term "transmission line" means an electric line designed with a capacity of at least 161 kilovolts. § 62-101. Certificate to construct transmission line. (a) No public utility or any other person may begin to construct a new transmission line without first obtaining from the Commission a certificate of environmental compatibility and public convenience and necessity. Only a public utility as defined in this Article may obtain a certificate to construct a new transmission line, except an entity may obtain a certificate to construct a new transmission line solely for the purpose of providing interconnection of an electric generation facility. (b) A transmission line for which a certificate is required shall be constructed, operated, and maintained in conformity with the certificate. A certificate may be amended or transferred with the approval of the Commission. (c) A certificate is not required for construction of the following lines: (1) A line designed to carry less than 161 kilovolts; [...]
North Dakota | Required With Min Voltage Threshold | 115 | N |  |  | North Dakota Public Service Commission | https://psc.nd.gov/ | 49-03-01.1. Limitation on electric transmission and distribution lines, extensions, and service by electric public utilities. No electric public utility henceforth shall begin in the construction or operation of a public utility plant or system or extension thereof without first obtaining from the commission a certificate that public convenience and necessity require or will require such construction and operation, nor shall such public utility henceforth extend its electric transmission or distribution lines beyond or outside of the corporate limits of any municipality, nor shall it serve any customer where the place to be served is not located within the corporate limits of a municipality, unless and until, after application, such electric public utility has obtained an order from the commission authorizing such extension and service and a certificate that public convenience and necessity require that permission be given to extend such lines and to serve such customer. [...] 49-03-01.5. Definitions. As used in sections 49-03-01 through 49-03-01.5: 3. "Electric transmission line" means facilities for conducting electric energy at a design voltage of one hundred fifteen kilovolts or greater phase to phase and more than one mile [1.61 kilometers] long 49-22-03. Definitions. 1. "Certificate" means the certificate of site compatibility or the certificate of corridor compatibility issued under this chapter; [...] 6. "Electric transmission facility" means an electric transmission line and associated facilities with a design in excess of one hundred fifteen kilovolts. "Electric transmission facility" does not include: a. A temporary electric transmission line loop that is: (1) Connected and adjacent to an existing electric transmission facility that was sited under this chapter; (2) Within the corridor of the sited facility and does not cross known exclusion or avoidance areas; and (3) In place for less than one year; or b. An electric transmission line that is less than one mile [1.61 kilometers] long. 7. "Facility" means an electric energy conversion facility, electric transmission facility, or both. 8. "Permit" means the permit for the construction of an electric transmission facility within a designated corridor issued under this chapter 49-22-07. Certificate of site compatibility or route permit required. 1. A utility may not begin construction of an electric energy conversion facility or an electric transmission facility in the state without first having obtained a certificate of site compatibility or a route permit from the commission pursuant to this chapter. The facility must be constructed, operated, and maintained in conformity with the certificate or permit and any terms, conditions, or modifications of the certificate or permit.
Ohio | Not Required |  | Y | Ohio Power Siting Board | https://opsb.ohio.gov/ | Ohio Public Utilities Commission | https://puco.ohio.gov/ | As used in Chapter 4906. of the Revised Code: [...] (B)(1) "Major utility facility" means: (a) Electric generating plant and associated facilities designed for, or capable of, operation at a capacity of fifty megawatts or more; (b) An electric transmission line and associated facilities of a design capacity of one hundred kilovolts or more; Section 4906.04 ¦ Certificate required for construction of major utility facility No person shall commence to construct a major utility facility in this state without first having obtained a certificate for the facility. The replacement of an existing facility with a like facility, as determined by the power siting board, shall not constitute construction of a major utility facility. Such replacement of a like facility is not exempt from any other requirements of state or local laws or regulations. Any facility, with respect to which such a certificate is required, shall thereafter be constructed, operated, and maintained in conformity with such certificate and any terms, conditions, and modifications contained therein. A certificate may only be issued pursuant to Chapter 4906. of the Revised Code.
Oklahoma | Not Required |  | N |  |  | No consolidated authority |  | Okla. Admin. Code § 165:35-43-2 - Definitions "Transmission Line" means a set of conductors, insulators, supporting structures, and associated equipment used to move power at 60 kilovolts (kV) or above
Oregon | Required With Min Voltage Threshold | 230 | Y | Energy Facility Siting Council | https://www.oregon.gov/energy/facilities-safety/facilities/pages/default.aspx | Oregon Department of Energy | https://www.oregon.gov/energy/Pages/index.aspx | Oregon Revised Statutes 469.300 Definitions [...] (11)(a) “Energy facility” means any of the following: [...] (C) A high voltage transmission line of more than 10 miles in length with a capacity of 230,000 volts or more to be constructed in more than one city or county in this state, but excluding: (i) Lines proposed for construction entirely within 500 feet of an existing corridor occupied by high voltage transmission lines with a capacity of 230,000 volts or more; (ii) Lines of 57,000 volts or more that are rebuilt and upgraded to 230,000 volts along the same right of way; and (iii) Associated transmission lines. 469.320 Site certificate required; exceptions. (1) Except as provided in subsections (2) and (5) of this section, no facility shall be constructed or expanded unless a site certificate has been issued for the site thereof in the manner provided in ORS 469.300 to 469.563, 469.590 to 469.619, 469.930 and 469.992. No facility shall be constructed or operated except in conformity with the requirements of ORS 469.300 to 469.563, 469.590 to 469.619, 469.930 and 469.992. ORS 758.015 Certificate of public convenience and necessity When any person, as defined in ORS 758.400 (Definitions for ORS 758.015 and 758.400 to 758.475), providing electric utility service, as defined in ORS 758.400 (Definitions for ORS 758.015 and 758.400 to 758.475), or any transmission company, proposes to construct an overhead transmission line which will necessitate a condemnation of land or an interest therein, it shall petition the Public Utility Commission for a certificate of public convenience and necessity setting forth a detailed description and the purpose of the proposed transmission line, the estimated cost, the route to be followed, the availability of alternate routes, a description of other transmission lines connecting the same areas, and such other information in such form as the commission may reasonably require in determining the public convenience and necessity.
Pennsylvania | Required With Min Voltage Threshold | 100 | N |  |  | Pennsylvania Public Utility Commission | https://www.puc.pa.gov/ | 52 § 57.1 Definitions [...] Electric supply line—The wires or cables, with the necessary supporting or containing structures and appurtenances, used in connection with an overhead or underground system of a public utility, providing electric power, located on a public highway or utility right-of-way and used to transmit or distribute electric energy [...] Eminent domain application—An application filed with the Commission by a public utility for a certificate of public convenience for approval of the exercise of the power of eminent domain to acquire rights-of-way for the construction, operation and maintenance of an aerial transmission line. [...] HV transmission line or HV line—An overhead electric supply line with a design voltage greater than 100,000 volts.
Rhode Island | Not Required |  | Y | Rhode Island Energy Facility Siting Board | https://ripuc.ri.gov/general-information/efsb | Rhode Island Public Utilities Commission | https://ripuc.ri.gov/ | R.I. Gen. Laws § 42-98-3 [...] (e) “Major energy facility” means facilities for the extraction, production, conversion, and processing of coal; facilities for the generation of electricity designed or capable of operating at a gross capacity of forty megawatts (40 MW) or more; transmission lines of sixty-nine (69) Kv or over; § 42-98-4. License required. No person shall site, construct, or alter a major energy facility within the state without first obtaining a license from the siting board pursuant to this chapter. § 42-98-11. Final hearing — Standards — Decisions. [...] (b) The board shall issue a decision granting a license only upon finding that the applicant has shown that: (1) Construction of the proposed facility is necessary to meet the needs of the state and/or region for energy of the type to be produced by the proposed facility. (2) The proposed facility is cost-justified, and can be expected to produce energy at the lowest reasonable cost to the consumer consistent with the objective of ensuring that the construction and operation of the proposed facility will be accomplished in compliance with all of the requirements of the laws, rules, regulations, and ordinances, under which, absent this chapter, a permit, license, variance, or assent would be required, or that consideration of the public health, safety, welfare, security and need for the proposed facility justifies a waiver of some part of the requirements when compliance cannot be assured. (3) The proposed facility will not cause unacceptable harm to the environment and will enhance the socio-economic fabric of the state.
South Carolina | Required With Min Voltage Threshold | 125 | N |  |  | South Carolina Public Service Commission | https://psc.sc.gov/ | South Carolina Code of Laws Title 58 - Public Utilities, Services and Carriers CHAPTER 33 Utility Facility Siting and Environmental Protection SECTION 58-33-20.Definitions. [...] (2) The term "major utility facility" means: (b) an electric transmission line and associated facilities of a designed operating voltage of one hundred twenty-five kilovolts or more; provided, however, that the words "major utility facility" shall not include electric distribution lines and associated facilities. (8) The term "certificate" means a certificate of environmental compatibility and public convenience and necessity. [...] SECTION 58-33-110.Certificate required before construction of major utility facility; transfer and amendment of certificate; exceptions; emergency certificates. (1) No person shall commence to construct a major utility facility without first having obtained a certificate issued with respect to such facility by the Commission.
South Dakota | Not Required |  | N |  |  | South Dakota Public Utilities Commission | https://puc.sd.gov/ | 49-41B-2. Definition of terms. (7) "Facility," any energy conversion facility, AC/DC conversion facility, transmission facility, solar energy facility, or wind energy facility, and associated facilities; (8) "Permit," the permit issued by the commission under this chapter required for the construction and operation of a facility; 49-41B-2.1. Transmission facility defined. For the purposes of this chapter, a transmission facility is: (1) An electric transmission line and associated facilities with a design of more than one hundred fifteen kilovolts. However, if the transmission line is less than two thousand six hundred forty feet, does not cross any public highway, and eminent domain is not used to obtain right of way, the transmission line is not a transmission facility for purposes of this chapter; [...] 49-41B-4. Permit required before construction of facility after certain date. No utility may begin construction of a facility in the state on or after July 1, 1979, without first having obtained a permit issued with respect to such facility by the Public Utilities Commission pursuant to this chapter.
Tennessee | Required Without Min Voltage Threshold |  | N |  |  | Tennessee Public Utility Commission | https://www.tn.gov/tpuc.html | Tenn. Code Ann. § 65-4-101 [...] (A) “Public utility” means every individual, copartnership, association, corporation, or joint stock company, its lessees, trustees, or receivers, appointed by any court whatsoever, that own, operate, manage or control, within the state, any interurban electric railway, traction company, all other common carriers, express, gas, electric light, heat, power, water, telephone, telegraph, telecommunications services, or any other like system, plant or equipment, affected by and dedicated to the public use, under privileges, franchises, licenses, or agreements, granted by the state or by any political subdivision thereof. Tenn. Code Ann. § 65-4-201 (a) No public utility shall establish or begin the construction of, or operate any line, plant, or system, or route in or into a municipality or other territory already receiving a like service from another public utility, or establish service therein, without first having obtained from the commission, after written application and hearing, a certificate that the present or future public convenience and necessity require or will require such construction, establishment, and operation, and no person or corporation not at the time a public utility shall commence the construction of any plant, line, system, or route to be operated as a public utility, or the operation of which would constitute the same, or the owner or operator thereof, a public utility as defined by law, without having first obtained, in like manner, a similar certificate;
Texas | Required With Min Voltage Threshold | 60 | N |  |  | Public Utility Commission of Texas | https://www.puc.texas.gov/ | UTILITIES CODE - TITLE 2. PUBLIC UTILITY REGULATORY ACT - SUBTITLE B. ELECTRIC UTILITIES - CHAPTER 31. GENERAL PROVISIONS - SUBCHAPTER A. GENERAL PROVISIONS Sec. 31.002. DEFINITIONS. [...] (6) "Electric utility" means a person or river authority that owns or operates for compensation in this state equipment or facilities to produce, generate, transmit, distribute, sell, or furnish electricity in this state. The term includes a lessee, trustee, or receiver of an electric utility and a recreational vehicle park owner who does not comply with Subchapter C, Chapter 184, with regard to the metered sale of electricity at the recreational vehicle park. [...] (19) "Transmission and distribution utility" means a person or river authority that owns or operates for compensation in this state equipment or facilities to transmit or distribute electricity, except for facilities necessary to interconnect a generation facility with the transmission or distribution network, a facility not dedicated to public use, or a facility otherwise excluded from the definition of "electric utility" under this section, in a qualifying power region certified under Section 39.152, but does not include a municipally owned utility or an electric cooperative. (20) "Transmission service" includes construction or enlargement of facilities, transmission over distribution facilities, control area services, scheduling resources, regulation services, reactive power support, voltage control, provision of operating reserves, and any other associated electrical service the commission determines appropriate, except that, on and after the implementation of customer choice, control area services, scheduling resources, regulation services, provision of operating reserves, and reactive power support, voltage control, and other services provided by generation resources are not "transmission service." SUBCHAPTER B. CERTIFICATE OF CONVENIENCE AND NECESSITY Sec. 37.051. CERTIFICATE REQUIRED. (a) An electric utility may not directly or indirectly provide service to the public under a franchise or permit unless the utility first obtains from the commission a certificate that states that the public convenience and necessity requires or will require the installation, operation, or extension of the service.
Utah | Required With Min Voltage Threshold | 230 | N |  |  | Utah Public Service Commission - Utility Facility Review Board | https://psc.utah.gov/ | UT. Code. Ann. §54-2-1. [...] (10) "Electric plant" includes all real estate, fixtures, and personal property owned, controlled, operated, or managed in connection with or to facilitate the production, generation, transmission, delivery, or furnishing of electricity for light, heat, or power, and all conduits, ducts, or other devices, materials, apparatus, or property for containing, holding, or carrying conductors used or to be used for the transmission of electricity for light, heat, or power. [...] (23) (a) "Public utility" includes every railroad corporation, gas corporation, electrical corporation, distribution electrical cooperative, wholesale electrical cooperative, telephone corporation, telegraph corporation, water corporation, sewerage corporation, heat corporation, and independent energy producer not described in Section 54-2-201 where the service is performed for, or the commodity delivered to, the public generally, or in the case of a gas corporation or electrical corporation where the gas or electricity is sold or furnished to any member or consumers within the state for domestic, commercial, or industrial use. 54-4-25 Certificate of convenience and necessity prerequisite to construction and operation-- Electrical suppliers. (1) Except as provided in Section 11-13-304, a gas corporation, electric corporation, telephone corporation, telegraph corporation, heat corporation, water corporation, or sewerage corporation may not establish, or begin construction or operation of a line, route, plant, or system or of any extension of a line, route, plant, or system, without having first obtained from the commission a certificate that present or future public convenience and necessity does or will require the construction. 54-18-102 Definitions. [...] (4) "High voltage power line" means: (a) an electrical high voltage power line with a nominal voltage of 230 kilovolts or more; and (b) an upgraded high voltage power line. 54-18-303 Application for land use permit. (1) Before a public utility may file a land use application for a proposed high voltage power line, the public utility shall, in accordance with Subsection (2), identify a proposed corridor in the public utility's land use application after: (a) providing a notice of intent in accordance with Section 54-18-301; and (b) conducting the public workshops in accordance with Section 54-18-302
Vermont | Not Required |  | N |  |  | Vermont Public Utility Commission | https://puc.vermont.gov/ | § 231. Certificate of public good; abandonment of service; hearing (a) A person, partnership, unincorporated association, or previously incorporated association that desires to own or operate a business over which the Public Utility Commission has jurisdiction under the provisions of this chapter shall first petition the Commission to determine whether the operation of such business will promote the general good of the State and shall at that time file a copy of any such petition with the Department... § 248. New gas and electric purchases, investments, and facilities; certificate of public good [...] (A) no company, as defined in section 201 of this title, and no person, as defined in 10 V.S.A. § 6001(14), may begin site preparation for or construction of an electric generation facility, energy storage facility, or electric transmission facility within the State that is designed for immediate or eventual operation at any voltage; and (B) no such company may exercise the right of eminent domain in connection with site preparation for or construction of any such transmission facility, energy storage facility, or generation facility, unless the Public Utility Commission first finds that the same will promote the general good of the State and issues a certificate to that effect.
Virginia | Not Required |  | N |  |  | Virginia State Corporation Commission | https://www.scc.virginia.gov/ | Code of Virginia § 56-265.1. Definitions. [...] (b) "Public utility" means any company that owns or operates facilities within the Commonwealth of Virginia for the generation, transmission, or distribution of electric energy for sale, § 56-265.2. Certificate of convenience and necessity required for acquisition, etc., of new facilities. A. 1. Subject to the provisions of subdivision 2, it shall be unlawful for any public utility to construct, enlarge or acquire, by lease or otherwise, any facilities for use in public utility service, except ordinary extensions or improvements in the usual course of business, without first having obtained a certificate from the Commission that the public convenience and necessity require the exercise of such right or privilege. [...] 2. For construction of any transmission line of 138 kilovolts and associated facilities, a public utility shall either (i) obtain a certificate pursuant to subdivision 1 or (ii) obtain approval pursuant to the requirements of (a) § 15.2-2232 and (b) any applicable local zoning ordinances by the locality or localities in which the transmission line will be located.
Washington | Not Required | 115 | N |  |  | Washington State Energy Facility Site Evaluation Council (EFSEC) | https://efsec.wa.gov/ | RCW 80.50.020 Definitions. [...] (4) "Associated facilities" means storage, transmission, handling, or other related and supporting facilities connecting an energy plant with the existing energy supply, processing, or distribution system, including, but not limited to, communications, controls, mobilizing or maintenance equipment, instrumentation, and other types of ancillary transmission equipment, off-line storage or venting required for efficient operation or safety of the transmission system and overhead, and surface or subsurface lines of physical access for the inspection, maintenance, and safe operations of the transmission facility and new transmission lines constructed to operate at nominal voltages of at least 115,000 volts to connect a thermal power plant or alternative energy facilities to the northwest power grid. However, common carrier railroads or motor vehicles shall not be included. [...] (6) "Certification" means a binding agreement between an applicant and the state which shall embody compliance to the siting guidelines, in effect as of the date of certification, which have been adopted pursuant to RCW 80.50.040 as now or hereafter amended as conditions to be met prior to or concurrent with the construction or operation of any energy facility. RCW 80.50.060 Energy facilities to which chapter applies—Applications for certification—Forms—Council's duties—Potential effects to tribal cultural resources. [...] (b) If applicants proposing the following types of facilities choose to receive certification under this chapter, the provisions of this chapter apply to the construction, reconstruction, or enlargement of these new or existing facilities: [...] (iii) Electrical transmission facilities: (A) Of a nominal voltage of at least 115,000 volts; and (B) located in more than one jurisdiction that has promulgated land use plans or zoning ordinances;
West Virginia | Required With Min Voltage Threshold | 200 | N |  |  | West Virginia Public Service Commission | https://www.psc.state.wv.us/ | West Virginia Code §24-2-11a. Requirement for certificate of public convenience and necessity before beginning construction of high voltage transmission line; contents of application; notice; hearing; criteria for granting or denying certificate; regulations. (a) No public utility, person or corporation may begin construction of a high voltage transmission line of two hundred thousand volts or over, which line is not an ordinary extension of an existing system in the usual course of business as defined by the Public Service Commission, unless and until it or he or she has obtained from the Public Service Commission a certificate of public convenience and necessity approving the construction and proposed location of the transmission line.
Wisconsin | Required With Min Voltage Threshold | 100 | N |  |  | Public Service Commission of Wisconsin | https://psc.wi.gov/Pages/Home.aspx | Wisconsin Statute 196.01 Definitions. [...] (5) (a) Public utility means, except as provided in par. (b), every corporation, company, individual, association, their lessees, trustees or receivers appointed by any court, and every sanitary district, town, village or city that may own, operate, manage or control any toll bridge or all or any part of a plant or equipment, within the state, for the production, transmission, delivery or furnishing of heat, light, water or power either directly or indirectly to or for the public. 196.49 Authorization from commission before transacting business; extensions and improvements to be approved; enforcement of orders; natural gas. (1) (am) Except as provided in s. 196.50 (1) (am), no public utility not legally engaged in performing a utility service on August 1, 1931, in any municipality may commence the construction of any public utility plant, extension or facility, or render service in such municipality directly, or indirectly by serving any other public utility or agency engaged in public utility service or otherwise, unless the public utility has obtained a certificate from the commission authorizing it to transact public utility business. 196.485 Transmission system requirements. [...] (h) “Transmission facility” means any pipe, pipeline, duct, wire, line, conduit, pole, tower, equipment or other structure used for the transmission of electric power as determined by the public service commission on the basis of factors for identifying a transmission facility that are specified in the orders of the federal energy regulatory commission under 16 USC 824d and 824e. 196.491 Strategic energy assessment; electric generating facilities and transmission lines; natural gas lines. [...] (3) CERTIFICATE OF PUBLIC CONVENIENCE AND NECESSITY. (a) 1. Except as provided in sub. (3b), no person may commence the construction of a facility unless the person has applied for and received a certificate of public convenience and necessity under this subsection. A person who proposes to construct a large electric generating facility may apply for a certificate for that facility and for another certificate for an associated high-voltage transmission line for which a certificate under this subsection is required by submitting a single application...
Wyoming | Required With Min Voltage Threshold | 230 | N |  |  | Wyoming Public Service Commission | https://psc.wyo.gov/ | Wyoming Statute § 37-1-101. Definitions. [...] (vi) “Public utility” means and includes every person that owns, operates, leases, controls or has power to operate, lease or control: [...] (C) Any plant, property or facility for the generation, transmission, distribution, sale or furnishing to or for the public of electricity for light, heat or power, including any conduits, ducts or other devices, materials, apparatus or property for containing, holding or carrying conductors used or to be used for the transmission of electricity for light, heat or power; § 37-2-205. Certificate of convenience and necessity; hearings. (a) Except as provided in this subsection, no public utility shall begin construction or complete the purchase of a line or plant, or of any extension of a line or material addition to a plant, without having first obtained from the commission a certificate that the present or future public convenience and necessity require or will require such construction or purchase.