Resin Advantage

Lumiclear™  •  Lumiform™  •  Lumishield EX™

| FEATURE | LUMICLEAR™ (ACRYLIC) | LUMIFORM™ (PETG) | LUMISHIELD EX™ (PC) | NOTES |
| --- | --- | --- | --- | --- |
| Optical Clarity |  |  |  | Lumiclear has superior clarity, especially at gauges .236" and greater. Lumiform has a slight grey tint. Lumishield EX has a slight green tint. |
| Fire Rating |  |  |  | Lumiform has a Class A fire rating up to 3/8" gauge. Lumishield EX has a Class A in .236" and a Class B in .472". Lumiclear has a Class C fire rating. |
| Impact Strength |  |  |  | Lumishield EX is 130 times stronger than glass. Lumiform is 40 times stronger than glass. Lumiclear is 7 times stronger than glass. |
| Recycled Content |  |  |  | Lumiclear contains a minimum of 50% recycled content. Lumiform contains a minimum of 40% recycled content. Lumishield EX contains a minimum of 40% recycled content. |
| Sustainability |  |  |  | All resins are 100% recyclable. |
| Renewable Surface |  |  |  | Lumiclear with a Gloss or Matte finish is a renewable surface which can be refinished to extend the life of the product. |
| Rigidity |  |  |  | Lumiclear is 50% more rigid than Lumiform which may allow the use of thinner gauges. |
| UV Resistance |  |  |  | Lumiclear is naturally resistant to UV rays. Lumishield EX comes standard with UV cap on both sides. |
| Weight |  |  |  | Lumiclear, Lumiform and Lumishield EX are approximately half the weight of glass. |
| Excellent │ Good │ Fair |  |  |  |  |