## Slide 1
Robert Westby
Principal Engineer, Power Solutions Engineering
POWERING THE INTELLIGENT EDGE WITH GAN TECHNOLOGY
Mar. 4, 2025

## Slide 2: Mission Critical Applications Require Robust Power
Data Center
Industrial
Aerospace
Digital Healthcare
Instrumentation
Notes: Just some of the application areas where we see tremendous potential and interest from customers

## Slide 3: Robust Power You Can Trust from ADI
Decreases costly downtime in manufacturing
Ensures patient safety in hospitals
Prevents vaccine and medicine loss in refrigeration units
Avoids abrupt power dropout

## Slide 4: Power Glitches will NOT Stop the Robot
LTC4421 Prioritized PowerPath Controller
Connects valid supply to power system
OV & UV & OC detection
Limit inrush current
Source 1
Main
Power Supply
(bench)
Source 2
Backup Power Supply
(laptop adapter)
LTC4421
Prioritized PowerPath Controller
LTC2977 DPSM
System Voltage Monitor
12 V
12 V or 19.5 V
19.5 V
9.0 V
12.0 V
MAX31827 Temp Sensor
Input Voltage
Regulator Voltage
SuperCap Voltage
Output Voltage
Super
Capacitor
LTC7891 Buck Converter
with GaN FETS
LTC7893
Boost Regulator
with GaN FETS
Automatically select incoming power source
8.9 V
Notes: Demo Interaction: 1, 2 ,3

## Slide 5: GaN for Energy-Efficient Performance
LTC7891 GaN Buck Controller
GaN drive technology fully optimized for GaN FETs
Eases design-in: no catch, clamp, or bootstrap diodes needed
Smart near-zero dead time and wide VIN & VOUT
Enables a power dense solution
Source 1
Main
Power Supply
(bench)
Source 2
Backup Power Supply
(laptop adapter)
LTC4421
Prioritized PowerPath Controller
LTC2977 DPSM
System Voltage Monitor
12 V
12 V or 19.5 V
19.5 V
9.0 V
12.0 V
MAX31827 Temp Sensor
Input Voltage
Regulator Voltage
SuperCap Voltage
Output Voltage
Super
Capacitor
LTC7891 Buck Converter
with GaN FETS
LTC7893
Boost Regulator
with GaN FETS
8.9 V
Notes: Demo Interaction: 1, 2 ,3

## Slide 6: Keep Your System in the Know
LTC2977 PMBus Power System Manager
Monitor up to 8 voltages
Automatic fault logging to internal EEPRM
LTpowerPlay for setup, config & debug
Send power system telemetry to external computer
Source 1
Main
Power Supply
(bench)
Source 2
Backup Power Supply
(laptop adapter)
LTC4421
Prioritized PowerPath Controller
LTC2977 DPSM
System Voltage Monitor
12 V
12 V or 19.5 V
19.5 V
9.0 V
12.0 V
MAX31827 Temp Sensor
Input Voltage
Regulator Voltage
SuperCap Voltage
Output Voltage
Super
Capacitor
LTC7891 Buck Converter
with GaN FETS
LTC7893
Boost Regulator
with GaN FETS
8.9 V
Notes: Demo Interaction: 1, 2 ,3

## Slide 7: Robust System Performance for Wide-Band Gap GaN
LTC7893
GaN Drive Technology Fully Optimized for GaN FETs
VIN down to 1 V after start-up & VOUT up to 100 V
AEC-Q100 Qualified for Automotive
Enables a power
dense solution
Source 1
Main
Power Supply
(bench)
Source 2
Backup Power Supply
(laptop adapter)
LTC4421
Prioritized PowerPath Controller
LTC2977 DPSM
System Voltage Monitor
12 V
12 V or 19.5 V
19.5 V
9.0 V
12.0 V
MAX31827 Temp Sensor
Input Voltage
Regulator Voltage
SuperCap Voltage
Output Voltage
Super
Capacitor
LTC7891 Buck Converter
with GaN FETS
LTC7893
Boost Regulator
with GaN FETS
8.9 V
Notes: Demo Interaction: 1, 2 ,3

## Slide 8: Monitor Temperature and Catch Problems Early
MAX31827 Temperature Monitor & Switch
Low power with I2C and SMBus support
-45°C to 145°C temperature range
Tiny 6-bump WLP: 1.048 mm x 1.268 mm
Alarm for over-temperature
Source 1
Main
Power Supply
(bench)
Source 2
Backup Power Supply
(laptop adapter)
LTC4421
Prioritized PowerPath Controller
LTC2977 DPSM
System Voltage Monitor
12 V
12 V or 19.5 V
19.5 V
9.0 V
12.0 V
MAX31827 Temp Sensor
Input Voltage
Regulator Voltage
SuperCap Voltage
Output Voltage
Super
Capacitor
LTC7891 Buck Converter
with GaN FETS
LTC7893
Boost Regulator
with GaN FETS
8.9 V
Notes: Demo Interaction: 1, 2 ,3

## Slide 9: ADI GaN Controllers Simplify Design
Robust
  Precise gate drive voltage optimizes performance and protects the GaN FET
  High switching frequency up to 3 MHz
Smart
  Smart integrated bootstrap switch
  Smart near-zero dead time increases efficiency and maximizes GaN performance
Control
  Split gate drive for pull-up and pull-down
  Dead time control adaptive or with a resistor

## Slide 10: ADI GaN Controllers Simplify Design
Dead-Time Control Down to Near 0nS:
  Smart dead-time control minimizes reverse current loses in the synchronized GaN FET
Internal Bootstrap Switch:
  Prevents over charging the bootstrap capacitor
Adjustable Gate Drive Voltage:
  Gate drive voltage can be set from 4.0 V to 5.5 V
Adjustable Undervoltage Lockout:
  Falling UVLO can be set from 3.6 V to 4.75 V
Split Gate Drivers:
  Separate pullup and pulldown gate drives for independent transition control

## Slide 11: Key Concepts for Reliable Power Systems
Select Optimal Power Source
Monitor Temperature
Manage the Power System
Backup and Shut Down Gracefully