## Sheet 1
Table 1
able 1
https://www.daftlogic.com/information-appliance-power-consumption.htm | Instructions: Insert the watts you would normally use for each item that you own in the “Detail” column. Put the figure for watts. The spreadsheet will add all of the items for you. Go to the bottom rows and see the total use if everything was on. Normally, if you want to always have power available, Look at that 75% of Total row as this is the size system you should choose. If you are only going to use it for some of the items in your home, adjust accordingly. We included a 25% use rate calculation for your convenience.
Copyright © Kairos Solar®
Appliance | Minimum | Maximum | Standby | Detail
100W light bulb (LED) | 7 | 7 | 0W | 0
22 Inch LED TV | 17W | 17W | 0.5W | 0
25" colour TV | 150W | 150W | N/A | 0
3" belt sander | 1000W | 1000W | N/A | 0
32 Inch LED TV | 20W | 60W | 1W | 0
42 Inch LED TV | 58W | 60W | 0.3W | 0
46 Inch LED TV | 60W | 70W | 1W | 0
49 Inch LED TV | 85W | 85W | 1W | 0
55 Inch LED TV | 116W | 116W | 0.5W | 0
60W light bulb (Incandescent) | 60W | 60W | 0W | 0
65 Inch LED TV | 120W | 130W | 1W | 0
82 Inch LED TV | 228W | 295W | 0.5W | 0
9" disc sander | 1200W | 1200W | N/A | 0
Air Cooler | 65W | 80W | N/A | 0
Air Fryer | 1500W | 1500W | N/A | 0
Air Purifier | 25W | 30W | N/A | 0
Amazon Echo | 3W | 3W | 2W | 0
Amazon Echo Dot | 2W | 3W | N/A | 0
Amazon Echo Show | 2W | 4W | 0.1W | 0
American-Style Fridge Freezer | 40W | 80W | N/A | 0
Apple TV | 3W | 6W | 0.3W | 0
Aquarium Pump | 20W | 50W | N/A | 0
AV Receiver | 450W | 450W | N/A | 0
Bathroom Towel Heater | 60W | 150W | N/A | 0
Ceiling Fan | 60W | 70W | 0W | 0
Chromebook | 45W | 45W | N/A | 0
Chromecast | 2W | 2W | N/A | 0
Clock radio | 1W | 2W | N/A | 0
Clothes Dryer | 1000W | 4000W | N/A | 0
Coffee Maker | 800W | 1400W | N/A | 0
Computer Monitor | 25W | 30W | N/A | 0
Cooker Hood | 20W | 30W | 0W | 0
Corded Drill | 600W | 850W | N/A | 0
Corded Electric Handheld Leaf Blower | 2500W | 2500W | N/A | 0
Cordless Drill Charger | 70W | 150W | N/A | 0
Curling Iron | 25W | 35W | 0W | 0
DAB Mains Radio | 5W | 9W | N/A | 0
Deep Freezer | 19W | 19W | N/A | 0
Dehumidifier | 240W | 240W | N/A | 0
Desktop Computer | 100W | 450W | N/A | 0
Dishwasher | 1200W | 1500W | N/A | 0
Domestic Water Pump | 200W | 300W | 0W | 0
DVD Player | 26W | 60W | N/A | 0
Electric Blanket | 200W | 200W | N/A | 0
Electric Boiler | 4000W | 14000W | N/A | 0
Electric Doorbell Transformer | 2W | 2W | N/A | 0
Electric Heater Fan | 2000W | 3000W | N/A | 0
Electric Kettle | 1200W | 3000W | 0W | 0
Electric Mower | 1500W | 1500W | N/A | 0
Electric Pressure Cooker | 1000W | 1000W | N/A | 0
Electric Shaver | 15W | 20W | N/A | 0
Electric stove | 2000W | 2000W | N/A | 0
Electric Tankless Water Heater | 6600W | 8800W | N/A | 0
Electric Thermal Radiator | 500W | 500W | N/A | 0
Electric Toothbrush Charger | 6W | 6W | N/A | 0
Espresso Coffee Machine | 1300W | 1500W | N/A | 0
EV Car Charger | 2000W | 7000W | N/A | 0
EV Home Charger | 1600W | 3400W | N/A | 0
Evaporative Air Conditioner | 2600W | 2600W | N/A | 0
External Hard Drive | 1W | 3W | N/A | 0
Extractor Fan | 12W | 12W | N/A | 0
Fluorescent Lamp | 28W | 45W | N/A | 0
Food Blender | 300W | 400W | N/A | 0
Food Dehydrator | 800W | 800W | N/A | 0
Freezer | 30W | 50W | N/A | 0
Fridge | 100W | 220W | N/A | 0
Fridge / Freezer | 150W | 400W | N/A | 0
Fryer | 1000W | 1000W | N/A | 0
Game Console | 120W | 200W | N/A | 0
Gaming PC | 300W | 600W | 1W | 0
Garage Door Opener | 300W | 400W | N/A | 0
Google Home Mini | 15W | 15W | 2W | 0
Guitar Amplifier | 20W | 30W | N/A | 0
Hair Blow Dryer | 1800W | 2500W | N/A | 0
Hand Wash Oversink Water Heater | 3000W | 3000W | N/A | 0
Heated Bathroom Mirror | 50W | 100W | N/A | 0
Heated Hair Rollers | 400W | 400W | N/A | 0
Home Air Conditioner | 1000W | 4000W | N/A | 0
Home Internet Router | 5W | 15W | N/A | 0
Home Phone | 3W | 5W | 2W | 0
Home Sound System | 95W | 95W | 1W | 0
Hot Water Dispenser | 1200W | 1300W | N/A | 0
Hot Water Immersion Heater | 3000W | 3000W | N/A | 0
Humidifier | 35W | 40W | N/A | 0
iMac | 60W | 240W | 1W | 0
Induction Hob (per hob) | 1400W | 1800W | N/A | 0
Inkjet Printer | 20W | 30W | N/A | 0
Inverter Air conditioner | 1300W | 1800W | N/A | 0
Iron | 1000W | 1000W | N/A | 0
Jacuzzi | 3000W | 7500W | 1500W | 0
Kitchen Extractor Fan | 200W | 200W | N/A | 0
Laptop Computer | 50W | 100W | N/A | 0
Laser Printer | 600W | 800W | N/A | 0
Lawnmower | 1000W | 1400W | N/A | 0
LED Christmas Lights | 5W | 5W | N/A | 0
LED Light Bulb | 7W | 10W | 0W | 0
Mi Box | 5W | 7W | 3W | 0
Microwave | 600W | 1700W | 3W | 0
Night Light | 1W | 1W | 0W | 0
Nintendo Switch AC Adapter | 7W | 40W | N/A | 0
Outdoor Hot Tub | 60W | 500W | N/A | 0
Oven | 2150W | 2150W | N/A | 0
Paper Shredder | 200W | 220W | N/A | 0
Pedestal Fan | 50W | 60W | N/A | 0
Percolator | 800W | 1100W | N/A | 0
Philips Hue Smart Bulb | 8W | 9W | 0.4W | 0
Phone Charger | 4W | 7W | N/A | 0
Playstation 4 | 85W | 90W | N/A | 0
Playstation 5 | 160W | 200W | N/A | 0
Portable Air Conditioner | 1000W | 1200W | N/A | 0
Power Shower | 7500W | 10500W | 0W | 0
Pressure Cooker | 700W | 700W | N/A | 0
Pressure Washer | 1500W | 1500W | N/A | 0
Projector | 220W | 270W | 1W | 0
Refrigerator | 100W | 200W | N/A | 0
Rice Cooker | 200W | 800W | N/A | 0
Sandwich Maker | 700W | 1000W | N/A | 0
Scanner | 10W | 18W | N/A | 0
Set Top Box | 27W | 30W | N/A | 0
Sewing Machine | 70W | 80W | N/A | 0
Singer Sewing Machine | 100W | 100W | N/A | 0
Sky Q 2TB Box | 40W | 40W | N/A | 0
Slow Cooker | 160W | 180W | N/A | 0
Smoke Detector | 0W | 1W | N/A | 0
Space Heater | 2000W | 5000W | N/A | 0
Steam Iron | 2200W | 2500W | N/A | 0
Steriliser | 650W | 650W | N/A | 0
Straightening Iron | 75W | 300W | N/A | 0
Strimmer | 300W | 500W | N/A | 0
Submersible Water Pump | 200W | 400W | N/A | 0
Table Fan | 10W | 25W | N/A | 0
Table Top Fridge | 10W | 15W | N/A | 0
Tablet Charger | 10W | 15W | N/A | 0
Tablet Computer | 5W | 10W | N/A | 0
Toaster | 800W | 1800W | 0W | 0
Tower Fan | 60W | 60W | N/A | 0
Treadmill | 280W | 900W | N/A | 0
Tube Light (1500mm) | 22W | 22W | N/A | 0
TV (19" colour) | 40W | 100W | 1W | 0
Vacuum Cleaner | 450W | 900W | 0W | 0
Wall Fan | 45W | 60W | 0W | 0
Washing Machine | 500W | 500W | 1W | 0
Water Dispenser | 100W | 100W | N/A | 0
Water Feature | 35W | 35W | N/A | 0
Water Filter and Cooler | 70W | 100W | N/A | 0
WiFi Booster | 1W | 2W | N/A | 0
WiFi Router | 4W | 10W | 4W | 0
Window Air Conditioner | 500W | 1500W | N/A | 0
Wine cooler (18 bottles) | 83W | 83W | 0W | 0
Xbox One | 50W | 110W | 14W | 0
Other items in General (20%) |  |  |  | 0
Appliance | Minimum | Maximum | Standby
Total in Watts |  |  |  | 0
Total with 70% use factor in Watts |  |  |  | 0
Total with 25% use factor in Watts |  |  |  | 0