- Perioperative Management Form for Cardiac Rhythm Management Devices

Use "Tab" key on computer to navigate form fields for completetion

Patient Name:	     		Planned Procedure:

Manufacturer:      		Model:     		Serial #:     		Date Implanted:

Local Rep:      	Tel #:      		Cardiologist:      	Tel #:

Device Type:	 Pacemaker		 Single lead /  Dual lead

Unipolar lead /  Bipolar lead

Biventricular

AICD 	AICD with pacemaker

Reason for Device Implantation:

Bradyarrhythmias		Ventricular tachyarrhythmias	SVT	AV Block

Sick Sinus Syndrome	Poor LV Function			CHF	AVN ablation

Pacemaker Settings:	Mode: 	     	Lower Rate:     /min	Upper rate:      /min

Rate adaptive function: No Yes (1)

Patient's underlying rate & rhythm:      . Is the patient pacer dependant? Yes No

Describe the plan for changing CRMD in a pacer dependant patient to an asynchronous mode:

Is the application of a magnet enough?	Yes		No (2)

What is the rate and mode of the CRMD when a magnet is applied? Rate:     /min 	Mode:

Date of last CRMD interrogation:      	Next recommended interrogation:

Battery Life:

Describe any episodes of tachyarrhythmias recorded / shocks delivered:      	N/A

Device is in:	 End-of -life mode	 (EOL)(3)		     Elective Replacement Indicator mode(ERI)(3)

Intensified Follow-up Interval mode (IFI)(4)  None of the above

Please provide any other recommendations:

Completed by:

INSTRUCTIONS

- Obtain initial data from patient and scheduling surgeon / physician's office

- Forward information for detailed completion to EP physician / cardiologist / internist

- If any intervention is planned, please review with an anesthesiologist.

- The following procedures need EP physician consultation:	-RF catheter ablation

-Lithotripsy

-MRI

-ECT

-Radiation Therapy

- Please arrange for Rate Adaptive Function to be turned off the morning of surgery

- If the application of a magnet is insufficient, please arrange for reprogramming the morning of surgery. Please change the CRMD to an asynchronous mode at a rate of 80 Bpm.

- Needs replacement  prior to elective surgery

- Needs monthly battery checks