Clinical Pathway for Management of Patients with Deep Brain Stimulators Presenting for Surgery and Anesthesia (developed and applied at Stony Brook University Medical Center, NY)

Pre-operative considerations:

| Contact treating neurologist | Get latest clinical information Recommendations for per-operative levo/carbiodopa dosage Post-operative follow-up |
| --- | --- |
| Chest X-ray | Identify generator location |
| Contact DBS “team” (anesthesia and neurology) | Maintain consistency in clinical care Name: ___Pager:______ Name: ___Pager:______ |
| Contact device manufacturer | Have representative available to disable device for the OR Medtronic Phone number:1-800-3280810 |
| Scheduling | Allow time on day of surgery for: Neurology assessment Device representative arrival (usually not 1st case) |
| Have patient bring remote | Can temporarily disable device during hospital stay (ECG etc) |

Intra-operative considerations

| Use of Bipolar electrocautery only | Minimize potential for device damage and CNS injury Device must be disabled as well as output amplitude turned to zero |
| --- | --- |
| Prophylactic antibiotics | Minimize infection for CNS implanted device |
| General Anesthesia | Rigidity and hypoventilation may ensue when device is disabled |
| Appropriate anti-emetic | Avoid droperidol and metoclopramide as may worsen symptoms |

Post-Operative considerations

| Reactivation of device | Must have baseline frequency and amplitude settings restored |
| --- | --- |
| Close neurology follow-up | Dosages of medications may need to be adjusted Erratic absorption post op |
| Hypoventilation | Rigidity is usually rapidly reversed after device reactivation |
| Recovery | PD patients have longer recovery time after illness and surgery Usual day surgery may need admission |