## Slide 1: JennLake Selling Home Lot Inspections
185 JennLake Drive
Starkville, MS 39759
Office: 662-324-1001
Mobile: 404-796-4152
jennlake662@gmail.com
6/23/2026
JennLake Meadows is not responsible for assessing the structural integrity or condition of any home. However, if we believe a home has deteriorated to a condition beyond its value to be repaired or renovated, we may choose to not re-new the lease and require the removal of the home from the property.
Major issues and safety issues must be resolved within timelines and will be documented in the Lease Agreement with new owners if unresolved at home closing in the office.
The office has a JD Power MH Connect subscription and will provide the estimated value report for any home upon request at no charge (new or used). Please read the Age of Home policy which is available in the website Documents section.
LOT | INSPECTION RESULTS
128 Dixie | No Issues Identified
150 Bernice | Add railing to front porch Replace roof Add flashing to front porch roof (have roofer do it) Trim branches off roof Replace steps on back porch Remove internet box and pole Clean up orange cables Get plumber to check on gas heater pilot lights, and install end caps on unused gas fittings