**REPORT PREPARED FOR:**

 RISH GOLD **PROJECT#** 24020307

 **LAB ID** 54047677

#  REPORT DATE 11/14/2024

 **SAMPLE NAME:** THCA Badder - 102924

**DATE RECEIVED:** 10/30/2024

|  |  |  |
| --- | --- | --- |
| **THCA** | **TOTAL CBD** | **TOTAL CANNABINOIDS** |
| **68.70%** | **5.98%** | **95.20%** |



Total CBG = (0.877 x CBGA) + CBG

ND = Not Detected

APPROVED BY:

#  JUSTIN HALL 11/14/2024

 LAB DIRECTOR **SIGNATURE SIGNED ON**

 Accreditation# 115522 Page 1 of 3

This is a Badger Labs Certificate of Analysis and may not be reproduced without written approval from Badger Labs. Badger Labs maintains strict confidentiality of all client data. Any information regarding an analysis is shared only with the the individuals designated on the Laboratory Chain of Custody (COC) as contacts unless authorization is received. Limits of Quantification (LOQ) are available upon request. This report complies to the requirements of the ISO/IEC 17025:2017 standard. Review the results, expanded uncertainty and specifications to ensure they meet your requirements. Uncertainty values are available upon request.

 **CLIENT:** RISH GOLD

 **PROJECT#:** 24020307

 **SAMPLE NAME:** THCA Badder - 102924

 **DATE RECEIVED:** 10/30/2024 **LAB ID:** 54047677

#  PESTICIDES PASS

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **PESTICIDE** | **ACTION LEVEL****(PPB)** | **SAMPLE LEVEL****(PPB)** | **PESTICIDE** | **ACTION LEVEL****(PPB)** | **SAMPLE LEVEL****(PPB)** |
| Acephate | 100 | ND | Imidacloprid | 5000 |  | ND |
| Acequinocyl | 100 | ND | Kresoxim methyl | 100 |  | ND |
| Acetamiprid | 100 | ND | Malathion | 500 |  | ND |
| Aldicarb | LOD | ND | Metalaxyl | 100 |  | ND |
| Avermectin B1a | 100 | ND | Methiocarb | LOD |  | ND |
| Avermectin B1b | 100 | ND | Methomyl | 1000 |  | ND |
| Azoxystrobin | 100 | ND | Methyl-Parathion | LOD |  | ND |
| Bifenazate | 100 | ND | Mevinphos | LOD |  | ND |
| Bifenthrin | 3000 | ND | Myclobutanil | 100 |  | ND |
| Boscalid | 100 | ND | Oxamyl | 500 |  | ND |
| Captan | 100 | ND | Paclobutrazol | LOD |  | ND |
| Carbaryl | 500 | ND | Pentachloronitrobenzene | LOD |  | ND |
| Carbofuran | LOD | ND | Permethrin I | 500 |  | ND |
| Chlorantraniliprole | 10000 | ND | Phosmet | 100 |  | ND |
| Chlorfenapyr | LOD | ND | Piperonyl butoxide | 3000 |  | ND |
| Chlorpyrifos | LOD | ND | Prallethrin | 100 |  | ND |
| Clofentezine | 100 | ND | Propicanozole | 100 |  | ND |
| Coumaphos | LOD | ND | Propoxur | LOD |  | ND |
| Cyfluthrin | 2000 | ND | Pyrethrin I | 500 |  | ND |
| Cypermethrin | 1000 | ND | Pyrethrin II | 500 |  | ND |
| Daminozide | LOD | ND | Pyridaben | 100 |  | ND |
| Diazinon | 100 | ND | Spinetoram J | 100 |  | ND |
| Dibrom (Naled) | 100 | ND | Spinetoram L | 100 |  | ND |
| Dichlorvos | LOD | ND | Spinosyn A | 100 |  | ND |
| Dimethoate  | LOD | ND | Spinosyn D | 100 |  | ND |
| Dimethomorph I | 2000 | ND | Spiromesifen | 100 |  | ND |
| Dimethomorph II | 2000 | ND | Spirotetramat | 100 |  | ND |
| Ethoprophos | LOD | ND | Spiroxamine | LOD |  | ND |
| Etofenprox | LOD | ND | Tebuconazole | 100 |  | ND |
| Etoxazole | 100 | ND | Thiacloprid | LOD |  | ND |
| Fenhexamid | 100 | ND | Thiamethoxam | 5000 |  | ND |
| FenoxycarbFenpyroximate | LOD100 | NDND | Trifloxystrobin | 100 |  | ND |
|  Prepared By: RF | Analyzed By: | JPH |  |
| FipronilFlonicamidFludixonil | LOD100100 | NDNDND |  Prepared Date: 11/6/2024 Analyzed Date: 11/12/2024 Analysis Batch: NOV1224A-PESAnalyzed by method TP-PES-01 on HPLC/MS/MS or GC/MSND = Analyte not detectedPPB = Parts per billion |  |
| Hexythiazox | 100 | ND |  |  |
| Imazalil | LOD | ND |  |  |
| APPROVED BY: |  |  |
| JUSTIN HALLLAB DIRECTOR | **SIGNATURE** | **11/14/2024****SIGNED ON** |

Page 2 of 3

This is a Badger Labs Certificate of Analysis and may not be reproduced without written approval from Badger Labs. Badger Labs maintains strict confidentiality of all client data. Any information regarding an analysis is shared only with the the individuals designated on the Laboratory Chain of Custody (COC) as contacts unless authorization is received. Limits of Quantification (LOQ) are available upon request. Review the results, expanded uncertainty and specifications to ensure they meet your requirements. Uncertainty values are available upon request.

 **CLIENT:** RISH GOLD

 **PROJECT#:** 24020307

 **SAMPLE NAME:** THCA Badder - 102924

 **DATE RECEIVED:** 10/30/2024 **LAB ID:** 54047677

#  RESIDUAL SOLVENTS PASS

|  |  |  |  |
| --- | --- | --- | --- |
| **CATEGORY I**  | **PPM** | **CATEGORY II** | **PPM** |
|  Ethylene Oxide ND Methylene Chloride ND Benzene ND 1,2-Dichloroethane ND Chloroform ND Trichloroethylene ND Prepared By: JPH Date Prepared: 11/4/2024 Analyzed By: JPH Analysis Date: 11/4/2024 Analysis Batch: NOV0424A-SOLAnalysis method: TP-SOL-01 by HS-GC/MSNo Category I solvent may be present to passND = Not detectedPPM = Parts per million | PropaneButane/IsobutanePentaneAcetoneAcetonitrile HexaneEthyl AcetateHeptaneMethanolDiethyl EtherEthanolIsopropanol Toluene m+p Xylene o-Xylene | NDNDNDNDNDNDNDNDNDNDNDNDNDNDND |  |
| **METALS** |  |  | **PASS** |
| **METALS****FDA - CATEGORY I** | **ACTION LEVEL****(PPM)** | **SAMPLE LEVEL** **(PPM)** |
| Arsenic (As) | 1.5 | ND |
| Cadmium (Cd) | 0.5 | ND |
| Lead (Pb) | 0.5 | ND |
| Mercury (Hg) | 3.0 | ND |

 Prepared By: HS

 Date Prepared: 11/5/2024

 Analyzed By: HS

 Analysis Date 11/6/2024

Analyzed by EPA method 6020A via ICP-OES or ICP-MS

ND = Not detected

PPM = Parts per million

APPROVED BY:

##  JUSTIN HALL **11/14/2024**

 LAB DIRECTOR **SIGNATURE SIGNED ON**

Page 3 of 3

This is a Badger Labs Certificate of Analysis and may not be reproduced without written approval from Badger Labs. Badger Labs maintains strict confidentiality of all client data. Any information regarding an analysis is shared only with the the individuals designated on the Laboratory Chain of Custody (COC) as contacts unless authorization is received. Limits of Quantification (LOQ) are available upon request. Review the results, expanded uncertainty and specifications to ensure they meet your requirements. Uncertainty values are available upon request.