Scope:

This appendix contains information that can be used when timber shoring is provided as a method of protection from cave-ins in trenches that do not exceed 20 feet (6.1 m) in depth. This appendix must be used when design of timber shoring protective systems is to be performed in accordance with 1926.652(c)(1). Other timber shoring configurations; other systems of support such as hydraulic and pneumatic systems; and other protective systems such as sloping, benching, shielding, and freezing systems must be designed in accordance with the requirements set forth in 1926.652(b) and 1926.652(c).

Soil Classification:

In order to use the data presented in this appendix, the soil type or types in which the excavation is made must first be determined using the soil classification method set forth in appendix A.

Limitation of application:

It is not intended that the timber shoring specification apply to every situation that may be experienced in the field. These data were developed to apply to the situations that are most commonly experienced in current trenching practice. Shoring systems for use in situations that are not covered by the data in this appendix must be designed as specified in 1926.652.

When any of the following conditions are present, the members specified in the tables are not considered adequate. Either an alternate timber shoring system must be designed or another type of protective system designed in accordance with 1926.652.

- When loads imposed by structures or by stored material adjacent to the trench weigh in excess of the load imposed by a two-foot soil surcharge. The term “adjacent” as used here means the area within a horizontal distance from the edge of the trench equal to the depth of the trench.

- When vertical loads imposed on cross braces exceed a 240-pound gravity load distributed on a one-foot section of the center of the cross brace.

- When surcharge loads are present from equipment weighing in excess of 20,000 pounds.

- When only the lower portion of a trench is shored and the remaining portion of the trench is sloped or benched unless: The sloped portion is sloped at an angle less steep than three horizontal to one vertical; or the members are selected from the tables for use at a depth which is determined from the top of the overall trench, and not from the toe of the sloped portion.

Use of Tables:

The members of the shoring system that are to be selected using this information are the cross braces, the uprights, and the wales, where wales are required. Minimum sizes of members are specified for use in different types of soil. There are six tables of information, two for each soil type. The soil type must first be determined in accordance with the soil classification system described in appendix A.  Using the appropriate table, the selection of the size and spacing of the members is then made. The selection is based on the depth and width of the trench where the members are to be installed and, in most instances, the selection is also based on the horizontal spacing of the cross braces. Instances where a choice of horizontal spacing of cross bracing is available, the horizontal spacing of the cross braces must be chosen by the user before the size of any member can be determined. When the soil type, the width and depth of the trench, and the horizontal spacing of the cross braces are known, the size and vertical spacing of the cross braces are known, the size and vertical spacing of the cross braces, the size and vertical spacing of the wales, and the size and horizontal spacing of the uprights can be read from the appropriate table.

Notes for all Tables:

- Member sizes at spacing other than indicated are to be determined as specified in 1926.652(c), “Design of Protective Systems.”

- When conditions are saturated or submerged use “tight sheeting”. Tight sheeting refers to the use of specially-edged timber planks (e.g., tongue and groove) at least three inches thick, steel sheet piling, or similar construction that when driven or placed in position provide a tight wall to resist the lateral pressure of water and to prevent the loss of backfill material. Close Sheeting refers to the placement of planks side-by-side allowing as little space as possible between them.

- All spacing indicated is measured center to center.

- Wales are to be installed with greater dimension horizontal.

- If the vertical distance from the center of the lowest cross brace to the bottom of the trench exceeds two and one-half feet, uprights shall be firmly embedded or a mudsill shall be used. Where uprights are embedded, the vertical distance from the center of the lowest cross brace to the bottom of the trench shall not exceed 36 inches. When mudsills are used, the vertical distance shall not exceed 42 inches. Mudsills are wales that are installed at the tow of the trench side.

- Trench jacks may be used in lieu of or in combination with timber cross braces.

- When the vertical spacing of cross braces is four feet, place the top cross brace no more than two feet below the top of the trench. When the vertical spacing of cross braces is five feet, place the top cross brace no more than 2.5 feet below the top of the trench.

Table C-1.1-Timber Trench Shoring- Minimum Timber Requirements*

Soil Type A Pa = 25 x H + 72 psf (2 ft. surcharge)

| Depth of Trench (ft) | Size (Actual) and spacing of members ** |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cross Braces |  |  |  |  |  |  | Wales |  | Uprights |  |  |  |  |
|  | Horiz. Spacing (ft) | Width of trench (ft) |  |  |  |  | Vert. Spacing (ft) | Size (in) | Vert. Spacing (ft) | Max. Allowable Horizontal Spacing (ft.) |  |  |  |  |
|  |  | Up to 4 | Up to 6 | Up to 9 | Up to 12 | Up to 15 |  |  |  | Close | 4 | 5 | 6 | 8 |
| 5 To 10 | Up to 6 | 4 x 4 | 4 x 4 | 4 x 6 | 6 x 6 | 6 x 6 | 4 | Not req. | _ |  |  |  | 2 x 6 |  |
|  | Up to 8 | 4 x 4 | 4 x 4 | 4 x 6 | 6 x 6 | 6 x 6 | 4 | Not req. | _ |  |  |  |  | 2 x 8 |
|  | Up to 10 | 4 x 6 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 4 | 8 x 8 | 4 |  |  | 2 x 6 |  |  |
|  | Up to 12 | 4 x 6 | 4 x 4 | 4 x 6 | 6 x 6 | 6 x 6 | 4 | 8 x 8 | 4 |  |  |  | 2 x 6 |  |
| 10 To 15 | Up to 6 | 4 x 4 | 4 x 4 | 4 x 6 | 6 x 6 | 6 x 6 | 4 | Not req. | _ |  |  |  | 3 x 8 |  |
|  | Up to 8 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 4 | 8 x 8 | 4 |  | 2 x 6 |  |  |  |
|  | Up to 10 | 6 x 6 | 6 x 5 | 6 x 6 | 6 x 8 | 6 x 8 | 4 | 8 x 10 | 4 |  |  | 2 x 6 |  |  |
|  | Up to 12 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 6 x 8 | 4 | 10 x 10 | 4 |  |  |  | 3 x 8 |  |
| 15 To 20 | Up to 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 6 x 8 | 4 | 6 x 8 | 4 | 3 x 6 |  |  |  |  |
|  | Up to 8 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 6 x 8 | 4 | 8 x 8 | 4 | 3 x 6 |  |  |  |  |
|  | Up to 10 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 10 | 4 | 8 x 10 | 4 | 3 x 6 |  |  |  |  |
|  | Up to 12 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 10 | 4 | 10 x 10 | 4 | 3 x 6 |  |  |  |  |
| Over 20 | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

*Mixed oak or equivalent with a bending strength not less than 850 psi.

** Manufactured members of equivalent strength may be substituted for wood.

Table C-1.2-Timber Trench Shoring- Minimum Timber Requirements*

Soil Type B Pa = 45 x H + 72 psf (2 ft. surcharge)

| Depth of Trench (ft) | Size (Actual) and spacing of members ** |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cross Braces |  |  |  |  |  |  | Wales |  | Uprights |  |  |  |  |
|  | Horiz. Spacing (ft) | Width of trench (ft) |  |  |  |  | Vert. Spacing (ft) | Size (in) | Vert. Spacing (ft) | Max. Allowable Horizontal Spacing (ft.) |  |  |  |  |
|  |  | Up to 4 | Up to 6 | Up to 9 | Up to 12 | Up to 15 |  |  |  | Close | 2 | 3 |  |  |
| 5 To 10 | Up to 6 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 5 | 6 x 8 | 5 |  |  | 2 x 6 |  |  |
|  | Up to 8 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 6 x 8 | 5 | 8 x 10 | 5 |  |  | 2 x 6 |  |  |
|  | Up to 10 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 6 x 8 | 5 | 10 x 10 | 5 |  |  | 2 x 6 |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 To 15 | Up to 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 6 x 8 | 5 | 8 x 8 | 5 |  | 2 x 6 |  |  |  |
|  | Up to 8 | 6 x 8 | 6 x 8 | 6 x 8 | 8 x 8 | 8 x 8 | 5 | 10 x 10 | 5 |  | 2 x 6 |  |  |  |
|  | Up to 10 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 10 | 5 | 10 x 12 | 5 |  | 2 x 6 |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 To 20 | Up to 6 | 6 x 8 | 6 x 8 | 6 x 8 | 8 x 8 | 8 x 8 | 5 | 8 x 10 | 5 | 3 x 6 |  |  |  |  |
|  | Up to 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 10 | 5 | 10 x 12 | 5 | 3 x 6 |  |  |  |  |
|  | Up to 10 | 8 x 10 | 8 x 10 | 8 x 10 | 8 x 10 | 10 x 10 | 5 | 12 x 12 | 5 | 3 x 6 |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Over 20 | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

*Mixed oak or equivalent with a bending strength not less than 850 psi.

** Manufactured members of equivalent strength may be substituted for wood.

Table C-1.3-Timber Trench Shoring- Minimum Timber Requirements*

Soil Type C Pa = 80 x H + 72 psf (2 ft. surcharge)

| Depth of Trench (ft) | Size (Actual) and spacing of members ** |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cross Braces |  |  |  |  |  |  | Wales |  | Uprights |  |  |  |  |
|  | Horiz. Spacing (ft) | Width of trench (ft) |  |  |  |  | Vert. Spacing (ft) | Size (in) | Vert. Spacing (ft) | Max. Allowable Horizontal Spacing (ft.) |  |  |  |  |
|  |  | Up to 4 | Up to 6 | Up to 9 | Up to 12 | Up to 15 |  |  |  | Close |  |  |  |  |
| 5 To 10 | Up to 6 | 6 x 8 | 6 x 8 | 6 x 8 | 8 x 8 | 8 x 8 | 5 | 8 x 10 | 5 | 2 x 6 |  |  |  |  |
|  | Up to 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 10 | 5 | 10 x 12 | 5 | 2 x 6 |  |  |  |  |
|  | Up to 10 | 8 x 10 | 8 x 10 | 8 x 10 | 8 x 10 | 10 x 10 | 5 | 12 x 12 | 5 | 2 x 6 |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 To 15 | Up to 6 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 10 | 5 | 10 x 12 | 5 | 2 x 6 |  |  |  |  |
|  | Up to 8 | 8 x 10 | 8 x 10 | 8 x 10 | 8 x 10 | 10 x 10 | 5 | 12 x 12 | 5 | 2 x 6 |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 To 20 | Up to 6 | 8 x 10 | 8 x 10 | 8 x 10 | 8 x 10 | 10 x 10 | 5 | 12 x 12 | 5 | 3 x 6 |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Over 20 | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

*Mixed oak or equivalent with a bending strength not less than 850 psi.

** Manufactured members of equivalent strength may be substituted for wood.

Table C-2.1-Timber Trench Shoring- Minimum Timber Requirements*

Soil Type A Pa = 25 x H + 72 psf (2 ft. surcharge)

| Depth of Trench (ft) | Size (S4S) and spacing of members ** |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cross Braces |  |  |  |  |  |  | Wales |  | Uprights |  |  |  |  |
|  | Horiz. Spacing (ft) | Width of trench (ft) |  |  |  |  | Vert. Spacing (ft) | Size (in) | Vert. Spacing (ft) | Max. Allowable Horizontal Spacing (ft.) |  |  |  |  |
|  |  | Up to 4 | Up to 6 | Up to 9 | Up to 12 | Up to 15 |  |  |  | Close | 4 | 5 | 6 | 8 |
| 5 To 10 | Up to 6 | 4 x 4 | 4 x 4 | 4 x 4 | 4 x 4 | 4 x 6 | 4 | Not req. | Not req. |  |  |  | 4 x 6 |  |
|  | Up to 8 | 4 x 4 | 4 x 4 | 4 x 4 | 4 x 6 | 4 x 6 | 4 | Not req. | Not req. |  |  |  |  | 4 x 8 |
|  | Up to 10 | 4 x 6 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 4 | 8 x 8 | 4 |  |  | 4 x 6 |  |  |
|  | Up to 12 | 4 x 6 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 4 | 8 x 8 | 4 |  |  |  | 4 x 6 |  |
| 10 To 15 | Up to 6 | 4 x 4 | 4 x 4 | 4 x 4 | 6 x 6 | 6 x 6 | 4 | Not req. | Not req. |  |  |  | 4 x 10 |  |
|  | Up to 8 | 4 x 6 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 4 | 6 x 8 | 4 |  | 4 x 6 |  |  |  |
|  | Up to 10 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 4 | 8 x 8 | 4 |  |  | 4 x 8 |  |  |
|  | Up to 12 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 4 | 8 x 10 | 4 |  | 4 x 6 |  | 4 x 10 |  |
| 15 To 20 | Up to 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 4 | 6 x 8 | 4 | 3 x 6 |  |  |  |  |
|  | Up to 8 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 4 | 8 x 8 | 4 | 3 x 6 | 4 x 12 |  |  |  |
|  | Up to 10 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 4 | 8 x 10 | 4 | 3 x 6 |  |  |  |  |
|  | Up to 12 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 6 x 8 | 4 | 8 x 12 | 4 | 3 x 6 | 4 x 12 |  |  |  |
| Over 20 | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

*Douglas fir or equivalent with a bending strength not less than 1500 psi.

** Manufactured members of equivalent strength may be substituted for wood.

Table C-2.2-Timber Trench Shoring- Minimum Timber Requirements*

Soil Type B Pa = 45 x H + 72 psf (2 ft. surcharge)

| Depth of Trench (ft) | Size (S4S) and spacing of members** |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cross Braces |  |  |  |  |  |  | Wales |  | Uprights |  |  |  |  |
|  | Horiz. Spacing (ft) | Width of trench (ft) |  |  |  |  | Vert. Spacing (ft) | Size (in) | Vert. Spacing (ft) | Max. Allowable Horizontal Spacing (ft.) |  |  |  |  |
|  |  | Up to 4 | Up to 6 | Up to 9 | Up to 12 | Up to 15 |  |  |  | Close | 4 | 5 | 6 | 8 |
| 5 To 10 | Up to 6 | 4 x 6 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 5 | 6 x 8 | 5 |  |  | 3 x 12 4 x 8 |  | 4 x 12 |
|  | Up to 8 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 5 | 8 x 8 | 5 |  | 3 x 8 |  | 4 x 8 |  |
|  | Up to 10 | 4 x 6 | 4 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 5 | 8 x 10 | 5 |  |  | 4 x 8 |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 To 15 | Up to 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 8 | 6 x 8 | 5 | 8 x 8 | 5 | 3 x 6 | 4 x 10 |  |  |  |
|  | Up to 8 | 6 x 8 | 6 x 8 | 6 x 8 | 8 x 8 | 8 x 8 | 5 | 10 x 10 | 5 | 3 x 6 | 4 x 10 |  |  |  |
|  | Up to 10 | 6 x 8 | 6 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 5 | 10 x 12 | 5 | 3 x 6 | 4 x 10 |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 To 20 | Up to 6 | 6 x 8 | 6 x 8 | 6 x 8 | 6 x 8 | 8 x 8 | 5 | 8 x 10 | 5 | 4 x 6 |  |  |  |  |
|  | Up to 8 | 6 x 8 | 6 x 8 | 6 x 8 | 8 x 8 | 8 x 8 | 5 | 10 x 12 | 5 | 4 x 6 |  |  |  |  |
|  | Up to 10 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 5 | 12 x 12 | 5 | 4 x 6 |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Over 20 | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

*Douglas fir or equivalent with a bending strength not less than 1500 psi.

** Manufactured members of equivalent strength may be substituted for wood.

Table C-2.3-Timber Trench Shoring- Minimum Timber Requirements*

Soil Type C Pa = 80 x H + 72 psf (2 ft. surcharge)

| Depth of Trench (ft) | Size (S4S) and spacing of members** |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cross Braces |  |  |  |  |  |  | Wales |  | Uprights |  |  |  |  |
|  | Horiz. Spacing (ft) | Width of trench (ft) |  |  |  |  | Vert. Spacing (ft) | Size (in) | Vert. Spacing (ft) | Max. Allowable Horizontal Spacing (ft.) |  |  |  |  |
|  |  | Up to 4 | Up to 6 | Up to 9 | Up to 12 | Up to 15 |  |  |  | Close | 4 | 5 | 6 | 8 |
| 5 To 10 | Up to 6 | 6 x 6 | 6 x 6 | 6 x 6 | 6 x 6 | 8 x 8 | 5 | 8 x 8 | 5 | 3 x 6 |  |  |  |  |
|  | Up to 8 | 6 x 6 | 6 x 6 | 6 x 6 | 8 x 8 | 8 x 8 | 5 | 10 x 10 | 5 | 3 x 6 |  |  |  |  |
|  | Up to 10 | 6 x 6 | 6 x 6 | 8 x 8 | 8 x 8 | 8 x 8 | 5 | 10 x 12 | 5 | 3 x 6 |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10 To 15 | Up to 6 | 6 x 8 | 6 x 8 | 6 x 8 | 8 x 8 | 8 x 8 | 5 | 10 x 10 | 5 | 4 x 6 |  |  |  |  |
|  | Up to 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 8 | 5 | 12 x 12 | 5 | 4 x 6 |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 15 To 20 | Up to 6 | 8 x 8 | 8 x 8 | 8 x 8 | 8 x 10 | 8 x 10 | 5 | 10 x 12 | 5 | 4 x 6 |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Over 20 | See Note 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |

*Douglas fir or equivalent with a bending strength not less than 1500 psi.

** Manufactured members of equivalent strength may be substituted for wood.