Permit Frequently Asked Questions

What is the difference between a Development Permit and a Building Permit?

- Development Permits are issued by the Resort Village of Cochin’s Development Officer, after review of applications for compliance with the Resort Village of Cochin’s Zoning Bylaw No. 9/89 (which includes proper Zoning, Permitted or Discretionary Use, setback from lot boundaries, etc.) and then the Development Officer forwards the recommendation of conditions for the permit to Council for their approval.

- Building Permits are issued by the Resort Village of Cochin’s Building Official, Construction Codes Authority, after review of proposals for compliance with the Resort Village of Cochin’s Bylaw No. 9/89 and with the National Building Code. Building Officials will need to inspect your project at various stages of completion. Please read the plan review that comes with your building permit for detailed information regarding inspections.

When do you need a Development AND Building Permit?

- Principal Building (house, cabin, etc.)

- Accessory Building (garage, shed, bunkhouse, etc.)

- Decks (covered and uncovered)

- New Construction

- Renovations that change the structure

- Additions

- Home Based Businesses, Care Homes and Bed and Breakfasts

- Fences over 2m (6.56 Ft) in height

- Retaining Walls over 1.22m (4. Ft)

When do you need a Development Permit ONLY?

- Septic Tanks

- Approach and Driveway Construction

- Change in use of property

When you do NOT need a Development or Building Permit?

(Note: Zoning setbacks and requirements must still be adhered to)

- Temporary Signs.

- Accessory buildings less than 9.29m2 (100 Ft2) in floor area.

- Fences under 2m (6.56 Ft) in height.

- Retaining Walls under 1.22m (4. Ft) in height (as measured from undisturbed soil to heigh of wall).

- Placement of RVs for use of sleeping accommodations where there is a principal dwelling existing or during the first two years of construction.

- Seasonal docks and boat lifts where licensing is not required.

- Maintenance and repairs that do not include structural alterations.

Demolition and Moving Permits

- Permits are required when demolishing or moving a building within the Resort Village of Cochin

What to submit for a Development Permit?

- Development Permit and Building Permit Application completed fully and signed.

- Applicants are required to have a Saskatchewan Land Surveyor find the location of their property pins prior to submission of a Development Permit Application and to include the Surveyor’s report with the application.

- Site Plan of proposed development showing the lot’s dimensions, all buildings and dimensions, the distances to the property lines from the building.

- Label if decks are covered or uncovered on site plan.

- Square footage of proposed development.

- Legal land location and civic address.

- Existing and proposed use of land.

- Construction plans of the proposed development with the timing of the project.

- Contact Water Security Agency (WSA) if within 5m (16.4 ft) of the high-water mark for an Aquatic Habitat Protection Permit.

Permit Fees? Schedule A of Bylaw 07-2021

- Development Permit Application Fee	$100.00

- Building Permit Application Fee	$50.00

- Permitted Use 	$200.00 - $300.00

- Discretionary Use	$375.00 - $600.00

- Minor Variance and Signs	$450.00

- Appeal Fee	$300.00

- Demolition and Move Permit 	$100.00

- Basic Planning Statement and Zoning Bylaw amendments:

$900.00 (textual) to $2500.00 (map amendments)

- Building Permit – Plan Review & Inspection fees that are assessed at the time of permit review. These can start at $200.00 and range to several thousand dollars depending on the project.

How long does it take for a permit to be issued?

- Approximately one (1) month to issue a permit. Peak building months (i.e. June, July & August) may result in longer wait times.

- Planning staff review the Development Permit for compliance with the Zoning Bylaw. Additional information may be required which could delay permit issuance. The application then needs to go to a Council meeting for Council’s approval.

- Approval from the Development Officer, the Building Official, and Council, are required with fees being paid before a permit can be issued.

Permitted or Discretionary Use?

- Depending on your Zoning District certain developments are Permitted, Discretionary, or Prohibited. Contact the Resort Village of Cochin to determine zoning and if your development is Permitted or Discretionary Use.

Setbacks for Residential Users:

- Vary depending on your Zoning District. See Tables 1 and 2 in the Zoning Bylaw No. 9/89 or contact the Resort Village of Cochin to determine setbacks for your development.

Retaining Walls

- Retaining walls over 1.22m (4. Ft) as measured from the undisturbed soil to height of wall fall under landscaping – earthworks and ALWAYS require permits.

- Slope alternations shall be considered a retaining wall where the altered slope exceeds 45 degrees.

- Repairs and/or modifications to retaining walls over 1.22m (4. Ft) also require permits.

Mobile Homes & Modular Homes

- Mobile and modular Homes are allowable should Council approve them in some districts. These are discretionary use and are subject to specific requirements in the zoning bylaw.

- Every mobile home shall bear CSA-Z240-MH certification and shall be attached to a permanent foundation, or securely anchored to the ground and skirted, prior to occupancy.

- Every modular home shall bear CSA A277 certification and shall be attached to a permanent foundation.

- Every mobile & modular must be less than ten (10) years of age.

Trailer Coaches (RVs)

- Trailer coaches (RVs) may be used as temporary sleeping accommodations for guests in some districts on sites which have a completed single-detached dwelling.

- Some types of trailer homes may be temporarily permitted as a Principal Use for a period not exceeding (2) two years. A permit for a principal residential dwelling must have been approved and if the (2) two-year period expires prior to the final building inspection on the principal use dwelling, the trailer home and accessory buildings must be removed immediately. Other additional requirements also apply.

Shoreland and MR / ER Development

- Shore lands are located between the water’s edge and the legal bank or high-water level. Many sites also have Municipal or Environmental Reserve (MR / ER) between the site and the shore.

- A permit application is required for ALL development shorelands and (MR / ER) lands. These applications will be evaluated by Council.

When can you start Construction?

- You may start construction once the application is approved and payment is received.

- If construction starts prior to the permit being issued, the landowner is in violation of the Zoning Bylaw 9/89 and is guilty of an offence. The Resort Village of Cochin will proceed with enforcement measures.

Permit Expiry & Extension

- All permits expire 12 months from the date of issue, if work has not commenced.

- If construction is not completed within 12 months from the date of the permit issue a permit extension is required.

- Permit extension requests can be made in writing to the Resort Village of Cochin.

Real Property Surveyor Reports (RPSR)

- Any proposed residential or commercial development that directly borders another residential or commercial development shall be required to produce a RPSR for all buildings or structures 18.6m2 (200 square feet) in area or larger, except those exempted from requiring a development permit.

- Where earthwork is proposed on shore land or within 5m (16.4 Ft) of the high-water level of a waterbody, an RPSR must be provided with the application and after work is completed.

- The RPSR shall be undertaken AFTER installation of the permanent foundation, and BEFORE installation or construction of the building above the permanent foundation.

For more information please contact:

The Resort Village of Cochin

(306) 386-2333 or

admin@cochin.ca