**ANALYSIS OF SUNCREENS**

## LAB VIS 6

Fom Juniata College SIM

**STANDARDS**

* **3.2.6-8.R**
* **3.2.9-12.W**

# INTRODUCTION

Erythema (sunburn) is caused most severely by radiation at about 300 nm. An effective sunscreen would be one that completely blocked the radiation in the vicinity of this wavelength. Sunscreens and suntan lotions are rated with protection factors. In order to be effective, active ingredients, such as benzophones, phenyl salicylate, and *p*-amino benzoic acid, must exhibit an intense absorption maximum centered around 300 nm while transmitting the longer wavelength tanning radiation.

Spectrophotometry may be used to find the absorbance of sunscreens at various wavelengths. The spectrophotometer that will be used only provides radiation in the visible range. Absorption below 325 nm cannot be obtained with this instrument. However, general trends in absorption can be observed and different sunscreens can be analyzed qualitatively.

# PURPOSE

The purpose of this lab is to analyze a variety of sunscreens through spectrophotometric analysis and to qualitatively compare their effectiveness based on their absorption of visible radiation.

# MATERIALS

|  |  |
| --- | --- |
| spectrophotometer | sunscreen solutions |
| cuvettes | unknown sunscreen solutions |
| Kimwipes | 1:9 water:*n*-propanol |
| disposable pipets | |

**SAFETY**

* Always wear goggles and an apron in the lab.

# PROCEDURE

1. Using a disposable pipet, fill a cuvette ¾ full with 1:9 water:*n*-propanol to be used as a blank. This is the “blank cuvette”.
2. Press A/T/C Button on the Spectronic 20 Genesys. Select **absorbance**.
3. Press the **nm** arrow up or down and select **350 nm**.
4. Place the blank cuvette into the sample compartment of the spectrophotometer with the triangle on the cuvette facing the front of the instrument. **Note:** Before inserting a cuvette into the spectrophotometer, wipe it clean and dry with a kimwipe, and make sure that the solution is free of bubbles. Do not touch the clear sides of the cuvette.
5. Press **0 ABS 100%T**.
6. Remove the blank cuvette.
7. Select a sunscreen sample to analyze.
8. Using a disposable pipet, rinse a second cuvette with a small amount of sunscreen solution and then fill the cuvette ¾ full. This is the “sample cuvette”.

**0 ABS 100%T**

1. Insert the sample cuvette into the cell holder. **Do not press**

sample cuvette.

after inserting the

1. The sample measurement appears on the LCD display. Record the absorbance in the **Data Table**.
2. Continue to take readings at 5 nm intervals to 365 nm. Remember to zero the instrument using the blank at every wavelength.
3. Repeat this procedure for another sunscreen or unknown, as directed by your instructor.
4. Graph absorbance versus wavelength. If analyzing multiple samples, use different colors for the various samples or different point protectors on a computer-graphing program for each sample tested.

**DATA SHEET** Name

Name Period Class Date

# ANALYSIS OF SUNCREENS

**DATA TABLE**

|  |  |  |  |
| --- | --- | --- | --- |
| **Wavelength ()** | **SPF** | **SPF** | **Unknown**  **#** |
|  |  |  |  |
| 350 |  |  |  |
| 355 |  |  |  |
| 360 |  |  |  |
| 365 |  |  |  |

**Estimated Unknown SPF:**

**QUESTIONS**

1. What sunscreen blocked the lower wavelengths most effectively? How can you tell?
2. Overall, which sunscreen would you chose? Explain your choice.
3. Use the graphs of absorbance versus wavelength for the sunscreens to estimate the SPF of the unknown sunscreens.