Westminster College

Determining the Phosphoric Acid Content in Soft Drinks  LQ35

From Chemistry with Vernier

INTRODUCTION

Phosphoric acid is one of several weak acids that exist in carbonated beverages. It is a component of all cola soft drinks. Phosphoric acid has a much higher concentration than other acids in a container of soft drink, so its concentration can be determined by a simple acid-base titration.

In this experiment, you will titrate a sample of a cola soft drink with sodium hydroxide solution and determine the concentration of phosphoric acid, H3PO4. Hydrogen ions from the first dissociation of phosphoric acid react with hydroxide ions from the NaOH in a one-to-one ratio in the overall reaction:

H3PO4(aq) + OH–(aq) → H2O(l) + H2PO4–(aq)

In this experiment, you will use a pH Sensor to monitor pH as you titrate. The region of most rapid pH change will then be used to determine the equivalence point. The volume of NaOH titrant used at the equivalence point will be used to determine the molarity of the H3PO4.

OBJECTIVES

- Use a pH Sensor to monitor pH during the titration of phosphoric acid in a cola soft drink.

- Using the titration equivalence point, determine the molarity of H3PO4.

Choose A METHOD

Method 1: Deliver volumes of NaOH titrant from a buret. After titrant is added, and pH values have stabilized, enter the buret reading manually and a pH-volume data pair is stored.

Method 2: Use a Vernier Drop Counter to take volume readings. NaOH titrant is delivered drop by drop from the reagent reservoir through the Drop Counter slot. After the drop reacts with the reagent in the beaker, the volume of the drop is calculated, and a pH-volume data pair is stored.

MATERIALS

| Materials for both Method 1 (buret) and Method 2 (Drop Counter) |  |
| --- | --- |
| LabQuest LabQuest App pH Sensor Stir Station magnetic stirring bar various cola soft drinks, decarbonated | 0.050 M NaOH 250 mL beaker 100 mL graduated cylinder waste container wash bottle distilled water |
| Materials required only for Method 1 (buret) |  |
| Electrode Support 50 mL buret | buret clamp or utility clamp |
| Materials required only for Method 2 (Drop Counter) |  |
| Vernier Drop Counter 60 mL reagent reservoir | 100 mL beaker utility clamp |

METHOD 1: Measuring Volume Using a Buret

- Obtain and wear goggles.

- Use a graduated cylinder to measure out 40 mL of a decarbonated cola beverage and 60 mL of distilled water into a 250 mL beaker. Caution: Do not eat or drink in the laboratory.

- Place the beaker on a Stir Station and add a magnetic stirring bar. If no Stir Station is available, you need to stir with a stirring rod during the titration.

- Connect the pH Sensor to LabQuest and choose New from the File menu.

- Use an Electrode Support to suspend a pH Sensor on a Stir Station as shown in Figure 1. Position the pH Sensor in the soda and adjust its position so it is not struck by the stirring bar.

- Obtain a 50 mL buret and rinse the buret with a few mL of the 0.050 M NaOH solution. WARNING: Sodium hydroxide solution, NaOH: Causes skin and eye irritation.  Dispose of the rinse solution as directed by your teacher. Use a buret clamp or a utility clamp to attach the buret to the Stir Station as shown in Figure 1. Fill the buret a little above the 0.00 mL level of the buret with 0.050 M NaOH solution. Drain a small amount of NaOH solution so it fills the buret tip and leaves the NaOH at the 0.00 mL level of the buret. Use a waste container to catch the solution as it leaves the buret. Record the precise concentration of the NaOH solution in your data table.

Figure 1

- Set up the data-collection mode.

  - On the Meter screen, tap Mode. Change the data-collection mode to Events with Entry.

  - Enter the Name (Volume) and Units (mL). Select OK.

- You are now ready to perform the titration. This process goes faster if one person manipulates and reads the buret while another person enters volumes.

  - Start data collection.

  - Before you have added any NaOH solution, tap Keep and enter 0 as the buret volume in mL. Select OK to store the first data pair for this experiment.

  - Add 0.5 mL of NaOH solution. When the pH stabilizes, tap Keep and enter the current buret reading. Select OK.

  - Continue to add 0.5 mL increments, entering the buret level after each increment. When the pH has leveled off (near pH 10), stop data collection.

- Examine the data on the graph of pH vs. volume to find the equivalence point—that is, the 0.5 mL volume increment that resulted in the largest increase in pH. As you tap each data point (or use the ► or ◄ keys on LabQuest), the pH and volume values are displayed. Go to the region of the graph with the large increase in pH. Find the NaOH volume (in mL) just before this jump. Record this value in the data table. Then record the NaOH volume after the 0.5 mL addition producing the largest pH increase.

- Print a copy of the graph of pH vs. volume. Then print a copy of the NaOH volume data and the pH data for the titration.

- Dispose of the beaker contents as directed by your teacher. Rinse the pH Sensor and return it to the storage solution.

METHOD 2:  Measuring Volume with a Drop Counter

- Obtain and wear goggles.

- Use a graduated cylinder to measure out 40 mL of a decarbonated cola beverage and 60 mL of distilled water into a 250 mL beaker. Caution: Do not eat or drink in the laboratory.

- Obtain approximately 50 mL of 0.050 M NaOH solution in a 100 mL beaker. WARNING: Sodium hydroxide solution, NaOH: Causes skin and eye irritation.

- Obtain the plastic 60 mL reagent reservoir. Note: The bottom valve will be used to open or close the reservoir, while the top valve will be used to finely adjust the flow rate. For now, close both valves by turning the handles to a horizontal position.

Rinse it with a few mL of the 0.050 M NaOH solution. Use a utility clamp to attach the reagent reservoir to the Stir Station. Add the remainder of the NaOH solution to the reagent reservoir.

Drain a small amount of NaOH solution into a waste container so solution fills the reservoir’s tip. To do this, turn both valve handles to the vertical position for a moment, then turn them both back to horizontal.

- Connect the pH Sensor to CH 1 of LabQuest. Attach the Drop Counter to the Stir Station and connect the Drop Counter to DIG 1. Choose New from the File menu.

- Calibrate the Drop Counter so that a precise volume of titrant is recorded in units of milliliters.

  - Choose Calibrate ► Drop Counter from the Sensors menu:

  - If you have previously calibrated the drop size of your reagent reservoir and want to continue with the same drop size, tap Equation. Enter the values for Drops/mL. Select Apply, then OK. Proceed directly to Step 7.

  - If you want to perform a new calibration, continue with this step.

  - Select Calibrate Now.

  - Place a 10 mL graduated cylinder directly below the slot on the Drop Counter, lining it up with the tip of the reagent reservoir.

  - Open the bottom valve on the reagent reservoir (vertical). Keep the top valve closed (horizontal).

  - Slowly open the top valve of the reagent reservoir so that drops are released at a slow rate (~1 drop every two seconds). You should see the drops being counted on the screen.

  - When the volume of NaOH solution in the graduated cylinder is between 9 and 10 mL, close the bottom valve of the reagent reservoir.

  - Enter the precise Volume of NaOH. Select Stop. Record the number of drops/mL displayed on the screen for possible future use. Select OK.

  - Discard the NaOH solution in the graduated cylinder as indicated by your instructor and set the graduated cylinder aside.

Figure 2

- Assemble the apparatus.

  - Insert the pH Sensor through the large hole in the Drop Counter.

  - Adjust the positions of the Drop Counter and reagent reservoir so they are both lined up with the center of the Stir Station.

  - Lift up the pH Sensor, and slide the beaker containing the cola beverage onto the Stir Station. Lower the pH Sensor into the beaker.

  - Place the stirring bar in the beaker and adjust the position of the pH Sensor so that it will not be struck by the stirring bar.

  - Adjust the reagent reservoir so its tip is just above the Drop Counter slot.

- Turn on and adjust the Stir Station so it is stirring at a fast rate.

- You are now ready to begin collecting data. Start data collection. No data will be collected until the first drop goes through the Drop Counter slot. Fully open the bottom valve—the top valve should still be adjusted so drops are released at a rate of about 1 drop every 2 seconds. When the first drop passes through the Drop Counter slot, check the graph to see that the first data pair was recorded.

- Continue watching your graph to see when a large increase in pH takes place—this will be the equivalence point of the reaction. When this jump in pH occurs, let the titration proceed for several more milliliters of titrant, then stop data collection to view a graph of pH vs. volume. Turn the bottom valve of the reagent reservoir to a closed (horizontal) position.

- Dispose of the beaker contents as directed by your teacher.

- (optional) Print copies of the graph.

- If time permits, repeat the procedure.

Processing the data

- Use your graph and data table to confirm the volume of NaOH titrant you recorded before and after the largest increase in pH values upon the addition of 0.5 mL of NaOH solution.

- Determine the volume of NaOH added at the first equivalence point.

Method 1

Add the two NaOH values determined in Processing the Data Step 1 and divide by two.

Method 2

  - Determine the peak value on the first derivative vs. volume plot.

    - Tap the Table tab. Choose New Calculated Column from the Table menu.

    - Enter d1 as the Calculated Column Name. Select the equation, 1st derivative (Y,X). Use Volume as the Column for X, and pH as the Column for Y. Select OK.

    - On the displayed plot of d1 vs. volume, examine the graph to determine the volume at the peak value of the first derivative.

  - Determine the zero value on the second derivative vs. volume plot.

    - Tap the Table tab. Choose New Calculated Column from the Table menu.

    - Enter d2 as the Calculated Column Name. Select the equation, 2nd derivative (Y,X). Use Volume as the Column for X, and pH as the Column for Y. Select OK.

    - On the displayed plot of d2 vs. volume, examine the graph to determine the volume when the 2nd derivative equals approximately zero.

- Calculate the number of moles of NaOH used.

- See the equation for the neutralization reaction given in the introduction. Determine the number of moles of H3PO4 reacted.

- Recall that you pipeted out 40.0 mL of the beverage for the titration. Calculate the H3PO4 concentration.

DATA TABLE

| Concentration of NaOH | M |
| --- | --- |
| NaOH volume added before the largest pH increase | mL |
| NaOH volume added after the largest pH increase | mL |

| Volume of NaOH added at equivalence point | mL |
| --- | --- |
| Moles NaOH | mol |
| Moles H3PO4 | mol |
| Concentration of H3PO4 | mol/L |