Sustainable features

ICF construction

Thermal envelope construction

Energy Wise standards for caulking and waterproofing

14-KW solar photovoltaic system

Rainwater catchment system, 5,000-gallon cistern backed by groundwater well

Polished concrete flooring for entire ground floor excluding master suite

Reclaimed pine flooring in master bedroom and throughout upstairs

Recycled cork flooring in his bath and dressing room

No crown molding

No-VOC paint

Locally sourced cabinet wood from owner’s own land

Class D Audio power amplifiers

Phantom load minimizing system

Doors left open annunciation

One button for lights and AV off

Every lighting fixture is LED, vast majority dimmable

Super efficient pool pumps

Open cell pray foam insulation throughout, including roofing rafters and joists

Geothermal HVAC with at least 17.1 EER and 3.6 COP

Water heater for recapturing geo heat (superdeheater system)

Storm runoff absorbing parking pad and throughout back yard landscaping

Galvalume (light silver-gray) metal roofing

Double paned low-E glass throughout

All countertops Paperstone (recycled paper product)

All interior doors architectural salvage

Energy Star appliances throughout

Low-flush urinal in his bath

Magnetic induction cook top

Clothesline