CERTIFICATE OF ANALYSIS

prepared for: CANNOID

*1870 W. 64th Ln, Unit C Denver, CO 80221*

GVB 6x Blend

|  |  |  |  |
| --- | --- | --- | --- |
| **Batch ID:** | 220728-2 | **Test ID:** | T000217048 |
| **Type:** | Concentrate | **Submitted:** | 08/05/2022 @ 10:34 AM |
| **Test:** | Terpenes | **Started:** | 8/11/2022 |
| **Method:** | TM22 (GC-MS) | **Reported:** | 8/12/2022 |

# TERPENE PROFILE



**1.2022**

**12.022**

NOTES:

N/A

gamma-Terpinene

0.0000

0.000

Terpinolene

0.0000

0.000

(-)-

beta-Pinene

0.0000

0.000

alpha-Terpinene

0.0000

0.000

beta-Ocimene

0.0000

0.000

alpha-Pinene

0.3857

3.857

trans-Nerolidol

0.0000

0.000

Ocimene

0.0000

0.000

beta-Myrcene

0.2457

2.457

cis-Nerolidol

0.0000

0.000

PREDOMINANT

TERPENES

Linalool

0.0000

0.000

alpha-Humulene

0.0000

0.000

Isopulegol

(-)-

0.0000

0.000

Geraniol

0.0000

0.000

beta-Caryophyllene

0.2520

2.520

d-Limonene

0.3188

3.188

Total

Terpenes

(-)-

Caryophyllene Oxide

0.0000

0.000

p-Cymene

0.0000

0.000

0.0000

0.000

Camphene

0.0000

0.000

delta-3-Carene

0.0000

0.000

Eucalyptol

0.0000

0.000

%

1.2022

**Compound**

**%(w/w)**

**mg/g**

alpha-Bisabolol

(-)-

0.3857

0.0000

0.2457

0.0000

0.0000

0.3188

0.0000

0.2520

0.0000

alpha-Pinene

beta-Pinene

(-)-

beta-Myrcene

delta-3-Carene

alpha-Terpinene

d-Limonene

Linalool

beta-Caryophyllene

alpha-Humulene

(-)-alpha-Bisabolol 0.0000

## FINAL APPROVAL

|  |  |  |  |
| --- | --- | --- | --- |
| Daniel Weidensaul |  | Tami Lane |  |
| 12-Aug-2022  11:37 AM | 12-Aug-2022  5:47 PM |
|  |  |

### PREPARED BY / DATE APPROVED BY / DATE

*Testing results are based solely upon the sample submitted to Botanacor Laboratories, LLC. Botanacor Laboratories, LLC warrants that all analytical work is conducted professionally in accordance with all applicable standard laboratory practices using validated methods. Data was generated using an unbroken chain of comparison to NIST traceable Reference Standards and Certified Reference Materials. This report may not be reproduced, except in full, without the written approval of Botanacor Laboratories, LLC. ISO/IEC 17025:2005 Accredited*



*A2LA Certificate Number 4329.02 Certificate #4329.02*

Botanacor Laboratories™, All Rights Reserved | 1301 S Jason St Unit K, Denver, CO 80223 | 888.800.8223 | www.botanacor.com