## Sheet1
Smoke Alarm | Type | Location | Battery | Notes
1 | First Alert | Guest Room | 3.3A; 8.3V | Energizer
2 | First Alert | West Hall | 2.5A;9.3V | Duracell
3 | DSC | West Hall | 3A; 1.5V | Duracell
4 | First Alert | Kitchen | 2.7A;8.7V | Duracell - may need replacement at next inspection
5 | First Alert | Bedroom | FRESH | Duracell
6 | DSC | East Hall | 3A;1.45V | Duracell
7 | First Alert | East Hall | 3.1A;9.1V | Duracell
8 | First Alert | Bedroom | 3.1A;9.1V | Duracell
9 | First Alert | Study | 3.0A;9.4V | Duracell
10 | DSC | MBR Door | 2.7A;1.45V | Duracell - average amps 2.7; may need replacement
11 | First Alert | MBR Door | 3.0A;9.4V | Duracell
12 | First Alert | MBR | 2.5A;9.4V | Duracell
13 | First Alert | Upstairs | 2.8A;9.5V | Duracell
DSC unit batteries provide sole source of power for unit; First Alert battteries are for back up. Apply tighter tolerances for DSC batteries.
DSC uses three AAA batteries; First Alert uses one 9V battery.