BOARD OF SUPERVISORS

Indian River Farms Water Control District

November 12, 2020

The regular monthly meeting of the Board of Supervisors was held in the office of the District in Vero Beach, Florida, Thursday, November 12, 2020 at 2:00 O’clock P.M.

Those present were Supervisors William Barker Sr., Mark Tripson, Bobby Lindsey; Michael O’Haire, O’Haire Quinn, Chartered; Marvin Carter, Carter and Associates, Inc.; Samantha Saucier, Bruce Barber, Daniel Hronec, Bart Gaetjens, Florida Power & Light; and David E. Gunter, Secretary.

Supervisor Lindsey called the meeting to order at 2:00 P.M. and called for approval of the minutes of October’s regular meeting. On motion duly made and carried, the minutes of the previous meeting were approved as submitted. Cash on hand as of October 31, 2020 was given as $1,431,025.66.

On a motion made by Supervisor Tripson and second by Supervisor Barker the following vouchers were approved for payment:

We have five (5) utility construction permit applications for consideration at the November 12th Board Meeting.

(1)  Request from AT&T to direct bore a 2” HDPE conduit under 1st Street, SW and adjacent Sub-lateral C-2 Canal to serve residence at 7825 1st Street, SW.

RECOMMENDATION:   We recommend approval subject to all applicable standard provisos and special conditions.

(2)  Request from AT&T to direct bore one 2” flex pipe conduit under 12th Street and adjacent Sub-lateral

B-2-W Canal to serve First Church of God property.

RECOMMENDATION: We recommend approval subject to all applicable standard provisos and special conditions.

(3)  Request from AT&T to direct bore a 2” HDPE conduit under 1st Street, SW and adjacent Sub-lateral C-2 Canal to serve 7815 1st Street, SW.

RECOMMENDATION: We recommend approval subject to all applicable standard provisos and special conditions.

(4)  Request from Kimley-Horn and Associates on behalf of Indian River County to install a 2” force main under Sub-lateral G-4 (Hobart Road/77th Street) Canal for proposed new bathroom facilities at Hobart Park. Additional information has been requested regarding this permit application.

RECOMMENDATION: Upon receipt of requested information, we recommend final approval by David Gunter and Carter Associates, Inc.

(5)  FP&L has submitted plans, legal descriptions and related documents for proposed Heritage West

transmission line location crossing multiple canals and involving conversion of existing

distribution lines (issued to City of Vero Beach) within the Main Canal right-of-way to transmission lines.  Superintendent, David Gunter, has worked with FP&L representatives in the proposed design and location of this proposed transmission line to minimize impacts on adjacent landowners and operations and functions of the District.

RECOMMENDATION: We recommend approval of this request for proposed easements, permit applications, and any agreements required in protecting the paramount rights and functions of the District.

On a motion made by Supervisor Barker and second by Supervisor Tripson the above permits were approved.

Carter & Associates Inc. presented the following clarification memo to the Maintenance of Flood Plain Storage Policy. These clarifications will assist all stormwater design engineers working within the district as well as the city and county engineers reviewing plans as to the appropriate methodology for meeting the flood plain cut and fill policy.

A. Flood Plain Calculations and Compensation for a Development Site – 100 Year Storm Event

1. Within the project site, all flood plain storage must be maintained from pre to post development.  Predevelopment calculations shall be based on existing site conditions (1929 NGVD or NAVD 88) as determined by a Florida Registered Land Surveyor. Post development calculations shall be based on the design grades.  The design engineer must review both the FIRM maps and the IRFWCD study and select the 100 year flood elevation.  However, if the site floods per the IRFWCD study and is depicted as a FIRM map Zone X, then the design engineer must use the IRFWCD model results and comply with the maintenance of Flood Plain Storage Policy.

2. The flood plain encroachment (fill) is based on the volume of proposed fill between the existing ground, (or the wet season water table if a lake or wetland is present) and the 100 year flood elevation.  Fill above the 100 year elevation is not displacing flood waters and therefore not included.

3. The volume of flood plain compensating storage (cut) is based on the volume of cut between the existing ground and the wet season water table.  If a wet detention system is used for the flood plain storage compensation, then the control elevation of the bleed down weir shall be used as the lower elevation of the cut volume calculations.  The upper elevation of the compensating storage volume calculations is the ground elevation or the 100 year flood elevation if it is below the existing ground elevation.

4. Flood plain compensating storage (cut) calculations, which include volume above the 100 year flood plain elevation, are not allowed, regardless if there is an onsite peak stage above the 100 year flood plain elevation at some point during the computer modeling of the event.

5. The flood waters within the District canals must be allowed to flow into the development’s flood storage area when the District’s canal system is above the flood storage area water levels within the development.  Therefore, the stormwater outfall connection must meet the following criteria:

a. Flap gates are not allowed.

b.The pipe connections shall be of a large enough diameter that the head loss is minimal and flows maximized.  Small diameter pipes designed to meet the 2´´ limitation rule will restrict the flows during a flood event and therefore, are not allowed.  Weirs/Orifices shall be utilized.  The typical overflow structure which has a restrictive orifice(s) for the 2´´ limitation will include a larger weir at the onsite 25 year storm elevation.  During storm events larger than the 25 year storm, the larger weir will allow the flood waters from the District canals to move freely into and out of the development storage area.  It is understood that below the 25 year storm elevation the inflow from District canals may be restricted to the 2” limitation orifice.

6. An offsite compensating flood storage area may be utilized to balance the cut and fill for a project in which the onsite flood storage is inadequate under the following conditions:

a. The offsite flood storage area is located within the same sub-lateral drainage basin.

b. The offsite flood storage area has approximately the same 100 year flood elevation (0.1´+/-).

c. The offsite flood storage area must be encumbered with development restrictions to preserve the flood storage for the proposed project.  The proposed project shall include home owners’ association duties to preserve and maintain the offsite area in regards to function and appearance.  In cases where the offsite flood storage area is itself a development, then the home owners association which covers the site must be required to preserve and maintain the site through deed restrictions.

7. Previously approved projects cannot be utilized to compensate for flood storage for future developments.

On a motion made by Supervisor Barker and second by Supervisor Tripson the above clarification memo was approved.

Secretary Gunter presented the upcoming renewal for the Florida Blue health insurance policy beginning Jan 1, 2021.  There are now four (4) employees on the plan and for those employees, the increase is approximately $20.00 while keeping the same coverage we have had. The new premium will be $3,320.06 per month.  On a motion by Supervisor Barker and second by Supervisor Tripson approval for renewal was given.

Secretary Gunter presented an Amended Budget for the 2019/2020 fiscal year. Supervisor Tripson made a motion to accept the Budget Amendment as presented with a second by Supervisor Barker. Motion approved. A copy of the budget is available in the District office.

Superintendent Gunter gave updates for ongoing work in the District with no action required by the Board at this time.

There being no further business to come before the District Board, the meeting was adjourned.

David E. Gunter, Secretary			                      Bobby Lindsey, President