Agenda

Board of Supervisors

Indian River Farms Water Control District

March 11, 2021

- Call to Order

- Review and Approval of Minutes

- Approval of Vouchers

- Old Business

- New Business

- Attorney’s Report

7. Surveyor’s Report

8. Secretary’s Report

MEMO

TO: 		 I.R.F.W.C.D. – Board of Supervisors

David E. Gunter, Superintendent

FROM:	 Marvin E. Carter

DATE:	 March 8, 2021

RE:	Utility Construction Permit Application

We have received twelve (12) Utility Construction Permit Applications for consideration at the March 11, 2021 board meeting as follows:

- Request from FP&L (by Pam Morissette, Permit Coordinator) to direct bore two separate six (6) inch conduits under 26th Street and adjacent Sub-lateral A-3-E to service Bella Rosa Development, located approximately 1160’ west of 58th Avenue.

RECOMMENDATION:  We recommend approval of this application subject to

all standard provisos and applicable special conditions.

- There are eleven (11) requests from FP&L (by Greg Hall, Manager-Siting & Permitting) to construct and install the Heritage West transmission line connection from FP&L main transmission line, located near their Heritage Switch Yard site at southeast corner of 4th Street and 98th Avenue, to former City of Vero Beach West sub-station site, located at northeast corner of Main Canal and 58th Avenue.

The proposed transmission line will run East along South right-of-way of 4th Street crossing Sub-lateral D-5 (94th Avenue), D-4 (90th Avenue) and D-3 (86th Avenue) Canal rights-of-way to the West right-of-way of 74th Avenue.  Proposed alignment of transmission line will then run North along West right-of-way of 74th Avenue crossing Lateral “D” and Sub-lateral C-1 (8th Street) Canal to the South right-of-way of Main Canal; Thence along the South right-of-way of Main Canal to West right-of-way of 66th Avenue; Thence northerly along West right-of-way of 66th Avenue crossing the Main Canal and Sub-lateral A-1-W to the North right-of-way of 16th Street/College Lane; Thence East along North right-of-way of College Lane to its intersection with North right-of-way of Main Canal; Thence within the Main Canal right-of-way from College Lane to southeast corner of Indian River Charter School site in alignment of existing electrical distribution poles and lines; Thence easterly within an easement on private property northerly of and adjacent to North right-of-way of Main Canal to the sub-station site.

RECOMMENDATION: Subject to any agreements made with the City of Vero Beach for that portion of proposed transmission line located within the Main Canal right-of-way East of College Lane, we recommend approval of these permits subject to all standard provisos and applicable special conditions.