| THIS PERMIT MUST BE COMPLETED AND SIGNED PRIOR TO ALL COLD WORK ACTIVITIES COMMENCING |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Areas marked in dark grey must be completed by the Permit Applicants. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Areas marked in light grey must be completed by the Permit Issuer. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cold Work Permit Number | Adagio CWP # |  |  |  |  |  |  |  |  |  |  | Start Date |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Permit Expiry Date |  |  |  |  |  |  |  |  |  |  |  | JHA/SWMS Reference |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Permit Holder (Name) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1. Personnel | Company name |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Contact Number |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Name of Operator/s |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2. Location of Work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3. Description of Cold Work |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 4. Confined Space Entry | Will there be work in Confined Space? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |  |  |
|  | If yes, a Confined Space Entry Permit is Required. Permit Number? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 5. Isolation | Electrical |  |  | Yes |  |  |  |  |  |  | No |  |  |  |  | Hydraulic |  |  |  | Yes |  |  |  |  | No |  |  |
|  | Mechanical |  |  | Yes |  |  |  |  |  |  | No |  |  |  |  | Pneumatic |  |  |  | Yes |  |  |  |  | No |  |  |
|  | Fire System |  |  | Yes |  |  |  |  |  |  | No |  |  |  |  | Other |  |  |  | Yes |  |  |  |  | No |  |  |
|  | If yes, an Isolations Certificate is required. Certificate Number? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Isolations confirmed by Facility Manager? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |  |  |
| 6. De-energize | Will equipment require de-energizing? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |  |  |
|  | Describe: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 7. Hazardous Substances | Will workers be exposed to Hazardous substances? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |  |  |
|  | List Hazardous Materials |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | List PPE, other than Section 12. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Is Decontamination Available? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |  |  |
|  | Describe Decontamination |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  | Are Safety Data Sheets Available? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |  |  |
| 8. Combustible Materials | All combustible materials have been removed from the area? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  |
| 9. Sparks and Heat | Can sparks/heat come into contact with flammable liquids/gases/dust, plant/equipment, property/buildings? |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes |  |  |  | No |  |  |  |
|  | Isolated Services |  |  |  |  |  |  |  |  |  | Covered Penetrations |  |  |  |  |  |  |  |  |  | Barriers |  |  |  |  |  |  |
|  | Screens |  |  |  |  |  |  |  |  |  | Fire Watch |  |  |  |  |  |  |  |  |  | Purging/Ventilation |  |  |  |  |  |  |
|  | Other |  |  |  | List |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 10. Fumes | Will be produced. |  |  |  |  | Yes |  |  |  |  |  |  | No |  |  |  | Managed by? |  |  |  |  |  |  |  |  |  |  |
| 11. Communication | Has been established? |  |  |  |  |  |  |  | Yes |  |  |  |  |  | No |  |  |  | How? |  |  |  |  |  |  |  |  |

| The Permit is not issued until all authorizations have been signed and dated |  |  |  |  |
| --- | --- | --- | --- | --- |
| 14. Authorization | The Cold Work described on this permit is safe to commence using the precautions identified above. |  |  |  |
|  | Permit Holder |  | Date |  |
|  | Area Supervisor |  | Date |  |
|  | Permit Issuer |  | Date |  |

| The Permit is not closed until all authorizations have been signed off |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 15. Close out | The area has been made safe, tools and equipment have been removed and the area is clean. |  |  |  |  |
|  | Permit Holder |  | Date |  |  |
|  | Area Supervisor |  | Date |  |  |
|  | Permit Issuer |  | Date |  |  |