## Notes
Biosirus HVAC Energy Saving Calculator - Input Instructions
Once at the customer's site, use the Sales Survey Form to collect the necessary information for the Energy Saving Calculator.
Assign each unit a number at the top of each column on the survey form, so you can tell them apart. Example: A/C 1, Ref. 2, HP 3…
Count the number of compressors per unit.
Count the number of stages or unloaders per unit, if there are any.
Read the nameplate for each compressor to get:
Manufacturer
Model #
Line Phase (1 or 3)
Compressor Running Load Amperage (RLA)
Line Voltage (V)
Total Controlled kW
Talk to your customer, particularly the person responsible for the HVAC-R equipment to get:
Daily hours available to run… this is how many hours per day the unit is turned on, not how many it may run for. Does the unit get turned off when the business is closed at night or on weekends, etc.?
Days available to run in a year… this is how many days of the year the unit is turned on, not how many it may run for. In other words, does the unit get turned off during the winter, etc.?
Estimated load factor… this is an estimate of what percentage of the time the compressor actually runs when it is turned on. Only the maintenance engineer/technician will really know this, and it is an essential piece of the puzzle to get for an accurate estimate of potential savings.
$/kWh rate… the only way to get an accurate idea of the customer's kWh rate is to get a year's worth of their electricity bills.

## Equipment Survey Form
Biosirus - Equipment Survey Sheet
Customer Name |  |  | Date of survey
Site
Customer Equipment Information
| Example | Unit 1 | Unit 2
Manufacturer | ABCD
Model # and Year | TRN334 / 2007
Number of Compressors | 1
Number of Stages or Unloaders | 1
Line Phase (1 or 3) | 1
Running Load Amperage (RLA) | 35
Line Voltage (V) | 220
Total Controlled Load in KW | 7.7
Daily Hours Available to Run | 18
Days Available to Run in a Year | 300
Estimated Load Factor (%) | 70%
$/kWh rate from electricity bills | 0.15
Notes | Not maintained in overy 4 years, but general condition and refrigerant pressure seems good.
| Unit 3 | Unit 4 | Unit 5
Manufacturer
Model #
Number of Compressors
Number of Stages or Unloaders
Line Phase (1 or 3)
Running Load Amperage (RLA)
Voltage (V)
Total Controlled Load in kW
Daily Hours Available to Run
Days Available to Run in a Year
Estimated Load Factor (%)
$/kWh rate from electricity bills
Notes
| Unit 6 | Unit 7 | Unit 8
Manufacturer
Model #
Number of Compressors
Number of Stages or Unloaders
Line Phase (1 or 3)
Running Load Amperage (RLA)
Voltage (V)
Total Controlled Load in kW
Daily Hours Available to Run
Days Available to Run in a Year
Estimated Load Factor (%)
$/kWh rate from electricity bills
Notes
| Unit 9 | Unit 10 | Unit 11
Manufacturer
Model #
Number of Compressors
Number of Stages or Unloaders
Line Phase (1 or 3)
Running Load Amperage (RLA)
Voltage (V)
Total Controlled Load in kW
Daily Hours Available to Run
Days Available to Run in a Year
Estimated Load Factor (%)
$/kWh rate from electricity bills
Notes

## Energy Savings
Biosirus HVAC-R - Energy Savings Estimator
Customer Name
Site
Technical Inputs from Equipment Survey Sheet
| Example | Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5 | Unit 6 | Unit 7 | Unit 8 | Unit 9 | Unit 10 | Unit 11
RLA Compressor 1 | 35
RLA Compressor 2 (if applicable)
Line Voltage(Phase to Phase) | 220
Line Phase (1 or 3) | 1
FLA (Condensor Fan) | 2.8
Compressor 1 Load in KW (incl fan) | 7.4844
Compressor 2 Load in KW | 0
Daily Hours Available to Run | 18
Days Available to Run in a Year | 300
Estimated Load Factor | 70%
$/kWh rate from electricity bills | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | 0.15
HVAC-R Controller Savings Factor | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20%
Estimated Annual Savings in kWh | 5658.2064 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Estimated Annual Savings in $ | 848.731 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Please send this to Biosirus or ESCO to calculate energy savings, ROI and pricing.