## Slide 1: High Volume HDF
Dr Muhammad Iqbal Abdul Hafidz
Consultant Nephrologist
UiTM, Sungai Buloh
QID 2018 PJ HILTON.

## Slide 2: Disclosure - I am a believer in HDF

## Slide 3: Dundee, Scotland

## Slide 4: Ninewells Hospital, Scotland

## Slide 5: Introduction
CRRT
= HDF
= CVVHDF

## Slide 6: Introduction
Principles of HDF
  Difference between HD and HF
HighVolume HDF

## Slide 7: Concepts to understand
Haemodialysis + Haemofiltration = HaemoDiaFiltration
Have to understand a few concepts
  Clearance – Diffusion v Convection
  Ultrafiltration (UF)
  Substitution (Replacement)
  Substitution vs Convective volume
High-volume online-HDF

## Slide 8: Haemodialysis
Objectives:
  To remove toxins
  To remove fluids

## Slide 9: Dialysis
Occurs in dialyzer
Clearance
Ultrafiltration

## Slide 10: Dialysis
blood
dialysate

## Slide 11
Occurs in dialyzer
  Diffusion (resapan)
DIFFUSION
Toxin removal

## Slide 12
Occurs in dialyzer
  Utrafiltration
TMP = Transmembrane pressure
Ultrafiltration

## Slide 13
Removal of LARGE VOLUME of fluid by ULTRAFILTRATION
NO DIALYSATE component
Haemofiltration – 2 key points

## Slide 14
BLOOD
DIALYZER
Semi-permeable membrane
NO DIALYSATE / EMPTY
Urea
Haemofiltration

## Slide 15
Solute drag
Clearance in HF – CONVECTION!!
CONVECTION
LARGE VOLUME

## Slide 16: Haemofiltration
Proses sama seperti Ultrafiltration
Tanpa dialysate (macam isolated UF/ SUF)
UF yang dilakukan adalah jumlah yang besar
Dengan proses haemofiltration ini –proses penyingkiran toxin berlaku melalui proses “convection”
Berlaku di belakang tabir

## Slide 17: Haemofiltration
If I ask you to do UF 4L per hour????

## Slide 18: Substitution (replacement) Fluid
If large volume of UF is performed (e.g 4L in 1 hour)
  BP
Large volume of substitution (replacement) fluid is needed! AT THE SAME TIME

## Slide 19
Solute drag
Clearance in HF – CONVECTION!!

## Slide 20: Substitution (Gantian) Fluid
Substitution
UF
DIRECT INTO PATIENT
AT THE SAME TIME!
Di Belakang Tabir

## Slide 21: Pre-filter
e.g. – Total 16L per session (4L per hour)
4L
4L
Di Belakang Tabir

## Slide 22: Post-filter
e.g. – Total 16L per session (4L per hour)
4L
4L
Di Belakang Tabir

## Slide 23: MIXED (Pre &Post-filter)
e.g. – Total 16L per session (4L per hour)
4L
2L
2L
Di Belakang Tabir

## Slide 24: HD
BLOOD
DIALYSATE

## Slide 25: HDF
PRE-FILTER
POST-FILTER
BLOOD
DIALYSATE
***Haemofiltration + belakang tabir

## Slide 26: Difference
CLEARANCE | 
HD | HF
DIFFUSION Small molecules Urea, phosphate | CONVECTION Middle molecules B2 microglobulin

## Slide 27: Uraemic toxins
HD
HF
Uraemic toxins

## Slide 28: Clearance

## Slide 29
Evidence
HD vs HDF
Notes: Flow chart of study participation.

## Slide 30
Ercan Ok et al. Nephrol. Dial. Transplant. 2013;28:192-202
HF HD v OL-HDF
Qb 290-400
Qd 500
Turkish Online-HDF study
Notes: Flow chart of study participation.

## Slide 31: Sub-analysis
Low Volume HDF (<17.5) v High Volume HDF (>17.5L)
46% risk reduction for overall mortality
71% risk reduction for cardiovascular mortality
Notes: Composite event-free survival in patients treated with OL-HDF and high-flux HD.

## Slide 32
Francisco Maduell et al. JASN doi:10.1681/ASN.2012080875
HF HD v OL-HDF
Qb 380-400
Qd 550
Convection 2L v 23L
Spanish Online-HDF study
Notes: Flow chart of study populations, including the number of patients who were screened, underwent randomization, and completed the study treatment or presented the primary variable. HD, hemodialysis.

## Slide 33: For HDF to have benefit
HDF must be high volume!!
At least > 18 L
Substitution + UF

## Slide 34: Other benefits
Reduction in intradialytic hypotension
Better control of HPT
Improved EPO response
Improved phosphate clearance
Improved mortality risk

## Slide 35: HD circuit

## Slide 36: 1. HDF Machine
Blood Pump
Substitution fluid Pump
Blood Pump

## Slide 37: On-line water production
First HDF machines
CRRT machines

## Slide 38: Online water production - ULTRAPURE
ISO/AAMI

## Slide 39: 2. Online water production - STERILE
ISO/AAMI
IMPORTANT

## Slide 40: Water system
Ultrapure
(HD)
Sterile
(HF)

## Slide 41: Pyrogen filters (Ultrafilters)

## Slide 42: 3. High Flux dialyzers
The dialyzer used for HDF must contain membranes that are highly permeable for :
  Water (Kuf >20 mL/h/mmHg)
  High sieving coefficient for β2M≥0.6
  KoA > 600
  Adequate dialyzer surface area.

## Slide 43: High Flux dialyzers

## Slide 44: 4. Fistula
Qb >300 ml/min
Need good blood flow to prevent high Filtration Fraction (easily clots)

## Slide 45: Training
Principles of HDF
How to prime (extra bloodline for substitution)
Ensure HDF settings (Qb, Qd, Substitution) are met.

## Slide 46: Dialysis patient review
Clearance – Kt/V , URR
Anaemia
CKD-MBD
Dry weight
Vascular access
HDF – Qb, Qd, Substitution

## Slide 47: Advantages to our staff
On-line priming
  Saline bags
  Minimize staff
Patient stable

## Slide 48: Come join us!!

## Slide 49: Summary
HDF combines diffusive and convective clearance.
High volume online HDF may be beneficial over HD.
Follow us @ Renal Uitm