## Simplified
Informations
1- Filling in all data is mandatory; 2- In the absence of information about the rated resistance of the transformer, consider the resistance of 1%; 3- The impedance and resistance of the transformer must be referred to the reported nominal power; 4- The correctness of the result depends on the correctness of the input data;
SYSTEM DATA
Generation, Substation and Step-up Transformer Data | VPTEn | Rated Primary Voltage of Transformer (kV) |  |  | DOCUMENTOS DE REFERÊNCIA
| VSTEn | Rated Secondary Voltage of Transformer (kV) |  |  | TE.EL.SA.CA.03. Hydroelectric Power Plant - Generation Voltage Calculation
| PTEn | Rated Power of Transformer (MVA)
| Zn | Rated Transformer Impedance (%)
| Rn | Rated Resistance of Transformer (%)
| k | Secondary Used Tap Voltage (pu)
| PG | Total Power Passing Through the Transformer (MVA)
| FP | Total Generation Power Factor
| VGn | Rated Generation Voltage (kV)
| VSE | Voltage at the Associated Substation (kV)
|  |  | VG (kV) | #DIV/0!
|  |  | VG (%VGn) | #DIV/0!
#DIV/0!
#DIV/0!
1.5708

## Complete
Informations
1- Filling in all data is mandatory; 2- In the absence of information about the rated resistance of the transformer, consider the resistance of 1%; 3- The impedance and resistance of the transformer must be referred to the reported nominal power; 4- The correctness of the result depends on the correctness of the input data;
SYSTEM DATA
Generation, Substation and Step-up Transformer Data | VPTEn | Rated Primary Voltage of Transformer (kV) |  |  | DOCUMENTOS DE REFERÊNCIA
| VSTEn | Rated Secondary Voltage of Transformer (kV) |  |  | TE.EL.SA.CA.03. Hydroelectric Power Plant - Generation Voltage Calculation
| PTEn | Rated Power of Transformer (MVA)
| Zn | Rated Transformer Impedance (%)
| Rn | Rated Resistance of Transformer (%)
| k | Secondary Used Tap Voltage (pu)
| PG | Total Power Passing Through the Transformer (MVA)
| FP | Total Generation Power Factor
| VGn | Rated Generation Voltage (kV)
| VSE | Voltage at the Associated Substation (kV)
|  |  | VG (kV) | #DIV/0!
|  |  | VG (%VGn) | #DIV/0!
#DIV/0!
#DIV/0!
1.5708