## Simplified
Informations
These informations are necessary, mainly, for users who want to use the spreadsheet without having read the technical information on the theory. -Filling in all Source Data is mandatory; -It is only necessary to fill in the Cargo Data that exist. Data for other loads can be left blank. Of course, if the Load Data fields are empty, the load voltage will be equal to the source voltage; - Only Source Data and Load Data must be completed; - The correctness of the result depends on the correctness of the input data; - Constant loads are composed of induction motors, battery chargers, communication systems, etc. Important: All fields in this Simplified spreadsheet are identical to the fields in the Complete spreadsheet, just not all are visible. Therefore, only the fields in green must be completed.Important: All fields in this Simplified spreadsheet are identical to the fields in the Complete spreadsheet, just not all are visible. Therefore, only the fields in green must be completed.
SYSTEM DATA
Source Data | l | Circuit Length (km)
| Ra | Cable Resistance (Ω/km)
| Xa | Cable Reactance (Ω/km)
| n | Number of Cables per Phase
| VCT | Voltage on the Load (V)
Cargo Data | PCKn | Rated Power of the Constant Load (kVA)
| VCKn | Rated Voltage of the Constant Load (V)
| FPCK | Power Factor of the Constant Load
| PCVn | Rated Power of the Variable Load (kVA)
| VCVn | Rated Voltage of the Variable Load (V)
| FPCV | Power Factor of the Variable Load
| VMPn | Rated Voltage of the Motor(s) (V)
| IMPn | Starting Current of the Motor(s) at Rated Voltage (A)
| FPMP | Fator de Potência do(s) Motor(es) na Partida |  |  | Referênce Documents
TE.EL.SA.CA.04 Feeders - Voltage Calculation on the Load and Source
| VF | Source voltage considering the defined load voltage |  | #DIV/0! | PL.EL.SA.CA.04 Feeders - Load Voltage Calculation
| RA | #DIV/0!
| XA | #DIV/0!
| VF | 0
| ZA | #DIV/0!
| θA | #DIV/0!
#DIV/0!
| ZCV | SEM CARGA
| θCV | 1.5708
90
| ZMP | SEM CARGA
| θMP | 1.5708
90
| θCK | 1.5708
90
VERIFICATION
| VF | #REF!
|  | #REF! | #DIV/0!
| θF | #DIV/0! | #DIV/0!
| PCKn | 0
| ICK | #REF!
|  | #REF! | #REF!
| θCK | -1.5708 | -90
| ICV | 0
|  | 0 | 0
| θCV | 1.5708 | 90
| IMP | 0
|  | 0 | 0
| θMP | 1.5708 | 90
IT=ICK+ICV+IMP
#REF!
| #REF! |  | #REF!
| θT | #REF! | #REF!
#DIV/0!
| #DIV/0! |  | #DIV/0!
| θΔV | #DIV/0! | #DIV/0!

## Complete
Informations
These informations are necessary, mainly, for users who want to use the spreadsheet without having read the technical information on the theory. -Filling in all Source Data is mandatory; -It is only necessary to fill in the Cargo Data that exist. Data for other loads can be left blank. Of course, if the Load Data fields are empty, the load voltage will be equal to the source voltage; - Only Source Data and Load Data must be completed; - The correctness of the result depends on the correctness of the input data; - Constant loads are composed of induction motors, battery chargers, communication systems, etc. Important: All fields in this Simplified spreadsheet are identical to the fields in the Complete spreadsheet, just not all are visible. Therefore, only the fields in green must be completed.Important: All fields in this Simplified spreadsheet are identical to the fields in the Complete spreadsheet, just not all are visible. Therefore, only the fields in green must be completed.
SYSTEM DATA
Source Data | l | Circuit Length (km)
| Ra | Cable Resistance (Ω/km)
| Xa | Cable Reactance (Ω/km)
| n | Number of Cables per Phase
| VCT | Voltage on the Load (V)
Cargo Data | PCKn | Rated Power of the Constant Load (kVA)
| VCKn | Rated Voltage of the Constant Load (V)
| FPCK | Power Factor of the Constant Load
| PCVn | Rated Power of the Variable Load (kVA)
| VCVn | Rated Voltage of the Variable Load (V)
| FPCV | Power Factor of the Variable Load
| VMPn | Rated Voltage of the Motor(s) (V)
| IMPn | Starting Current of the Motor(s) at Rated Voltage (A)
| FPMP | Fator de Potência do(s) Motor(es) na Partida |  |  | Referênce Documents
TE.EL.SA.CA.04 Feeders - Voltage Calculation on the Load and Source
| VF | Source voltage considering the defined load voltage |  | #DIV/0! | PL.EL.SA.CA.04 Feeders - Load Voltage Calculation
| RA | #DIV/0!
| XA | #DIV/0!
| VF | 0
| ZA | #DIV/0!
| θA | #DIV/0!
#DIV/0!
| ZCV | SEM CARGA
| θCV | 1.5708
90
| ZMP | SEM CARGA
| θMP | 1.5708
90
| θCK | 1.5708
90
VERIFICATION
| VF | #REF!
|  | #REF! | #DIV/0!
| θF | #DIV/0! | #DIV/0!
| PCKn | 0
| ICK | #REF!
|  | #REF! | #REF!
| θCK | -1.5708 | -90
| ICV | 0
|  | 0 | 0
| θCV | 1.5708 | 90
| IMP | 0
|  | 0 | 0
| θMP | 1.5708 | 90
IT=ICK+ICV+IMP
#REF!
| #REF! |  | #REF!
| θT | #REF! | #REF!
#DIV/0!
| #DIV/0! |  | #DIV/0!
| θΔV | #DIV/0! | #DIV/0!
.
𝒁_𝑨.𝑰_𝑻